## Details
Filename | omni_slowcomp_cross1
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_cross1
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_cross1
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_cross1.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 11:11
Time at start of test | 0.77437
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Step time | Stress
Pa | N | µm | s | % | s | Pa
1798.98 | 0.045213 | 10299.9 | 0 | 0.00036699 | 0 | 899.488
1652.61 | 0.041535 | 10299.9 | 0.000544 | 0.00036699 | 0.000544 | 826.304
1564.91 | 0.03933 | 10299.9 | 0.001568 | 0.00036699 | 0.001568 | 782.454
1554.12 | 0.039059 | 10299.9 | 0.002592 | 0.00036699 | 0.002592 | 777.059
1555.18 | 0.039086 | 10299.9 | 0.003616 | 0.00036699 | 0.003616 | 777.591
1519.01 | 0.038177 | 10299.9 | 0.00464 | 0.00036699 | 0.00464 | 759.504
1489.67 | 0.03744 | 10299.9 | 0.005664 | 0.00036699 | 0.005664 | 744.836
1546.97 | 0.03888 | 10299.9 | 0.006688 | 0.00036699 | 0.006688 | 773.487
1724.2 | 0.043334 | 10299.9 | 0.007712 | 0.00036699 | 0.007712 | 862.098
1942.15 | 0.048812 | 10299.9 | 0.008736 | 0.00036699 | 0.008736 | 971.077
2118.77 | 0.05325 | 10299.9 | 0.00976 | 0.00036699 | 0.00976 | 1059.38
2155.85 | 0.054183 | 10299.9 | 0.010784 | 0.00036699 | 0.010784 | 1077.93
2090.95 | 0.052551 | 10299.9 | 0.011808 | 0.00036699 | 0.011808 | 1045.48
1986.69 | 0.049931 | 10299.9 | 0.012832 | 0.00036699 | 0.012832 | 993.343
1898.23 | 0.047708 | 10299.9 | 0.013856 | 0.00036699 | 0.013856 | 949.114
1800.65 | 0.045255 | 10299.9 | 0.01488 | 0.00036699 | 0.01488 | 900.324
1669.63 | 0.041962 | 10299.9 | 0.015904 | 0.00036699 | 0.015904 | 834.816
1690.3 | 0.042482 | 10299.9 | 0.016928 | 0.00017711 | 0.016928 | 845.151
1784.99 | 0.044862 | 10299.9 | 0.017952 | 0.00017711 | 0.017952 | 892.497
1835 | 0.046118 | 10299.9 | 0.018976 | 0.00017711 | 0.018976 | 917.499
1777.85 | 0.044682 | 10299.9 | 0.02 | 0.00017711 | 0.02 | 888.925
1709.45 | 0.042963 | 10299.9 | 0.021024 | 0.00017711 | 0.021024 | 854.727
1770.71 | 0.044503 | 10299.9 | 0.022048 | 0.00017711 | 0.022048 | 885.353
1942.61 | 0.048823 | 10299.9 | 0.023072 | 0.00017711 | 0.023072 | 971.305
2041.25 | 0.051302 | 10299.9 | 0.024096 | 0.00017711 | 0.024096 | 1020.63
1974.98 | 0.049637 | 10299.9 | 0.02512 | 0.00017711 | 0.02512 | 987.492
1803.84 | 0.045336 | 10299.9 | 0.026144 | 0.00017711 | 0.026144 | 901.92
1658.84 | 0.041691 | 10299.9 | 0.027168 | 0.00017711 | 0.027168 | 829.42
1557.31 | 0.03914 | 10299.9 | 0.028192 | 0.00017711 | 0.028192 | 778.655
1471.89 | 0.036993 | 10299.9 | 0.029216 | 0.00017711 | 0.029216 | 735.945
1418.84 | 0.035659 | 10299.9 | 0.03024 | 0.00017711 | 0.03024 | 709.422
1472.19 | 0.037 | 10299.9 | 0.031264 | 0.00017711 | 0.031264 | 736.097
1669.48 | 0.041959 | 10299.9 | 0.032288 | 0.00017711 | 0.032288 | 834.74
1961.3 | 0.049293 | 10299.9 | 0.033312 | 0.00017711 | 0.033312 | 980.652
2182.6 | 0.054855 | 10299.9 | 0.034336 | 0.00017711 | 0.034336 | 1091.3
2225.62 | 0.055936 | 10299.9 | 0.03536 | 0.00017711 | 0.03536 | 1112.81
2143.54 | 0.053873 | 10299.9 | 0.036384 | 0.00017711 | 0.036384 | 1071.77
2030.16 | 0.051023 | 10299.9 | 0.037408 | 0.00017711 | 0.037408 | 1015.08
2024.68 | 0.050886 | 10299.6 | 0.038432 | -0.0029334 | 0.038432 | 1012.34
1991.25 | 0.050045 | 10299.6 | 0.039456 | -0.0029334 | 0.039456 | 995.623
1851.87 | 0.046543 | 10299.6 | 0.04048 | -0.0029334 | 0.04048 | 925.935
1370.06 | 0.034433 | 10299.6 | 0.042016 | -0.0029334 | 0.042016 | 685.028
1412.31 | 0.035495 | 10299.6 | 0.044064 | -0.0029334 | 0.044064 | 706.155
1989.12 | 0.049992 | 10299.6 | 0.046112 | -0.0029334 | 0.046112 | 994.559
2173.79 | 0.054633 | 10299.6 | 0.04816 | -0.0029334 | 0.04816 | 1086.89
1825.42 | 0.045878 | 10299.6 | 0.050208 | -0.0029334 | 0.050208 | 912.712
1443.32 | 0.036275 | 10299.6 | 0.052256 | -0.0029334 | 0.052256 | 721.658
1500.92 | 0.037722 | 10299.6 | 0.054304 | -0.0029334 | 0.054304 | 750.46
1732.4 | 0.04354 | 10299.6 | 0.056352 | -0.0029334 | 0.056352 | 866.202
2135.94 | 0.053682 | 10299.4 | 0.0584 | -0.0046785 | 0.0584 | 1067.97
2381.56 | 0.059855 | 10299.4 | 0.060448 | -0.0046785 | 0.060448 | 1190.78
1955.38 | 0.049144 | 10299.4 | 0.062496 | -0.0046785 | 0.062496 | 977.688
1358.05 | 0.034132 | 10299.4 | 0.064544 | -0.0046785 | 0.064544 | 679.024
1372.18 | 0.034487 | 10299.4 | 0.066592 | -0.0046785 | 0.066592 | 686.092
1760.22 | 0.044239 | 10299.4 | 0.06864 | -0.0046785 | 0.06864 | 880.109
1888.5 | 0.047463 | 10299.4 | 0.070688 | -0.0046785 | 0.070688 | 944.25
2106 | 0.05293 | 10299.4 | 0.072736 | -0.0046785 | 0.072736 | 1053
2068.31 | 0.051982 | 10299.4 | 0.074784 | -0.0046785 | 0.074784 | 1034.15
1600.78 | 0.040232 | 10299.4 | 0.076832 | -0.0046785 | 0.076832 | 800.39
1759.15 | 0.044212 | 10299.4 | 0.07888 | -0.0046785 | 0.07888 | 879.577
2022.1 | 0.050821 | 10299.4 | 0.080928 | -0.0046785 | 0.080928 | 1011.05
1856.89 | 0.046669 | 10299.4 | 0.082976 | -0.0046785 | 0.082976 | 928.443
1882.42 | 0.04731 | 10299.4 | 0.085024 | -0.0046785 | 0.085024 | 941.21
1997.02 | 0.050191 | 10299.1 | 0.087072 | -0.0074092 | 0.087072 | 998.511
1665.22 | 0.041852 | 10299.1 | 0.08912 | -0.0074092 | 0.08912 | 832.612
1565.82 | 0.039353 | 10299.1 | 0.091168 | -0.0074092 | 0.091168 | 782.911
1811.59 | 0.04553 | 10299.1 | 0.093216 | -0.0074092 | 0.093216 | 905.796
1634.37 | 0.041076 | 10299.1 | 0.095264 | -0.0074092 | 0.095264 | 817.185
1667.66 | 0.041913 | 10299.1 | 0.097312 | -0.0074092 | 0.097312 | 833.828
2126.98 | 0.053457 | 10299.1 | 0.09936 | -0.0074092 | 0.09936 | 1063.49
1947.17 | 0.048938 | 10299.1 | 0.10141 | -0.0074092 | 0.10141 | 973.584
1789.86 | 0.044984 | 10299.1 | 0.10346 | -0.0074092 | 0.10346 | 894.929
1778.46 | 0.044698 | 10298.7 | 0.1055 | -0.011279 | 0.1055 | 889.229
1620.84 | 0.040736 | 10298.7 | 0.10755 | -0.011279 | 0.10755 | 810.421
1924.52 | 0.048369 | 10298.7 | 0.1096 | -0.011279 | 0.1096 | 962.261
2241.73 | 0.056341 | 10298.7 | 0.11165 | -0.011279 | 0.11165 | 1120.86
1975.59 | 0.049652 | 10298.7 | 0.1137 | -0.011279 | 0.1137 | 987.796
1348.02 | 0.033879 | 10298.7 | 0.11574 | -0.011279 | 0.11574 | 674.008
1223.23 | 0.030743 | 10298.7 | 0.11779 | -0.011279 | 0.11779 | 611.616
1745.17 | 0.043861 | 10298.7 | 0.11984 | -0.011279 | 0.11984 | 872.586
2213.15 | 0.055623 | 10298.7 | 0.12189 | -0.011279 | 0.12189 | 1106.58
2118.92 | 0.053254 | 10298.3 | 0.12496 | -0.015149 | 0.12496 | 1059.46
1397.87 | 0.035132 | 10298.3 | 0.12906 | -0.015149 | 0.12906 | 698.935
1908.56 | 0.047967 | 10298.3 | 0.13315 | -0.015149 | 0.13315 | 954.281
1972.55 | 0.049576 | 10298.3 | 0.13725 | -0.015149 | 0.13725 | 986.276
1469.46 | 0.036931 | 10298.3 | 0.14134 | -0.015149 | 0.14134 | 734.729
1906.59 | 0.047918 | 10297.9 | 0.14544 | -0.019625 | 0.14544 | 953.294
2042.77 | 0.05134 | 10297.9 | 0.14954 | -0.019625 | 0.14954 | 1021.39
1459.88 | 0.036691 | 10297.9 | 0.15363 | -0.019625 | 0.15363 | 729.941
1778.15 | 0.04469 | 10297.9 | 0.15773 | -0.019625 | 0.15773 | 889.077
2030.31 | 0.051027 | 10297.9 | 0.16182 | -0.019625 | 0.16182 | 1015.15
1725.56 | 0.043368 | 10297.4 | 0.16592 | -0.024481 | 0.16592 | 862.782
1781.65 | 0.044778 | 10297.4 | 0.17002 | -0.024481 | 0.17002 | 890.825
2180.63 | 0.054805 | 10297.4 | 0.17411 | -0.024481 | 0.17411 | 1090.31
1615.07 | 0.040591 | 10297.4 | 0.17821 | -0.024481 | 0.17821 | 807.533
1735.14 | 0.043609 | 10296.9 | 0.1823 | -0.028956 | 0.1823 | 867.57
2251.3 | 0.056581 | 10296.9 | 0.1864 | -0.028956 | 0.1864 | 1125.65
1750.49 | 0.043995 | 10296.9 | 0.1905 | -0.028956 | 0.1905 | 875.246
1788.95 | 0.044961 | 10296.9 | 0.19459 | -0.028956 | 0.19459 | 894.473
1973.16 | 0.049591 | 10296.9 | 0.19869 | -0.028956 | 0.19869 | 986.58
1722.52 | 0.043292 | 10296.6 | 0.20278 | -0.032438 | 0.20278 | 861.262
1546.82 | 0.038876 | 10296.6 | 0.20688 | -0.032438 | 0.20688 | 773.411
2145.82 | 0.05393 | 10296.6 | 0.21098 | -0.032438 | 0.21098 | 1072.91
2262.55 | 0.056864 | 10296.6 | 0.21507 | -0.032438 | 0.21507 | 1131.28
1160.15 | 0.029158 | 10296.6 | 0.21917 | -0.032438 | 0.21917 | 580.077
2088.83 | 0.052498 | 10296 | 0.22326 | -0.038089 | 0.22326 | 1044.41
2078.34 | 0.052234 | 10296 | 0.22736 | -0.038089 | 0.22736 | 1039.17
1377.05 | 0.034609 | 10296 | 0.23146 | -0.038089 | 0.23146 | 688.524
2266.2 | 0.056956 | 10296 | 0.23555 | -0.038089 | 0.23555 | 1133.1
1943.07 | 0.048835 | 10295.5 | 0.23965 | -0.042528 | 0.23965 | 971.533
1571.14 | 0.039487 | 10295.5 | 0.24374 | -0.042528 | 0.24374 | 785.57
1935.62 | 0.048647 | 10295.5 | 0.24784 | -0.042528 | 0.24784 | 967.809
1902.64 | 0.047818 | 10295.5 | 0.25194 | -0.042528 | 0.25194 | 951.318
1740.92 | 0.043754 | 10295 | 0.25603 | -0.047194 | 0.25603 | 870.458
1859.93 | 0.046745 | 10295 | 0.26013 | -0.047194 | 0.26013 | 929.963
2118.46 | 0.053243 | 10295 | 0.26422 | -0.047194 | 0.26422 | 1059.23
1370.36 | 0.034441 | 10295 | 0.26832 | -0.047194 | 0.26832 | 685.18
1763.41 | 0.044319 | 10295 | 0.27242 | -0.047194 | 0.27242 | 881.705
2176.37 | 0.054698 | 10294.6 | 0.27651 | -0.05186 | 0.27651 | 1088.19
1745.93 | 0.04388 | 10294.6 | 0.28061 | -0.05186 | 0.28061 | 872.966
1995.81 | 0.05016 | 10294.6 | 0.2847 | -0.05186 | 0.2847 | 997.903
1465.66 | 0.036836 | 10294.6 | 0.29085 | -0.05186 | 0.29085 | 732.829
2003.41 | 0.050351 | 10294.2 | 0.29904 | -0.05573 | 0.29904 | 1001.7
1776.18 | 0.04464 | 10294.2 | 0.30723 | -0.05573 | 0.30723 | 888.089
1789.55 | 0.044976 | 10293.7 | 0.31542 | -0.060586 | 0.31542 | 894.777
2408.62 | 0.060535 | 10293.7 | 0.32362 | -0.060586 | 0.32362 | 1204.31
1462.31 | 0.036752 | 10293.7 | 0.33181 | -0.060586 | 0.33181 | 731.157
1800.5 | 0.045251 | 10293.3 | 0.34 | -0.064302 | 0.34 | 900.248
2351.47 | 0.059099 | 10293.3 | 0.34819 | -0.064302 | 0.34819 | 1175.73
1376.59 | 0.034598 | 10292.9 | 0.35638 | -0.068353 | 0.35638 | 688.295
1976.81 | 0.049683 | 10292.9 | 0.36458 | -0.068353 | 0.36458 | 988.404
2057.06 | 0.0517 | 10292.4 | 0.37277 | -0.072449 | 0.37277 | 1028.53
1576.46 | 0.039621 | 10292.4 | 0.38096 | -0.072449 | 0.38096 | 788.23
2099.77 | 0.052773 | 10292.4 | 0.38915 | -0.072449 | 0.38915 | 1049.88
2004.62 | 0.050382 | 10292.4 | 0.39734 | -0.072449 | 0.39734 | 1002.31
1532.69 | 0.038521 | 10292.1 | 0.40554 | -0.076129 | 0.40554 | 766.343
2131.23 | 0.053564 | 10291.5 | 0.41373 | -0.081364 | 0.41373 | 1065.62
1987.75 | 0.049958 | 10291.5 | 0.42192 | -0.081364 | 0.42192 | 993.875
1580.87 | 0.039732 | 10291.5 | 0.43011 | -0.081364 | 0.43011 | 790.434
2205.1 | 0.05542 | 10291.5 | 0.4383 | -0.081364 | 0.4383 | 1102.55
2094.6 | 0.052643 | 10291.2 | 0.4465 | -0.084854 | 0.4465 | 1047.3
1835.45 | 0.04613 | 10290.7 | 0.45469 | -0.08895 | 0.45469 | 917.727
2226.53 | 0.055959 | 10290.7 | 0.46288 | -0.08895 | 0.46288 | 1113.27
1813.72 | 0.045584 | 10290.7 | 0.47107 | -0.08895 | 0.47107 | 906.86
1922.09 | 0.048307 | 10290.2 | 0.47926 | -0.094186 | 0.47926 | 961.045
1922.7 | 0.048323 | 10290.2 | 0.48746 | -0.094186 | 0.48746 | 961.349
1775.27 | 0.044617 | 10290.2 | 0.49565 | -0.094186 | 0.49565 | 887.633
1915.86 | 0.048151 | 10289.8 | 0.50384 | -0.097676 | 0.50384 | 957.929
2206.01 | 0.055443 | 10289.8 | 0.51203 | -0.097676 | 0.51203 | 1103.01
1624.49 | 0.040828 | 10289.4 | 0.52022 | -0.10177 | 0.52022 | 812.245
1853.09 | 0.046573 | 10289.4 | 0.52842 | -0.10177 | 0.52842 | 926.543
1702.61 | 0.042791 | 10289.4 | 0.53661 | -0.10177 | 0.53661 | 851.307
1802.78 | 0.045309 | 10289.1 | 0.5448 | -0.10525 | 0.5448 | 901.388
2052.8 | 0.051593 | 10289.1 | 0.55299 | -0.10525 | 0.55299 | 1026.4
2192.94 | 0.055115 | 10288.7 | 0.56118 | -0.10912 | 0.56118 | 1096.47
1876.95 | 0.047173 | 10288.7 | 0.56938 | -0.10912 | 0.56938 | 938.474
1987.9 | 0.049961 | 10288.3 | 0.57757 | -0.11284 | 0.57757 | 993.951
1893.36 | 0.047585 | 10288.3 | 0.58576 | -0.11284 | 0.58576 | 946.682
1650.02 | 0.04147 | 10288.3 | 0.59395 | -0.11284 | 0.59395 | 825.012
1983.49 | 0.049851 | 10287.7 | 0.60214 | -0.11807 | 0.60214 | 991.747
1996.11 | 0.050168 | 10287.7 | 0.61034 | -0.11807 | 0.61034 | 998.055
2293.25 | 0.057636 | 10287.3 | 0.62262 | -0.12213 | 0.62262 | 1146.63
1859.47 | 0.046734 | 10287 | 0.63901 | -0.12543 | 0.63901 | 929.735
1907.5 | 0.047941 | 10286.4 | 0.65539 | -0.1309 | 0.65539 | 953.749
2398.43 | 0.060279 | 10286.1 | 0.67178 | -0.1342 | 0.67178 | 1199.22
2322.13 | 0.058362 | 10286.1 | 0.68816 | -0.1342 | 0.68816 | 1161.07
1637.11 | 0.041145 | 10285.7 | 0.70454 | -0.13788 | 0.70454 | 818.553
1877.4 | 0.047184 | 10285.3 | 0.72093 | -0.14155 | 0.72093 | 938.702
2045.05 | 0.051398 | 10284.8 | 0.73731 | -0.1464 | 0.73731 | 1022.53
1494.54 | 0.037562 | 10284.5 | 0.7537 | -0.1497 | 0.7537 | 747.268
1811.74 | 0.045534 | 10284 | 0.77008 | -0.15456 | 0.77008 | 905.872
2460.14 | 0.06183 | 10284 | 0.78646 | -0.15456 | 0.78646 | 1230.07
2096.27 | 0.052685 | 10283.6 | 0.80285 | -0.15847 | 0.80285 | 1048.14
1451.07 | 0.036469 | 10283.3 | 0.81923 | -0.1612 | 0.81923 | 725.534
1934.55 | 0.048621 | 10282.8 | 0.83562 | -0.16643 | 0.83562 | 967.277
2357.09 | 0.05924 | 10282.4 | 0.852 | -0.16954 | 0.852 | 1178.55
1888.2 | 0.047455 | 10282 | 0.86838 | -0.17421 | 0.86838 | 944.098
2032.74 | 0.051088 | 10282 | 0.88477 | -0.17421 | 0.88477 | 1016.37
2043.99 | 0.051371 | 10281.7 | 0.90115 | -0.17708 | 0.90115 | 1021.99
2019.52 | 0.050756 | 10281.2 | 0.91754 | -0.18156 | 0.91754 | 1009.76
1819.65 | 0.045733 | 10280.9 | 0.93392 | -0.18486 | 0.93392 | 909.824
2358.61 | 0.059278 | 10280.4 | 0.9503 | -0.18934 | 0.9503 | 1179.31
2013.89 | 0.050615 | 10280 | 0.96669 | -0.1934 | 0.96669 | 1006.95
1792.14 | 0.045041 | 10280 | 0.98307 | -0.1934 | 0.98307 | 896.068
2167.86 | 0.054484 | 10279.6 | 0.99946 | -0.1973 | 0.99946 | 1083.93
2330.34 | 0.058568 | 10279.2 | 1.0158 | -0.20136 | 1.0158 | 1165.17
1785.91 | 0.044885 | 10278.8 | 1.0322 | -0.20508 | 1.0322 | 892.953
2032.74 | 0.051088 | 10278.3 | 1.0486 | -0.20933 | 1.0486 | 1016.37
2439.93 | 0.061322 | 10278.3 | 1.065 | -0.20933 | 1.065 | 1219.96
1925.43 | 0.048391 | 10278 | 1.0814 | -0.21282 | 1.0814 | 962.717
1820.41 | 0.045752 | 10277.5 | 1.0978 | -0.21766 | 1.0978 | 910.204
2415 | 0.060696 | 10277 | 1.1141 | -0.22214 | 1.1141 | 1207.5
2331.71 | 0.058602 | 10276.7 | 1.1305 | -0.22563 | 1.1305 | 1165.85
1803.84 | 0.045336 | 10276.7 | 1.1469 | -0.22563 | 1.1469 | 901.92
2127.89 | 0.05348 | 10276.2 | 1.1633 | -0.22973 | 1.1633 | 1063.94
2478.99 | 0.062304 | 10275.8 | 1.1797 | -0.2336 | 1.1797 | 1239.49
1673.89 | 0.042069 | 10275.4 | 1.1961 | -0.23769 | 1.1961 | 836.944
1857.8 | 0.046691 | 10275 | 1.2125 | -0.24156 | 1.2125 | 928.899
2475.49 | 0.062216 | 10274.5 | 1.2288 | -0.2468 | 1.2288 | 1237.75
2310.73 | 0.058075 | 10274.5 | 1.2452 | -0.2468 | 1.2452 | 1155.37
1460.49 | 0.036706 | 10274.2 | 1.2616 | -0.24953 | 1.2616 | 730.245
2448.89 | 0.061547 | 10273.3 | 1.2862 | -0.25787 | 1.2862 | 1224.45
1960.24 | 0.049266 | 10272.5 | 1.3189 | -0.26621 | 1.3189 | 980.12
2081.68 | 0.052318 | 10272.1 | 1.3517 | -0.27012 | 1.3517 | 1040.84
1997.17 | 0.050195 | 10271.3 | 1.3845 | -0.27808 | 1.3845 | 998.587
2046.72 | 0.05144 | 10270.4 | 1.4172 | -0.28643 | 1.4172 | 1023.36
2445.09 | 0.061452 | 10269.9 | 1.45 | -0.29109 | 1.45 | 1222.55
1915.71 | 0.048147 | 10269.2 | 1.4828 | -0.29845 | 1.4828 | 957.853
2198.41 | 0.055252 | 10268.6 | 1.5155 | -0.30368 | 1.5155 | 1099.21
2172.88 | 0.05461 | 10267.9 | 1.5483 | -0.3107 | 1.5483 | 1086.44
1772.07 | 0.044537 | 10267.1 | 1.5811 | -0.31825 | 1.5811 | 886.037
2419.86 | 0.060818 | 10266.7 | 1.6139 | -0.32234 | 1.6139 | 1209.93
2001.13 | 0.050294 | 10265.9 | 1.6466 | -0.3303 | 1.6466 | 1000.56
2296.9 | 0.057727 | 10265 | 1.6794 | -0.33903 | 1.6794 | 1148.45
1948.84 | 0.04898 | 10264.6 | 1.7122 | -0.34293 | 1.7122 | 974.42
1888.96 | 0.047475 | 10263.8 | 1.7449 | -0.35029 | 1.7449 | 944.478
2437.19 | 0.061253 | 10263 | 1.7777 | -0.35807 | 1.7777 | 1218.6
1681.18 | 0.042253 | 10262.7 | 1.8105 | -0.36156 | 1.8105 | 840.591
2560.76 | 0.064359 | 10261.8 | 1.8432 | -0.36952 | 1.8432 | 1280.38
1854.45 | 0.046608 | 10261 | 1.876 | -0.37786 | 1.876 | 927.227
2165.28 | 0.054419 | 10260.6 | 1.9088 | -0.38196 | 1.9088 | 1082.64
2429.29 | 0.061055 | 10259.7 | 1.9415 | -0.38992 | 1.9415 | 1214.64
1984.41 | 0.049874 | 10259.2 | 1.9743 | -0.39516 | 1.9743 | 992.203
2334.6 | 0.058675 | 10258.5 | 2.0071 | -0.40213 | 2.0071 | 1167.3
2047.94 | 0.05147 | 10257.5 | 2.0398 | -0.41146 | 2.0398 | 1023.97
2242.49 | 0.05636 | 10257.1 | 2.0726 | -0.41533 | 2.0726 | 1121.24
2447.37 | 0.061509 | 10256.2 | 2.1054 | -0.42409 | 2.1054 | 1223.69
1904.76 | 0.047872 | 10255.4 | 2.1381 | -0.43164 | 2.1381 | 952.382
2635.84 | 0.066246 | 10254.9 | 2.1709 | -0.43673 | 2.1709 | 1317.92
1883.79 | 0.047345 | 10254.1 | 2.2037 | -0.44487 | 2.2037 | 941.894
2408.31 | 0.060527 | 10253.7 | 2.2365 | -0.44817 | 2.2365 | 1204.16
2210.27 | 0.05555 | 10252.8 | 2.2692 | -0.4569 | 2.2692 | 1105.13
2035.32 | 0.051153 | 10252.1 | 2.302 | -0.46448 | 2.302 | 1017.66
2764.58 | 0.069482 | 10251.6 | 2.3348 | -0.46934 | 2.3348 | 1382.29
1921.03 | 0.048281 | 10250.7 | 2.3675 | -0.47731 | 2.3675 | 960.513
2845.75 | 0.071521 | 10249.9 | 2.4003 | -0.48526 | 2.4003 | 1422.87
2119.68 | 0.053273 | 10249.4 | 2.4331 | -0.49012 | 2.4331 | 1059.84
2073.17 | 0.052104 | 10248.6 | 2.4658 | -0.49786 | 2.4658 | 1036.59
2492.82 | 0.062651 | 10247.7 | 2.4986 | -0.50643 | 2.4986 | 1246.41
2172.57 | 0.054603 | 10247.4 | 2.5314 | -0.50954 | 2.5314 | 1086.29
2416.82 | 0.060741 | 10246.6 | 2.5641 | -0.51788 | 2.5641 | 1208.41
2109.5 | 0.053017 | 10245.3 | 2.6133 | -0.53028 | 2.6133 | 1054.75
1805.66 | 0.045381 | 10243.9 | 2.6788 | -0.54352 | 2.6788 | 902.832
1957.96 | 0.049209 | 10242.4 | 2.7443 | -0.55808 | 2.7443 | 978.98
2661.53 | 0.066892 | 10241.1 | 2.8099 | -0.57128 | 2.8099 | 1330.77
2782.82 | 0.06994 | 10239.9 | 2.8754 | -0.58255 | 2.8754 | 1391.41
2742.54 | 0.068928 | 10238.2 | 2.941 | -0.59904 | 2.941 | 1371.27
2268.18 | 0.057006 | 10236.9 | 3.0065 | -0.61126 | 3.0065 | 1134.09
2112.08 | 0.053082 | 10235.8 | 3.072 | -0.62252 | 3.072 | 1056.04
2375.48 | 0.059702 | 10234.6 | 3.1376 | -0.63397 | 3.1376 | 1187.74
2796.65 | 0.070288 | 10233 | 3.2031 | -0.64971 | 3.2031 | 1398.33
2818.08 | 0.070826 | 10231.9 | 3.2686 | -0.66036 | 3.2686 | 1409.04
2503.92 | 0.06293 | 10230.6 | 3.3342 | -0.673 | 3.3342 | 1251.96
2404.36 | 0.060428 | 10229.3 | 3.3997 | -0.68506 | 3.3997 | 1202.18
2373.05 | 0.059641 | 10227.7 | 3.4653 | -0.70056 | 3.4653 | 1186.53
2558.18 | 0.064294 | 10226.5 | 3.5308 | -0.7124 | 3.5308 | 1279.09
2793.76 | 0.070215 | 10225.2 | 3.5963 | -0.72484 | 3.5963 | 1396.88
2620.34 | 0.065856 | 10223.7 | 3.6619 | -0.73978 | 3.6619 | 1310.17
2126.98 | 0.053457 | 10222.5 | 3.7274 | -0.75124 | 3.7274 | 1063.49
1980.3 | 0.04977 | 10221.3 | 3.7929 | -0.76269 | 3.7929 | 990.152
2261.64 | 0.056841 | 10220.1 | 3.8585 | -0.77512 | 3.8585 | 1130.82
2397.37 | 0.060253 | 10218.5 | 3.924 | -0.79007 | 3.924 | 1198.68
2936.33 | 0.073798 | 10217.2 | 3.9895 | -0.80289 | 3.9895 | 1468.17
2845.14 | 0.071506 | 10216 | 4.0551 | -0.81453 | 4.0551 | 1422.57
2410.59 | 0.060585 | 10214.7 | 4.1206 | -0.82716 | 4.1206 | 1205.3
2285.65 | 0.057445 | 10213 | 4.1861 | -0.84328 | 4.1861 | 1142.83
2645.27 | 0.066483 | 10211.8 | 4.2517 | -0.85534 | 4.2517 | 1322.63
3009.14 | 0.075628 | 10210.6 | 4.3172 | -0.86736 | 4.3172 | 1504.57
2958.22 | 0.074348 | 10208.9 | 4.3827 | -0.8833 | 4.3827 | 1479.11
2628.4 | 0.066059 | 10207.7 | 4.4483 | -0.8955 | 4.4483 | 1314.2
2233.83 | 0.056142 | 10206.5 | 4.5138 | -0.90699 | 4.5138 | 1116.91
2420.47 | 0.060833 | 10205.2 | 4.5794 | -0.91902 | 4.5794 | 1210.24
2772.79 | 0.069688 | 10203.7 | 4.6449 | -0.93396 | 4.6449 | 1386.39
2849.39 | 0.071613 | 10202.4 | 4.7104 | -0.9464 | 4.7104 | 1424.7
2735.1 | 0.06874 | 10201.1 | 4.776 | -0.95922 | 4.776 | 1367.55
2380.65 | 0.059832 | 10199.5 | 4.8415 | -0.97495 | 4.8415 | 1190.32
2226.07 | 0.055947 | 10198.2 | 4.907 | -0.98698 | 4.907 | 1113.04
2435.21 | 0.061204 | 10196.9 | 4.9726 | -0.9998 | 4.9726 | 1217.61
2850.3 | 0.071636 | 10195.6 | 5.0381 | -1.0122 | 5.0381 | 1425.15
2576.87 | 0.064764 | 10194 | 5.1037 | -1.0284 | 5.1037 | 1288.44
2431.11 | 0.061101 | 10192.7 | 5.1692 | -1.0408 | 5.1692 | 1215.56
2324.56 | 0.058423 | 10190.2 | 5.2675 | -1.065 | 5.2675 | 1162.28
2833.59 | 0.071216 | 10187.2 | 5.3986 | -1.0942 | 5.3986 | 1416.79
2690.56 | 0.067621 | 10184.3 | 5.5296 | -1.1225 | 5.5296 | 1345.28
2573.53 | 0.06468 | 10181.7 | 5.6607 | -1.1472 | 5.6607 | 1286.76
3101.4 | 0.077947 | 10178.9 | 5.7918 | -1.1747 | 5.7918 | 1550.7
2753.33 | 0.069199 | 10176.6 | 5.9229 | -1.1975 | 5.9229 | 1376.67
2775.68 | 0.06976 | 10173.7 | 6.0539 | -1.2252 | 6.0539 | 1387.84
2920.83 | 0.073408 | 10171.2 | 6.185 | -1.2495 | 6.185 | 1460.41
2494.64 | 0.062697 | 10168.4 | 6.3161 | -1.2767 | 6.3161 | 1247.32
3069.17 | 0.077137 | 10165.5 | 6.4471 | -1.3045 | 6.4471 | 1534.59
2876.75 | 0.072301 | 10163.2 | 6.5782 | -1.3276 | 6.5782 | 1438.38
2551.94 | 0.064137 | 10160.8 | 6.7093 | -1.3506 | 6.7093 | 1275.97
3235.6 | 0.08132 | 10157.9 | 6.8403 | -1.379 | 6.8403 | 1617.8
2728.56 | 0.068576 | 10155 | 6.9714 | -1.4065 | 6.9714 | 1364.28
2982.69 | 0.074963 | 10152.6 | 7.1025 | -1.4304 | 7.1025 | 1491.34
3182.1 | 0.079975 | 10149.5 | 7.2336 | -1.4599 | 7.2336 | 1591.05
2486.59 | 0.062495 | 10147.2 | 7.3646 | -1.4827 | 7.3646 | 1243.29
2876.45 | 0.072293 | 10144.3 | 7.4957 | -1.5108 | 7.4957 | 1438.22
3229.68 | 0.081171 | 10141.6 | 7.6268 | -1.537 | 7.6268 | 1614.84
2697.86 | 0.067805 | 10138.9 | 7.7579 | -1.5633 | 7.7579 | 1348.93
3124.5 | 0.078527 | 10135.9 | 7.8889 | -1.592 | 7.8889 | 1562.25
2810.94 | 0.070647 | 10133.5 | 8.02 | -1.6157 | 8.02 | 1405.47
2872.8 | 0.072201 | 10130.5 | 8.1511 | -1.6444 | 8.1511 | 1436.4
3487.61 | 0.087653 | 10127.9 | 8.2821 | -1.6702 | 8.2821 | 1743.8
2910.95 | 0.07316 | 10124.9 | 8.4132 | -1.6992 | 8.4132 | 1455.47
2919.46 | 0.073374 | 10122.5 | 8.5443 | -1.7227 | 8.5443 | 1459.73
3574.39 | 0.089834 | 10119.7 | 8.6754 | -1.7498 | 8.6754 | 1787.2
2562.89 | 0.064412 | 10117.1 | 8.8064 | -1.7745 | 8.8064 | 1281.44
2763.21 | 0.069447 | 10114.3 | 8.9375 | -1.8017 | 8.9375 | 1381.61
3435.02 | 0.086331 | 10111.5 | 9.0686 | -1.8289 | 9.0686 | 1717.51
2976.61 | 0.07481 | 10109.1 | 9.1997 | -1.8528 | 9.1997 | 1488.31
3223.45 | 0.081014 | 10106.2 | 9.3307 | -1.8805 | 9.3307 | 1611.72
3396.56 | 0.085365 | 10103.8 | 9.4618 | -1.9034 | 9.4618 | 1698.28
2994.55 | 0.075261 | 10101 | 9.5929 | -1.9312 | 9.5929 | 1497.27
3387.29 | 0.085132 | 10098.5 | 9.7239 | -1.9551 | 9.7239 | 1693.65
3300.66 | 0.082955 | 10095.6 | 9.855 | -1.983 | 9.855 | 1650.33
2940.74 | 0.073909 | 10093.2 | 9.9861 | -2.0071 | 9.9861 | 1470.37
3264.64 | 0.082049 | 10090.2 | 10.1172 | -2.0359 | 10.1172 | 1632.32
3302.48 | 0.083 | 10087.4 | 10.2482 | -2.0627 | 10.2482 | 1651.24
2743.3 | 0.068947 | 10084.9 | 10.3793 | -2.0877 | 10.3793 | 1371.65
3370.57 | 0.084712 | 10079.6 | 10.5759 | -2.139 | 10.5759 | 1685.29
3499.77 | 0.087959 | 10074.1 | 10.838 | -2.192 | 10.838 | 1749.88
3258.71 | 0.0819 | 10068.7 | 11.1002 | -2.245 | 11.1002 | 1629.35
2993.48 | 0.075234 | 10062.8 | 11.3623 | -2.3024 | 11.3623 | 1496.74
3631.39 | 0.091267 | 10057.4 | 11.6245 | -2.3545 | 11.6245 | 1815.7
3361 | 0.084471 | 10052.2 | 11.8866 | -2.4044 | 11.8866 | 1680.5
3211.59 | 0.080716 | 10046.8 | 12.1488 | -2.4572 | 12.1488 | 1605.79
3460.55 | 0.086973 | 10041.7 | 12.4109 | -2.5071 | 12.4109 | 1730.28
3730.03 | 0.093746 | 10036.3 | 12.6731 | -2.5591 | 12.6731 | 1865.02
3286.22 | 0.082592 | 10030.9 | 12.9352 | -2.6118 | 12.9352 | 1643.11
3174.2 | 0.079776 | 10025.7 | 13.1973 | -2.6624 | 13.1973 | 1587.1
3886.74 | 0.097684 | 10020.4 | 13.4595 | -2.7141 | 13.4595 | 1943.37
3828.98 | 0.096233 | 10014.4 | 13.7216 | -2.7723 | 13.7216 | 1914.49
3164.47 | 0.079532 | 10009 | 13.9838 | -2.8245 | 13.9838 | 1582.24
3490.8 | 0.087733 | 10003.4 | 14.2459 | -2.8783 | 14.2459 | 1745.4
4088.89 | 0.10276 | 9998 | 14.5081 | -2.9311 | 14.5081 | 2044.44
3802.53 | 0.095568 | 9992.78 | 14.7702 | -2.9818 | 14.7702 | 1901.27
3580.47 | 0.089987 | 9987.5 | 15.0324 | -3.0331 | 15.0324 | 1790.24
3454.47 | 0.08682 | 9982.4 | 15.2945 | -3.0826 | 15.2945 | 1727.24
4105.61 | 0.10318 | 9976.94 | 15.5566 | -3.1356 | 15.5566 | 2052.8
3772.74 | 0.094819 | 9971.56 | 15.8188 | -3.1878 | 15.8188 | 1886.37
3685.04 | 0.092615 | 9966.3 | 16.0809 | -3.2389 | 16.0809 | 1842.52
4247.57 | 0.10675 | 9960.58 | 16.3431 | -3.2944 | 16.3431 | 2123.78
3708.6 | 0.093207 | 9955.12 | 16.6052 | -3.3474 | 16.6052 | 1854.3
3694.32 | 0.092848 | 9950.1 | 16.8674 | -3.3962 | 16.8674 | 1847.16
4179.78 | 0.10505 | 9944.14 | 17.1295 | -3.4541 | 17.1295 | 2089.89
3882.94 | 0.097589 | 9938.72 | 17.3916 | -3.5067 | 17.3916 | 1941.47
2852.28 | 0.071686 | 9933.46 | 17.6538 | -3.5577 | 17.6538 | 1426.14
4802.19 | 0.12069 | 9928.26 | 17.9159 | -3.6082 | 17.9159 | 2401.09
2481.88 | 0.062376 | 9923 | 18.1781 | -3.6593 | 18.1781 | 1240.94
4521.76 | 0.11364 | 9917.66 | 18.4402 | -3.7111 | 18.4402 | 2260.88
3573.03 | 0.0898 | 9912.36 | 18.7024 | -3.7626 | 18.7024 | 1786.51
4514.01 | 0.11345 | 9906.54 | 18.9645 | -3.8191 | 18.9645 | 2257
4101.2 | 0.10307 | 9901.26 | 19.2267 | -3.8704 | 19.2267 | 2050.6
3833.08 | 0.096336 | 9895.86 | 19.4888 | -3.9228 | 19.4888 | 1916.54
4584.84 | 0.11523 | 9890.28 | 19.7509 | -3.977 | 19.7509 | 2292.42
4578.91 | 0.11508 | 9884.7 | 20.0131 | -4.0311 | 20.0131 | 2289.45
4012.13 | 0.10084 | 9879.5 | 20.2752 | -4.0816 | 20.2752 | 2006.07
3971.09 | 0.099805 | 9874.16 | 20.5374 | -4.1334 | 20.5374 | 1985.55
4464 | 0.11219 | 9868.9 | 20.7995 | -4.1845 | 20.7995 | 2232
4585.6 | 0.11525 | 9857.94 | 21.1927 | -4.2909 | 21.1927 | 2292.8
4192.39 | 0.10537 | 9847.14 | 21.717 | -4.3958 | 21.717 | 2096.2
4598.21 | 0.11557 | 9836.54 | 22.2413 | -4.4987 | 22.2413 | 2299.11
4159.41 | 0.10454 | 9825.5 | 22.7656 | -4.6059 | 22.7656 | 2079.71
4469.78 | 0.11234 | 9814.32 | 23.2899 | -4.7144 | 23.2899 | 2234.89
4689.71 | 0.11786 | 9803.78 | 23.8142 | -4.8167 | 23.8142 | 2344.86
4489.99 | 0.11285 | 9793.18 | 24.3385 | -4.9197 | 24.3385 | 2245
4733.64 | 0.11897 | 9782.64 | 24.8628 | -5.022 | 24.8628 | 2366.82
4241.49 | 0.1066 | 9771.76 | 25.387 | -5.1276 | 25.387 | 2120.74
5838.62 | 0.14674 | 9760.52 | 25.9113 | -5.2367 | 25.9113 | 2919.31
4993.54 | 0.1255 | 9749.82 | 26.4356 | -5.3406 | 26.4356 | 2496.77
5084.28 | 0.12778 | 9739.32 | 26.9599 | -5.4425 | 26.9599 | 2542.14
4951.9 | 0.12445 | 9728.45 | 27.4842 | -5.5481 | 27.4842 | 2475.95
5290.08 | 0.13295 | 9717.91 | 28.0085 | -5.6505 | 28.0085 | 2645.04
5238.86 | 0.13167 | 9706.36 | 28.5328 | -5.7626 | 28.5328 | 2619.43
4924.23 | 0.12376 | 9695.77 | 29.0571 | -5.8654 | 29.0571 | 2462.12
5696.51 | 0.14317 | 9685.23 | 29.5813 | -5.9678 | 29.5813 | 2848.25
5282.18 | 0.13276 | 9674.55 | 30.1056 | -6.0714 | 30.1056 | 2641.09
5694.83 | 0.14313 | 9663.91 | 30.6299 | -6.1748 | 30.6299 | 2847.42
5415.63 | 0.13611 | 9652.63 | 31.1542 | -6.2843 | 31.1542 | 2707.81
5489.19 | 0.13796 | 9641.69 | 31.6785 | -6.3904 | 31.6785 | 2744.59
5724.02 | 0.14386 | 9631.09 | 32.2028 | -6.4934 | 32.2028 | 2862.01
5430.37 | 0.13648 | 9620.59 | 32.7271 | -6.5953 | 32.7271 | 2715.18
6235.01 | 0.1567 | 9609.77 | 33.2514 | -6.7004 | 33.2514 | 3117.51
5786.49 | 0.14543 | 9598.81 | 33.7756 | -6.8067 | 33.7756 | 2893.24
5894.86 | 0.14815 | 9587.75 | 34.2999 | -6.9142 | 34.2999 | 2947.43
6382.6 | 0.16041 | 9577.09 | 34.8242 | -7.0176 | 34.8242 | 3191.3
6023.44 | 0.15139 | 9566.45 | 35.3485 | -7.1209 | 35.3485 | 3011.72
6495.22 | 0.16324 | 9555.55 | 35.8728 | -7.2268 | 35.8728 | 3247.61
5818.71 | 0.14624 | 9544.79 | 36.3971 | -7.3312 | 36.3971 | 2909.35
6417.56 | 0.16129 | 9534.01 | 36.9214 | -7.4359 | 36.9214 | 3208.78
6383.81 | 0.16044 | 9523.02 | 37.4457 | -7.5426 | 37.4457 | 3191.91
6182.73 | 0.15539 | 9512.41 | 37.97 | -7.6456 | 37.97 | 3091.36
6730.96 | 0.16917 | 9501.52 | 38.4942 | -7.7514 | 38.4942 | 3365.48
6128.01 | 0.15401 | 9490.77 | 39.0185 | -7.8557 | 39.0185 | 3064.01
6840.85 | 0.17193 | 9480.2 | 39.5428 | -7.9584 | 39.5428 | 3420.43
6281.22 | 0.15786 | 9469.27 | 40.0671 | -8.0644 | 40.0671 | 3140.61
6635.82 | 0.16678 | 9457.88 | 40.5914 | -8.1751 | 40.5914 | 3317.91
7265.97 | 0.18261 | 9447.38 | 41.1157 | -8.277 | 41.1157 | 3632.99
6742.82 | 0.16947 | 9436.82 | 41.64 | -8.3795 | 41.64 | 3371.41
7175.08 | 0.18033 | 9415.42 | 42.4264 | -8.5873 | 42.4264 | 3587.54
7674.99 | 0.19289 | 9393.32 | 43.475 | -8.8019 | 43.475 | 3837.49
7521.78 | 0.18904 | 9372.12 | 44.5236 | -9.0076 | 44.5236 | 3760.89
7153.5 | 0.17979 | 9350.24 | 45.5721 | -9.2201 | 45.5721 | 3576.75
6830.82 | 0.17168 | 9328.74 | 46.6207 | -9.4289 | 46.6207 | 3415.41
7350.79 | 0.18474 | 9307.5 | 47.6693 | -9.635 | 47.6693 | 3675.39
7821.81 | 0.19658 | 9285.34 | 48.7179 | -9.8502 | 48.7179 | 3910.9
8130.81 | 0.20435 | 9264.08 | 49.7664 | -10.0566 | 49.7664 | 4065.4
7959.67 | 0.20005 | 9242.46 | 50.815 | -10.2665 | 50.815 | 3979.83
7495.33 | 0.18838 | 9220.56 | 51.8636 | -10.4791 | 51.8636 | 3747.67
7574.06 | 0.19036 | 9199.2 | 52.9122 | -10.6865 | 52.9122 | 3787.03
8374.76 | 0.21048 | 9177.8 | 53.9607 | -10.8942 | 53.9607 | 4187.38
8625.85 | 0.21679 | 9155.53 | 55.0093 | -11.1105 | 55.0093 | 4312.92
8775.71 | 0.22056 | 9134.39 | 56.0579 | -11.3158 | 56.0579 | 4387.86
8359.41 | 0.2101 | 9112.95 | 57.1065 | -11.5239 | 57.1065 | 4179.7
8407.89 | 0.21131 | 9090.93 | 58.155 | -11.7377 | 58.155 | 4203.95
8484.65 | 0.21324 | 9069.79 | 59.2036 | -11.9429 | 59.2036 | 4242.32
8376.28 | 0.21052 | 9047.71 | 60.2522 | -12.1573 | 60.2522 | 4188.14
9107.36 | 0.22889 | 9026.25 | 61.3008 | -12.3656 | 61.3008 | 4553.68
8993.97 | 0.22604 | 9004.61 | 62.3493 | -12.5757 | 62.3493 | 4496.99
8888.49 | 0.22339 | 8982.88 | 63.3979 | -12.7868 | 63.3979 | 4444.24
8511.85 | 0.21393 | 8961.79 | 64.4465 | -12.9915 | 64.4465 | 4255.93
8811.13 | 0.22145 | 8940.06 | 65.4951 | -13.2025 | 65.4951 | 4405.56
8839.55 | 0.22216 | 8918.22 | 66.5436 | -13.4145 | 66.5436 | 4419.77
9045.19 | 0.22733 | 8896.66 | 67.5922 | -13.6238 | 67.5922 | 4522.6
9509.53 | 0.239 | 8875.18 | 68.6408 | -13.8324 | 68.6408 | 4754.76
9409.97 | 0.2365 | 8853.58 | 69.6894 | -14.0421 | 69.6894 | 4704.99
9292.64 | 0.23355 | 8831.9 | 70.738 | -14.2526 | 70.738 | 4646.32
8782.85 | 0.22074 | 8810.48 | 71.7865 | -14.4605 | 71.7865 | 4391.43
9253.73 | 0.23257 | 8788.54 | 72.8351 | -14.6735 | 72.8351 | 4626.86
9985.87 | 0.25097 | 8767.3 | 73.8837 | -14.8797 | 73.8837 | 4992.94
10065.7 | 0.25298 | 8745.16 | 74.9323 | -15.0947 | 74.9323 | 5032.83
9551.78 | 0.24006 | 8723.89 | 75.9808 | -15.3012 | 75.9808 | 4775.89
9332.76 | 0.23456 | 8702.31 | 77.0294 | -15.5108 | 77.0294 | 4666.38
9778.55 | 0.24576 | 8680.48 | 78.078 | -15.7226 | 78.078 | 4889.28
9891.18 | 0.24859 | 8659.41 | 79.1266 | -15.9273 | 79.1266 | 4945.59
10288.3 | 0.25857 | 8637.59 | 80.1751 | -16.1391 | 80.1751 | 5144.17
9919.91 | 0.24931 | 8615.83 | 81.2237 | -16.3504 | 81.2237 | 4959.95
9800.9 | 0.24632 | 8594.23 | 82.2723 | -16.5601 | 82.2723 | 4900.45
9828.56 | 0.24702 | 8572.77 | 83.3209 | -16.7684 | 83.3209 | 4914.28
10066 | 0.25299 | 8529.55 | 84.8937 | -17.188 | 84.8937 | 5032.98
10562.8 | 0.26547 | 8486.23 | 86.9909 | -17.6086 | 86.9909 | 5281.42
9938.45 | 0.24978 | 8442.82 | 89.088 | -18.0301 | 89.088 | 4969.22
10889.8 | 0.27369 | 8400.32 | 91.1852 | -18.4427 | 91.1852 | 5444.88
10655.7 | 0.26781 | 8356.88 | 93.2823 | -18.8645 | 93.2823 | 5327.85
10333.2 | 0.2597 | 8313.34 | 95.3795 | -19.2872 | 95.3795 | 5166.59
11319 | 0.28448 | 8270.32 | 97.4766 | -19.7048 | 97.4766 | 5659.5