## Details
Filename | omni_slowcomp_cross7
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_cross7
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_cross7
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_cross7.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 12:47
Time at start of test | 1.0362
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Stress
Pa | N | µm | s | % | Pa
1701.55 | 0.042765 | 9299.98 | 0 | -6.2346e-05 | 850.775
1702.01 | 0.042776 | 9299.98 | 0.000544 | -6.2346e-05 | 851.003
1670.7 | 0.041989 | 9299.95 | 0.001568 | -0.00048294 | 835.348
1586.34 | 0.039869 | 9299.95 | 0.002592 | -0.00048294 | 793.17
1432.83 | 0.036011 | 9299.95 | 0.003616 | -0.00048294 | 716.414
1242.38 | 0.031224 | 9299.95 | 0.00464 | -0.00048294 | 621.191
1104.83 | 0.027767 | 9299.95 | 0.005664 | -0.00048294 | 552.415
1068.2 | 0.026847 | 9299.95 | 0.006688 | -0.00048294 | 534.1
1155.59 | 0.029043 | 9299.95 | 0.007712 | -0.00048294 | 577.797
1275.97 | 0.032069 | 9299.95 | 0.008736 | -0.00048294 | 637.986
1355.01 | 0.034055 | 9299.95 | 0.00976 | -0.00048294 | 677.504
1372.64 | 0.034498 | 9299.95 | 0.010784 | -0.00048294 | 686.32
1406.38 | 0.035346 | 9299.95 | 0.011808 | -0.00048294 | 703.191
1472.65 | 0.037012 | 9299.95 | 0.012832 | -0.00048294 | 736.325
1510.34 | 0.037959 | 9299.95 | 0.013856 | -0.00048294 | 755.172
1456.54 | 0.036607 | 9299.95 | 0.01488 | -0.00048294 | 728.269
1334.49 | 0.033539 | 9299.95 | 0.015904 | -0.00048294 | 667.245
1220.34 | 0.030671 | 9299.95 | 0.016928 | -0.00048294 | 610.172
1189.03 | 0.029884 | 9299.95 | 0.017952 | -0.00048294 | 594.516
1168.82 | 0.029376 | 9299.95 | 0.018976 | -0.00048294 | 584.409
1087.81 | 0.02734 | 9299.88 | 0.02 | -0.0011539 | 543.903
1018.8 | 0.025605 | 9299.88 | 0.021024 | -0.0011539 | 509.401
1078.23 | 0.027099 | 9299.88 | 0.022048 | -0.0011539 | 539.115
1278.86 | 0.032141 | 9299.88 | 0.023072 | -0.0011539 | 639.43
1521.9 | 0.038249 | 9299.88 | 0.024096 | -0.0011539 | 760.948
1734.38 | 0.04359 | 9299.88 | 0.02512 | -0.0011539 | 867.19
1804.6 | 0.045355 | 9299.88 | 0.026144 | -0.0011539 | 902.3
1745.78 | 0.043876 | 9299.88 | 0.027168 | -0.0011539 | 872.89
1619.63 | 0.040706 | 9299.88 | 0.028192 | -0.0011539 | 809.813
1466.11 | 0.036847 | 9299.88 | 0.029216 | -0.0011539 | 733.057
1294.52 | 0.032535 | 9299.88 | 0.03024 | -0.0011539 | 647.258
1104.98 | 0.027771 | 9299.88 | 0.031264 | -0.0011539 | 552.491
1118.66 | 0.028115 | 9299.88 | 0.032288 | -0.0011539 | 559.33
1173.23 | 0.029486 | 9299.88 | 0.033312 | -0.0011539 | 586.613
1183.26 | 0.029739 | 9299.88 | 0.034336 | -0.0011539 | 591.629
1169.12 | 0.029383 | 9299.88 | 0.03536 | -0.0011539 | 584.561
1219.74 | 0.030655 | 9299.88 | 0.036384 | -0.0011539 | 609.868
1345.43 | 0.033814 | 9299.88 | 0.037408 | -0.0011539 | 672.716
1507 | 0.037875 | 9299.88 | 0.038432 | -0.0011539 | 753.5
1592.12 | 0.040014 | 9299.88 | 0.039456 | -0.0011539 | 796.058
1522.5 | 0.038265 | 9299.88 | 0.04048 | -0.0011539 | 761.252
1154.38 | 0.029013 | 9299.88 | 0.042016 | -0.0011539 | 577.189
1143.89 | 0.028749 | 9299.62 | 0.044064 | -0.0039278 | 571.946
1495.9 | 0.037596 | 9299.62 | 0.046112 | -0.0039278 | 747.952
1647.14 | 0.041397 | 9299.62 | 0.04816 | -0.0039278 | 823.568
1523.42 | 0.038288 | 9299.62 | 0.050208 | -0.0039278 | 761.708
1584.67 | 0.039827 | 9299.62 | 0.052256 | -0.0039278 | 792.334
1218.98 | 0.030636 | 9299.62 | 0.054304 | -0.0039278 | 609.488
932.623 | 0.023439 | 9299.62 | 0.056352 | -0.0039278 | 466.311
1203.17 | 0.030239 | 9299.62 | 0.0584 | -0.0039278 | 601.584
1593.94 | 0.04006 | 9299.62 | 0.060448 | -0.0039278 | 796.97
1676.93 | 0.042146 | 9299.25 | 0.062496 | -0.0080036 | 838.464
1417.48 | 0.035625 | 9299.25 | 0.064544 | -0.0080036 | 708.738
1347.56 | 0.033868 | 9299.25 | 0.066592 | -0.0080036 | 673.78
1267.61 | 0.031859 | 9299.25 | 0.06864 | -0.0080036 | 633.806
1149.21 | 0.028883 | 9299.25 | 0.070688 | -0.0080036 | 574.606
1359.57 | 0.03417 | 9299.25 | 0.072736 | -0.0080036 | 679.784
1801.1 | 0.045267 | 9299.25 | 0.074784 | -0.0080036 | 900.552
1583.45 | 0.039796 | 9299.25 | 0.076832 | -0.0080036 | 791.726
996.915 | 0.025055 | 9299.25 | 0.07888 | -0.0080036 | 498.458
842.339 | 0.02117 | 9299.25 | 0.080928 | -0.0080036 | 421.17
934.598 | 0.023489 | 9298.91 | 0.082976 | -0.011649 | 467.299
1135.23 | 0.028531 | 9298.91 | 0.085024 | -0.011649 | 567.614
1566.58 | 0.039372 | 9298.91 | 0.087072 | -0.011649 | 783.29
1828.46 | 0.045954 | 9298.91 | 0.08912 | -0.011649 | 914.232
1613.55 | 0.040553 | 9298.91 | 0.091168 | -0.011649 | 806.773
1065.01 | 0.026767 | 9298.91 | 0.093216 | -0.011649 | 532.504
1056.95 | 0.026564 | 9298.91 | 0.095264 | -0.011649 | 528.476
1388.14 | 0.034888 | 9298.91 | 0.097312 | -0.011649 | 694.071
1489.06 | 0.037424 | 9298.91 | 0.09936 | -0.011649 | 744.532
1539.07 | 0.038681 | 9298.38 | 0.10141 | -0.017277 | 769.535
1664.92 | 0.041844 | 9298.38 | 0.10346 | -0.017277 | 832.46
1496.06 | 0.0376 | 9298.38 | 0.1055 | -0.017277 | 748.028
946.454 | 0.023787 | 9298.38 | 0.10755 | -0.017277 | 473.227
1037.65 | 0.026079 | 9298.38 | 0.1096 | -0.017277 | 518.825
1654.28 | 0.041577 | 9298.38 | 0.11165 | -0.017277 | 827.14
1767.36 | 0.044419 | 9298.38 | 0.1137 | -0.017277 | 883.681
1620.54 | 0.040729 | 9298.38 | 0.11574 | -0.017277 | 810.269
1358.05 | 0.034132 | 9298.38 | 0.11779 | -0.017277 | 679.024
1180.37 | 0.029666 | 9298.38 | 0.11984 | -0.017277 | 590.185
1011.05 | 0.02541 | 9298.38 | 0.12189 | -0.017277 | 505.525
1572.36 | 0.039518 | 9297.98 | 0.12496 | -0.021563 | 786.178
1188.73 | 0.029876 | 9297.98 | 0.12906 | -0.021563 | 594.365
1277.95 | 0.032118 | 9297.98 | 0.13315 | -0.021563 | 638.974
1502.44 | 0.03776 | 9297.98 | 0.13725 | -0.021563 | 751.22
1401.06 | 0.035213 | 9297.61 | 0.14134 | -0.025639 | 700.531
1227.94 | 0.030862 | 9297.61 | 0.14544 | -0.025639 | 613.971
1362.61 | 0.034246 | 9297.61 | 0.14954 | -0.025639 | 681.304
1367.17 | 0.034361 | 9297.61 | 0.15363 | -0.025639 | 683.584
1221.1 | 0.03069 | 9297.61 | 0.15773 | -0.025639 | 610.552
1663.4 | 0.041806 | 9297.09 | 0.16182 | -0.031227 | 831.7
1403.49 | 0.035274 | 9297.09 | 0.16592 | -0.031227 | 701.747
843.099 | 0.021189 | 9297.09 | 0.17002 | -0.031227 | 421.55
1570.53 | 0.039472 | 9297.09 | 0.17411 | -0.031227 | 785.266
1697.45 | 0.042661 | 9297.09 | 0.17821 | -0.031227 | 848.723
1105.29 | 0.027779 | 9296.66 | 0.1823 | -0.035763 | 552.643
1315.19 | 0.033054 | 9296.66 | 0.1864 | -0.035763 | 657.593
1498.94 | 0.037673 | 9296.66 | 0.1905 | -0.035763 | 749.472
1169.27 | 0.029387 | 9296.66 | 0.19459 | -0.035763 | 584.637
1365.19 | 0.034311 | 9296.66 | 0.19869 | -0.035763 | 682.596
1674.19 | 0.042077 | 9296.38 | 0.20278 | -0.038787 | 837.096
952.837 | 0.023947 | 9296.38 | 0.20688 | -0.038787 | 476.419
1215.94 | 0.03056 | 9296.38 | 0.21098 | -0.038787 | 607.968
1657.93 | 0.041668 | 9296.38 | 0.21507 | -0.038787 | 828.964
1154.68 | 0.02902 | 9296.38 | 0.21917 | -0.038787 | 577.341
1441.19 | 0.036221 | 9295.8 | 0.22326 | -0.045006 | 720.594
1717.21 | 0.043158 | 9295.8 | 0.22736 | -0.045006 | 858.602
1142.68 | 0.028719 | 9295.8 | 0.23146 | -0.045006 | 571.338
1140.55 | 0.028665 | 9295.48 | 0.23555 | -0.048451 | 570.274
1726.48 | 0.043391 | 9295.48 | 0.23965 | -0.048451 | 863.238
1217.3 | 0.030594 | 9295.48 | 0.24374 | -0.048451 | 608.652
1290.11 | 0.032424 | 9295.48 | 0.24784 | -0.048451 | 645.054
1672.52 | 0.042035 | 9295.48 | 0.25194 | -0.048451 | 836.26
1116.53 | 0.028061 | 9295.48 | 0.25603 | -0.048451 | 558.266
1046.92 | 0.026312 | 9295.02 | 0.26013 | -0.053408 | 523.46
1666.44 | 0.041882 | 9295.02 | 0.26422 | -0.053408 | 833.22
1624.64 | 0.040832 | 9295.02 | 0.26832 | -0.053408 | 812.321
951.774 | 0.023921 | 9295.02 | 0.27242 | -0.053408 | 475.887
1519.77 | 0.038196 | 9295.02 | 0.27651 | -0.053408 | 759.884
1293.45 | 0.032508 | 9294.63 | 0.28061 | -0.057684 | 646.726
1184.63 | 0.029773 | 9294.63 | 0.2847 | -0.057684 | 592.313
1404.1 | 0.035289 | 9294.63 | 0.29085 | -0.057684 | 702.051
1185.69 | 0.0298 | 9294.34 | 0.29904 | -0.060708 | 592.845
1083.55 | 0.027233 | 9294.34 | 0.30723 | -0.060708 | 541.775
1375.22 | 0.034563 | 9294.34 | 0.31542 | -0.060708 | 687.612
1482.83 | 0.037268 | 9293.95 | 0.32362 | -0.064995 | 741.417
1217.76 | 0.030606 | 9293.95 | 0.33181 | -0.064995 | 608.88
1606.86 | 0.040385 | 9293.63 | 0.34 | -0.06844 | 803.429
1430.4 | 0.03595 | 9293.63 | 0.34819 | -0.06844 | 715.198
1119.12 | 0.028126 | 9293.63 | 0.35638 | -0.06844 | 559.558
1336.92 | 0.0336 | 9293.14 | 0.36458 | -0.073607 | 668.461
1511.86 | 0.037997 | 9293.14 | 0.37277 | -0.073607 | 755.932
1263.81 | 0.031763 | 9292.8 | 0.38096 | -0.077262 | 631.906
1701.55 | 0.042765 | 9292.8 | 0.38915 | -0.077262 | 850.775
1255 | 0.031542 | 9292.8 | 0.39734 | -0.077262 | 627.499
1320.2 | 0.03318 | 9292.45 | 0.40554 | -0.081128 | 660.101
1609.29 | 0.040446 | 9292.45 | 0.41373 | -0.081128 | 804.645
1148.6 | 0.028868 | 9292.02 | 0.42192 | -0.085664 | 574.302
1357.9 | 0.034128 | 9292.02 | 0.43011 | -0.085664 | 678.948
1674.95 | 0.042096 | 9291.62 | 0.4383 | -0.08995 | 837.476
1167.6 | 0.029345 | 9291.62 | 0.4465 | -0.08995 | 583.801
1271.87 | 0.031966 | 9291.27 | 0.45469 | -0.093816 | 635.934
1654.58 | 0.041584 | 9291.27 | 0.46288 | -0.093816 | 827.292
1137.2 | 0.028581 | 9291.27 | 0.47107 | -0.093816 | 568.602
1619.02 | 0.04069 | 9291.27 | 0.47926 | -0.093816 | 809.509
1438.76 | 0.03616 | 9290.84 | 0.48746 | -0.098342 | 719.378
1077.47 | 0.02708 | 9290.84 | 0.49565 | -0.098342 | 538.735
1461.4 | 0.036729 | 9290.38 | 0.50384 | -0.1033 | 730.701
1575.55 | 0.039598 | 9290.38 | 0.51203 | -0.1033 | 787.774
1127.02 | 0.028325 | 9290.38 | 0.52022 | -0.1033 | 563.51
1710.82 | 0.042998 | 9290.04 | 0.52842 | -0.10695 | 855.411
1094.04 | 0.027496 | 9290.04 | 0.53661 | -0.10695 | 547.019
1436.32 | 0.036099 | 9290.04 | 0.5448 | -0.10695 | 718.162
1642.42 | 0.041279 | 9289.7 | 0.55299 | -0.11061 | 821.212
1044.34 | 0.026247 | 9289.7 | 0.56118 | -0.11061 | 522.168
1267.92 | 0.031866 | 9289.12 | 0.56938 | -0.11683 | 633.958
1790.77 | 0.045007 | 9288.84 | 0.57757 | -0.11985 | 895.385
1325.07 | 0.033302 | 9288.84 | 0.58576 | -0.11985 | 662.533
1471.13 | 0.036973 | 9288.84 | 0.59395 | -0.11985 | 735.565
1371.42 | 0.034468 | 9288.48 | 0.60214 | -0.12372 | 685.712
984.452 | 0.024742 | 9288.48 | 0.61034 | -0.12372 | 492.226
1419.3 | 0.035671 | 9288.06 | 0.62262 | -0.12826 | 709.65
1678.45 | 0.042184 | 9287.75 | 0.63901 | -0.13166 | 839.223
1047.68 | 0.026331 | 9287.75 | 0.65539 | -0.13166 | 523.84
1055.43 | 0.026526 | 9287.34 | 0.67178 | -0.13599 | 527.716
1492.71 | 0.037516 | 9286.88 | 0.68816 | -0.14094 | 746.356
1501.83 | 0.037745 | 9286.57 | 0.70454 | -0.14434 | 750.916
1212.74 | 0.03048 | 9286.57 | 0.72093 | -0.14434 | 606.372
1458.36 | 0.036653 | 9286.13 | 0.73731 | -0.14908 | 729.181
1845.18 | 0.046374 | 9285.38 | 0.7537 | -0.15707 | 922.591
1231.13 | 0.030942 | 9285 | 0.77008 | -0.16114 | 615.567
1191.92 | 0.029956 | 9284.66 | 0.78646 | -0.1648 | 595.96
1782.26 | 0.044793 | 9284.66 | 0.80285 | -0.1648 | 891.129
1468.85 | 0.036916 | 9284.34 | 0.81923 | -0.16824 | 734.425
927.303 | 0.023306 | 9283.98 | 0.83562 | -0.17211 | 463.651
1549.25 | 0.038937 | 9283.57 | 0.852 | -0.17659 | 774.627
1788.95 | 0.044961 | 9283.25 | 0.86838 | -0.18004 | 894.473
1158.79 | 0.029124 | 9283.25 | 0.88477 | -0.18004 | 579.393
1629.51 | 0.040954 | 9282.91 | 0.90115 | -0.18369 | 814.753
1682.09 | 0.042276 | 9282.36 | 0.91754 | -0.18953 | 841.047
1336.92 | 0.0336 | 9282.04 | 0.93392 | -0.19298 | 668.461
1072 | 0.026942 | 9281.77 | 0.9503 | -0.19596 | 536
1846.7 | 0.046413 | 9281.22 | 0.96669 | -0.2018 | 923.351
1436.48 | 0.036103 | 9281.22 | 0.98307 | -0.2018 | 718.238
1047.38 | 0.026323 | 9280.95 | 0.99946 | -0.20478 | 523.688
1691.82 | 0.04252 | 9280.54 | 1.0158 | -0.20911 | 845.911
1521.59 | 0.038242 | 9280.22 | 1.0322 | -0.21255 | 760.796
1063.64 | 0.026732 | 9279.8 | 1.0486 | -0.21705 | 531.82
1446.96 | 0.036366 | 9279.8 | 1.065 | -0.21705 | 723.482
1539.68 | 0.038696 | 9279.45 | 1.0814 | -0.22091 | 769.839
1372.79 | 0.034502 | 9279.02 | 1.0978 | -0.22544 | 686.396
1047.68 | 0.026331 | 9278.72 | 1.1141 | -0.22868 | 523.84
1637.56 | 0.041156 | 9278.3 | 1.1305 | -0.23317 | 818.781
1446.96 | 0.036366 | 9278.3 | 1.1469 | -0.23317 | 723.482
1317.47 | 0.033112 | 9278.02 | 1.1633 | -0.2362 | 658.733
1375.68 | 0.034575 | 9277.54 | 1.1797 | -0.24136 | 687.84
1781.65 | 0.044778 | 9277.3 | 1.1961 | -0.24393 | 890.825
1429.94 | 0.035938 | 9276.88 | 1.2125 | -0.24846 | 714.97
876.538 | 0.02203 | 9276.46 | 1.2288 | -0.25296 | 438.269
1947.47 | 0.048945 | 9276.46 | 1.2452 | -0.25296 | 973.736
1609.29 | 0.040446 | 9276.22 | 1.2616 | -0.25556 | 804.645
1432.07 | 0.035992 | 9275.45 | 1.2862 | -0.26392 | 716.034
1489.83 | 0.037443 | 9275.11 | 1.3189 | -0.26757 | 744.913
1513.08 | 0.038028 | 9274.27 | 1.3517 | -0.2766 | 756.54
1038.56 | 0.026102 | 9273.66 | 1.3845 | -0.28308 | 519.28
1565.06 | 0.039334 | 9273.2 | 1.4172 | -0.28803 | 782.531
1534.05 | 0.038555 | 9272.48 | 1.45 | -0.29576 | 767.027
1396.96 | 0.035109 | 9271.7 | 1.4828 | -0.30417 | 698.479
1722.52 | 0.043292 | 9271.45 | 1.5155 | -0.30693 | 861.262
1237.52 | 0.031102 | 9270.7 | 1.5483 | -0.31491 | 618.759
1599.72 | 0.040205 | 9269.95 | 1.5811 | -0.32306 | 799.858
1340.87 | 0.0337 | 9269.59 | 1.6139 | -0.32693 | 670.436
1336.47 | 0.033589 | 9268.8 | 1.6466 | -0.33533 | 668.233
1677.69 | 0.042165 | 9268.07 | 1.6794 | -0.34326 | 838.844
1230.37 | 0.030923 | 9267.71 | 1.7122 | -0.34713 | 615.187
1763.41 | 0.044319 | 9266.95 | 1.7449 | -0.35532 | 881.705
1106.65 | 0.027813 | 9266.66 | 1.7777 | -0.35834 | 553.327
1717.36 | 0.043162 | 9265.95 | 1.8105 | -0.36607 | 858.678
1586.34 | 0.039869 | 9265.11 | 1.8432 | -0.37511 | 793.17
1322.94 | 0.033249 | 9264.77 | 1.876 | -0.37876 | 661.469
1751.4 | 0.044018 | 9264.1 | 1.9088 | -0.38586 | 875.702
1339.51 | 0.033665 | 9263.77 | 1.9415 | -0.38951 | 669.753
1523.72 | 0.038295 | 9262.98 | 1.9743 | -0.39791 | 761.86
1592.57 | 0.040026 | 9262.35 | 2.0071 | -0.40476 | 796.286
1394.68 | 0.035052 | 9261.95 | 2.0398 | -0.40908 | 697.339
1810.22 | 0.045496 | 9261.21 | 2.0726 | -0.41702 | 905.112
1542.72 | 0.038773 | 9260.48 | 2.1054 | -0.4248 | 771.359
1515.21 | 0.038081 | 9260.09 | 2.1381 | -0.42907 | 757.604
1452.43 | 0.036504 | 9259.27 | 2.1709 | -0.43789 | 726.217
1523.42 | 0.038288 | 9258.49 | 2.2037 | -0.44626 | 761.708
1843.66 | 0.046336 | 9258.12 | 2.2365 | -0.45016 | 921.831
1245.12 | 0.031293 | 9257.46 | 2.2692 | -0.45726 | 622.559
2129.56 | 0.053522 | 9256.67 | 2.302 | -0.46582 | 1064.78
1490.13 | 0.037451 | 9256.35 | 2.3348 | -0.46927 | 745.064
1419.3 | 0.035671 | 9255.53 | 2.3675 | -0.47809 | 709.65
1858.41 | 0.046707 | 9254.89 | 2.4003 | -0.48498 | 929.203
1315.79 | 0.03307 | 9254.39 | 2.4331 | -0.49036 | 657.897
1643.79 | 0.041313 | 9253.73 | 2.4658 | -0.49746 | 821.896
1417.48 | 0.035625 | 9253.39 | 2.4986 | -0.50111 | 708.738
1521.44 | 0.038238 | 9252.63 | 2.5314 | -0.50926 | 760.72
1681.33 | 0.042257 | 9252.21 | 2.5641 | -0.51379 | 840.667
1857.49 | 0.046684 | 9250.75 | 2.6133 | -0.52951 | 928.747
1757.94 | 0.044182 | 9249.53 | 2.6788 | -0.54261 | 878.969
1810.98 | 0.045515 | 9248.21 | 2.7443 | -0.5568 | 905.492
1399.09 | 0.035163 | 9247.03 | 2.8099 | -0.56949 | 699.543
1416.72 | 0.035606 | 9245.85 | 2.8754 | -0.58218 | 708.358
1699.27 | 0.042707 | 9244.85 | 2.941 | -0.59293 | 849.635
1985.62 | 0.049904 | 9243.31 | 3.0065 | -0.60948 | 992.811
1517.18 | 0.038131 | 9242.31 | 3.072 | -0.62023 | 758.592
1493.17 | 0.037527 | 9241.17 | 3.1376 | -0.63249 | 746.584
1276.28 | 0.032076 | 9239.53 | 3.2031 | -0.65014 | 638.138
1653.67 | 0.041561 | 9238.49 | 3.2686 | -0.66131 | 826.836
2186.86 | 0.054962 | 9237.39 | 3.3342 | -0.67311 | 1093.43
1939.72 | 0.048751 | 9236.17 | 3.3997 | -0.68626 | 969.861
1653.37 | 0.041554 | 9235.05 | 3.4653 | -0.69827 | 826.684
1528.73 | 0.038421 | 9233.57 | 3.5308 | -0.71419 | 764.367
1514.3 | 0.038058 | 9232.39 | 3.5963 | -0.72688 | 757.148
1702.92 | 0.042799 | 9231.21 | 3.6619 | -0.7396 | 851.459
1897.77 | 0.047696 | 9229.75 | 3.7274 | -0.75527 | 948.886
1949.9 | 0.049006 | 9228.57 | 3.7929 | -0.76795 | 974.952
1993.68 | 0.050107 | 9227.45 | 3.8585 | -0.78001 | 996.839
1622.82 | 0.040786 | 9225.89 | 3.924 | -0.79676 | 811.409
1280.99 | 0.032195 | 9224.77 | 3.9895 | -0.80882 | 640.494
1917.07 | 0.048181 | 9223.73 | 4.0551 | -0.82 | 958.537
2378.22 | 0.059771 | 9222.55 | 4.1206 | -0.83273 | 1189.11
1960.7 | 0.049278 | 9220.99 | 4.1861 | -0.84948 | 980.348
1930.45 | 0.048517 | 9219.95 | 4.2517 | -0.86065 | 965.225
1523.26 | 0.038284 | 9218.89 | 4.3172 | -0.87204 | 761.632
1572.51 | 0.039522 | 9217.73 | 4.3827 | -0.88451 | 786.254
1701.4 | 0.042761 | 9216.31 | 4.4483 | -0.8998 | 850.699
2173.48 | 0.054626 | 9215.21 | 4.5138 | -0.91165 | 1086.74
2033.65 | 0.051111 | 9214.11 | 4.5794 | -0.92344 | 1016.83
1591.66 | 0.040003 | 9212.67 | 4.6449 | -0.93895 | 795.83
1415.05 | 0.035564 | 9211.55 | 4.7104 | -0.95096 | 707.523
1670.7 | 0.041989 | 9210.39 | 4.776 | -0.96343 | 835.348
2100.98 | 0.052804 | 9209.35 | 4.8415 | -0.97465 | 1050.49
2136.55 | 0.053697 | 9207.81 | 4.907 | -0.9912 | 1068.28
1970.42 | 0.049522 | 9206.75 | 4.9726 | -1.0026 | 985.212
1552.29 | 0.039013 | 9205.75 | 5.0381 | -1.0133 | 776.147
1905.52 | 0.047891 | 9204.23 | 5.1037 | -1.0297 | 952.762
1928.63 | 0.048472 | 9203.07 | 5.1692 | -1.0421 | 964.313
2038.97 | 0.051245 | 9200.85 | 5.2675 | -1.066 | 1019.49
1819.5 | 0.045729 | 9198.23 | 5.3986 | -1.0942 | 909.748
1904.76 | 0.047872 | 9196.09 | 5.5296 | -1.1172 | 952.382
1975.9 | 0.04966 | 9193.49 | 5.6607 | -1.1452 | 987.948
1397.41 | 0.035121 | 9190.85 | 5.7918 | -1.1736 | 698.707
2100.38 | 0.052788 | 9188.61 | 5.9229 | -1.1976 | 1050.19
1956.44 | 0.049171 | 9186.05 | 6.0539 | -1.2251 | 978.22
1752.01 | 0.044033 | 9183.95 | 6.185 | -1.2478 | 876.006
2271.67 | 0.057093 | 9181.31 | 6.3161 | -1.2761 | 1135.84
1966.02 | 0.049411 | 9179.05 | 6.4471 | -1.3004 | 983.008
1794.72 | 0.045106 | 9176.39 | 6.5782 | -1.329 | 897.36
2317.57 | 0.058247 | 9173.67 | 6.7093 | -1.3583 | 1158.79
1820.1 | 0.045744 | 9171.41 | 6.8403 | -1.3826 | 910.052
1817.22 | 0.045672 | 9168.59 | 6.9714 | -1.4129 | 908.608
2162.09 | 0.054339 | 9166.45 | 7.1025 | -1.4359 | 1081.04
1828.92 | 0.045966 | 9163.81 | 7.2336 | -1.4643 | 914.46
2345.84 | 0.058958 | 9161.63 | 7.3646 | -1.4878 | 1172.92
2160.11 | 0.054289 | 9158.87 | 7.4957 | -1.5174 | 1080.05
1882.72 | 0.047318 | 9156.77 | 7.6268 | -1.54 | 941.362
2378.83 | 0.059786 | 9154.09 | 7.7579 | -1.5688 | 1189.41
2122.72 | 0.05335 | 9151.99 | 7.8889 | -1.5914 | 1061.36
1769.49 | 0.044472 | 9149.45 | 8.02 | -1.6187 | 884.745
2421.38 | 0.060856 | 9146.85 | 8.1511 | -1.6467 | 1210.69
1642.42 | 0.041279 | 9144.65 | 8.2821 | -1.6704 | 821.212
2146.58 | 0.053949 | 9142.07 | 8.4132 | -1.6981 | 1073.29
2488.41 | 0.062541 | 9139.95 | 8.5443 | -1.7209 | 1244.21
1799.74 | 0.045232 | 9137.35 | 8.6754 | -1.7489 | 899.868
2395.55 | 0.060207 | 9135.05 | 8.8064 | -1.7736 | 1197.77
2712.9 | 0.068183 | 9132.44 | 8.9375 | -1.8016 | 1356.45
1893.52 | 0.047589 | 9130.23 | 9.0686 | -1.8254 | 946.758
2571.55 | 0.06463 | 9127.67 | 9.1997 | -1.8529 | 1285.78
2179.56 | 0.054778 | 9125.35 | 9.3307 | -1.8779 | 1089.78
2022.56 | 0.050832 | 9122.81 | 9.4618 | -1.9052 | 1011.28
2420.32 | 0.060829 | 9120.17 | 9.5929 | -1.9336 | 1210.16
2079.4 | 0.052261 | 9118.03 | 9.7239 | -1.9566 | 1039.7
2163.76 | 0.054381 | 9115.21 | 9.855 | -1.9869 | 1081.88
2617.15 | 0.065776 | 9112.99 | 9.9861 | -2.0108 | 1308.57
1858.86 | 0.046718 | 9110.33 | 10.1172 | -2.0394 | 929.431
2697.4 | 0.067793 | 9108.03 | 10.2482 | -2.0641 | 1348.7
2381.56 | 0.059855 | 9105.39 | 10.3793 | -2.0925 | 1190.78
2672.93 | 0.067178 | 9100.53 | 10.5759 | -2.1448 | 1336.47
2040.19 | 0.051276 | 9095.75 | 10.838 | -2.1961 | 1020.09
2378.37 | 0.059775 | 9091.07 | 11.1002 | -2.2464 | 1189.18
2962.17 | 0.074447 | 9086.27 | 11.3623 | -2.2981 | 1481.09
2404.66 | 0.060436 | 9081.53 | 11.6245 | -2.3491 | 1202.33
2079.4 | 0.052261 | 9076.27 | 11.8866 | -2.4056 | 1039.7
2714.12 | 0.068213 | 9071.45 | 12.1488 | -2.4574 | 1357.06
2314.53 | 0.058171 | 9066.67 | 12.4109 | -2.5088 | 1157.27
2297.05 | 0.057731 | 9061.89 | 12.6731 | -2.5602 | 1148.53
2720.81 | 0.068381 | 9056.95 | 12.9352 | -2.6134 | 1360.4
2665.79 | 0.066999 | 9051.99 | 13.1973 | -2.6667 | 1332.89
2282.31 | 0.057361 | 9047.05 | 13.4595 | -2.7198 | 1141.16
2424.73 | 0.06094 | 9042.03 | 13.7216 | -2.7738 | 1212.36
3009.74 | 0.075643 | 9036.99 | 13.9838 | -2.828 | 1504.87
2480.51 | 0.062342 | 9032.13 | 14.2459 | -2.8802 | 1240.25
2471.69 | 0.06212 | 9027.37 | 14.5081 | -2.9314 | 1235.85
2899.85 | 0.072881 | 9022.75 | 14.7702 | -2.9811 | 1449.93
2617.61 | 0.065788 | 9017.95 | 15.0324 | -3.0327 | 1308.8
2468.81 | 0.062048 | 9012.99 | 15.2945 | -3.0861 | 1234.4
2879.79 | 0.072377 | 9008.21 | 15.5566 | -3.1374 | 1439.9
2898.64 | 0.072851 | 9003.39 | 15.8188 | -3.1893 | 1449.32
2374.72 | 0.059683 | 8998.49 | 16.0809 | -3.242 | 1187.36
2641.16 | 0.06638 | 8993.59 | 16.3431 | -3.2947 | 1320.58
3117.51 | 0.078352 | 8988.25 | 16.6052 | -3.3521 | 1558.75
2894.38 | 0.072744 | 8983.35 | 16.8674 | -3.4048 | 1447.19
2344.48 | 0.058923 | 8978.57 | 17.1295 | -3.4562 | 1172.24
2874.93 | 0.072255 | 8973.71 | 17.3916 | -3.5084 | 1437.46
3018.26 | 0.075857 | 8969.09 | 17.6538 | -3.5581 | 1509.13
3001.99 | 0.075448 | 8964.13 | 17.9159 | -3.6114 | 1501
3175.87 | 0.079818 | 8959.53 | 18.1781 | -3.6609 | 1587.94
3491.56 | 0.087752 | 8954.63 | 18.4402 | -3.7135 | 1745.78
2685.55 | 0.067495 | 8949.73 | 18.7024 | -3.7662 | 1342.77
2748.01 | 0.069065 | 8944.71 | 18.9645 | -3.8202 | 1374.01
3235.3 | 0.081312 | 8939.81 | 19.2267 | -3.8729 | 1617.65
3269.04 | 0.08216 | 8935.13 | 19.4888 | -3.9232 | 1634.52
2866.87 | 0.072052 | 8929.77 | 19.7509 | -3.9808 | 1433.44
2763.67 | 0.069459 | 8924.89 | 20.0131 | -4.0333 | 1381.83
3282.87 | 0.082508 | 8920.17 | 20.2752 | -4.0841 | 1641.44
3213.72 | 0.080769 | 8915.19 | 20.5374 | -4.1376 | 1606.86
2920.53 | 0.073401 | 8910.55 | 20.7995 | -4.1875 | 1460.26
3474.08 | 0.087313 | 8900.99 | 21.1927 | -4.2903 | 1737.04
3020.38 | 0.075911 | 8891.29 | 21.717 | -4.3946 | 1510.19
3501.29 | 0.087997 | 8881.45 | 22.2413 | -4.5004 | 1750.64
2900.46 | 0.072897 | 8871.55 | 22.7656 | -4.6069 | 1450.23
3279.23 | 0.082416 | 8861.77 | 23.2899 | -4.712 | 1639.61
3511.62 | 0.088257 | 8852.17 | 23.8142 | -4.8153 | 1755.81
3076.01 | 0.077309 | 8842.31 | 24.3385 | -4.9213 | 1538.01
3993.89 | 0.10038 | 8832.69 | 24.8628 | -5.0247 | 1996.95
3373.77 | 0.084792 | 8822.99 | 25.387 | -5.129 | 1686.88
4221.12 | 0.10609 | 8813.17 | 25.9113 | -5.2346 | 2110.56
3488.82 | 0.087684 | 8802.95 | 26.4356 | -5.3445 | 1744.41
3495.21 | 0.087844 | 8793.37 | 26.9599 | -5.4475 | 1747.6
3861.96 | 0.097062 | 8783.88 | 27.4842 | -5.5496 | 1930.98
3332.27 | 0.083749 | 8774.13 | 28.0085 | -5.6544 | 1666.14
4186.47 | 0.10522 | 8764.57 | 28.5328 | -5.7572 | 2093.23
3704.2 | 0.093097 | 8754.35 | 29.0571 | -5.8671 | 1852.1
4241.64 | 0.1066 | 8744.57 | 29.5813 | -5.9723 | 2120.82
3610.11 | 0.090732 | 8734.95 | 30.1056 | -6.0757 | 1805.06
3954.53 | 0.099388 | 8725.33 | 30.6299 | -6.1791 | 1977.26
3861.66 | 0.097054 | 8715.75 | 31.1542 | -6.2822 | 1930.83
3941.3 | 0.099056 | 8705.85 | 31.6785 | -6.3886 | 1970.65
4239.82 | 0.10656 | 8695.95 | 32.2028 | -6.495 | 2119.91
3767.27 | 0.094682 | 8686.05 | 32.7271 | -6.6015 | 1883.64
4295.9 | 0.10797 | 8676.43 | 33.2514 | -6.7049 | 2147.95
4426.61 | 0.11125 | 8666.64 | 33.7756 | -6.8103 | 2213.31
4262.77 | 0.10713 | 8656.91 | 34.2999 | -6.9148 | 2131.38
4038.27 | 0.10149 | 8647.32 | 34.8242 | -7.018 | 2019.14
4400.77 | 0.1106 | 8637.68 | 35.3485 | -7.1217 | 2200.39
4347.73 | 0.10927 | 8627.66 | 35.8728 | -7.2294 | 2173.86
4279.94 | 0.10757 | 8617.73 | 36.3971 | -7.3361 | 2139.97
4753.55 | 0.11947 | 8608.08 | 36.9214 | -7.4399 | 2376.77
4160.17 | 0.10456 | 8598.6 | 37.4457 | -7.5419 | 2080.09
4515.98 | 0.1135 | 8588.92 | 37.97 | -7.646 | 2257.99
4785.31 | 0.12027 | 8578.88 | 38.4942 | -7.7539 | 2392.66
4343.93 | 0.10917 | 8569.02 | 39.0185 | -7.86 | 2171.96
4937.76 | 0.1241 | 8559.2 | 39.5428 | -7.9655 | 2468.88
4227.05 | 0.10624 | 8549.71 | 40.0671 | -8.0675 | 2113.52
5151.31 | 0.12947 | 8540.21 | 40.5914 | -8.1696 | 2575.66
4408.53 | 0.1108 | 8530.18 | 41.1157 | -8.2776 | 2204.26
5065.74 | 0.12732 | 8520.58 | 41.64 | -8.3808 | 2532.87
4937.15 | 0.12408 | 8500.86 | 42.4264 | -8.5928 | 2468.58
4814.04 | 0.12099 | 8481.78 | 43.475 | -8.798 | 2407.02
4842.01 | 0.12169 | 8462.1 | 44.5236 | -9.0096 | 2421
4951.14 | 0.12444 | 8442.32 | 45.5721 | -9.2223 | 2475.57
5288.86 | 0.13292 | 8423 | 46.6207 | -9.43 | 2644.43
5599.23 | 0.14072 | 8403.72 | 47.6693 | -9.6373 | 2799.62
5654.86 | 0.14212 | 8383.72 | 48.7179 | -9.8524 | 2827.43
5490.4 | 0.13799 | 8364.5 | 49.7664 | -10.059 | 2745.2
5548.92 | 0.13946 | 8344.96 | 50.815 | -10.2691 | 2774.46
5558.8 | 0.13971 | 8325.26 | 51.8636 | -10.481 | 2779.4
5801.84 | 0.14582 | 8305.68 | 52.9122 | -10.6915 | 2900.92
6465.89 | 0.16251 | 8286.5 | 53.9607 | -10.8977 | 3232.94
6170.11 | 0.15507 | 8266.86 | 55.0093 | -11.1089 | 3085.06
6073.14 | 0.15263 | 8247.27 | 56.0579 | -11.3196 | 3036.57
5679.03 | 0.14273 | 8228.15 | 57.1065 | -11.5252 | 2839.51
6096.4 | 0.15322 | 8208.05 | 58.155 | -11.7413 | 3048.2
6199.6 | 0.15581 | 8188.82 | 59.2036 | -11.948 | 3099.8
6706.95 | 0.16856 | 8169.56 | 60.2522 | -12.1551 | 3353.47
6747.99 | 0.16959 | 8149.82 | 61.3008 | -12.3674 | 3373.99
6624.27 | 0.16649 | 8130.43 | 62.3493 | -12.576 | 3312.13
6737.04 | 0.16932 | 8110.87 | 63.3979 | -12.7863 | 3368.52
6487.47 | 0.16305 | 8091.41 | 64.4465 | -12.9955 | 3243.74
6651.17 | 0.16716 | 8072 | 65.4951 | -13.2042 | 3325.58
6903.02 | 0.17349 | 8052.4 | 66.5436 | -13.4149 | 3451.51
7309.14 | 0.1837 | 8033.11 | 67.5922 | -13.6224 | 3654.57
7425.57 | 0.18663 | 8013.28 | 68.6408 | -13.8356 | 3712.78
7639.88 | 0.19201 | 7994.05 | 69.6894 | -14.0424 | 3819.94
7305.34 | 0.1836 | 7974.33 | 70.738 | -14.2544 | 3652.67
7382.1 | 0.18553 | 7954.69 | 71.7865 | -14.4656 | 3691.05
7540.47 | 0.18951 | 7935.15 | 72.8351 | -14.6757 | 3770.24
6969.13 | 0.17515 | 7915.87 | 73.8837 | -14.8831 | 3484.57
7729.55 | 0.19426 | 7896.35 | 74.9323 | -15.0929 | 3864.78
8259.24 | 0.20758 | 7876.83 | 75.9808 | -15.3028 | 4129.62
8234.32 | 0.20695 | 7857.55 | 77.0294 | -15.5102 | 4117.16
7880.33 | 0.19805 | 7837.57 | 78.078 | -15.725 | 3940.16
7905.71 | 0.19869 | 7818.47 | 79.1266 | -15.9304 | 3952.85
8186.29 | 0.20574 | 7799.09 | 80.1751 | -16.1387 | 4093.14
8556.54 | 0.21505 | 7779.09 | 81.2237 | -16.3538 | 4278.27
9001.72 | 0.22624 | 7759.73 | 82.2723 | -16.5619 | 4500.86
8558.36 | 0.2151 | 7740.41 | 83.3209 | -16.7697 | 4279.18
8867.82 | 0.22287 | 7701.25 | 84.8937 | -17.1908 | 4433.91
8761.88 | 0.22021 | 7661.83 | 86.9909 | -17.6146 | 4380.94
9271.2 | 0.23301 | 7623.25 | 89.088 | -18.0295 | 4635.6
9081.67 | 0.22825 | 7584.41 | 91.1852 | -18.4471 | 4540.83
9611.97 | 0.24158 | 7545.25 | 93.2823 | -18.8682 | 4805.99
10248.7 | 0.25758 | 7506.38 | 95.3795 | -19.2862 | 5124.33
10211.3 | 0.25664 | 7467.08 | 97.4766 | -19.7088 | 5105.64