## Details
Filename | omni_slowcomp_inplane1
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_inplane1
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_inplane1
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_inplane1.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 11:29
Time at start of test | 0.59248
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Step time
Pa | N | µm | s | % | s
1459.27 | 0.036676 | 9399.96 | 0 | 7.9665e-06 | 0
1357.14 | 0.034108 | 9399.96 | 0.000544 | 7.9665e-06 | 0.000544
1260.47 | 0.031679 | 9399.96 | 0.001568 | 7.9665e-06 | 0.001568
1166.84 | 0.029326 | 9399.96 | 0.002592 | 7.9665e-06 | 0.002592
1050.11 | 0.026392 | 9399.96 | 0.003616 | 7.9665e-06 | 0.003616
956.485 | 0.024039 | 9399.96 | 0.00464 | 7.9665e-06 | 0.00464
931.559 | 0.023413 | 9399.96 | 0.005664 | 7.9665e-06 | 0.005664
988.1 | 0.024834 | 9399.96 | 0.006688 | 7.9665e-06 | 0.006688
1103.31 | 0.027729 | 9399.96 | 0.007712 | 7.9665e-06 | 0.007712
1262.9 | 0.03174 | 9399.96 | 0.008736 | 7.9665e-06 | 0.008736
1424.62 | 0.035805 | 9399.96 | 0.00976 | 7.9665e-06 | 0.00976
1527.06 | 0.038379 | 9399.96 | 0.010784 | 7.9665e-06 | 0.010784
1549.41 | 0.038941 | 9399.96 | 0.011808 | 7.9665e-06 | 0.011808
1509.13 | 0.037928 | 9399.96 | 0.012832 | 7.9665e-06 | 0.012832
1457.45 | 0.03663 | 9399.96 | 0.013856 | 7.9665e-06 | 0.013856
1322.03 | 0.033226 | 9399.96 | 0.01488 | 7.9665e-06 | 0.01488
1160.76 | 0.029173 | 9399.96 | 0.015904 | 7.9665e-06 | 0.015904
1002.08 | 0.025185 | 9399.96 | 0.016928 | 7.9665e-06 | 0.016928
954.357 | 0.023986 | 9399.96 | 0.017952 | 7.9665e-06 | 0.017952
1043.42 | 0.026224 | 9399.96 | 0.018976 | 7.9665e-06 | 0.018976
1223.99 | 0.030762 | 9399.96 | 0.02 | 7.9665e-06 | 0.02
1422.19 | 0.035743 | 9399.96 | 0.021024 | 7.9665e-06 | 0.021024
1539.37 | 0.038689 | 9399.96 | 0.022048 | 7.9665e-06 | 0.022048
1589.38 | 0.039946 | 9399.96 | 0.023072 | 7.9665e-06 | 0.023072
1629.66 | 0.040958 | 9399.96 | 0.024096 | 7.9665e-06 | 0.024096
1623.43 | 0.040801 | 9399.96 | 0.02512 | 7.9665e-06 | 0.02512
1485.11 | 0.037325 | 9399.96 | 0.026144 | 7.9665e-06 | 0.026144
1210.92 | 0.030434 | 9399.96 | 0.027168 | 7.9665e-06 | 0.027168
943.262 | 0.023707 | 9399.96 | 0.028192 | 7.9665e-06 | 0.028192
800.846 | 0.020127 | 9399.96 | 0.029216 | 7.9665e-06 | 0.029216
786.102 | 0.019757 | 9399.96 | 0.03024 | 7.9665e-06 | 0.03024
882.769 | 0.022186 | 9399.96 | 0.031264 | 7.9665e-06 | 0.031264
1054.22 | 0.026495 | 9399.96 | 0.032288 | 7.9665e-06 | 0.032288
1234.63 | 0.03103 | 9399.96 | 0.033312 | 7.9665e-06 | 0.033312
1373.25 | 0.034514 | 9399.96 | 0.034336 | 7.9665e-06 | 0.034336
1527.22 | 0.038383 | 9399.96 | 0.03536 | 7.9665e-06 | 0.03536
1567.34 | 0.039392 | 9399.72 | 0.036384 | -0.0025284 | 0.036384
1569.77 | 0.039453 | 9399.72 | 0.037408 | -0.0025284 | 0.037408
1518.55 | 0.038165 | 9399.72 | 0.038432 | -0.0025284 | 0.038432
1395.13 | 0.035063 | 9399.72 | 0.039456 | -0.0025284 | 0.039456
1180.52 | 0.02967 | 9399.72 | 0.04048 | -0.0025284 | 0.04048
862.706 | 0.021682 | 9399.72 | 0.042016 | -0.0025284 | 0.042016
1031.27 | 0.025919 | 9399.72 | 0.044064 | -0.0025284 | 0.044064
1403.49 | 0.035274 | 9399.72 | 0.046112 | -0.0025284 | 0.046112
1542.11 | 0.038758 | 9399.72 | 0.04816 | -0.0025284 | 0.04816
1420.36 | 0.035698 | 9399.72 | 0.050208 | -0.0025284 | 0.050208
1270.35 | 0.031927 | 9399.72 | 0.052256 | -0.0025284 | 0.052256
935.814 | 0.02352 | 9399.72 | 0.054304 | -0.0025284 | 0.054304
743.545 | 0.018687 | 9399.72 | 0.056352 | -0.0025284 | 0.056352
1347.41 | 0.033864 | 9399.72 | 0.0584 | -0.0025284 | 0.0584
1634.07 | 0.041069 | 9399.72 | 0.060448 | -0.0025284 | 0.060448
1542.87 | 0.038777 | 9399.42 | 0.062496 | -0.0057286 | 0.062496
1402.89 | 0.035258 | 9399.42 | 0.064544 | -0.0057286 | 0.064544
1254.09 | 0.031519 | 9399.42 | 0.066592 | -0.0057286 | 0.066592
984.148 | 0.024734 | 9399.42 | 0.06864 | -0.0057286 | 0.06864
963.325 | 0.024211 | 9399.42 | 0.070688 | -0.0057286 | 0.070688
1325.37 | 0.03331 | 9399.42 | 0.072736 | -0.0057286 | 0.072736
1494.08 | 0.03755 | 9399.42 | 0.074784 | -0.0057286 | 0.074784
1420.21 | 0.035694 | 9399.42 | 0.076832 | -0.0057286 | 0.076832
925.327 | 0.023256 | 9399.42 | 0.07888 | -0.0057286 | 0.07888
894.929 | 0.022492 | 9399.42 | 0.080928 | -0.0057286 | 0.080928
1164.56 | 0.029269 | 9398.86 | 0.082976 | -0.011663 | 0.082976
1275.21 | 0.03205 | 9398.86 | 0.085024 | -0.011663 | 0.085024
1570.23 | 0.039464 | 9398.86 | 0.087072 | -0.011663 | 0.087072
1490.59 | 0.037463 | 9398.86 | 0.08912 | -0.011663 | 0.08912
1149.52 | 0.02889 | 9398.86 | 0.091168 | -0.011663 | 0.091168
953.293 | 0.023959 | 9398.86 | 0.093216 | -0.011663 | 0.093216
931.863 | 0.02342 | 9398.86 | 0.095264 | -0.011663 | 0.095264
1325.98 | 0.033326 | 9398.86 | 0.097312 | -0.011663 | 0.097312
1516.58 | 0.038116 | 9398.86 | 0.09936 | -0.011663 | 0.09936
1320.2 | 0.03318 | 9398.86 | 0.10141 | -0.011663 | 0.10141
1211.22 | 0.030441 | 9398.86 | 0.10346 | -0.011663 | 0.10346
1174.29 | 0.029513 | 9398.36 | 0.1055 | -0.016984 | 0.1055
1493.32 | 0.037531 | 9398.36 | 0.10755 | -0.016984 | 0.10755
1418.39 | 0.035648 | 9398.36 | 0.1096 | -0.016984 | 0.1096
1250.59 | 0.031431 | 9398.36 | 0.11165 | -0.016984 | 0.11165
1402.73 | 0.035255 | 9398.36 | 0.1137 | -0.016984 | 0.1137
1136.29 | 0.028558 | 9398.36 | 0.11574 | -0.016984 | 0.11574
842.947 | 0.021186 | 9398.36 | 0.11779 | -0.016984 | 0.11779
978.98 | 0.024605 | 9398.36 | 0.11984 | -0.016984 | 0.11984
1300.44 | 0.032684 | 9398.36 | 0.12189 | -0.016984 | 0.12189
1548.95 | 0.038929 | 9397.82 | 0.12496 | -0.02276 | 0.12496
1126.72 | 0.028317 | 9397.82 | 0.12906 | -0.02276 | 0.12906
1211.38 | 0.030445 | 9397.82 | 0.13315 | -0.02276 | 0.13315
1512.47 | 0.038013 | 9397.82 | 0.13725 | -0.02276 | 0.13725
1115.16 | 0.028027 | 9397.82 | 0.14134 | -0.02276 | 0.14134
1107.72 | 0.02784 | 9397.42 | 0.14544 | -0.027001 | 0.14544
1575.24 | 0.03959 | 9397.42 | 0.14954 | -0.027001 | 0.14954
1113.64 | 0.027989 | 9397.42 | 0.15363 | -0.027001 | 0.15363
1157.27 | 0.029085 | 9397.42 | 0.15773 | -0.027001 | 0.15773
1411.85 | 0.035484 | 9397.42 | 0.16182 | -0.027001 | 0.16182
980.348 | 0.024639 | 9397 | 0.16592 | -0.031449 | 0.16592
1475.39 | 0.037081 | 9397 | 0.17002 | -0.031449 | 0.17002
1714.93 | 0.043101 | 9397 | 0.17411 | -0.031449 | 0.17411
1105.59 | 0.027786 | 9397 | 0.17821 | -0.031449 | 0.17821
1049.81 | 0.026385 | 9396.64 | 0.1823 | -0.035313 | 0.1823
1597.59 | 0.040152 | 9396.64 | 0.1864 | -0.035313 | 0.1864
1194.5 | 0.030021 | 9396.64 | 0.1905 | -0.035313 | 0.1905
1094.95 | 0.027519 | 9396.64 | 0.19459 | -0.035313 | 0.19459
1669.02 | 0.041947 | 9396.64 | 0.19869 | -0.035313 | 0.19869
1104.53 | 0.02776 | 9396.22 | 0.20278 | -0.039762 | 0.20278
910.432 | 0.022882 | 9396.22 | 0.20688 | -0.039762 | 0.20688
1698.66 | 0.042692 | 9396.22 | 0.21098 | -0.039762 | 0.21098
1235.54 | 0.031053 | 9396.22 | 0.21507 | -0.039762 | 0.21507
1076.71 | 0.027061 | 9396.22 | 0.21917 | -0.039762 | 0.21917
1610.51 | 0.040476 | 9395.78 | 0.22326 | -0.044458 | 0.22326
1098.29 | 0.027603 | 9395.78 | 0.22736 | -0.044458 | 0.22736
925.175 | 0.023252 | 9395.78 | 0.23146 | -0.044458 | 0.23146
1493.62 | 0.037539 | 9395.78 | 0.23555 | -0.044458 | 0.23555
1594.09 | 0.040064 | 9395.36 | 0.23965 | -0.048897 | 0.23965
1091.76 | 0.027439 | 9395.36 | 0.24374 | -0.048897 | 0.24374
1490.59 | 0.037463 | 9395.36 | 0.24784 | -0.048897 | 0.24784
1328.87 | 0.033398 | 9395.36 | 0.25194 | -0.048897 | 0.25194
996.155 | 0.025036 | 9395.04 | 0.25603 | -0.052305 | 0.25603
1466.87 | 0.036867 | 9395.04 | 0.26013 | -0.052305 | 0.26013
1510.65 | 0.037967 | 9395.04 | 0.26422 | -0.052305 | 0.26422
1130.67 | 0.028417 | 9395.04 | 0.26832 | -0.052305 | 0.26832
1128.08 | 0.028352 | 9395.04 | 0.27242 | -0.052305 | 0.27242
1374.46 | 0.034544 | 9394.54 | 0.27651 | -0.057625 | 0.27651
1161.67 | 0.029196 | 9394.54 | 0.28061 | -0.057625 | 0.28061
1232.81 | 0.030984 | 9394.54 | 0.2847 | -0.057625 | 0.2847
978.98 | 0.024605 | 9394.54 | 0.29085 | -0.057625 | 0.29085
1669.48 | 0.041959 | 9394.54 | 0.29904 | -0.057625 | 0.29904
1160.15 | 0.029158 | 9394.14 | 0.30723 | -0.061905 | 0.30723
1082.79 | 0.027214 | 9393.86 | 0.31542 | -0.064858 | 0.31542
1627.99 | 0.040916 | 9393.86 | 0.32362 | -0.064858 | 0.32362
878.665 | 0.022083 | 9393.54 | 0.33181 | -0.068266 | 0.33181
1194.05 | 0.03001 | 9393.54 | 0.34 | -0.068266 | 0.34
1761.28 | 0.044266 | 9393.54 | 0.34819 | -0.068266 | 0.34819
957.701 | 0.02407 | 9393.54 | 0.35638 | -0.068266 | 0.35638
1321.57 | 0.033215 | 9393.1 | 0.36458 | -0.072962 | 0.36458
1715.99 | 0.043127 | 9393.1 | 0.37277 | -0.072962 | 0.37277
971.229 | 0.02441 | 9393.1 | 0.38096 | -0.072962 | 0.38096
1360.94 | 0.034204 | 9392.72 | 0.38915 | -0.076995 | 0.38915
1374.01 | 0.034533 | 9392.72 | 0.39734 | -0.076995 | 0.39734
1019.41 | 0.025621 | 9392.36 | 0.40554 | -0.080819 | 0.40554
1630.27 | 0.040973 | 9391.96 | 0.41373 | -0.085099 | 0.41373
1487.7 | 0.03739 | 9391.96 | 0.42192 | -0.085099 | 0.42192
1035.67 | 0.026029 | 9391.96 | 0.43011 | -0.085099 | 0.43011
1466.87 | 0.036867 | 9391.96 | 0.4383 | -0.085099 | 0.4383
1267.76 | 0.031862 | 9391.54 | 0.4465 | -0.089548 | 0.4465
1217.15 | 0.03059 | 9391.54 | 0.45469 | -0.089548 | 0.45469
1686.5 | 0.042386 | 9391.24 | 0.46288 | -0.092738 | 0.46288
861.642 | 0.021655 | 9391.24 | 0.47107 | -0.092738 | 0.47107
1350.9 | 0.033952 | 9390.84 | 0.47926 | -0.096979 | 0.47926
1664.31 | 0.041829 | 9390.84 | 0.48746 | -0.096979 | 0.48746
808.749 | 0.020326 | 9390.84 | 0.49565 | -0.096979 | 0.49565
1405.32 | 0.035319 | 9390.54 | 0.50384 | -0.10018 | 0.50384
1719.94 | 0.043227 | 9390.54 | 0.51203 | -0.10018 | 0.51203
1014.09 | 0.025487 | 9390.54 | 0.52022 | -0.10018 | 0.52022
1577.37 | 0.039644 | 9390.16 | 0.52842 | -0.10421 | 0.52842
1441.49 | 0.036229 | 9390.16 | 0.53661 | -0.10421 | 0.53661
1038.1 | 0.02609 | 9389.78 | 0.5448 | -0.10828 | 0.5448
1562.93 | 0.039281 | 9389.78 | 0.55299 | -0.10828 | 0.55299
1386.47 | 0.034846 | 9389.34 | 0.56118 | -0.11294 | 0.56118
1108.33 | 0.027855 | 9389.34 | 0.56938 | -0.11294 | 0.56938
1379.48 | 0.03467 | 9388.98 | 0.57757 | -0.11676 | 0.57757
1279.92 | 0.032168 | 9388.98 | 0.58576 | -0.11676 | 0.58576
1226.73 | 0.030831 | 9388.98 | 0.59395 | -0.11676 | 0.59395
1519.77 | 0.038196 | 9388.6 | 0.60214 | -0.12084 | 0.60214
1402.89 | 0.035258 | 9388.6 | 0.61034 | -0.12084 | 0.61034
1448.33 | 0.036401 | 9388.22 | 0.62262 | -0.12487 | 0.62262
1438 | 0.036141 | 9387.86 | 0.63901 | -0.12869 | 0.63901
1212.29 | 0.030468 | 9387.86 | 0.65539 | -0.12869 | 0.65539
1498.64 | 0.037665 | 9387.14 | 0.67178 | -0.13633 | 0.67178
1389.21 | 0.034915 | 9387.14 | 0.68816 | -0.13633 | 0.68816
1001.63 | 0.025174 | 9386.68 | 0.70454 | -0.14124 | 0.70454
1599.41 | 0.040198 | 9386.32 | 0.72093 | -0.14506 | 0.72093
1642.73 | 0.041286 | 9385.96 | 0.73731 | -0.14888 | 0.73731
1059.23 | 0.026621 | 9385.54 | 0.7537 | -0.15337 | 0.7537
1268.83 | 0.031889 | 9385.22 | 0.77008 | -0.15678 | 0.77008
1700.79 | 0.042745 | 9385.22 | 0.78646 | -0.15678 | 0.78646
1368.08 | 0.034384 | 9384.82 | 0.80285 | -0.16102 | 0.80285
1073.82 | 0.026988 | 9384.5 | 0.81923 | -0.16443 | 0.81923
1595.16 | 0.040091 | 9384.14 | 0.83562 | -0.16825 | 0.83562
1533.14 | 0.038532 | 9383.82 | 0.852 | -0.17165 | 0.852
1064.7 | 0.026759 | 9383.36 | 0.86838 | -0.17656 | 0.86838
1442.4 | 0.036252 | 9383.36 | 0.88477 | -0.17656 | 0.88477
1664.77 | 0.04184 | 9383.04 | 0.90115 | -0.17997 | 0.90115
1278.25 | 0.032126 | 9382.72 | 0.91754 | -0.18337 | 0.91754
1138.42 | 0.028612 | 9382.29 | 0.93392 | -0.18803 | 0.93392
1869.96 | 0.046997 | 9381.96 | 0.9503 | -0.19144 | 0.9503
1594.55 | 0.040075 | 9381.96 | 0.96669 | -0.19144 | 0.96669
1029.44 | 0.025873 | 9381.58 | 0.98307 | -0.19551 | 0.98307
1334.03 | 0.033528 | 9381.28 | 0.99946 | -0.19867 | 0.99946
1756.87 | 0.044155 | 9380.82 | 1.0158 | -0.20358 | 1.0158
1259.41 | 0.031652 | 9380.46 | 1.0322 | -0.2074 | 1.0322
1068.96 | 0.026866 | 9380.14 | 1.0486 | -0.21081 | 1.0486
1487.55 | 0.037386 | 9380.14 | 1.065 | -0.21081 | 1.065
1482.83 | 0.037268 | 9379.74 | 1.0814 | -0.21509 | 1.0814
1122.92 | 0.028222 | 9379.36 | 1.0978 | -0.21911 | 1.0978
1469.46 | 0.036931 | 9378.95 | 1.1141 | -0.22356 | 1.1141
1824.97 | 0.045866 | 9378.54 | 1.1305 | -0.22784 | 1.1305
1390.42 | 0.034945 | 9378.22 | 1.1469 | -0.23125 | 1.1469
1331.6 | 0.033467 | 9378.22 | 1.1633 | -0.23125 | 1.1633
1432.07 | 0.035992 | 9377.72 | 1.1797 | -0.23657 | 1.1797
1408.66 | 0.035403 | 9377.42 | 1.1961 | -0.23977 | 1.1961
1194.5 | 0.030021 | 9377.11 | 1.2125 | -0.24314 | 1.2125
1660.51 | 0.041733 | 9376.72 | 1.2288 | -0.24721 | 1.2288
1448.79 | 0.036412 | 9376.72 | 1.2452 | -0.24721 | 1.2452
1077.93 | 0.027091 | 9376.29 | 1.2616 | -0.25186 | 1.2616
1804.3 | 0.045347 | 9375.54 | 1.2862 | -0.25975 | 1.2862
1092.21 | 0.02745 | 9374.79 | 1.3189 | -0.26782 | 1.3189
1602 | 0.040262 | 9374.4 | 1.3517 | -0.27189 | 1.3517
1612.18 | 0.040518 | 9373.61 | 1.3845 | -0.28037 | 1.3845
921.831 | 0.023168 | 9373.18 | 1.4172 | -0.28486 | 1.4172
1754.9 | 0.044105 | 9372.46 | 1.45 | -0.29251 | 1.45
1125.8 | 0.028295 | 9371.84 | 1.4828 | -0.29911 | 1.4828
1506.39 | 0.03786 | 9371.29 | 1.5155 | -0.30505 | 1.5155
1534.81 | 0.038574 | 9370.59 | 1.5483 | -0.31249 | 1.5483
1288.28 | 0.032378 | 9369.86 | 1.5811 | -0.32018 | 1.5811
1635.28 | 0.041099 | 9369.5 | 1.6139 | -0.324 | 1.6139
1170.64 | 0.029421 | 9368.75 | 1.6466 | -0.33206 | 1.6466
1681.64 | 0.042264 | 9368.09 | 1.6794 | -0.33908 | 1.6794
1576.16 | 0.039613 | 9367.64 | 1.7122 | -0.34378 | 1.7122
1311.08 | 0.032951 | 9366.91 | 1.7449 | -0.35164 | 1.7449
1871.93 | 0.047047 | 9366.54 | 1.7777 | -0.3555 | 1.7777
1142.07 | 0.028703 | 9365.73 | 1.8105 | -0.36419 | 1.8105
1879.08 | 0.047226 | 9365.07 | 1.8432 | -0.37122 | 1.8432
1430.4 | 0.03595 | 9364.29 | 1.876 | -0.37952 | 1.876
1449.7 | 0.036435 | 9363.93 | 1.9088 | -0.38334 | 1.9088
1949.75 | 0.049003 | 9363.18 | 1.9415 | -0.39124 | 1.9415
1038.71 | 0.026106 | 9362.79 | 1.9743 | -0.39548 | 1.9743
1756.11 | 0.044136 | 9362 | 2.0071 | -0.40379 | 2.0071
1421.88 | 0.035736 | 9361.25 | 2.0398 | -0.41186 | 2.0398
1391.79 | 0.034979 | 9360.87 | 2.0726 | -0.41588 | 2.0726
1673.28 | 0.042054 | 9360.18 | 2.1054 | -0.42315 | 2.1054
1514.9 | 0.038074 | 9359.41 | 2.1381 | -0.43142 | 2.1381
1745.63 | 0.043872 | 9359 | 2.1709 | -0.4357 | 2.1709
1403.19 | 0.035266 | 9358.19 | 2.2037 | -0.44439 | 2.2037
1416.11 | 0.035591 | 9357.44 | 2.2365 | -0.45229 | 2.2365
1518.1 | 0.038154 | 9357 | 2.2692 | -0.45699 | 2.2692
1298.32 | 0.03263 | 9356.29 | 2.302 | -0.46463 | 2.302
1964.19 | 0.049365 | 9355.89 | 2.3348 | -0.46886 | 2.3348
886.721 | 0.022286 | 9355.11 | 2.3675 | -0.47718 | 2.3675
1761.28 | 0.044266 | 9354.37 | 2.4003 | -0.48503 | 2.4003
1572.66 | 0.039525 | 9353.96 | 2.4331 | -0.48931 | 2.4331
1790.16 | 0.044992 | 9353.23 | 2.4658 | -0.49716 | 2.4658
1722.22 | 0.043284 | 9352.47 | 2.4986 | -0.50527 | 2.4986
1279.01 | 0.032145 | 9352.14 | 2.5314 | -0.50867 | 2.5314
1699.27 | 0.042707 | 9351.25 | 2.5641 | -0.51824 | 2.5641
1543.78 | 0.0388 | 9350.23 | 2.6133 | -0.52909 | 2.6133
1297.56 | 0.032611 | 9348.95 | 2.6788 | -0.54271 | 2.6788
1309.87 | 0.03292 | 9347.43 | 2.7443 | -0.55888 | 2.7443
1470.07 | 0.036947 | 9346.28 | 2.8099 | -0.57101 | 2.8099
2161.78 | 0.054331 | 9345.14 | 2.8754 | -0.58314 | 2.8754
1908.56 | 0.047967 | 9344.11 | 2.941 | -0.5942 | 2.941
1432.98 | 0.036015 | 9342.51 | 3.0065 | -0.6112 | 3.0065
1298.32 | 0.03263 | 9341.43 | 3.072 | -0.6227 | 3.072
1588.92 | 0.039934 | 9340.37 | 3.1376 | -0.63397 | 3.1376
1645.77 | 0.041363 | 9338.85 | 3.2031 | -0.65014 | 3.2031
1886.52 | 0.047413 | 9337.55 | 3.2686 | -0.66397 | 3.2686
1403.49 | 0.035274 | 9336.57 | 3.3342 | -0.6744 | 3.3342
1497.88 | 0.037646 | 9335.43 | 3.3997 | -0.68654 | 3.3997
1393.61 | 0.035025 | 9333.97 | 3.4653 | -0.70203 | 3.4653
1387.08 | 0.034861 | 9332.83 | 3.5308 | -0.71417 | 3.5308
1943.37 | 0.048842 | 9331.75 | 3.5963 | -0.72568 | 3.5963
1772.38 | 0.044545 | 9330.23 | 3.6619 | -0.74185 | 3.6619
1341.33 | 0.033711 | 9329.13 | 3.7274 | -0.75352 | 3.7274
1482.23 | 0.037252 | 9327.97 | 3.7929 | -0.76587 | 3.7929
1423.86 | 0.035785 | 9326.89 | 3.8585 | -0.77738 | 3.8585
1918.14 | 0.048208 | 9325.49 | 3.924 | -0.79225 | 3.924
2056.15 | 0.051677 | 9324.29 | 3.9895 | -0.80502 | 3.9895
1886.98 | 0.047425 | 9323.33 | 4.0551 | -0.81524 | 4.0551
1433.44 | 0.036026 | 9322.11 | 4.1206 | -0.8282 | 4.1206
1324.15 | 0.03328 | 9320.75 | 4.1861 | -0.8427 | 4.1861
1757.48 | 0.04417 | 9319.61 | 4.2517 | -0.8548 | 4.2517
1815.85 | 0.045637 | 9318.47 | 4.3172 | -0.86693 | 4.3172
2129.41 | 0.053518 | 9316.87 | 4.3827 | -0.88397 | 4.3827
1699.73 | 0.042719 | 9315.79 | 4.4483 | -0.89544 | 4.4483
1437.69 | 0.036133 | 9314.69 | 4.5138 | -0.90715 | 4.5138
1885 | 0.047375 | 9313.51 | 4.5794 | -0.91971 | 4.5794
1944.13 | 0.048861 | 9312.05 | 4.6449 | -0.93525 | 4.6449
1749.58 | 0.043972 | 9310.93 | 4.7104 | -0.94713 | 4.7104
1803.38 | 0.045324 | 9309.73 | 4.776 | -0.95993 | 4.776
1472.35 | 0.037004 | 9308.61 | 4.8415 | -0.97182 | 4.8415
1307.89 | 0.032871 | 9307.15 | 4.907 | -0.98736 | 4.907
1495.14 | 0.037577 | 9306.05 | 4.9726 | -0.99908 | 4.9726
1777.7 | 0.044678 | 9304.87 | 5.0381 | -1.0116 | 5.0381
1703.37 | 0.042811 | 9303.51 | 5.1037 | -1.0261 | 5.1037
1805.51 | 0.045378 | 9302.25 | 5.1692 | -1.0395 | 5.1692
1596.83 | 0.040133 | 9300.05 | 5.2675 | -1.0629 | 5.2675
2029.09 | 0.050997 | 9297.37 | 5.3986 | -1.0914 | 5.3986
1767.06 | 0.044411 | 9294.65 | 5.5296 | -1.1203 | 5.5296
1479.49 | 0.037184 | 9292.29 | 5.6607 | -1.1454 | 5.6607
2068.91 | 0.051998 | 9289.51 | 5.7918 | -1.175 | 5.7918
1598.5 | 0.040175 | 9287.31 | 5.9229 | -1.1984 | 5.9229
1531.77 | 0.038498 | 9284.69 | 6.0539 | -1.2263 | 6.0539
1929.84 | 0.048502 | 9282.25 | 6.185 | -1.2522 | 6.185
1368.08 | 0.034384 | 9279.75 | 6.3161 | -1.2788 | 6.3161
1691.21 | 0.042505 | 9277.55 | 6.4471 | -1.3022 | 6.4471
2188.84 | 0.055011 | 9274.87 | 6.5782 | -1.3307 | 6.5782
1843.66 | 0.046336 | 9272.33 | 6.7093 | -1.3578 | 6.7093
2045.96 | 0.051421 | 9270.09 | 6.8403 | -1.3816 | 6.8403
2123.78 | 0.053377 | 9267.49 | 6.9714 | -1.4093 | 6.9714
1501.83 | 0.037745 | 9265.37 | 7.1025 | -1.4318 | 7.1025
2245.23 | 0.056429 | 9262.73 | 7.2336 | -1.4599 | 7.2336
2072.26 | 0.052082 | 9260.55 | 7.3646 | -1.4831 | 7.3646
1298.77 | 0.032642 | 9257.83 | 7.4957 | -1.512 | 7.4957
2439.62 | 0.061314 | 9255.55 | 7.6268 | -1.5363 | 7.6268
1956.14 | 0.049163 | 9252.97 | 7.7579 | -1.5637 | 7.7579
1691.37 | 0.042509 | 9250.29 | 7.8889 | -1.5922 | 7.8889
2252.98 | 0.056624 | 9248.11 | 8.02 | -1.6154 | 8.02
1801.86 | 0.045286 | 9245.51 | 8.1511 | -1.6431 | 8.1511
1965.56 | 0.0494 | 9243.23 | 8.2821 | -1.6673 | 8.2821
2253.13 | 0.056627 | 9240.59 | 8.4132 | -1.6954 | 8.4132
2028.33 | 0.050978 | 9238.29 | 8.5443 | -1.7199 | 8.5443
2065.72 | 0.051917 | 9235.57 | 8.6754 | -1.7488 | 8.6754
2108.43 | 0.052991 | 9233.29 | 8.8064 | -1.7731 | 8.8064
1678.9 | 0.042195 | 9230.65 | 8.9375 | -1.8012 | 8.9375
2376.09 | 0.059718 | 9227.97 | 9.0686 | -1.8297 | 9.0686
2233.07 | 0.056123 | 9225.61 | 9.1997 | -1.8548 | 9.1997
1784.23 | 0.044843 | 9222.93 | 9.3307 | -1.8833 | 9.3307
2292.19 | 0.057609 | 9220.75 | 9.4618 | -1.9065 | 9.4618
2020.28 | 0.050775 | 9218.05 | 9.5929 | -1.9352 | 9.5929
1878.01 | 0.0472 | 9215.91 | 9.7239 | -1.958 | 9.7239
2260.88 | 0.056822 | 9213.37 | 9.855 | -1.985 | 9.855
1690.61 | 0.04249 | 9211.05 | 9.9861 | -2.0097 | 9.9861
2201.3 | 0.055325 | 9208.47 | 10.1172 | -2.0371 | 10.1172
2308.3 | 0.058014 | 9206.25 | 10.2482 | -2.0608 | 10.2482
1760.98 | 0.044258 | 9203.65 | 10.3793 | -2.0884 | 10.3793
2313.01 | 0.058132 | 9198.87 | 10.5759 | -2.1393 | 10.5759
2235.95 | 0.056196 | 9194.05 | 10.838 | -2.1905 | 10.838
1964.34 | 0.049369 | 9189.01 | 11.1002 | -2.2441 | 11.1002
1877.25 | 0.047181 | 9184.21 | 11.3623 | -2.2952 | 11.3623
2157.98 | 0.054236 | 9178.93 | 11.6245 | -2.3514 | 11.6245
2362.71 | 0.059381 | 9173.87 | 11.8866 | -2.4052 | 11.8866
2015.11 | 0.050645 | 9168.83 | 12.1488 | -2.4588 | 12.1488
2055.24 | 0.051654 | 9163.88 | 12.4109 | -2.5116 | 12.4109
2530.67 | 0.063603 | 9159.07 | 12.6731 | -2.5626 | 12.6731
2109.65 | 0.053021 | 9154.09 | 12.9352 | -2.6156 | 12.9352
2246.74 | 0.056467 | 9149.38 | 13.1973 | -2.6658 | 13.1973
2514.25 | 0.06319 | 9144.49 | 13.4595 | -2.7178 | 13.4595
2408.92 | 0.060543 | 9139.79 | 13.7216 | -2.7677 | 13.7216
1746.08 | 0.043884 | 9134.52 | 13.9838 | -2.8239 | 13.9838
2353.29 | 0.059145 | 9129.55 | 14.2459 | -2.8767 | 14.2459
2802.12 | 0.070425 | 9124.79 | 14.5081 | -2.9273 | 14.5081
2382.47 | 0.059878 | 9119.89 | 14.7702 | -2.9794 | 14.7702
2161.48 | 0.054324 | 9114.75 | 15.0324 | -3.0341 | 15.0324
2531.43 | 0.063622 | 9109.97 | 15.2945 | -3.085 | 15.2945
2566.38 | 0.0645 | 9104.84 | 15.5566 | -3.1396 | 15.5566
2338.55 | 0.058774 | 9099.93 | 15.8188 | -3.1918 | 15.8188
2506.04 | 0.062984 | 9095.07 | 16.0809 | -3.2435 | 16.0809
2870.98 | 0.072155 | 9090.02 | 16.3431 | -3.2973 | 16.3431
2028.94 | 0.050993 | 9085.23 | 16.6052 | -3.3482 | 16.6052
2303.74 | 0.057899 | 9080.41 | 16.8674 | -3.3994 | 16.8674
2859.88 | 0.071877 | 9075.52 | 17.1295 | -3.4516 | 17.1295
2586.3 | 0.065001 | 9070.58 | 17.3916 | -3.5041 | 17.3916
2332.92 | 0.058633 | 9065.74 | 17.6538 | -3.5556 | 17.6538
2557.42 | 0.064275 | 9060.94 | 17.9159 | -3.6066 | 17.9159
2871.43 | 0.072167 | 9055.9 | 18.1781 | -3.6602 | 18.1781
2575.5 | 0.064729 | 9050.98 | 18.4402 | -3.7126 | 18.4402
2678.86 | 0.067327 | 9045.8 | 18.7024 | -3.7677 | 18.7024
2910.49 | 0.073149 | 9040.52 | 18.9645 | -3.8239 | 18.9645
2295.84 | 0.057701 | 9035.8 | 19.2267 | -3.8741 | 19.2267
2417.28 | 0.060753 | 9030.94 | 19.4888 | -3.9258 | 19.4888
2912.01 | 0.073187 | 9026.1 | 19.7509 | -3.9773 | 19.7509
2731.14 | 0.068641 | 9021.34 | 20.0131 | -4.0279 | 20.0131
2400.26 | 0.060325 | 9016.44 | 20.2752 | -4.08 | 20.2752
2786.62 | 0.070035 | 9011.62 | 20.5374 | -4.1313 | 20.5374
3212.5 | 0.080739 | 9006.64 | 20.7995 | -4.1843 | 20.7995
2527.02 | 0.063511 | 8996.52 | 21.1927 | -4.2919 | 21.1927
2811.85 | 0.070669 | 8986.48 | 21.717 | -4.3987 | 21.717
3437.15 | 0.086385 | 8976.76 | 22.2413 | -4.5021 | 22.2413
2480.2 | 0.062334 | 8967.08 | 22.7656 | -4.6051 | 22.7656
3203.99 | 0.080525 | 8957.46 | 23.2899 | -4.7075 | 23.2899
2724.15 | 0.068465 | 8947.3 | 23.8142 | -4.8155 | 23.8142
2969.47 | 0.074631 | 8937.62 | 24.3385 | -4.9185 | 24.3385
3214.63 | 0.080793 | 8927.52 | 24.8628 | -5.0259 | 24.8628
2742.54 | 0.068928 | 8917.74 | 25.387 | -5.13 | 25.387
3453.26 | 0.08679 | 8907.68 | 25.9113 | -5.237 | 25.9113
3187.42 | 0.080109 | 8898.02 | 26.4356 | -5.3398 | 26.4356
3111.12 | 0.078191 | 8888.21 | 26.9599 | -5.4442 | 26.9599
3070.54 | 0.077171 | 8878.48 | 27.4842 | -5.5476 | 27.4842
3298.53 | 0.082901 | 8868.52 | 28.0085 | -5.6536 | 28.0085
3433.95 | 0.086305 | 8858.38 | 28.5328 | -5.7615 | 28.5328
2969.16 | 0.074623 | 8848.63 | 29.0571 | -5.8653 | 29.0571
3482.59 | 0.087527 | 8838.95 | 29.5813 | -5.9683 | 29.5813
3195.78 | 0.080319 | 8829.21 | 30.1056 | -6.0719 | 30.1056
3525.61 | 0.088608 | 8819.47 | 30.6299 | -6.1755 | 30.6299
3285.76 | 0.08258 | 8809.07 | 31.1542 | -6.2861 | 31.1542
3451.13 | 0.086736 | 8799.31 | 31.6785 | -6.3899 | 31.6785
3746.91 | 0.09417 | 8789.57 | 32.2028 | -6.4936 | 32.2028
3319.35 | 0.083424 | 8779.95 | 32.7271 | -6.5959 | 32.7271
4011.37 | 0.10082 | 8770.11 | 33.2514 | -6.7006 | 33.2514
3459.03 | 0.086935 | 8760.07 | 33.7756 | -6.8074 | 33.7756
3351.42 | 0.08423 | 8750.11 | 34.2999 | -6.9134 | 34.2999
3858.62 | 0.096978 | 8740.11 | 34.8242 | -7.0198 | 34.8242
3331.82 | 0.083738 | 8730.61 | 35.3485 | -7.1208 | 35.3485
3970.79 | 0.099797 | 8720.59 | 35.8728 | -7.2274 | 35.8728
3559.8 | 0.089468 | 8710.87 | 36.3971 | -7.3308 | 36.3971
3994.65 | 0.1004 | 8701.07 | 36.9214 | -7.4351 | 36.9214
3732.31 | 0.093803 | 8691.12 | 37.4457 | -7.5408 | 37.4457
3559.04 | 0.089449 | 8681.15 | 37.97 | -7.647 | 37.97
4061.53 | 0.10208 | 8671.11 | 38.4942 | -7.7538 | 38.4942
3648.72 | 0.091702 | 8661.53 | 39.0185 | -7.8557 | 39.0185
4160.63 | 0.10457 | 8651.81 | 39.5428 | -7.9591 | 39.5428
3818.34 | 0.095965 | 8641.99 | 40.0671 | -8.0636 | 40.0671
4415.06 | 0.11096 | 8631.75 | 40.5914 | -8.1725 | 40.5914
4022.47 | 0.1011 | 8621.87 | 41.1157 | -8.2776 | 41.1157
3738.7 | 0.093964 | 8612.09 | 41.64 | -8.3816 | 41.64
3659.21 | 0.091966 | 8592.75 | 42.4264 | -8.5873 | 42.4264
4292.56 | 0.10788 | 8572.71 | 43.475 | -8.8005 | 43.475
4476.77 | 0.11251 | 8553.04 | 44.5236 | -9.0098 | 44.5236
4888.97 | 0.12287 | 8533.58 | 45.5721 | -9.2169 | 45.5721
4492.73 | 0.11292 | 8513.62 | 46.6207 | -9.4292 | 46.6207
3966.84 | 0.099697 | 8493.98 | 47.6693 | -9.6381 | 47.6693
4490.3 | 0.11285 | 8474.26 | 48.7179 | -9.8479 | 48.7179
4379.8 | 0.11008 | 8454.68 | 49.7664 | -10.0563 | 49.7664
4775.44 | 0.12002 | 8434.54 | 50.815 | -10.2705 | 50.815
4864.05 | 0.12225 | 8415.18 | 51.8636 | -10.4764 | 51.8636
4847.63 | 0.12183 | 8395.28 | 52.9122 | -10.6881 | 52.9122
4965.58 | 0.1248 | 8375.54 | 53.9607 | -10.8981 | 53.9607
4777.87 | 0.12008 | 8355.76 | 55.0093 | -11.1085 | 55.0093
4757.96 | 0.11958 | 8336.22 | 56.0579 | -11.3164 | 56.0579
4920.13 | 0.12366 | 8316.5 | 57.1065 | -11.5262 | 57.1065
5518.07 | 0.13868 | 8296.72 | 58.155 | -11.7366 | 58.155
5361.97 | 0.13476 | 8277.28 | 59.2036 | -11.9434 | 59.2036
5276.55 | 0.13261 | 8257.09 | 60.2522 | -12.1583 | 60.2522
4866.02 | 0.1223 | 8237.68 | 61.3008 | -12.3647 | 61.3008
5047.96 | 0.12687 | 8218.3 | 62.3493 | -12.5709 | 62.3493
5092.34 | 0.12798 | 8197.91 | 63.3979 | -12.7879 | 63.3979
5672.04 | 0.14255 | 8178.73 | 64.4465 | -12.9919 | 64.4465
5802.9 | 0.14584 | 8158.79 | 65.4951 | -13.204 | 65.4951
5913.25 | 0.14862 | 8138.97 | 66.5436 | -13.4149 | 66.5436
5972.68 | 0.15011 | 8119.31 | 67.5922 | -13.624 | 67.5922
5789.37 | 0.1455 | 8099.91 | 68.6408 | -13.8304 | 68.6408
5415.32 | 0.1361 | 8079.97 | 69.6894 | -14.0425 | 69.6894
5936.04 | 0.14919 | 8060.27 | 70.738 | -14.252 | 70.738
6232.13 | 0.15663 | 8040.77 | 71.7865 | -14.4595 | 71.7865
6441.11 | 0.16188 | 8020.52 | 72.8351 | -14.675 | 72.8351
6199.3 | 0.1558 | 8001.2 | 73.8837 | -14.8805 | 73.8837
5995.32 | 0.15068 | 7981.38 | 74.9323 | -15.0914 | 74.9323
5955.35 | 0.14967 | 7961.52 | 75.9808 | -15.3026 | 75.9808
6581.55 | 0.16541 | 7942.16 | 77.0294 | -15.5086 | 77.0294
6504.19 | 0.16347 | 7922.34 | 78.078 | -15.7195 | 78.078
6557.39 | 0.16481 | 7902.44 | 79.1266 | -15.9312 | 79.1266
6492.79 | 0.16318 | 7882.78 | 80.1751 | -16.1403 | 80.1751
6553.13 | 0.1647 | 7863.38 | 81.2237 | -16.3467 | 81.2237
6599.64 | 0.16587 | 7843.02 | 82.2723 | -16.5633 | 82.2723
7068.99 | 0.17766 | 7823.76 | 83.3209 | -16.7681 | 83.3209
6695.25 | 0.16827 | 7783.94 | 84.8937 | -17.1918 | 84.8937
7148.18 | 0.17965 | 7744.93 | 86.9909 | -17.6068 | 86.9909
7519.95 | 0.189 | 7705.25 | 89.088 | -18.0289 | 89.088
7282.69 | 0.18303 | 7665.99 | 91.1852 | -18.4466 | 91.1852
7236.34 | 0.18187 | 7626.75 | 93.2823 | -18.864 | 93.2823
7852.97 | 0.19737 | 7587.07 | 95.3795 | -19.2861 | 95.3795
7599.14 | 0.19099 | 7547.57 | 97.4766 | -19.7063 | 97.4766