## Details
Filename | omni_slowcomp_inplane2
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_inplane2
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_inplane2
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_inplane2.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 11:40
Time at start of test | 0.73715
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Step time
Pa | N | µm | s | % | s
1264.57 | 0.031782 | 11000 | 0 | 3.3324e-05 | 0
1196.94 | 0.030082 | 11000 | 0.000544 | 3.3324e-05 | 0.000544
1245.12 | 0.031293 | 11000 | 0.001568 | 3.3324e-05 | 0.001568
1438.6 | 0.036156 | 11000 | 0.002592 | 3.3324e-05 | 0.002592
1567.95 | 0.039407 | 11000 | 0.003616 | 3.3324e-05 | 0.003616
1680.42 | 0.042234 | 11000 | 0.00464 | 3.3324e-05 | 0.00464
1776.18 | 0.04464 | 11000 | 0.005664 | 3.3324e-05 | 0.005664
1840.01 | 0.046245 | 11000 | 0.006688 | 3.3324e-05 | 0.006688
1812.96 | 0.045565 | 10999.9 | 0.007712 | -0.00071173 | 0.007712
1674.04 | 0.042073 | 10999.9 | 0.008736 | -0.00071173 | 0.008736
1473.56 | 0.037035 | 10999.9 | 0.00976 | -0.00071173 | 0.00976
1320.96 | 0.033199 | 10999.9 | 0.010784 | -0.00071173 | 0.010784
1251.2 | 0.031446 | 10999.9 | 0.011808 | -0.00071173 | 0.011808
1251.81 | 0.031461 | 10999.9 | 0.012832 | -0.00071173 | 0.012832
1271.87 | 0.031966 | 10999.9 | 0.013856 | -0.00071173 | 0.013856
1313.82 | 0.03302 | 10999.9 | 0.01488 | -0.00071173 | 0.01488
1400 | 0.035186 | 10999.9 | 0.015904 | -0.00071173 | 0.015904
1543.63 | 0.038796 | 10999.9 | 0.016928 | -0.00071173 | 0.016928
1721.61 | 0.043269 | 10999.9 | 0.017952 | -0.00071173 | 0.017952
1885.16 | 0.047379 | 10999.9 | 0.018976 | -0.00071173 | 0.018976
1948.38 | 0.048968 | 10999.9 | 0.02 | -0.00071173 | 0.02
1791.38 | 0.045022 | 10999.9 | 0.021024 | -0.00071173 | 0.021024
1495.14 | 0.037577 | 10999.9 | 0.022048 | -0.00071173 | 0.022048
1082.94 | 0.027217 | 10999.9 | 0.023072 | -0.00071173 | 0.023072
1015.76 | 0.025529 | 10999.9 | 0.024096 | -0.00071173 | 0.024096
1105.13 | 0.027775 | 10999.9 | 0.02512 | -0.00071173 | 0.02512
1285.7 | 0.032313 | 10999.7 | 0.026144 | -0.0028792 | 0.026144
1434.5 | 0.036053 | 10999.7 | 0.027168 | -0.0028792 | 0.027168
1541.2 | 0.038734 | 10999.7 | 0.028192 | -0.0028792 | 0.028192
1657.47 | 0.041657 | 10999.7 | 0.029216 | -0.0028792 | 0.029216
1857.65 | 0.046688 | 10999.7 | 0.03024 | -0.0028792 | 0.03024
2091.26 | 0.052559 | 10999.7 | 0.031264 | -0.0028792 | 0.031264
2221.36 | 0.055829 | 10999.7 | 0.032288 | -0.0028792 | 0.032288
2154.18 | 0.054141 | 10999.7 | 0.033312 | -0.0028792 | 0.033312
1888.96 | 0.047475 | 10999.7 | 0.034336 | -0.0028792 | 0.034336
1575.55 | 0.039598 | 10999.7 | 0.03536 | -0.0028792 | 0.03536
1328.11 | 0.033379 | 10999.7 | 0.036384 | -0.0028792 | 0.036384
1249.98 | 0.031415 | 10999.7 | 0.037408 | -0.0028792 | 0.037408
1312.15 | 0.032978 | 10999.7 | 0.038432 | -0.0028792 | 0.038432
1463.38 | 0.036779 | 10999.7 | 0.039456 | -0.0028792 | 0.039456
1611.42 | 0.040499 | 10999.7 | 0.04048 | -0.0028792 | 0.04048
1621.75 | 0.040759 | 10999.7 | 0.042016 | -0.0028792 | 0.042016
1479.95 | 0.037195 | 10999.7 | 0.044064 | -0.0028792 | 0.044064
1636.5 | 0.04113 | 10999.7 | 0.046112 | -0.0028792 | 0.046112
1397.87 | 0.035132 | 10999.2 | 0.04816 | -0.0068923 | 0.04816
1206.66 | 0.030327 | 10999.2 | 0.050208 | -0.0068923 | 0.050208
1651.09 | 0.041496 | 10999.2 | 0.052256 | -0.0068923 | 0.052256
1724.8 | 0.043349 | 10999.2 | 0.054304 | -0.0068923 | 0.054304
1502.9 | 0.037772 | 10999.2 | 0.056352 | -0.0068923 | 0.056352
1665.07 | 0.041848 | 10999.2 | 0.0584 | -0.0068923 | 0.0584
1775.72 | 0.044629 | 10999.2 | 0.060448 | -0.0068923 | 0.060448
1457.45 | 0.03663 | 10999.2 | 0.062496 | -0.0068923 | 0.062496
958.157 | 0.024081 | 10999.2 | 0.064544 | -0.0068923 | 0.064544
1278.1 | 0.032122 | 10999.2 | 0.066592 | -0.0068923 | 0.066592
1743.65 | 0.043823 | 10998.8 | 0.06864 | -0.011041 | 0.06864
1802.93 | 0.045312 | 10998.8 | 0.070688 | -0.011041 | 0.070688
1756.87 | 0.044155 | 10998.8 | 0.072736 | -0.011041 | 0.072736
1591.36 | 0.039995 | 10998.8 | 0.074784 | -0.011041 | 0.074784
1180.37 | 0.029666 | 10998.8 | 0.076832 | -0.011041 | 0.076832
1322.79 | 0.033245 | 10998.8 | 0.07888 | -0.011041 | 0.07888
1959.48 | 0.049247 | 10998.8 | 0.080928 | -0.011041 | 0.080928
2232.31 | 0.056104 | 10998.8 | 0.082976 | -0.011041 | 0.082976
1803.08 | 0.045316 | 10998.8 | 0.085024 | -0.011041 | 0.085024
989.62 | 0.024872 | 10998.8 | 0.087072 | -0.011041 | 0.087072
1060.3 | 0.026648 | 10998.2 | 0.08912 | -0.015977 | 0.08912
1392.25 | 0.034991 | 10998.2 | 0.091168 | -0.015977 | 0.091168
1665.38 | 0.041855 | 10998.2 | 0.093216 | -0.015977 | 0.093216
1993.37 | 0.050099 | 10998.2 | 0.095264 | -0.015977 | 0.095264
1970.42 | 0.049522 | 10998.2 | 0.097312 | -0.015977 | 0.097312
1341.78 | 0.033723 | 10998.2 | 0.09936 | -0.015977 | 0.09936
1168.82 | 0.029376 | 10998.2 | 0.10141 | -0.015977 | 0.10141
1628.9 | 0.040939 | 10998.2 | 0.10346 | -0.015977 | 0.10346
1937.14 | 0.048686 | 10998.2 | 0.1055 | -0.015977 | 0.1055
1818.74 | 0.04571 | 10997.7 | 0.10755 | -0.021057 | 0.10755
1393.01 | 0.03501 | 10997.7 | 0.1096 | -0.021057 | 0.1096
1343.61 | 0.033769 | 10997.7 | 0.11165 | -0.021057 | 0.11165
1255 | 0.031542 | 10997.7 | 0.1137 | -0.021057 | 0.1137
1384.19 | 0.034788 | 10997.7 | 0.11574 | -0.021057 | 0.11574
1849.13 | 0.046474 | 10997.7 | 0.11779 | -0.021057 | 0.11779
2103.26 | 0.052861 | 10997.7 | 0.11984 | -0.021057 | 0.11984
1758.85 | 0.044205 | 10997.7 | 0.12189 | -0.021057 | 0.12189
1384.19 | 0.034788 | 10997.7 | 0.12496 | -0.021057 | 0.12496
1665.07 | 0.041848 | 10997.2 | 0.12906 | -0.02507 | 0.12906
1532.69 | 0.038521 | 10997.2 | 0.13315 | -0.02507 | 0.13315
1311.23 | 0.032955 | 10997.2 | 0.13725 | -0.02507 | 0.13725
1715.99 | 0.043127 | 10997.2 | 0.14134 | -0.02507 | 0.14134
1706.26 | 0.042883 | 10997.2 | 0.14544 | -0.02507 | 0.14544
1588.77 | 0.03993 | 10996.8 | 0.14954 | -0.029439 | 0.14954
1435.87 | 0.036087 | 10996.8 | 0.15363 | -0.029439 | 0.15363
1910.08 | 0.048006 | 10996.8 | 0.15773 | -0.029439 | 0.15773
1305.91 | 0.032821 | 10996.8 | 0.16182 | -0.029439 | 0.16182
1675.41 | 0.042108 | 10996.3 | 0.16592 | -0.033774 | 0.16592
1680.12 | 0.042226 | 10996.3 | 0.17002 | -0.033774 | 0.17002
1273.84 | 0.032015 | 10996.3 | 0.17411 | -0.033774 | 0.17411
1520.98 | 0.038226 | 10996.3 | 0.17821 | -0.033774 | 0.17821
1717.51 | 0.043166 | 10996.3 | 0.1823 | -0.033774 | 0.1823
1801.86 | 0.045286 | 10996.3 | 0.1864 | -0.033774 | 0.1864
1548.19 | 0.03891 | 10996.3 | 0.1905 | -0.033774 | 0.1905
1740.92 | 0.043754 | 10995.9 | 0.19459 | -0.037609 | 0.19459
1511.86 | 0.037997 | 10995.9 | 0.19869 | -0.037609 | 0.19869
1447.57 | 0.036381 | 10995.9 | 0.20278 | -0.037609 | 0.20278
1615.52 | 0.040602 | 10995.9 | 0.20688 | -0.037609 | 0.20688
1792.29 | 0.045045 | 10995.9 | 0.21098 | -0.037609 | 0.21098
1341.02 | 0.033704 | 10995.4 | 0.21507 | -0.042156 | 0.21507
1665.07 | 0.041848 | 10995.4 | 0.21917 | -0.042156 | 0.21917
1527.67 | 0.038395 | 10995.4 | 0.22326 | -0.042156 | 0.22326
1470.37 | 0.036954 | 10995.4 | 0.22736 | -0.042156 | 0.22736
1762.65 | 0.0443 | 10995.4 | 0.23146 | -0.042156 | 0.23146
1901.57 | 0.047792 | 10994.8 | 0.23555 | -0.047049 | 0.23555
1415.65 | 0.035579 | 10994.8 | 0.23965 | -0.047049 | 0.23965
1438 | 0.036141 | 10994.8 | 0.24374 | -0.047049 | 0.24374
1713.1 | 0.043055 | 10994.8 | 0.24784 | -0.047049 | 0.24784
1534.66 | 0.03857 | 10994.4 | 0.25194 | -0.051062 | 0.25194
1439.82 | 0.036187 | 10994.4 | 0.25603 | -0.051062 | 0.25603
1877.56 | 0.047188 | 10994.4 | 0.26013 | -0.051062 | 0.26013
1187.21 | 0.029838 | 10994.4 | 0.26422 | -0.051062 | 0.26422
1911.6 | 0.048044 | 10994 | 0.26832 | -0.054508 | 0.26832
1596.83 | 0.040133 | 10994 | 0.27242 | -0.054508 | 0.27242
1494.38 | 0.037558 | 10994 | 0.27651 | -0.054508 | 0.27651
1490.59 | 0.037463 | 10994 | 0.28061 | -0.054508 | 0.28061
1754.14 | 0.044086 | 10994 | 0.2847 | -0.054508 | 0.2847
1516.12 | 0.038104 | 10994 | 0.29085 | -0.054508 | 0.29085
1594.24 | 0.040068 | 10993.5 | 0.29904 | -0.05941 | 0.29904
1829.83 | 0.045989 | 10993.5 | 0.30723 | -0.05941 | 0.30723
1583.15 | 0.039789 | 10993.1 | 0.31542 | -0.062712 | 0.31542
1520.98 | 0.038226 | 10993.1 | 0.32362 | -0.062712 | 0.32362
1818.58 | 0.045706 | 10993.1 | 0.33181 | -0.062712 | 0.33181
1594.4 | 0.040072 | 10992.6 | 0.34 | -0.067047 | 0.34
1729.82 | 0.043475 | 10992.6 | 0.34819 | -0.067047 | 0.34819
1865.85 | 0.046894 | 10992.2 | 0.35638 | -0.07106 | 0.35638
1296.64 | 0.032588 | 10992.2 | 0.36458 | -0.07106 | 0.36458
1600.78 | 0.040232 | 10991.7 | 0.37277 | -0.075074 | 0.37277
1710.06 | 0.042979 | 10991.7 | 0.38096 | -0.075074 | 0.38096
1399.09 | 0.035163 | 10991.3 | 0.38915 | -0.079222 | 0.38915
1808.4 | 0.04545 | 10991.3 | 0.39734 | -0.079222 | 0.39734
1652.61 | 0.041535 | 10991.3 | 0.40554 | -0.079222 | 0.40554
1402.73 | 0.035255 | 10991.3 | 0.41373 | -0.079222 | 0.41373
2018.15 | 0.050722 | 10990.8 | 0.42192 | -0.083413 | 0.42192
1575.55 | 0.039598 | 10990.3 | 0.43011 | -0.08796 | 0.43011
1571.9 | 0.039506 | 10990.3 | 0.4383 | -0.08796 | 0.4383
1783.47 | 0.044824 | 10990.3 | 0.4465 | -0.08796 | 0.4465
1516.73 | 0.03812 | 10990 | 0.45469 | -0.091228 | 0.45469
1451.83 | 0.036488 | 10989.4 | 0.46288 | -0.096342 | 0.46288
1925.13 | 0.048384 | 10989.4 | 0.47107 | -0.096342 | 0.47107
1481.77 | 0.037241 | 10989.4 | 0.47926 | -0.096342 | 0.47926
1527.37 | 0.038387 | 10989.4 | 0.48746 | -0.096342 | 0.48746
1976.2 | 0.049667 | 10989.1 | 0.49565 | -0.099432 | 0.49565
1267.76 | 0.031862 | 10989.1 | 0.50384 | -0.099432 | 0.50384
1879.23 | 0.04723 | 10988.5 | 0.51203 | -0.10416 | 0.51203
1772.23 | 0.044541 | 10988.5 | 0.52022 | -0.10416 | 0.52022
1197.85 | 0.030105 | 10988 | 0.52842 | -0.10888 | 0.52842
1748.97 | 0.043956 | 10988 | 0.53661 | -0.10888 | 0.53661
1487.24 | 0.037378 | 10988 | 0.5448 | -0.10888 | 0.5448
1337.07 | 0.033604 | 10987.8 | 0.55299 | -0.11126 | 0.55299
1848.68 | 0.046462 | 10987.8 | 0.56118 | -0.11126 | 0.56118
1551.53 | 0.038994 | 10987.3 | 0.56938 | -0.11523 | 0.56938
1246.64 | 0.031331 | 10987.3 | 0.57757 | -0.11523 | 0.57757
2022.1 | 0.050821 | 10987.3 | 0.58576 | -0.11523 | 0.58576
1418.69 | 0.035656 | 10986.8 | 0.59395 | -0.12013 | 0.59395
1683.92 | 0.042321 | 10986.8 | 0.60214 | -0.12013 | 0.60214
1952.18 | 0.049064 | 10986.4 | 0.61034 | -0.12379 | 0.61034
1892.76 | 0.04757 | 10986 | 0.62262 | -0.12759 | 0.62262
1101.64 | 0.027687 | 10986 | 0.63901 | -0.12759 | 0.63901
1897.77 | 0.047696 | 10985.6 | 0.65539 | -0.13086 | 0.65539
1976.05 | 0.049663 | 10985.1 | 0.67178 | -0.13505 | 0.67178
1544.85 | 0.038826 | 10985.1 | 0.68816 | -0.13505 | 0.68816
1498.03 | 0.03765 | 10984.8 | 0.70454 | -0.13853 | 0.70454
1736.36 | 0.043639 | 10984.3 | 0.72093 | -0.14233 | 0.72093
1959.02 | 0.049236 | 10983.5 | 0.73731 | -0.14996 | 0.73731
1467.33 | 0.036878 | 10983.5 | 0.7537 | -0.14996 | 0.7537
1842.29 | 0.046302 | 10983 | 0.77008 | -0.15415 | 0.77008
1968.14 | 0.049465 | 10982.5 | 0.78646 | -0.1587 | 0.78646
1540.29 | 0.038712 | 10982.1 | 0.80285 | -0.16268 | 0.80285
1706.87 | 0.042898 | 10982.1 | 0.81923 | -0.16268 | 0.81923
2065.72 | 0.051917 | 10981.7 | 0.83562 | -0.16634 | 0.83562
1782.26 | 0.044793 | 10981.3 | 0.852 | -0.1696 | 0.852
1601.84 | 0.040259 | 10980.8 | 0.86838 | -0.17433 | 0.86838
1971.18 | 0.049541 | 10980.5 | 0.88477 | -0.1776 | 0.88477
1898.68 | 0.047719 | 10980 | 0.90115 | -0.18179 | 0.90115
1270.04 | 0.03192 | 10980 | 0.91754 | -0.18179 | 0.91754
1824.51 | 0.045855 | 10979.6 | 0.93392 | -0.1854 | 0.93392
1958.11 | 0.049213 | 10979 | 0.9503 | -0.19069 | 0.9503
1339.81 | 0.033673 | 10978.6 | 0.96669 | -0.1945 | 0.96669
1556.55 | 0.03912 | 10978.1 | 0.98307 | -0.19869 | 0.98307
2109.34 | 0.053014 | 10978.1 | 0.99946 | -0.19869 | 0.99946
1997.93 | 0.050214 | 10977.3 | 1.0158 | -0.20614 | 1.0158
1566.88 | 0.03938 | 10977.3 | 1.0322 | -0.20614 | 1.0322
1791.99 | 0.045038 | 10976.8 | 1.0486 | -0.21105 | 1.0486
1905.07 | 0.04788 | 10976.3 | 1.065 | -0.21506 | 1.065
1238.73 | 0.031133 | 10975.8 | 1.0814 | -0.21961 | 1.0814
1632.24 | 0.041023 | 10975.8 | 1.0978 | -0.21961 | 1.0978
2166.19 | 0.054442 | 10975.4 | 1.1141 | -0.2234 | 1.1141
1536.64 | 0.03862 | 10975 | 1.1305 | -0.22759 | 1.1305
1273.54 | 0.032008 | 10974.5 | 1.1469 | -0.23214 | 1.1469
1940.63 | 0.048773 | 10974.1 | 1.1633 | -0.23541 | 1.1633
1957.2 | 0.04919 | 10973.6 | 1.1797 | -0.24034 | 1.1797
1605.34 | 0.040347 | 10973.2 | 1.1961 | -0.24322 | 1.1961
1656.71 | 0.041638 | 10973.2 | 1.2125 | -0.24322 | 1.2125
1826.34 | 0.045901 | 10972.7 | 1.2288 | -0.24798 | 1.2288
1633.76 | 0.041061 | 10972.4 | 1.2452 | -0.25125 | 1.2452
1609.59 | 0.040454 | 10972.4 | 1.2616 | -0.25125 | 1.2616
1997.02 | 0.050191 | 10971 | 1.2862 | -0.26324 | 1.2862
1797.3 | 0.045171 | 10970.6 | 1.3189 | -0.26758 | 1.3189
1446.81 | 0.036362 | 10969.6 | 1.3517 | -0.27596 | 1.3517
1887.28 | 0.047433 | 10969.1 | 1.3845 | -0.28086 | 1.3845
1703.98 | 0.042826 | 10968.1 | 1.4172 | -0.28977 | 1.4172
1675.26 | 0.042104 | 10967.3 | 1.45 | -0.29687 | 1.45
1966.62 | 0.049427 | 10966.9 | 1.4828 | -0.30103 | 1.4828
1602.3 | 0.04027 | 10965.9 | 1.5155 | -0.31033 | 1.5155
1935.31 | 0.04864 | 10965.6 | 1.5483 | -0.31304 | 1.5483
1493.78 | 0.037543 | 10964.6 | 1.5811 | -0.32177 | 1.5811
2076.36 | 0.052185 | 10963.6 | 1.6139 | -0.3305 | 1.6139
1698.97 | 0.0427 | 10963.3 | 1.6466 | -0.33341 | 1.6466
1826.34 | 0.045901 | 10962.5 | 1.6794 | -0.34087 | 1.6794
2171.05 | 0.054565 | 10962 | 1.7122 | -0.34542 | 1.7122
1288.74 | 0.03239 | 10961.2 | 1.7449 | -0.35267 | 1.7449
1862.05 | 0.046798 | 10960.2 | 1.7777 | -0.3614 | 1.7777
1543.17 | 0.038784 | 10959.3 | 1.8105 | -0.3696 | 1.8105
1812.5 | 0.045553 | 10958.8 | 1.8432 | -0.37432 | 1.8432
1471.89 | 0.036993 | 10958 | 1.876 | -0.38139 | 1.876
1569.16 | 0.039437 | 10957.2 | 1.9088 | -0.38924 | 1.9088
2169.53 | 0.054526 | 10956.7 | 1.9415 | -0.39321 | 1.9415
1579.2 | 0.03969 | 10955.7 | 1.9743 | -0.40231 | 1.9743
1871.48 | 0.047035 | 10955 | 2.0071 | -0.40941 | 2.0071
2051.74 | 0.051566 | 10954.5 | 2.0398 | -0.41342 | 2.0398
1847.61 | 0.046436 | 10953.6 | 2.0726 | -0.42142 | 2.0726
2157.37 | 0.054221 | 10953.2 | 2.1054 | -0.42522 | 2.1054
1238.89 | 0.031137 | 10952.3 | 2.1381 | -0.43323 | 2.1381
2112.23 | 0.053086 | 10951.9 | 2.1709 | -0.43704 | 2.1709
1824.21 | 0.045847 | 10951 | 2.2037 | -0.44524 | 2.2037
1967.23 | 0.049442 | 10950.1 | 2.2365 | -0.45323 | 2.2365
2177.13 | 0.054717 | 10949.3 | 2.2692 | -0.46105 | 2.2692
1707.33 | 0.04291 | 10948.9 | 2.302 | -0.46466 | 2.302
2097.18 | 0.052708 | 10947.9 | 2.3348 | -0.4734 | 2.3348
1681.49 | 0.04226 | 10947 | 2.3675 | -0.4816 | 2.3675
2119.07 | 0.053258 | 10946.7 | 2.4003 | -0.48469 | 2.4003
2160.57 | 0.054301 | 10945.7 | 2.4331 | -0.49358 | 2.4331
2022.4 | 0.050829 | 10945.3 | 2.4658 | -0.49706 | 2.4658
2245.23 | 0.056429 | 10944.4 | 2.4986 | -0.50522 | 2.4986
1479.64 | 0.037187 | 10943.6 | 2.5314 | -0.51232 | 2.5314
1967.38 | 0.049446 | 10943.1 | 2.5641 | -0.51722 | 2.5641
1890.17 | 0.047505 | 10941.9 | 2.6133 | -0.52848 | 2.6133
1576.76 | 0.039628 | 10940.1 | 2.6788 | -0.54485 | 2.6788
1795.78 | 0.045133 | 10938.8 | 2.7443 | -0.55614 | 2.7443
2007.36 | 0.05045 | 10937 | 2.8099 | -0.57248 | 2.8099
2016.63 | 0.050683 | 10935.7 | 2.8754 | -0.58413 | 2.8754
1962.37 | 0.04932 | 10934.4 | 2.941 | -0.59649 | 2.941
1896.4 | 0.047662 | 10933.1 | 3.0065 | -0.60831 | 3.0065
1600.63 | 0.040228 | 10931.3 | 3.072 | -0.62433 | 3.072
1739.7 | 0.043723 | 10930 | 3.1376 | -0.63629 | 3.1376
2338.85 | 0.058782 | 10928.7 | 3.2031 | -0.64776 | 3.2031
2366.51 | 0.059477 | 10927.4 | 3.2686 | -0.65977 | 3.2686
2043.53 | 0.05136 | 10925.7 | 3.3342 | -0.67539 | 3.3342
1941.55 | 0.048796 | 10924.4 | 3.3997 | -0.68739 | 3.3997
1871.78 | 0.047043 | 10923.2 | 3.4653 | -0.6983 | 3.4653
2149.62 | 0.054026 | 10921.8 | 3.5308 | -0.71047 | 3.5308
2262.7 | 0.056868 | 10920.2 | 3.5963 | -0.72575 | 3.5963
2209.51 | 0.055531 | 10918.8 | 3.6619 | -0.73832 | 3.6619
1692.73 | 0.042543 | 10917.4 | 3.7274 | -0.75067 | 3.7274
1670.54 | 0.041985 | 10915.7 | 3.7929 | -0.76648 | 3.7929
2053.26 | 0.051604 | 10914.2 | 3.8585 | -0.77958 | 3.8585
2357.4 | 0.059248 | 10913 | 3.924 | -0.79123 | 3.924
2168.16 | 0.054492 | 10911.6 | 3.9895 | -0.80323 | 3.9895
1854.45 | 0.046608 | 10909.7 | 4.0551 | -0.82049 | 4.0551
1601.39 | 0.040247 | 10908.4 | 4.1206 | -0.83303 | 4.1206
1756.27 | 0.04414 | 10907.1 | 4.1861 | -0.8445 | 4.1861
2081.99 | 0.052326 | 10905.2 | 4.2517 | -0.86158 | 4.2517
2609.85 | 0.065593 | 10903.9 | 4.3172 | -0.87394 | 4.3172
2237.78 | 0.056241 | 10902.6 | 4.3827 | -0.88576 | 4.3827
2054.32 | 0.051631 | 10901.2 | 4.4483 | -0.89776 | 4.4483
1908.87 | 0.047975 | 10899.5 | 4.5138 | -0.91357 | 4.5138
2241.12 | 0.056326 | 10898.1 | 4.5794 | -0.92631 | 4.5794
2400.86 | 0.06034 | 10896.9 | 4.6449 | -0.93739 | 4.6449
2575.05 | 0.064718 | 10895.5 | 4.7104 | -0.94976 | 4.7104
1980.46 | 0.049774 | 10893.9 | 4.776 | -0.96466 | 4.776
1700.18 | 0.04273 | 10892.5 | 4.8415 | -0.97703 | 4.8415
1992.31 | 0.050072 | 10891.2 | 4.907 | -0.98868 | 4.907
2072.87 | 0.052097 | 10889.5 | 4.9726 | -1.0041 | 4.9726
2236.26 | 0.056203 | 10888.1 | 5.0381 | -1.0168 | 5.0381
2238.39 | 0.056257 | 10886.8 | 5.1037 | -1.0292 | 5.1037
1768.88 | 0.044457 | 10885.6 | 5.1692 | -1.0403 | 5.1692
1839.41 | 0.046229 | 10882.4 | 5.2675 | -1.0689 | 5.2675
2393.27 | 0.060149 | 10879.9 | 5.3986 | -1.0919 | 5.3986
1748.82 | 0.043953 | 10876.8 | 5.5296 | -1.12 | 5.5296
2163.3 | 0.05437 | 10873.8 | 5.6607 | -1.1474 | 5.6607
2544.8 | 0.063958 | 10871.1 | 5.7918 | -1.1718 | 5.7918
2046.42 | 0.051432 | 10868 | 5.9229 | -1.1999 | 5.9229
2653.48 | 0.066689 | 10865.4 | 6.0539 | -1.2234 | 6.0539
2256.02 | 0.0567 | 10862.5 | 6.185 | -1.2503 | 6.185
1955.98 | 0.049159 | 10859.9 | 6.3161 | -1.2736 | 6.3161
2263.77 | 0.056895 | 10856.8 | 6.4471 | -1.302 | 6.4471
2225.47 | 0.055932 | 10853.6 | 6.5782 | -1.3309 | 6.5782
2171.96 | 0.054587 | 10850.9 | 6.7093 | -1.3556 | 6.7093
2485.83 | 0.062476 | 10847.7 | 6.8403 | -1.3841 | 6.8403
1923.15 | 0.048334 | 10844.9 | 6.9714 | -1.4098 | 6.9714
2743.76 | 0.068958 | 10841.9 | 7.1025 | -1.4374 | 7.1025
2295.38 | 0.057689 | 10839.2 | 7.2336 | -1.462 | 7.2336
2247.5 | 0.056486 | 10836.1 | 7.3646 | -1.4903 | 7.3646
2569.12 | 0.064569 | 10833.5 | 7.4957 | -1.5136 | 7.4957
2614.26 | 0.065704 | 10830.4 | 7.6268 | -1.5414 | 7.6268
2024.84 | 0.05089 | 10827.3 | 7.7579 | -1.5701 | 7.7579
2715.34 | 0.068244 | 10824.8 | 7.8889 | -1.5927 | 7.8889
2219.84 | 0.055791 | 10821.8 | 8.02 | -1.6201 | 8.02
2300.7 | 0.057823 | 10819.1 | 8.1511 | -1.6445 | 8.1511
2933.44 | 0.073725 | 10816 | 8.2821 | -1.6725 | 8.2821
2207.07 | 0.05547 | 10813.4 | 8.4132 | -1.6961 | 8.4132
2583.71 | 0.064936 | 10810.3 | 8.5443 | -1.7241 | 8.5443
2712.14 | 0.068164 | 10807.6 | 8.6754 | -1.7487 | 8.6754
1957.81 | 0.049205 | 10804.7 | 8.8064 | -1.775 | 8.8064
2402.99 | 0.060394 | 10802.1 | 8.9375 | -1.799 | 8.9375
2273.5 | 0.057139 | 10799.1 | 9.0686 | -1.8259 | 9.0686
2250.24 | 0.056555 | 10795.9 | 9.1997 | -1.8552 | 9.1997
2767.01 | 0.069543 | 10793.3 | 9.3307 | -1.8795 | 9.3307
2296.6 | 0.05772 | 10790.1 | 9.4618 | -1.9081 | 9.4618
2270.15 | 0.057055 | 10787.3 | 9.5929 | -1.9334 | 9.5929
2632.8 | 0.06617 | 10784.3 | 9.7239 | -1.9607 | 9.7239
2052.96 | 0.051596 | 10781.7 | 9.855 | -1.9847 | 9.855
2702.26 | 0.067915 | 10778.5 | 9.9861 | -2.0136 | 9.9861
2613.65 | 0.065688 | 10775.4 | 10.1172 | -2.0421 | 10.1172
2419.86 | 0.060818 | 10772.8 | 10.2482 | -2.0652 | 10.2482
2648.31 | 0.066559 | 10769.8 | 10.3793 | -2.0928 | 10.3793
2258.14 | 0.056753 | 10764.1 | 10.5759 | -2.145 | 10.5759
2669.13 | 0.067083 | 10758.4 | 10.838 | -2.1965 | 10.838
3018.86 | 0.075872 | 10752.8 | 11.1002 | -2.2474 | 11.1002
2587.36 | 0.065027 | 10747.1 | 11.3623 | -2.299 | 11.3623
2338.55 | 0.058774 | 10741.5 | 11.6245 | -2.3499 | 11.6245
2904.11 | 0.072988 | 10735.6 | 11.8866 | -2.4032 | 11.8866
2886.48 | 0.072545 | 10729.8 | 12.1488 | -2.4561 | 12.1488
2259.82 | 0.056795 | 10724 | 12.4109 | -2.5094 | 12.4109
3055.19 | 0.076785 | 10718.1 | 12.6731 | -2.5626 | 12.6731
2930.71 | 0.073657 | 10712.1 | 12.9352 | -2.6175 | 12.9352
2341.44 | 0.058847 | 10706.5 | 13.1973 | -2.6681 | 13.1973
2567.9 | 0.064538 | 10700.9 | 13.4595 | -2.7195 | 13.4595
3043.18 | 0.076483 | 10695.1 | 13.7216 | -2.7721 | 13.7216
2981.93 | 0.074944 | 10689.4 | 13.9838 | -2.8241 | 13.9838
2577.02 | 0.064768 | 10683.8 | 14.2459 | -2.8746 | 14.2459
2742.24 | 0.06892 | 10678 | 14.5081 | -2.9272 | 14.5081
3057.47 | 0.076843 | 10672.3 | 14.7702 | -2.979 | 14.7702
2547.23 | 0.064019 | 10665.9 | 15.0324 | -3.0377 | 15.0324
2773.7 | 0.069711 | 10660.1 | 15.2945 | -3.0901 | 15.2945
3209.01 | 0.080651 | 10654.4 | 15.5566 | -3.1419 | 15.5566
2989.68 | 0.075139 | 10648.8 | 15.8188 | -3.1928 | 15.8188
2747.41 | 0.06905 | 10643.2 | 16.0809 | -3.2441 | 16.0809
3342.45 | 0.084005 | 10637.4 | 16.3431 | -3.2961 | 16.3431
3248.98 | 0.081656 | 10631.8 | 16.6052 | -3.3477 | 16.6052
2869.46 | 0.072117 | 10626.1 | 16.8674 | -3.399 | 16.8674
3044.4 | 0.076514 | 10620.5 | 17.1295 | -3.4497 | 17.1295
3437.6 | 0.086396 | 10614.2 | 17.3916 | -3.5073 | 17.3916
3185.9 | 0.080071 | 10608.7 | 17.6538 | -3.5573 | 17.6538
3012.94 | 0.075723 | 10602.4 | 17.9159 | -3.6146 | 17.9159
3310.54 | 0.083203 | 10596.8 | 18.1781 | -3.6655 | 18.1781
3360.39 | 0.084456 | 10591.2 | 18.4402 | -3.7168 | 18.4402
3029.2 | 0.076132 | 10585.4 | 18.7024 | -3.7693 | 18.7024
3118.42 | 0.078374 | 10579.9 | 18.9645 | -3.8193 | 18.9645
3688.39 | 0.092699 | 10574 | 19.2267 | -3.8724 | 19.2267
3050.33 | 0.076663 | 10568.4 | 19.4888 | -3.9239 | 19.4888
3019.02 | 0.075876 | 10562.8 | 19.7509 | -3.9744 | 19.7509
3785.82 | 0.095148 | 10557 | 20.0131 | -4.027 | 20.0131
3679.27 | 0.09247 | 10550.8 | 20.2752 | -4.0841 | 20.2752
3204.14 | 0.080529 | 10544.8 | 20.5374 | -4.1382 | 20.5374
3438.51 | 0.086419 | 10539.2 | 20.7995 | -4.1891 | 20.7995
3437.3 | 0.086389 | 10527.8 | 21.1927 | -4.2924 | 21.1927
3951.18 | 0.099304 | 10516.5 | 21.717 | -4.3953 | 21.717
3406.6 | 0.085617 | 10505.2 | 22.2413 | -4.4985 | 22.2413
4014.87 | 0.1009 | 10493.2 | 22.7656 | -4.6076 | 22.7656
3256.43 | 0.081843 | 10481.3 | 23.2899 | -4.7151 | 23.2899
3768.64 | 0.094716 | 10470.1 | 23.8142 | -4.8174 | 23.8142
3900.11 | 0.09802 | 10458.9 | 24.3385 | -4.9191 | 24.3385
3541.72 | 0.089013 | 10447 | 24.8628 | -5.0271 | 24.8628
3994.04 | 0.10038 | 10435.5 | 25.387 | -5.1314 | 25.387
3267.07 | 0.08211 | 10423.8 | 25.9113 | -5.2382 | 25.9113
4502.76 | 0.11317 | 10412.4 | 26.4356 | -5.3414 | 26.4356
4111.08 | 0.10332 | 10401.2 | 26.9599 | -5.4436 | 26.9599
3804.66 | 0.095622 | 10389.4 | 27.4842 | -5.5511 | 27.4842
4243.31 | 0.10665 | 10378.1 | 28.0085 | -5.6539 | 28.0085
3836.88 | 0.096431 | 10366.2 | 28.5328 | -5.7618 | 28.5328
4466.74 | 0.11226 | 10354.8 | 29.0571 | -5.8658 | 29.0571
4391.81 | 0.11038 | 10343.4 | 29.5813 | -5.9687 | 29.5813
4351.83 | 0.10937 | 10331.7 | 30.1056 | -6.0752 | 30.1056
4532.86 | 0.11392 | 10320.4 | 30.6299 | -6.1783 | 30.6299
4006.05 | 0.10068 | 10308.6 | 31.1542 | -6.2852 | 31.1542
4852.34 | 0.12195 | 10297.2 | 31.6785 | -6.3894 | 31.6785
4172.18 | 0.10486 | 10285.5 | 32.2028 | -6.4956 | 32.2028
4921.35 | 0.12369 | 10274 | 32.7271 | -6.5996 | 32.7271
4495.16 | 0.11298 | 10262.8 | 33.2514 | -6.7021 | 33.2514
4521 | 0.11363 | 10251.1 | 33.7756 | -6.8079 | 33.7756
4806.14 | 0.12079 | 10239.5 | 34.2999 | -6.9137 | 34.2999
4381.78 | 0.11013 | 10227.7 | 34.8242 | -7.0208 | 34.8242
5041.57 | 0.12671 | 10216.4 | 35.3485 | -7.1235 | 35.3485
4898.09 | 0.1231 | 10205.1 | 35.8728 | -7.2261 | 35.8728
4520.7 | 0.11362 | 10193.5 | 36.3971 | -7.3315 | 36.3971
5317.13 | 0.13363 | 10181.4 | 36.9214 | -7.4421 | 36.9214
4440.9 | 0.11161 | 10170.2 | 37.4457 | -7.5441 | 37.4457
5254.21 | 0.13205 | 10158.9 | 37.97 | -7.6464 | 37.97
5074.25 | 0.12753 | 10147.4 | 38.4942 | -7.7508 | 38.4942
5074.25 | 0.12753 | 10135.9 | 39.0185 | -7.8554 | 39.0185
5366.53 | 0.13488 | 10123.7 | 39.5428 | -7.9661 | 39.5428
4617.67 | 0.11606 | 10112.5 | 40.0671 | -8.0686 | 40.0671
5485.39 | 0.13786 | 10101.2 | 40.5914 | -8.1712 | 40.5914
5271.54 | 0.13249 | 10089.7 | 41.1157 | -8.2753 | 41.1157
5339.78 | 0.1342 | 10078.3 | 41.64 | -8.379 | 41.64
5004.18 | 0.12577 | 10054.7 | 42.4264 | -8.5933 | 42.4264
5258.47 | 0.13216 | 10032.1 | 43.475 | -8.7991 | 43.475
5746.51 | 0.14443 | 10008.5 | 44.5236 | -9.014 | 44.5236
6145.79 | 0.15446 | 9985.78 | 45.5721 | -9.2202 | 45.5721
5702.13 | 0.14331 | 9962.64 | 46.6207 | -9.4306 | 46.6207
5477.03 | 0.13765 | 9939.46 | 47.6693 | -9.6413 | 47.6693
5671.28 | 0.14253 | 9916.78 | 48.7179 | -9.8474 | 48.7179
6057.94 | 0.15225 | 9893.46 | 49.7664 | -10.0594 | 49.7664
6376.37 | 0.16026 | 9870.46 | 50.815 | -10.2685 | 50.815
6467.71 | 0.16255 | 9847.32 | 51.8636 | -10.4789 | 51.8636
6325.75 | 0.15898 | 9824.04 | 52.9122 | -10.6905 | 52.9122
6326.82 | 0.15901 | 9801.14 | 53.9607 | -10.8987 | 53.9607
6175.74 | 0.15521 | 9778.36 | 55.0093 | -11.1058 | 55.0093
6375.45 | 0.16023 | 9755.04 | 56.0579 | -11.3178 | 56.0579
6549.33 | 0.1646 | 9732 | 57.1065 | -11.5272 | 57.1065
6894.2 | 0.17327 | 9708.97 | 58.155 | -11.7367 | 58.155
7122.65 | 0.17901 | 9685.64 | 59.2036 | -11.9487 | 59.2036
7023.85 | 0.17653 | 9663.09 | 60.2522 | -12.1538 | 60.2522
6701.63 | 0.16843 | 9639.75 | 61.3008 | -12.3659 | 61.3008
6807.26 | 0.17108 | 9616.79 | 62.3493 | -12.5746 | 62.3493
6561.8 | 0.16492 | 9593.83 | 63.3979 | -12.7834 | 63.3979
7298.35 | 0.18343 | 9570.37 | 64.4465 | -12.9967 | 64.4465
7670.88 | 0.19279 | 9547.65 | 65.4951 | -13.2032 | 65.4951
7527.1 | 0.18918 | 9524.07 | 66.5436 | -13.4175 | 66.5436
7525.42 | 0.18913 | 9501.47 | 67.5922 | -13.623 | 67.5922
7441.07 | 0.18701 | 9478.22 | 68.6408 | -13.8344 | 68.6408
7449.28 | 0.18722 | 9455.02 | 69.6894 | -14.0453 | 69.6894
7739.13 | 0.19451 | 9432.38 | 70.738 | -14.2511 | 70.738
7970.15 | 0.20031 | 9408.75 | 71.7865 | -14.4659 | 71.7865
8254.99 | 0.20747 | 9386.09 | 72.8351 | -14.6719 | 72.8351
8409.26 | 0.21135 | 9362.95 | 73.8837 | -14.8822 | 73.8837
8105.43 | 0.20371 | 9339.79 | 74.9323 | -15.0928 | 74.9323
8027.15 | 0.20174 | 9316.66 | 75.9808 | -15.3031 | 75.9808
8052.08 | 0.20237 | 9293.78 | 77.0294 | -15.5111 | 77.0294
8491.03 | 0.2134 | 9270.76 | 78.078 | -15.7204 | 78.078
8347.85 | 0.2098 | 9247.6 | 79.1266 | -15.9309 | 79.1266
8273.99 | 0.20795 | 9224.52 | 80.1751 | -16.1408 | 80.1751
8375.97 | 0.21051 | 9201.37 | 81.2237 | -16.3511 | 81.2237
8376.58 | 0.21053 | 9178.58 | 82.2723 | -16.5584 | 82.2723
8420.81 | 0.21164 | 9154.92 | 83.3209 | -16.7735 | 83.3209
8814.47 | 0.22153 | 9109.2 | 84.8937 | -17.1891 | 84.8937
8939.86 | 0.22468 | 9063.38 | 86.9909 | -17.6056 | 86.9909
9487.49 | 0.23845 | 9017.08 | 89.088 | -18.0265 | 89.088
9312.24 | 0.23404 | 8970.74 | 91.1852 | -18.4478 | 91.1852
9484.91 | 0.23838 | 8924.25 | 93.2823 | -18.8705 | 93.2823
9446.45 | 0.23741 | 8878.53 | 95.3795 | -19.2861 | 95.3795
10161 | 0.25537 | 8832.71 | 97.4766 | -19.7027 | 97.4766