## Details
Filename | omni_slowcomp_inplane5
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_inplane5
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_inplane5
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_inplane5.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 12:25
Time at start of test | 0.95308
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Stress
Pa | N | µm | s | % | Pa
1421.58 | 0.035728 | 10300 | 0 | -0.00034167 | 710.79
1381.15 | 0.034712 | 10300 | 0.000544 | -0.00034167 | 690.575
1363.06 | 0.034258 | 10300 | 0.001568 | -0.00034167 | 681.532
1277.95 | 0.032118 | 10300 | 0.002592 | -0.00034167 | 638.974
1239.04 | 0.03114 | 10300 | 0.003616 | -0.00034167 | 619.519
1316.55 | 0.033089 | 10300 | 0.00464 | -0.00034167 | 658.277
1481.31 | 0.037229 | 10300 | 0.005664 | -0.00034167 | 740.657
1661.12 | 0.041749 | 10300 | 0.006688 | -0.00034167 | 830.56
1771.77 | 0.044529 | 10300 | 0.007712 | -0.00034167 | 885.885
1807.79 | 0.045435 | 10300 | 0.008736 | -0.00034167 | 903.896
1778.91 | 0.044709 | 10300 | 0.00976 | -0.00034167 | 889.457
1708.39 | 0.042937 | 10300 | 0.010784 | -0.00034167 | 854.195
1565.06 | 0.039334 | 10300 | 0.011808 | -0.00034167 | 782.531
1336.31 | 0.033585 | 10300 | 0.012832 | -0.00034167 | 668.157
1094.49 | 0.027508 | 10300 | 0.013856 | -0.00034167 | 547.247
923.199 | 0.023203 | 10300 | 0.01488 | -0.00034167 | 461.6
912.864 | 0.022943 | 10300 | 0.015904 | -0.00034167 | 456.432
1035.52 | 0.026026 | 10300 | 0.016928 | -0.00034167 | 517.761
1230.98 | 0.030938 | 10300 | 0.017952 | -0.00034167 | 615.491
1435.11 | 0.036068 | 10300 | 0.018976 | -0.00034167 | 717.554
1621.3 | 0.040748 | 10299.8 | 0.02 | -0.001707 | 810.649
1729.97 | 0.043479 | 10299.8 | 0.021024 | -0.001707 | 864.986
1768.88 | 0.044457 | 10299.8 | 0.022048 | -0.001707 | 884.441
1778.76 | 0.044705 | 10299.8 | 0.023072 | -0.001707 | 889.381
1754.9 | 0.044105 | 10299.8 | 0.024096 | -0.001707 | 877.449
1663.1 | 0.041798 | 10299.8 | 0.02512 | -0.001707 | 831.548
1462.16 | 0.036748 | 10299.8 | 0.026144 | -0.001707 | 731.081
1142.07 | 0.028703 | 10299.8 | 0.027168 | -0.001707 | 571.034
902.832 | 0.022691 | 10299.8 | 0.028192 | -0.001707 | 451.416
916.207 | 0.023027 | 10299.8 | 0.029216 | -0.001707 | 458.104
1154.38 | 0.029013 | 10299.8 | 0.03024 | -0.001707 | 577.189
1433.44 | 0.036026 | 10299.8 | 0.031264 | -0.001707 | 716.718
1609.14 | 0.040442 | 10299.8 | 0.032288 | -0.001707 | 804.569
1662.34 | 0.041779 | 10299.8 | 0.033312 | -0.001707 | 831.168
1615.07 | 0.040591 | 10299.8 | 0.034336 | -0.001707 | 807.533
1551.84 | 0.039002 | 10299.8 | 0.03536 | -0.001707 | 775.919
1564.45 | 0.039319 | 10299.8 | 0.036384 | -0.001707 | 782.227
1587.56 | 0.0399 | 10299.8 | 0.037408 | -0.001707 | 793.778
1490.59 | 0.037463 | 10299.8 | 0.038432 | -0.001707 | 745.293
1259.41 | 0.031652 | 10299.5 | 0.039456 | -0.0051972 | 629.703
1027.77 | 0.025831 | 10299.5 | 0.04048 | -0.0051972 | 513.885
883.681 | 0.022209 | 10299.5 | 0.042016 | -0.0051972 | 441.841
1555.94 | 0.039105 | 10299.5 | 0.044064 | -0.0051972 | 777.971
1918.14 | 0.048208 | 10299.5 | 0.046112 | -0.0051972 | 959.069
1822.08 | 0.045794 | 10299.5 | 0.04816 | -0.0051972 | 911.04
1471.28 | 0.036977 | 10299.5 | 0.050208 | -0.0051972 | 735.641
1309.71 | 0.032917 | 10299.5 | 0.052256 | -0.0051972 | 654.857
1104.98 | 0.027771 | 10299.5 | 0.054304 | -0.0051972 | 552.491
1217 | 0.030586 | 10299.5 | 0.056352 | -0.0051972 | 608.5
1689.09 | 0.042451 | 10299.5 | 0.0584 | -0.0051972 | 844.543
1773.29 | 0.044568 | 10299.5 | 0.060448 | -0.0051972 | 886.645
1436.17 | 0.036095 | 10299.5 | 0.062496 | -0.0051972 | 718.086
958.461 | 0.024089 | 10299.5 | 0.064544 | -0.0051972 | 479.231
1141 | 0.028677 | 10298.9 | 0.066592 | -0.010812 | 570.502
1491.34 | 0.037482 | 10298.9 | 0.06864 | -0.010812 | 745.672
1670.39 | 0.041981 | 10298.9 | 0.070688 | -0.010812 | 835.196
1855.37 | 0.04663 | 10298.9 | 0.072736 | -0.010812 | 927.683
1914.03 | 0.048105 | 10298.9 | 0.074784 | -0.010812 | 957.017
1450.31 | 0.03645 | 10298.9 | 0.076832 | -0.010812 | 725.154
677.732 | 0.017033 | 10298.9 | 0.07888 | -0.010812 | 338.866
944.782 | 0.023745 | 10298.9 | 0.080928 | -0.010812 | 472.391
1562.48 | 0.039269 | 10298.9 | 0.082976 | -0.010812 | 781.239
1629.51 | 0.040954 | 10298.5 | 0.085024 | -0.014293 | 814.753
1684.37 | 0.042333 | 10298.5 | 0.087072 | -0.014293 | 842.187
1557.92 | 0.039155 | 10298.5 | 0.08912 | -0.014293 | 778.959
1343.3 | 0.033761 | 10298.5 | 0.091168 | -0.014293 | 671.652
1178.24 | 0.029612 | 10298.5 | 0.093216 | -0.014293 | 589.121
1476.75 | 0.037115 | 10298.5 | 0.095264 | -0.014293 | 738.377
1825.58 | 0.045882 | 10298.5 | 0.097312 | -0.014293 | 912.788
1515.36 | 0.038085 | 10298.5 | 0.09936 | -0.014293 | 757.68
1206.82 | 0.030331 | 10297.9 | 0.10141 | -0.020514 | 603.408
1206.06 | 0.030312 | 10297.9 | 0.10346 | -0.020514 | 603.028
1506.39 | 0.03786 | 10297.9 | 0.1055 | -0.020514 | 753.196
1513.69 | 0.038043 | 10297.9 | 0.10755 | -0.020514 | 756.844
1248.16 | 0.03137 | 10297.9 | 0.1096 | -0.020514 | 624.079
1602 | 0.040262 | 10297.9 | 0.11165 | -0.020514 | 800.998
1460.95 | 0.036718 | 10297.9 | 0.1137 | -0.020514 | 730.473
1099.36 | 0.02763 | 10297.9 | 0.11574 | -0.020514 | 549.679
1292.54 | 0.032485 | 10297.9 | 0.11779 | -0.020514 | 646.27
1606.86 | 0.040385 | 10297.9 | 0.11984 | -0.020514 | 803.429
1788.95 | 0.044961 | 10297.4 | 0.12189 | -0.02499 | 894.473
1340.57 | 0.033692 | 10297.4 | 0.12496 | -0.02499 | 670.284
1151.95 | 0.028952 | 10297.4 | 0.12906 | -0.02499 | 575.973
1802.02 | 0.04529 | 10297.4 | 0.13315 | -0.02499 | 901.008
1683.31 | 0.042306 | 10297.1 | 0.13725 | -0.02848 | 841.655
1083.4 | 0.027229 | 10297.1 | 0.14134 | -0.02848 | 541.699
1410.94 | 0.035461 | 10297.1 | 0.14544 | -0.02848 | 705.471
1500.31 | 0.037707 | 10297.1 | 0.14954 | -0.02848 | 750.156
1098.75 | 0.027615 | 10297.1 | 0.15363 | -0.02848 | 549.375
1793.5 | 0.045076 | 10297.1 | 0.15773 | -0.02848 | 896.753
1493.32 | 0.037531 | 10296.6 | 0.16182 | -0.032576 | 746.66
1125.35 | 0.028283 | 10296.6 | 0.16592 | -0.032576 | 562.674
1491.34 | 0.037482 | 10296.6 | 0.17002 | -0.032576 | 745.672
1620.99 | 0.04074 | 10296.6 | 0.17411 | -0.032576 | 810.497
1304.55 | 0.032787 | 10296.1 | 0.17821 | -0.037812 | 652.273
1376.14 | 0.034586 | 10296.1 | 0.1823 | -0.037812 | 688.068
1664.01 | 0.041821 | 10296.1 | 0.1864 | -0.037812 | 832.004
1151.03 | 0.028929 | 10296.1 | 0.1905 | -0.037812 | 575.517
1370.21 | 0.034437 | 10296.1 | 0.19459 | -0.037812 | 685.104
1764.78 | 0.044354 | 10295.6 | 0.19869 | -0.042667 | 882.389
1381.3 | 0.034716 | 10295.6 | 0.20278 | -0.042667 | 690.651
1592.72 | 0.04003 | 10295.6 | 0.20688 | -0.042667 | 796.362
1419.76 | 0.035682 | 10295.6 | 0.21098 | -0.042667 | 709.878
1138.72 | 0.028619 | 10295.6 | 0.21507 | -0.042667 | 569.362
1454.87 | 0.036565 | 10295.6 | 0.21917 | -0.042667 | 727.433
1721.61 | 0.043269 | 10295.6 | 0.22326 | -0.042667 | 860.806
1394.68 | 0.035052 | 10295.2 | 0.22736 | -0.046157 | 697.339
1199.98 | 0.030159 | 10295.2 | 0.23146 | -0.046157 | 599.988
1768.58 | 0.044449 | 10295.2 | 0.23555 | -0.046157 | 884.289
1226.42 | 0.030823 | 10295.2 | 0.23965 | -0.046157 | 613.211
1301.51 | 0.03271 | 10294.8 | 0.24374 | -0.050633 | 650.754
1864.64 | 0.046863 | 10294.8 | 0.24784 | -0.050633 | 932.319
1546.06 | 0.038857 | 10294.8 | 0.25194 | -0.050633 | 773.031
1146.32 | 0.02881 | 10294.8 | 0.25603 | -0.050633 | 573.162
1446.51 | 0.036355 | 10294.8 | 0.26013 | -0.050633 | 723.254
1476.45 | 0.037107 | 10294.8 | 0.26422 | -0.050633 | 738.225
1282.2 | 0.032225 | 10294.5 | 0.26832 | -0.053743 | 641.102
1832.41 | 0.046054 | 10294.5 | 0.27242 | -0.053743 | 916.207
1549.71 | 0.038948 | 10294.5 | 0.27651 | -0.053743 | 774.855
1101.03 | 0.027672 | 10294.5 | 0.28061 | -0.053743 | 550.515
1585.28 | 0.039842 | 10294.1 | 0.2847 | -0.057604 | 792.638
1341.02 | 0.033704 | 10294.1 | 0.29085 | -0.057604 | 670.512
1185.54 | 0.029796 | 10294.1 | 0.29904 | -0.057604 | 592.769
1548.65 | 0.038922 | 10293.6 | 0.30723 | -0.06208 | 774.323
1206.21 | 0.030315 | 10293.6 | 0.31542 | -0.06208 | 603.104
1676.17 | 0.042127 | 10293.2 | 0.32362 | -0.06557 | 838.084
1437.39 | 0.036125 | 10293.2 | 0.33181 | -0.06557 | 718.694
1477.06 | 0.037123 | 10292.7 | 0.34 | -0.070426 | 738.529
1699.42 | 0.042711 | 10292.7 | 0.34819 | -0.070426 | 849.711
1514.3 | 0.038058 | 10292.7 | 0.35638 | -0.070426 | 757.148
1212.44 | 0.030472 | 10292.4 | 0.36458 | -0.073726 | 606.22
1617.5 | 0.040652 | 10292.4 | 0.37277 | -0.073726 | 808.749
1496.06 | 0.0376 | 10291.9 | 0.38096 | -0.078772 | 748.028
1339.2 | 0.033658 | 10291.9 | 0.38915 | -0.078772 | 669.601
1939.42 | 0.048743 | 10291.5 | 0.39734 | -0.082262 | 969.709
1184.32 | 0.029765 | 10291.5 | 0.40554 | -0.082262 | 592.161
1448.03 | 0.036393 | 10291.5 | 0.41373 | -0.082262 | 724.014
1637.26 | 0.041149 | 10291.5 | 0.42192 | -0.082262 | 818.629
1098.45 | 0.027607 | 10291.1 | 0.43011 | -0.086358 | 549.223
1790.01 | 0.044988 | 10291.1 | 0.4383 | -0.086358 | 895.005
1689.24 | 0.042455 | 10290.7 | 0.4465 | -0.090219 | 844.619
1211.68 | 0.030453 | 10290.7 | 0.45469 | -0.090219 | 605.84
1531.77 | 0.038498 | 10290.7 | 0.46288 | -0.090219 | 765.887
1517.03 | 0.038127 | 10290.3 | 0.47107 | -0.094315 | 758.516
1051.48 | 0.026427 | 10290.3 | 0.47926 | -0.094315 | 525.74
1782.26 | 0.044793 | 10289.8 | 0.48746 | -0.098565 | 891.129
1336.62 | 0.033593 | 10289.8 | 0.49565 | -0.098565 | 668.309
1190.1 | 0.02991 | 10289.5 | 0.50384 | -0.10209 | 595.048
1992.16 | 0.050068 | 10289.5 | 0.51203 | -0.10209 | 996.079
1153.47 | 0.02899 | 10289.1 | 0.52022 | -0.10615 | 576.733
1608.53 | 0.040427 | 10289.1 | 0.52842 | -0.10615 | 804.265
1567.64 | 0.039399 | 10289.1 | 0.53661 | -0.10615 | 783.822
1304.39 | 0.032783 | 10288.6 | 0.5448 | -0.11063 | 652.197
1481.62 | 0.037237 | 10288.6 | 0.55299 | -0.11063 | 740.809
1871.63 | 0.047039 | 10288.2 | 0.56118 | -0.11488 | 935.814
1125.96 | 0.028298 | 10288.2 | 0.56938 | -0.11488 | 562.978
1697.29 | 0.042658 | 10288.2 | 0.57757 | -0.11488 | 848.647
1720.85 | 0.04325 | 10287.7 | 0.58576 | -0.11935 | 860.426
1174.14 | 0.029509 | 10287.7 | 0.59395 | -0.11935 | 587.069
1734.38 | 0.04359 | 10287.3 | 0.60214 | -0.12284 | 867.19
1464.44 | 0.036805 | 10287.3 | 0.61034 | -0.12284 | 732.221
1957.81 | 0.049205 | 10287 | 0.62262 | -0.12632 | 978.904
1527.67 | 0.038395 | 10286.6 | 0.63901 | -0.13004 | 763.836
1372.64 | 0.034498 | 10286.6 | 0.65539 | -0.13004 | 686.32
1776.03 | 0.044636 | 10286.2 | 0.67178 | -0.13429 | 888.013
1822.38 | 0.045802 | 10285.4 | 0.68816 | -0.14188 | 911.192
1456.23 | 0.036599 | 10285.4 | 0.70454 | -0.14188 | 728.117
1750.95 | 0.044006 | 10285 | 0.72093 | -0.14597 | 875.474
1673.58 | 0.042062 | 10284.5 | 0.73731 | -0.15041 | 836.792
1081.27 | 0.027175 | 10284.1 | 0.7537 | -0.1539 | 540.635
1272.17 | 0.031973 | 10284.1 | 0.77008 | -0.1539 | 636.086
1529.49 | 0.03844 | 10283.3 | 0.78646 | -0.16168 | 764.747
1497.12 | 0.037627 | 10283.3 | 0.80285 | -0.16168 | 748.56
1223.69 | 0.030755 | 10282.9 | 0.81923 | -0.16577 | 611.844
1810.83 | 0.045511 | 10282.6 | 0.83562 | -0.16846 | 905.416
1512.93 | 0.038024 | 10282.1 | 0.852 | -0.17373 | 756.464
1395.29 | 0.035067 | 10281.8 | 0.86838 | -0.17661 | 697.643
1340.87 | 0.0337 | 10281.8 | 0.88477 | -0.17661 | 670.436
1709.45 | 0.042963 | 10281.3 | 0.90115 | -0.1817 | 854.727
1266.7 | 0.031836 | 10281 | 0.91754 | -0.18481 | 633.35
1473.71 | 0.037039 | 10280.5 | 0.93392 | -0.18906 | 736.857
2181.69 | 0.054832 | 10280.5 | 0.9503 | -0.18906 | 1090.85
1601.84 | 0.040259 | 10279.7 | 0.96669 | -0.19664 | 800.922
1220.04 | 0.030663 | 10279.7 | 0.98307 | -0.19664 | 610.02
1871.32 | 0.047031 | 10279.2 | 0.99946 | -0.2015 | 935.662
1866.16 | 0.046902 | 10278.8 | 1.0158 | -0.20597 | 933.079
1353.94 | 0.034028 | 10278.8 | 1.0322 | -0.20597 | 676.972
1457.6 | 0.036634 | 10278.4 | 1.0486 | -0.20946 | 728.801
1985.62 | 0.049904 | 10278 | 1.065 | -0.21332 | 992.811
1509.13 | 0.037928 | 10277.6 | 1.0814 | -0.2178 | 754.564
1389.66 | 0.034926 | 10277.2 | 1.0978 | -0.22129 | 694.831
1791.22 | 0.045018 | 10276.7 | 1.1141 | -0.22615 | 895.612
1734.38 | 0.04359 | 10276.4 | 1.1305 | -0.22945 | 867.19
1280.99 | 0.032195 | 10276 | 1.1469 | -0.23332 | 640.494
1495.14 | 0.037577 | 10276 | 1.1633 | -0.23332 | 747.572
1803.38 | 0.045324 | 10275.5 | 1.1797 | -0.2376 | 901.692
1424.92 | 0.035812 | 10275.1 | 1.1961 | -0.24207 | 712.462
1578.89 | 0.039682 | 10275.1 | 1.2125 | -0.24207 | 789.446
1653.82 | 0.041565 | 10274.7 | 1.2288 | -0.24518 | 826.912
1510.34 | 0.037959 | 10274.3 | 1.2452 | -0.24943 | 755.172
1428.72 | 0.035908 | 10273.9 | 1.2616 | -0.25353 | 714.362
1733.92 | 0.043578 | 10273.1 | 1.2862 | -0.26111 | 866.962
1709 | 0.042952 | 10272.6 | 1.3189 | -0.26555 | 854.499
1308.35 | 0.032882 | 10271.8 | 1.3517 | -0.27389 | 654.173
1962.37 | 0.04932 | 10270.9 | 1.3845 | -0.28227 | 981.184
1281.6 | 0.03221 | 10270.6 | 1.4172 | -0.28538 | 640.798
2091.87 | 0.052574 | 10269.8 | 1.45 | -0.29331 | 1045.93
1561.72 | 0.03925 | 10268.9 | 1.4828 | -0.30169 | 780.859
1679.97 | 0.042222 | 10268.6 | 1.5155 | -0.30439 | 839.984
1811.44 | 0.045526 | 10267.7 | 1.5483 | -0.31353 | 905.72
1379.02 | 0.034659 | 10266.9 | 1.5811 | -0.3211 | 689.511
1845.94 | 0.046394 | 10266.5 | 1.6139 | -0.32498 | 922.971
1217.15 | 0.03059 | 10265.7 | 1.6466 | -0.33294 | 608.576
1744.56 | 0.043846 | 10265.3 | 1.6794 | -0.33662 | 872.282
1584.06 | 0.039812 | 10264.5 | 1.7122 | -0.3444 | 792.03
1336.31 | 0.033585 | 10263.7 | 1.7449 | -0.35198 | 668.157
1975.59 | 0.049652 | 10263.3 | 1.7777 | -0.35641 | 987.796
1557.92 | 0.039155 | 10262.5 | 1.8105 | -0.36419 | 778.959
1781.35 | 0.04477 | 10261.6 | 1.8432 | -0.37314 | 890.673
1756.57 | 0.044147 | 10261.2 | 1.876 | -0.37625 | 878.285
1551.08 | 0.038983 | 10260.4 | 1.9088 | -0.3846 | 775.539
2166.95 | 0.054461 | 10259.5 | 1.9415 | -0.39293 | 1083.47
1499.4 | 0.037684 | 10259.2 | 1.9743 | -0.39643 | 749.7
2263.92 | 0.056898 | 10258.3 | 2.0071 | -0.40496 | 1131.96
1540.29 | 0.038712 | 10257.5 | 2.0398 | -0.41293 | 770.143
1692.43 | 0.042535 | 10257 | 2.0726 | -0.41778 | 846.215
1808.1 | 0.045442 | 10256.2 | 2.1054 | -0.42499 | 904.048
1511.56 | 0.03799 | 10255.6 | 2.1381 | -0.43097 | 755.78
2011.31 | 0.05055 | 10254.8 | 2.1709 | -0.43894 | 1005.65
1389.51 | 0.034922 | 10254.1 | 2.2037 | -0.44596 | 694.755
1896.86 | 0.047673 | 10253.6 | 2.2365 | -0.45021 | 948.43
1684.07 | 0.042325 | 10252.8 | 2.2692 | -0.45836 | 842.035
1417.02 | 0.035614 | 10251.9 | 2.302 | -0.4667 | 708.51
1956.14 | 0.049163 | 10251.5 | 2.3348 | -0.4706 | 978.068
1861.14 | 0.046776 | 10250.6 | 2.3675 | -0.47994 | 930.571
1589.08 | 0.039938 | 10249.8 | 2.4003 | -0.48692 | 794.538
1579.04 | 0.039686 | 10249.3 | 2.4331 | -0.49234 | 789.522
1395.29 | 0.035067 | 10248.5 | 2.4658 | -0.49974 | 697.643
2132.75 | 0.053602 | 10247.6 | 2.4986 | -0.50865 | 1066.38
1317.16 | 0.033104 | 10247.3 | 2.5314 | -0.51214 | 658.581
2119.53 | 0.053269 | 10246.3 | 2.5641 | -0.52147 | 1059.76
1751.1 | 0.04401 | 10245.2 | 2.6133 | -0.53178 | 875.55
1491.04 | 0.037474 | 10243.9 | 2.6788 | -0.54479 | 745.521
1492.86 | 0.03752 | 10242.4 | 2.7443 | -0.55935 | 746.432
1681.64 | 0.042264 | 10241 | 2.8099 | -0.57293 | 840.819
2293.1 | 0.057632 | 10239.9 | 2.8754 | -0.58381 | 1146.55
1929.69 | 0.048498 | 10238.4 | 2.941 | -0.59777 | 964.845
1470.98 | 0.03697 | 10237.4 | 3.0065 | -0.6079 | 735.489
1536.94 | 0.038628 | 10235.7 | 3.072 | -0.62401 | 768.471
1555.49 | 0.039094 | 10234.6 | 3.1376 | -0.63528 | 777.743
1816.61 | 0.045656 | 10233.3 | 3.2031 | -0.64749 | 908.304
2030 | 0.05102 | 10231.7 | 3.2686 | -0.66342 | 1015
1837.13 | 0.046172 | 10230.4 | 3.3342 | -0.67544 | 918.563
1458.51 | 0.036657 | 10229.2 | 3.3997 | -0.68693 | 729.257
1781.8 | 0.044782 | 10227.6 | 3.4653 | -0.70263 | 890.901
1855.37 | 0.04663 | 10226.4 | 3.5308 | -0.71469 | 927.683
2316.36 | 0.058216 | 10225.1 | 3.5963 | -0.72732 | 1158.18
2019.67 | 0.05076 | 10224 | 3.6619 | -0.73798 | 1009.83
2144 | 0.053885 | 10222.4 | 3.7274 | -0.75353 | 1072
1709.15 | 0.042956 | 10221.2 | 3.7929 | -0.76499 | 854.575
1618.56 | 0.040679 | 10220 | 3.8585 | -0.777 | 809.281
1785.91 | 0.044885 | 10218.2 | 3.924 | -0.79411 | 892.953
2404.97 | 0.060443 | 10217 | 3.9895 | -0.80556 | 1202.48
2168.16 | 0.054492 | 10215.8 | 4.0551 | -0.8172 | 1084.08
1779.52 | 0.044724 | 10214.7 | 4.1206 | -0.82847 | 889.761
1579.2 | 0.03969 | 10212.9 | 4.1861 | -0.84538 | 789.598
1748.97 | 0.043956 | 10211.7 | 4.2517 | -0.85721 | 874.486
2062.07 | 0.051826 | 10210.4 | 4.3172 | -0.86965 | 1031.04
2014.2 | 0.050622 | 10208.8 | 4.3827 | -0.88558 | 1007.1
1786.51 | 0.0449 | 10207.6 | 4.4483 | -0.89703 | 893.257
1391.64 | 0.034976 | 10206.3 | 4.5138 | -0.90982 | 695.819
1660.82 | 0.041741 | 10205.2 | 4.5794 | -0.92013 | 830.408
2030.92 | 0.051042 | 10203.5 | 4.6449 | -0.93663 | 1015.46
2068.61 | 0.05199 | 10202.3 | 4.7104 | -0.94865 | 1034.31
2253.89 | 0.056646 | 10201 | 4.776 | -0.9609 | 1126.94
1801.71 | 0.045282 | 10199.7 | 4.8415 | -0.97372 | 900.856
1659.75 | 0.041714 | 10198.1 | 4.907 | -0.98965 | 829.876
1961.76 | 0.049304 | 10196.7 | 4.9726 | -1.0028 | 980.88
2063.75 | 0.051868 | 10195.4 | 5.0381 | -1.0154 | 1031.87
2351.92 | 0.05911 | 10193.8 | 5.1037 | -1.0308 | 1175.96
2199.32 | 0.055275 | 10192.5 | 5.1692 | -1.0434 | 1099.66
1746.84 | 0.043903 | 10190 | 5.2675 | -1.0677 | 873.422
2049.76 | 0.051516 | 10187.1 | 5.3986 | -1.0964 | 1024.88
2309.52 | 0.058044 | 10184.6 | 5.5296 | -1.1207 | 1154.76
1665.83 | 0.041867 | 10181.6 | 5.6607 | -1.1498 | 832.916
2187.47 | 0.054977 | 10178.8 | 5.7918 | -1.1772 | 1093.73
2095.97 | 0.052677 | 10176.4 | 5.9229 | -1.1999 | 1047.98
1936.53 | 0.04867 | 10173.6 | 6.0539 | -1.2271 | 968.265
2497.84 | 0.062777 | 10171.1 | 6.185 | -1.2517 | 1248.92
1934.86 | 0.048628 | 10168.3 | 6.3161 | -1.2788 | 967.429
2150.53 | 0.054049 | 10165.9 | 6.4471 | -1.302 | 1075.27
2417.43 | 0.060757 | 10163 | 6.5782 | -1.3304 | 1208.72
1981.21 | 0.049793 | 10160.5 | 6.7093 | -1.3541 | 990.607
1978.94 | 0.049736 | 10157.7 | 6.8403 | -1.3815 | 989.468
2359.37 | 0.059298 | 10154.9 | 6.9714 | -1.4088 | 1179.69
1732.86 | 0.043551 | 10152.4 | 7.1025 | -1.4335 | 866.43
2012.53 | 0.05058 | 10149.5 | 7.2336 | -1.4615 | 1006.26
2388.25 | 0.060023 | 10147 | 7.3646 | -1.4853 | 1194.12
2032.28 | 0.051077 | 10144.2 | 7.4957 | -1.5129 | 1016.14
2373.96 | 0.059664 | 10141.8 | 7.6268 | -1.536 | 1186.98
2131.23 | 0.053564 | 10138.8 | 7.7579 | -1.5652 | 1065.62
2116.94 | 0.053205 | 10136.2 | 7.8889 | -1.59 | 1058.47
2453.76 | 0.06167 | 10133.3 | 8.02 | -1.618 | 1226.88
2053.56 | 0.051612 | 10130.3 | 8.1511 | -1.6475 | 1026.78
1832.26 | 0.04605 | 10127.7 | 8.2821 | -1.6725 | 916.131
2263.46 | 0.056887 | 10124.8 | 8.4132 | -1.7007 | 1131.73
2370.16 | 0.059569 | 10122.5 | 8.5443 | -1.7236 | 1185.08
1872.39 | 0.047058 | 10119.5 | 8.6754 | -1.7524 | 936.194
2715.18 | 0.06824 | 10117 | 8.8064 | -1.7768 | 1357.59
2300.7 | 0.057823 | 10114.2 | 8.9375 | -1.8038 | 1150.35
2411.96 | 0.060619 | 10111.8 | 9.0686 | -1.8269 | 1205.98
2526.26 | 0.063492 | 10108.9 | 9.1997 | -1.8554 | 1263.13
2028.18 | 0.050974 | 10106 | 9.3307 | -1.8832 | 1014.09
2374.11 | 0.059668 | 10103.7 | 9.4618 | -1.9057 | 1187.06
2286.57 | 0.057468 | 10100.9 | 9.5929 | -1.9331 | 1143.28
2018.45 | 0.050729 | 10098.4 | 9.7239 | -1.9574 | 1009.23
2594.35 | 0.065203 | 10095.5 | 9.855 | -1.9857 | 1297.18
2238.39 | 0.056257 | 10093.1 | 9.9861 | -2.009 | 1119.19
2347.67 | 0.059003 | 10090.1 | 10.1172 | -2.0382 | 1173.83
2699.22 | 0.067839 | 10087.6 | 10.2482 | -2.0621 | 1349.61
2309.21 | 0.058037 | 10084.7 | 10.3793 | -2.0902 | 1154.61
2603.93 | 0.065444 | 10079.5 | 10.5759 | -2.1411 | 1301.96
2274.41 | 0.057162 | 10073.9 | 10.838 | -2.1949 | 1137.2
2351.92 | 0.05911 | 10068.5 | 11.1002 | -2.2473 | 1175.96
2528.39 | 0.063545 | 10063.1 | 11.3623 | -2.3001 | 1264.19
2696.03 | 0.067759 | 10057.3 | 11.6245 | -2.3564 | 1348.02
2232.15 | 0.0561 | 10052 | 11.8866 | -2.408 | 1116.08
2317.57 | 0.058247 | 10046.7 | 12.1488 | -2.4591 | 1158.79
2783.58 | 0.069959 | 10041.6 | 12.4109 | -2.509 | 1391.79
2618.67 | 0.065814 | 10036.1 | 12.6731 | -2.5621 | 1309.33
2368.03 | 0.059515 | 10030.8 | 12.9352 | -2.6141 | 1184.02
2497.68 | 0.062774 | 10025.6 | 13.1973 | -2.6644 | 1248.84
2761.69 | 0.069409 | 10020.1 | 13.4595 | -2.7172 | 1380.85
2497.68 | 0.062774 | 10014.6 | 13.7216 | -2.7708 | 1248.84
2452.69 | 0.061643 | 10009.2 | 13.9838 | -2.8232 | 1226.35
2994.24 | 0.075254 | 10003.7 | 14.2459 | -2.8768 | 1497.12
2831.31 | 0.071158 | 9997.85 | 14.5081 | -2.9335 | 1415.65
2322.28 | 0.058365 | 9992.75 | 14.7702 | -2.983 | 1161.14
2759.41 | 0.069352 | 9987.31 | 15.0324 | -3.0358 | 1379.71
3078.44 | 0.07737 | 9982.13 | 15.2945 | -3.0861 | 1539.22
2916.57 | 0.073302 | 9976.79 | 15.5566 | -3.1379 | 1458.29
2514.4 | 0.063194 | 9971.47 | 15.8188 | -3.1896 | 1257.2
2873.71 | 0.072224 | 9966.11 | 16.0809 | -3.2417 | 1436.86
3043.18 | 0.076483 | 9960.83 | 16.3431 | -3.2929 | 1521.59
2595.72 | 0.065238 | 9954.83 | 16.6052 | -3.3511 | 1297.86
2968.1 | 0.074596 | 9949.43 | 16.8674 | -3.4036 | 1484.05
2985.58 | 0.075036 | 9944.03 | 17.1295 | -3.456 | 1492.79
2698.46 | 0.06782 | 9938.61 | 17.3916 | -3.5086 | 1349.23
2588.42 | 0.065054 | 9933.39 | 17.6538 | -3.5593 | 1294.21
3170.86 | 0.079692 | 9928.06 | 17.9159 | -3.6111 | 1585.43
3037.86 | 0.07635 | 9922.75 | 18.1781 | -3.6626 | 1518.93
2532.95 | 0.06366 | 9917.43 | 18.4402 | -3.7142 | 1266.47
3038.93 | 0.076377 | 9912.13 | 18.7024 | -3.7657 | 1519.46
3270.56 | 0.082198 | 9906.85 | 18.9645 | -3.817 | 1635.28
2832.67 | 0.071193 | 9901.17 | 19.2267 | -3.8721 | 1416.34
3024.79 | 0.076021 | 9895.57 | 19.4888 | -3.9265 | 1512.4
3229.52 | 0.081167 | 9890.11 | 19.7509 | -3.9795 | 1614.76
2838.15 | 0.07133 | 9884.61 | 20.0131 | -4.0329 | 1419.07
3070.09 | 0.07716 | 9879.25 | 20.2752 | -4.0849 | 1535.04
3473.78 | 0.087305 | 9874.09 | 20.5374 | -4.135 | 1736.89
3265.55 | 0.082072 | 9868.66 | 20.7995 | -4.1878 | 1632.77
3143.04 | 0.078993 | 9858.11 | 21.1927 | -4.2902 | 1571.52
3109.6 | 0.078153 | 9847.08 | 21.717 | -4.3973 | 1554.8
3379.54 | 0.084937 | 9836.3 | 22.2413 | -4.502 | 1689.77
2933.44 | 0.073725 | 9825.24 | 22.7656 | -4.6093 | 1466.72
3773.66 | 0.094842 | 9814.64 | 23.2899 | -4.7123 | 1886.83
2957 | 0.074318 | 9804.16 | 23.8142 | -4.814 | 1478.5
3741.59 | 0.094036 | 9793.07 | 24.3385 | -4.9216 | 1870.79
2952.75 | 0.074211 | 9782.44 | 24.8628 | -5.0249 | 1476.37
3382.28 | 0.085006 | 9771.58 | 25.387 | -5.1303 | 1691.14
3843.42 | 0.096596 | 9760.68 | 25.9113 | -5.2362 | 1921.71
3191.83 | 0.080219 | 9749.66 | 26.4356 | -5.3431 | 1595.92
3774.42 | 0.094861 | 9739.03 | 26.9599 | -5.4463 | 1887.21
3426.51 | 0.086117 | 9728.31 | 27.4842 | -5.5504 | 1713.25
3898.14 | 0.097971 | 9717.71 | 28.0085 | -5.6532 | 1949.07
3411 | 0.085728 | 9706.61 | 28.5328 | -5.761 | 1705.5
3878.68 | 0.097482 | 9695.57 | 29.0571 | -5.8682 | 1939.34
3750.25 | 0.094254 | 9684.94 | 29.5813 | -5.9715 | 1875.12
4136.92 | 0.10397 | 9674.48 | 30.1056 | -6.073 | 2068.46
3754.2 | 0.094353 | 9663.8 | 30.6299 | -6.1767 | 1877.1
3525.76 | 0.088612 | 9652.48 | 31.1542 | -6.2866 | 1762.88
3974.29 | 0.099885 | 9641.48 | 31.6785 | -6.3934 | 1987.14
3663.92 | 0.092084 | 9631 | 32.2028 | -6.4952 | 1831.96
4337.09 | 0.109 | 9620.43 | 32.7271 | -6.5977 | 2168.54
3607.07 | 0.090656 | 9609.72 | 33.2514 | -6.7018 | 1803.54
4235.86 | 0.10646 | 9598.56 | 33.7756 | -6.8102 | 2117.93
3416.78 | 0.085873 | 9587.62 | 34.2999 | -6.9163 | 1708.39
4322.5 | 0.10864 | 9576.89 | 34.8242 | -7.0204 | 2161.25
3913.94 | 0.098368 | 9566.32 | 35.3485 | -7.1231 | 1956.97
3992.68 | 0.10035 | 9555.74 | 35.8728 | -7.2258 | 1996.34
4277.05 | 0.10749 | 9544.68 | 36.3971 | -7.3332 | 2138.53
3949.97 | 0.099274 | 9533.9 | 36.9214 | -7.4379 | 1974.98
4746.25 | 0.11929 | 9522.8 | 37.4457 | -7.5457 | 2373.13
3930.21 | 0.098777 | 9512.32 | 37.97 | -7.6474 | 1965.1
4275.84 | 0.10746 | 9501.76 | 38.4942 | -7.7499 | 2137.92
4603.68 | 0.1157 | 9490.48 | 39.0185 | -7.8594 | 2301.84
4212.15 | 0.10586 | 9480 | 39.5428 | -7.9612 | 2106.08
4854.93 | 0.12202 | 9468.9 | 40.0671 | -8.0689 | 2427.46
4103.17 | 0.10312 | 9458.22 | 40.5914 | -8.1726 | 2051.59
4896.42 | 0.12306 | 9447.22 | 41.1157 | -8.2794 | 2448.21
4469.78 | 0.11234 | 9436.58 | 41.64 | -8.3827 | 2234.89
4845.35 | 0.12178 | 9415.14 | 42.4264 | -8.5909 | 2422.68
4946.12 | 0.12431 | 9393.58 | 43.475 | -8.8002 | 2473.06
4887.91 | 0.12285 | 9371.98 | 44.5236 | -9.0099 | 2443.95
4741.08 | 0.11916 | 9350.4 | 45.5721 | -9.2194 | 2370.54
4998.25 | 0.12562 | 9328.54 | 46.6207 | -9.4317 | 2499.13
4924.69 | 0.12377 | 9307.3 | 47.6693 | -9.6379 | 2462.35
5058.14 | 0.12712 | 9285.12 | 48.7179 | -9.8532 | 2529.07
5164.99 | 0.12981 | 9263.96 | 49.7664 | -10.0586 | 2582.5
5214.24 | 0.13105 | 9242.3 | 50.815 | -10.2689 | 2607.12
5509.56 | 0.13847 | 9220.48 | 51.8636 | -10.4807 | 2754.78
5426.57 | 0.13639 | 9198.88 | 52.9122 | -10.6905 | 2713.28
5456.36 | 0.13713 | 9177.62 | 53.9607 | -10.8969 | 2728.18
5351.18 | 0.13449 | 9155.76 | 55.0093 | -11.1091 | 2675.59
5447.85 | 0.13692 | 9134.12 | 56.0579 | -11.3192 | 2723.92
5640.12 | 0.14175 | 9112.77 | 57.1065 | -11.5265 | 2820.06
5937.11 | 0.14922 | 9090.82 | 58.155 | -11.7396 | 2968.55
6141.54 | 0.15435 | 9069.54 | 59.2036 | -11.9462 | 3070.77
6474.25 | 0.16272 | 9047.82 | 60.2522 | -12.157 | 3237.12
5848.04 | 0.14698 | 9026.14 | 61.3008 | -12.3675 | 2924.02
5944.56 | 0.1494 | 9004.83 | 62.3493 | -12.5745 | 2972.28
5942.58 | 0.14935 | 8982.73 | 63.3979 | -12.7891 | 2971.29
6337.15 | 0.15927 | 8961.59 | 64.4465 | -12.9943 | 3168.58
6688.71 | 0.16811 | 8939.73 | 65.4951 | -13.2065 | 3344.35
6887.36 | 0.1731 | 8918.04 | 66.5436 | -13.4171 | 3443.68
6603.59 | 0.16597 | 8896.48 | 67.5922 | -13.6264 | 3301.8
6411.32 | 0.16113 | 8875.05 | 68.6408 | -13.8345 | 3205.66
6568.64 | 0.16509 | 8853.51 | 69.6894 | -14.0436 | 3284.32
6910.77 | 0.17369 | 8831.81 | 70.738 | -14.2543 | 3455.38
7215.36 | 0.18134 | 8810.17 | 71.7865 | -14.4644 | 3607.68
7709.34 | 0.19376 | 8788.39 | 72.8351 | -14.6759 | 3854.67
7172.2 | 0.18026 | 8767.09 | 73.8837 | -14.8826 | 3586.1
6649.65 | 0.16712 | 8745.01 | 74.9323 | -15.097 | 3324.82
7292.73 | 0.18329 | 8723.73 | 75.9808 | -15.3036 | 3646.36
7830.47 | 0.1968 | 8702.59 | 77.0294 | -15.5088 | 3915.24
7974.26 | 0.20042 | 8680.31 | 78.078 | -15.7252 | 3987.13
7894.16 | 0.1984 | 8659.13 | 79.1266 | -15.9308 | 3947.08
7856.16 | 0.19745 | 8637.33 | 80.1751 | -16.1424 | 3928.08
7566.61 | 0.19017 | 8615.59 | 81.2237 | -16.3535 | 3783.31
7445.17 | 0.18712 | 8594.05 | 82.2723 | -16.5626 | 3722.59
7794.75 | 0.1959 | 8572.47 | 83.3209 | -16.7721 | 3897.38
8465.04 | 0.21275 | 8529.41 | 84.8937 | -17.1902 | 4232.52
8501.37 | 0.21366 | 8486.05 | 86.9909 | -17.6111 | 4250.68
8435.25 | 0.212 | 8442.99 | 89.088 | -18.0292 | 4217.62
8923.14 | 0.22426 | 8400.01 | 91.1852 | -18.4465 | 4461.57
8962.81 | 0.22526 | 8356.77 | 93.2823 | -18.8663 | 4481.41
8922.08 | 0.22424 | 8313.25 | 95.3795 | -19.2888 | 4461.04
9612.43 | 0.24159 | 8270 | 97.4766 | -19.7087 | 4806.21