## Details
Filename | omni_slowcomp_inplane7
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_inplane7
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_inplane7
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_inplane7.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 12:57
Time at start of test | 1.1182
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Stress
Pa | N | µm | s | % | Pa
1262.6 | 0.031732 | 8499.96 | 0 | -0.00021945 | 631.299
1366.86 | 0.034353 | 8499.96 | 0.000544 | -0.00021945 | 683.432
1436.02 | 0.036091 | 8499.96 | 0.001568 | -0.00021945 | 718.01
1425.53 | 0.035827 | 8499.96 | 0.002592 | -0.00021945 | 712.766
1326.89 | 0.033348 | 8499.96 | 0.003616 | -0.00021945 | 663.445
1202.41 | 0.03022 | 8499.96 | 0.00464 | -0.00021945 | 601.204
1097.69 | 0.027588 | 8499.96 | 0.005664 | -0.00021945 | 548.843
1044.34 | 0.026247 | 8499.96 | 0.006688 | -0.00021945 | 522.168
1028.68 | 0.025854 | 8499.96 | 0.007712 | -0.00021945 | 514.341
1046.62 | 0.026304 | 8499.88 | 0.008736 | -0.0011398 | 523.308
1129.6 | 0.02839 | 8499.88 | 0.00976 | -0.0011398 | 564.802
1269.28 | 0.031901 | 8499.88 | 0.010784 | -0.0011398 | 634.642
1441.49 | 0.036229 | 8499.88 | 0.011808 | -0.0011398 | 720.746
1583 | 0.039785 | 8499.88 | 0.012832 | -0.0011398 | 791.498
1676.02 | 0.042123 | 8499.88 | 0.013856 | -0.0011398 | 838.008
1632.7 | 0.041034 | 8499.88 | 0.01488 | -0.0011398 | 816.349
1428.27 | 0.035896 | 8499.88 | 0.015904 | -0.0011398 | 714.134
1165.02 | 0.02928 | 8499.88 | 0.016928 | -0.0011398 | 582.509
997.219 | 0.025063 | 8499.88 | 0.017952 | -0.0011398 | 498.61
936.574 | 0.023539 | 8499.88 | 0.018976 | -0.0011398 | 468.287
921.527 | 0.023161 | 8499.88 | 0.02 | -0.0011398 | 460.764
940.526 | 0.023638 | 8499.88 | 0.021024 | -0.0011398 | 470.263
1034.31 | 0.025995 | 8499.88 | 0.022048 | -0.0011398 | 517.153
1180.07 | 0.029658 | 8499.88 | 0.023072 | -0.0011398 | 590.033
1380.54 | 0.034697 | 8499.88 | 0.024096 | -0.0011398 | 690.271
1571.44 | 0.039495 | 8499.88 | 0.02512 | -0.0011398 | 785.722
1619.78 | 0.04071 | 8499.88 | 0.026144 | -0.0011398 | 809.889
1471.89 | 0.036993 | 8499.88 | 0.027168 | -0.0011398 | 735.945
1251.05 | 0.031442 | 8499.88 | 0.028192 | -0.0011398 | 625.523
1123.22 | 0.02823 | 8499.78 | 0.029216 | -0.0023341 | 561.61
1076.41 | 0.027053 | 8499.78 | 0.03024 | -0.0023341 | 538.203
1047.68 | 0.026331 | 8499.78 | 0.031264 | -0.0023341 | 523.84
1016.22 | 0.02554 | 8499.78 | 0.032288 | -0.0023341 | 508.109
1010.44 | 0.025395 | 8499.78 | 0.033312 | -0.0023341 | 505.221
1056.95 | 0.026564 | 8499.78 | 0.034336 | -0.0023341 | 528.476
1199.98 | 0.030159 | 8499.78 | 0.03536 | -0.0023341 | 599.988
1491.19 | 0.037478 | 8499.78 | 0.036384 | -0.0023341 | 745.596
1596.83 | 0.040133 | 8499.78 | 0.037408 | -0.0023341 | 798.414
1611.72 | 0.040507 | 8499.78 | 0.038432 | -0.0023341 | 805.861
1618.26 | 0.040671 | 8499.78 | 0.039456 | -0.0023341 | 809.129
1591.51 | 0.039999 | 8499.78 | 0.04048 | -0.0023341 | 795.754
1223.08 | 0.030739 | 8499.78 | 0.042016 | -0.0023341 | 611.54
841.123 | 0.02114 | 8499.78 | 0.044064 | -0.0023341 | 420.562
958.005 | 0.024077 | 8499.78 | 0.046112 | -0.0023341 | 479.003
1153.31 | 0.028986 | 8499.78 | 0.04816 | -0.0023341 | 576.657
1366.71 | 0.034349 | 8499.78 | 0.050208 | -0.0023341 | 683.356
1531.62 | 0.038494 | 8499.78 | 0.052256 | -0.0023341 | 765.811
1494.54 | 0.037562 | 8499.6 | 0.054304 | -0.0044488 | 747.268
1246.64 | 0.031331 | 8499.6 | 0.056352 | -0.0044488 | 623.319
798.566 | 0.02007 | 8499.6 | 0.0584 | -0.0044488 | 399.283
1163.8 | 0.02925 | 8499.6 | 0.060448 | -0.0044488 | 581.901
1499.55 | 0.037688 | 8499.6 | 0.062496 | -0.0044488 | 749.776
1500.01 | 0.037699 | 8499.6 | 0.064544 | -0.0044488 | 750.004
1215.78 | 0.030556 | 8499.6 | 0.066592 | -0.0044488 | 607.892
750.84 | 0.018871 | 8499.6 | 0.06864 | -0.0044488 | 375.42
785.646 | 0.019745 | 8499.6 | 0.070688 | -0.0044488 | 392.823
1179 | 0.029632 | 8499.6 | 0.072736 | -0.0044488 | 589.501
1452.43 | 0.036504 | 8499.28 | 0.074784 | -0.0082179 | 726.217
1656.56 | 0.041634 | 8499.28 | 0.076832 | -0.0082179 | 828.28
1569.32 | 0.039441 | 8499.28 | 0.07888 | -0.0082179 | 784.658
1148.3 | 0.02886 | 8499.28 | 0.080928 | -0.0082179 | 574.15
877.905 | 0.022064 | 8499.28 | 0.082976 | -0.0082179 | 438.953
1197.54 | 0.030098 | 8499.28 | 0.085024 | -0.0082179 | 598.772
1465.66 | 0.036836 | 8499.28 | 0.087072 | -0.0082179 | 732.829
1395.13 | 0.035063 | 8499.28 | 0.08912 | -0.0082179 | 697.567
1411.85 | 0.035484 | 8499.28 | 0.091168 | -0.0082179 | 705.927
1328.11 | 0.033379 | 8499 | 0.093216 | -0.011483 | 664.053
972.14 | 0.024433 | 8499 | 0.095264 | -0.011483 | 486.07
898.728 | 0.022587 | 8499 | 0.097312 | -0.011483 | 449.364
1412.77 | 0.035507 | 8499 | 0.09936 | -0.011483 | 706.383
1591.36 | 0.039995 | 8499 | 0.10141 | -0.011483 | 795.678
1633.76 | 0.041061 | 8499 | 0.10346 | -0.011483 | 816.881
1194.81 | 0.030029 | 8499 | 0.1055 | -0.011483 | 597.404
816.501 | 0.020521 | 8499 | 0.10755 | -0.011483 | 408.25
1034.31 | 0.025995 | 8499 | 0.1096 | -0.011483 | 517.153
1217.61 | 0.030602 | 8499 | 0.11165 | -0.011483 | 608.804
1374.62 | 0.034548 | 8498.7 | 0.1137 | -0.015022 | 687.308
1588.62 | 0.039926 | 8498.7 | 0.11574 | -0.015022 | 794.31
1411.09 | 0.035465 | 8498.7 | 0.11779 | -0.015022 | 705.547
910.128 | 0.022874 | 8498.7 | 0.11984 | -0.015022 | 455.064
1013.18 | 0.025464 | 8498.7 | 0.12189 | -0.015022 | 506.589
1581.48 | 0.039747 | 8498.7 | 0.12496 | -0.015022 | 790.738
1517.34 | 0.038135 | 8498.7 | 0.12906 | -0.015022 | 758.668
609.032 | 0.015307 | 8498.28 | 0.13315 | -0.019985 | 304.516
1454.11 | 0.036546 | 8498.28 | 0.13725 | -0.019985 | 727.053
1427.2 | 0.03587 | 8498.28 | 0.14134 | -0.019985 | 713.602
873.194 | 0.021946 | 8498.28 | 0.14544 | -0.019985 | 436.597
1383.28 | 0.034766 | 8498.28 | 0.14954 | -0.019985 | 691.639
1474.17 | 0.03705 | 8498.28 | 0.15363 | -0.019985 | 737.085
861.338 | 0.021648 | 8497.92 | 0.15773 | -0.024215 | 430.669
1520.38 | 0.038211 | 8497.92 | 0.16182 | -0.024215 | 760.188
1526.15 | 0.038356 | 8497.92 | 0.16592 | -0.024215 | 763.076
1200.89 | 0.030182 | 8497.92 | 0.17002 | -0.024215 | 600.444
1120.18 | 0.028153 | 8497.92 | 0.17411 | -0.024215 | 560.09
1354.55 | 0.034044 | 8497.56 | 0.17821 | -0.028444 | 677.276
960.589 | 0.024142 | 8497.56 | 0.1823 | -0.028444 | 480.295
1293.3 | 0.032504 | 8497.56 | 0.1864 | -0.028444 | 646.65
1585.43 | 0.039846 | 8497.56 | 0.1905 | -0.028444 | 792.714
1183.41 | 0.029742 | 8497.56 | 0.19459 | -0.028444 | 591.705
1074.28 | 0.027 | 8497.18 | 0.19869 | -0.032904 | 537.14
1427.36 | 0.035873 | 8497.18 | 0.20278 | -0.032904 | 713.678
1229.16 | 0.030892 | 8497.18 | 0.20688 | -0.032904 | 614.579
1524.63 | 0.038318 | 8497.18 | 0.21098 | -0.032904 | 762.316
1422.19 | 0.035743 | 8497.18 | 0.21507 | -0.032904 | 711.094
978.372 | 0.024589 | 8496.78 | 0.21917 | -0.037637 | 489.186
1156.81 | 0.029074 | 8496.78 | 0.22326 | -0.037637 | 578.405
1690 | 0.042474 | 8496.78 | 0.22736 | -0.037637 | 844.999
968.949 | 0.024352 | 8496.78 | 0.23146 | -0.037637 | 484.474
1065.16 | 0.02677 | 8496.38 | 0.23555 | -0.042315 | 532.58
1754.14 | 0.044086 | 8496.38 | 0.23965 | -0.042315 | 877.07
1179 | 0.029632 | 8496.38 | 0.24374 | -0.042315 | 589.501
1038.86 | 0.02611 | 8496.38 | 0.24784 | -0.042315 | 519.432
1425.99 | 0.035839 | 8496.04 | 0.25194 | -0.046315 | 712.994
1401.21 | 0.035216 | 8496.04 | 0.25603 | -0.046315 | 700.607
1247.85 | 0.031362 | 8496.04 | 0.26013 | -0.046315 | 623.927
1219.13 | 0.03064 | 8496.04 | 0.26422 | -0.046315 | 609.564
1205.75 | 0.030304 | 8496.04 | 0.26832 | -0.046315 | 602.876
1141.92 | 0.028699 | 8496.04 | 0.27242 | -0.046315 | 570.958
1731.64 | 0.043521 | 8495.58 | 0.27651 | -0.051738 | 865.822
1439.06 | 0.036167 | 8495.58 | 0.28061 | -0.051738 | 719.53
1009.23 | 0.025365 | 8495.58 | 0.2847 | -0.051738 | 504.613
1397.26 | 0.035117 | 8495.58 | 0.29085 | -0.051738 | 698.631
1360.02 | 0.034181 | 8495.29 | 0.29904 | -0.055233 | 680.012
1018.95 | 0.025609 | 8495.29 | 0.30723 | -0.055233 | 509.477
1261.38 | 0.031702 | 8494.86 | 0.31542 | -0.060197 | 630.691
1654.43 | 0.04158 | 8494.86 | 0.32362 | -0.060197 | 827.216
884.289 | 0.022225 | 8494.5 | 0.33181 | -0.064426 | 442.145
1534.66 | 0.03857 | 8494.5 | 0.34 | -0.064426 | 767.331
1350.3 | 0.033937 | 8494.5 | 0.34819 | -0.064426 | 675.148
1058.02 | 0.026591 | 8494.14 | 0.35638 | -0.068655 | 529.008
1753.38 | 0.044067 | 8494.14 | 0.36458 | -0.068655 | 876.69
1167.3 | 0.029337 | 8493.82 | 0.37277 | -0.072425 | 583.649
918.639 | 0.023088 | 8493.82 | 0.38096 | -0.072425 | 459.32
1933.34 | 0.04859 | 8493.82 | 0.38915 | -0.072425 | 966.669
1005.43 | 0.025269 | 8493.4 | 0.39734 | -0.077388 | 502.713
1318.99 | 0.03315 | 8493.4 | 0.40554 | -0.077388 | 659.493
1706.11 | 0.042879 | 8492.97 | 0.41373 | -0.082527 | 853.055
737.617 | 0.018538 | 8492.97 | 0.42192 | -0.082527 | 368.808
1504.57 | 0.037814 | 8492.97 | 0.43011 | -0.082527 | 752.284
1812.2 | 0.045546 | 8492.7 | 0.4383 | -0.085606 | 906.1
1046.46 | 0.026301 | 8492.7 | 0.4465 | -0.085606 | 523.232
1498.34 | 0.037657 | 8492.36 | 0.45469 | -0.089605 | 749.168
1468.39 | 0.036905 | 8492.36 | 0.46288 | -0.089605 | 734.197
886.873 | 0.02229 | 8492 | 0.47107 | -0.093834 | 443.436
1719.64 | 0.043219 | 8492 | 0.47926 | -0.093834 | 859.818
1365.8 | 0.034326 | 8491.72 | 0.48746 | -0.097143 | 682.9
1134.77 | 0.02852 | 8491.72 | 0.49565 | -0.097143 | 567.386
1511.41 | 0.037986 | 8491.72 | 0.50384 | -0.097143 | 755.704
1377.2 | 0.034613 | 8491.32 | 0.51203 | -0.10183 | 688.599
1169.12 | 0.029383 | 8491.32 | 0.52022 | -0.10183 | 584.561
1687.72 | 0.042417 | 8491 | 0.52842 | -0.1056 | 843.859
1086.59 | 0.027309 | 8491 | 0.53661 | -0.1056 | 543.295
1141.76 | 0.028696 | 8491 | 0.5448 | -0.1056 | 570.882
1684.22 | 0.042329 | 8490.58 | 0.55299 | -0.11056 | 842.111
1261.84 | 0.031713 | 8490.59 | 0.56118 | -0.11052 | 630.919
1224.45 | 0.030774 | 8490.22 | 0.56938 | -0.11479 | 612.224
1349.54 | 0.033918 | 8490.22 | 0.57757 | -0.11479 | 674.768
1225.81 | 0.030808 | 8490.22 | 0.58576 | -0.11479 | 612.907
1440.73 | 0.036209 | 8489.86 | 0.59395 | -0.11902 | 720.366
1250.74 | 0.031435 | 8489.86 | 0.60214 | -0.11902 | 625.371
1221.56 | 0.030701 | 8489.61 | 0.61034 | -0.12206 | 610.78
1479.34 | 0.03718 | 8489.22 | 0.62262 | -0.12656 | 739.669
1501.68 | 0.037741 | 8489.22 | 0.63901 | -0.12656 | 750.84
1249.68 | 0.031408 | 8488.86 | 0.65539 | -0.13078 | 624.839
1393.61 | 0.035025 | 8488.64 | 0.67178 | -0.13336 | 696.807
1603.51 | 0.040301 | 8488.29 | 0.68816 | -0.13758 | 801.758
1303.63 | 0.032764 | 8488.29 | 0.70454 | -0.13758 | 651.817
1105.44 | 0.027783 | 8487.86 | 0.72093 | -0.14255 | 552.719
1449.09 | 0.03642 | 8487.11 | 0.73731 | -0.15147 | 724.546
1343 | 0.033753 | 8487.11 | 0.7537 | -0.15147 | 671.5
1232.05 | 0.030965 | 8486.78 | 0.77008 | -0.15524 | 616.023
1342.24 | 0.033734 | 8486.46 | 0.78646 | -0.15901 | 671.12
1648.2 | 0.041424 | 8486.11 | 0.80285 | -0.16323 | 824.1
1199.98 | 0.030159 | 8486.11 | 0.81923 | -0.16323 | 599.988
1142.22 | 0.028707 | 8485.78 | 0.83562 | -0.167 | 571.11
1627.68 | 0.040908 | 8485.46 | 0.852 | -0.17077 | 813.841
1380.09 | 0.034685 | 8485.14 | 0.86838 | -0.17453 | 690.043
1111.82 | 0.027943 | 8484.84 | 0.88477 | -0.17807 | 555.911
1364.89 | 0.034303 | 8484.84 | 0.90115 | -0.17807 | 682.444
1657.02 | 0.041645 | 8484.18 | 0.91754 | -0.18584 | 828.508
1485.87 | 0.037344 | 8484.18 | 0.93392 | -0.18584 | 742.937
1398.33 | 0.035144 | 8483.82 | 0.9503 | -0.19007 | 699.163
1549.86 | 0.038952 | 8483.5 | 0.96669 | -0.19384 | 774.931
1721.61 | 0.043269 | 8483.11 | 0.98307 | -0.19853 | 860.806
1213.35 | 0.030495 | 8482.84 | 0.99946 | -0.20161 | 606.676
1526.76 | 0.038372 | 8482.84 | 1.0158 | -0.20161 | 763.38
1881.05 | 0.047276 | 8482.46 | 1.0322 | -0.20606 | 940.526
1134.01 | 0.028501 | 8482.14 | 1.0486 | -0.20983 | 567.006
1289.8 | 0.032416 | 8481.82 | 1.065 | -0.2136 | 644.902
1864.49 | 0.04686 | 8481.47 | 1.0814 | -0.21782 | 932.243
1358.35 | 0.034139 | 8481.21 | 1.0978 | -0.22086 | 679.176
1071.54 | 0.026931 | 8481.21 | 1.1141 | -0.22086 | 535.772
1781.8 | 0.044782 | 8480.73 | 1.1305 | -0.22651 | 890.901
1370.82 | 0.034452 | 8480.47 | 1.1469 | -0.22959 | 685.408
949.646 | 0.023867 | 8480.47 | 1.1633 | -0.22959 | 474.823
1600.63 | 0.040228 | 8479.82 | 1.1797 | -0.23713 | 800.314
1714.93 | 0.043101 | 8479.39 | 1.1961 | -0.24228 | 857.463
903.744 | 0.022714 | 8479.39 | 1.2125 | -0.24228 | 451.872
1458.51 | 0.036657 | 8479.05 | 1.2288 | -0.24627 | 729.257
1715.99 | 0.043127 | 8478.78 | 1.2452 | -0.24935 | 857.995
1387.08 | 0.034861 | 8478.3 | 1.2616 | -0.25501 | 693.539
1781.04 | 0.044762 | 8478.03 | 1.2862 | -0.25826 | 890.521
1022.6 | 0.025701 | 8477.31 | 1.3189 | -0.26676 | 511.301
1835.45 | 0.04613 | 8476.65 | 1.3517 | -0.27449 | 917.727
1370.21 | 0.034437 | 8476.35 | 1.3845 | -0.27803 | 685.104
1943.22 | 0.048838 | 8475.67 | 1.4172 | -0.28603 | 971.609
1690.15 | 0.042478 | 8475.01 | 1.45 | -0.29379 | 845.075
1218.22 | 0.030617 | 8474.71 | 1.4828 | -0.29733 | 609.108
1786.67 | 0.044904 | 8473.91 | 1.5155 | -0.30675 | 893.333
1465.66 | 0.036836 | 8473.61 | 1.5483 | -0.31028 | 732.829
1829.98 | 0.045992 | 8472.99 | 1.5811 | -0.31755 | 914.992
1568.56 | 0.039422 | 8472.23 | 1.6139 | -0.32651 | 784.278
1291.32 | 0.032454 | 8471.55 | 1.6466 | -0.33451 | 645.662
1813.87 | 0.045588 | 8471.31 | 1.6794 | -0.33731 | 906.936
1368.08 | 0.034384 | 8470.51 | 1.7122 | -0.34673 | 684.04
1616.74 | 0.040633 | 8470.11 | 1.7449 | -0.35142 | 808.369
1510.19 | 0.037955 | 8469.43 | 1.7777 | -0.35946 | 755.096
1635.74 | 0.041111 | 8468.79 | 1.8105 | -0.36695 | 817.869
1910.99 | 0.048029 | 8468.53 | 1.8432 | -0.37003 | 955.497
1215.18 | 0.030541 | 8467.79 | 1.876 | -0.37872 | 607.588
1790.77 | 0.045007 | 8467.55 | 1.9088 | -0.38157 | 895.385
1381.3 | 0.034716 | 8466.73 | 1.9415 | -0.39122 | 690.651
1726.02 | 0.04338 | 8466.05 | 1.9743 | -0.39921 | 863.01
1785.91 | 0.044885 | 8465.69 | 2.0071 | -0.40344 | 892.953
1439.21 | 0.036171 | 8465.19 | 2.0398 | -0.40932 | 719.606
1780.59 | 0.044751 | 8464.45 | 2.0726 | -0.41801 | 890.293
1237.21 | 0.031095 | 8464.11 | 2.1054 | -0.42201 | 618.607
1530.1 | 0.038456 | 8463.39 | 2.1381 | -0.43051 | 765.051
1803.38 | 0.045324 | 8462.69 | 2.1709 | -0.43873 | 901.692
1202.86 | 0.030231 | 8462.47 | 2.2037 | -0.44131 | 601.432
1873 | 0.047073 | 8461.77 | 2.2365 | -0.44953 | 936.498
1538.92 | 0.038677 | 8461.07 | 2.2692 | -0.45776 | 769.459
1868.74 | 0.046967 | 8460.73 | 2.302 | -0.46176 | 934.37
1759.15 | 0.044212 | 8460.03 | 2.3348 | -0.47003 | 879.577
1347.41 | 0.033864 | 8459.29 | 2.3675 | -0.47872 | 673.704
2066.94 | 0.051948 | 8458.89 | 2.4003 | -0.4834 | 1033.47
1404.56 | 0.0353 | 8458.21 | 2.4331 | -0.49144 | 702.279
1784.39 | 0.044846 | 8457.83 | 2.4658 | -0.4959 | 892.193
1559.29 | 0.039189 | 8457.15 | 2.4986 | -0.5039 | 779.643
1777.39 | 0.044671 | 8456.47 | 2.5314 | -0.5119 | 888.697
1912.82 | 0.048074 | 8456.13 | 2.5641 | -0.5159 | 956.409
1869.65 | 0.046989 | 8455.15 | 2.6133 | -0.52744 | 934.826
1560.2 | 0.039212 | 8453.65 | 2.6788 | -0.54508 | 780.099
1271.11 | 0.031946 | 8452.65 | 2.7443 | -0.55685 | 635.554
1622.51 | 0.040778 | 8451.71 | 2.8099 | -0.56792 | 811.257
1854 | 0.046596 | 8450.19 | 2.8754 | -0.58579 | 926.999
2330.64 | 0.058576 | 8449.11 | 2.941 | -0.59848 | 1165.32
1740.92 | 0.043754 | 8448.07 | 3.0065 | -0.61071 | 870.458
1629.05 | 0.040942 | 8447.05 | 3.072 | -0.62274 | 814.525
1478.27 | 0.037153 | 8445.71 | 3.1376 | -0.63851 | 739.137
1828.16 | 0.045947 | 8444.61 | 3.2031 | -0.65142 | 914.08
2279.73 | 0.057296 | 8443.61 | 3.2686 | -0.66318 | 1139.86
2086.7 | 0.052444 | 8442.25 | 3.3342 | -0.67918 | 1043.35
1897.62 | 0.047692 | 8441.23 | 3.3997 | -0.69117 | 948.81
1750.04 | 0.043983 | 8440.33 | 3.4653 | -0.70179 | 875.018
1747 | 0.043907 | 8439.37 | 3.5308 | -0.71309 | 873.498
2022.25 | 0.050825 | 8437.89 | 3.5963 | -0.73047 | 1011.13
2269.39 | 0.057036 | 8436.93 | 3.6619 | -0.74177 | 1134.7
1898.68 | 0.047719 | 8435.93 | 3.7274 | -0.75353 | 949.342
1718.57 | 0.043192 | 8434.47 | 3.7929 | -0.77072 | 859.286
1603.82 | 0.040308 | 8433.49 | 3.8585 | -0.78226 | 801.909
1746.84 | 0.043903 | 8432.57 | 3.924 | -0.79306 | 873.422
2110.1 | 0.053033 | 8431.55 | 3.9895 | -0.80505 | 1055.05
2099.77 | 0.052773 | 8430.15 | 4.0551 | -0.82155 | 1049.88
1563.54 | 0.039296 | 8429.23 | 4.1206 | -0.83235 | 781.771
1657.02 | 0.041645 | 8428.19 | 4.1861 | -0.84462 | 828.508
1648.35 | 0.041428 | 8426.79 | 4.2517 | -0.86107 | 824.176
2023.32 | 0.050852 | 8425.85 | 4.3172 | -0.87215 | 1011.66
2010.7 | 0.050534 | 8424.83 | 4.3827 | -0.88414 | 1005.35
2174.24 | 0.054645 | 8423.91 | 4.4483 | -0.89494 | 1087.12
2030.92 | 0.051042 | 8422.83 | 4.5138 | -0.90767 | 1015.46
1780.13 | 0.04474 | 8421.61 | 4.5794 | -0.92201 | 890.065
1819.5 | 0.045729 | 8420.55 | 4.6449 | -0.93451 | 909.748
2139.74 | 0.053778 | 8419.15 | 4.7104 | -0.95096 | 1069.87
2406.49 | 0.060482 | 8418.05 | 4.776 | -0.96392 | 1203.24
2237.78 | 0.056241 | 8417.19 | 4.8415 | -0.97403 | 1118.89
1910.54 | 0.048017 | 8416.11 | 4.907 | -0.98671 | 955.269
1757.63 | 0.044174 | 8415.01 | 4.9726 | -0.99967 | 878.817
1903.55 | 0.047841 | 8413.69 | 5.0381 | -1.0152 | 951.773
2165.89 | 0.054435 | 8412.69 | 5.1037 | -1.027 | 1082.94
2301.46 | 0.057842 | 8411.65 | 5.1692 | -1.0392 | 1150.73
1806.42 | 0.0454 | 8409.35 | 5.2675 | -1.0663 | 903.212
2021.04 | 0.050794 | 8406.87 | 5.3986 | -1.0955 | 1010.52
2195.98 | 0.055191 | 8404.97 | 5.5296 | -1.1178 | 1097.99
1793.81 | 0.045083 | 8402.61 | 5.6607 | -1.1455 | 896.904
2282.92 | 0.057376 | 8400.51 | 5.7918 | -1.1703 | 1141.46
2290.97 | 0.057578 | 8397.97 | 5.9229 | -1.2001 | 1145.49
2032.89 | 0.051092 | 8395.95 | 6.0539 | -1.2239 | 1016.45
2529.6 | 0.063576 | 8393.49 | 6.185 | -1.2529 | 1264.8
2172.12 | 0.054591 | 8391.47 | 6.3161 | -1.2766 | 1086.06
1843.66 | 0.046336 | 8388.93 | 6.4471 | -1.3065 | 921.831
2498.6 | 0.062797 | 8386.87 | 6.5782 | -1.3307 | 1249.3
2153.42 | 0.054121 | 8384.47 | 6.7093 | -1.359 | 1076.71
1972.86 | 0.049583 | 8382.19 | 6.8403 | -1.3858 | 986.428
2539.33 | 0.06382 | 8380.05 | 6.9714 | -1.4109 | 1269.66
2198.41 | 0.055252 | 8377.75 | 7.1025 | -1.438 | 1099.21
2314.99 | 0.058182 | 8375.79 | 7.2336 | -1.4611 | 1157.49
2681.9 | 0.067403 | 8373.43 | 7.3646 | -1.4888 | 1340.95
2356.18 | 0.059217 | 8371.37 | 7.4957 | -1.5131 | 1178.09
2615.02 | 0.065723 | 8369.05 | 7.6268 | -1.5404 | 1307.51
2374.42 | 0.059676 | 8366.65 | 7.7579 | -1.5686 | 1187.21
2189.6 | 0.055031 | 8364.65 | 7.8889 | -1.5921 | 1094.8
2464.09 | 0.061929 | 8362.33 | 8.02 | -1.6194 | 1232.05
2399.5 | 0.060306 | 8360.39 | 8.1511 | -1.6422 | 1199.75
2329.28 | 0.058541 | 8357.89 | 8.2821 | -1.6716 | 1164.64
2769.75 | 0.069611 | 8355.87 | 8.4132 | -1.6954 | 1384.87
2341.28 | 0.058843 | 8353.89 | 8.5443 | -1.7187 | 1170.64
2631.74 | 0.066143 | 8351.51 | 8.6754 | -1.7467 | 1315.87
2732.82 | 0.068683 | 8349.09 | 8.8064 | -1.7752 | 1366.41
2250.09 | 0.056551 | 8346.71 | 8.9375 | -1.8032 | 1125.04
2896.05 | 0.072786 | 8344.83 | 9.0686 | -1.8253 | 1448.03
2529.91 | 0.063584 | 8342.71 | 9.1997 | -1.8502 | 1264.95
2094.15 | 0.052632 | 8340.33 | 9.3307 | -1.8782 | 1047.07
2855.47 | 0.071766 | 8337.91 | 9.4618 | -1.9067 | 1427.74
2470.32 | 0.062086 | 8335.75 | 9.5929 | -1.9321 | 1235.16
2536.44 | 0.063748 | 8333.34 | 9.7239 | -1.9605 | 1268.22
2970.83 | 0.074665 | 8331.23 | 9.855 | -1.9852 | 1485.42
2540.55 | 0.063851 | 8328.73 | 9.9861 | -2.0147 | 1270.27
2715.34 | 0.068244 | 8326.73 | 10.1172 | -2.0382 | 1357.67
2707.58 | 0.068049 | 8324.34 | 10.2482 | -2.0664 | 1353.79
2440.84 | 0.061345 | 8322.2 | 10.3793 | -2.0916 | 1220.42
2542.52 | 0.0639 | 8317.52 | 10.5759 | -2.1467 | 1271.26
3025.7 | 0.076044 | 8313.19 | 10.838 | -2.1975 | 1512.85
2875.08 | 0.072259 | 8308.84 | 11.1002 | -2.2488 | 1437.54
2564.26 | 0.064447 | 8304.52 | 11.3623 | -2.2996 | 1282.13
2970.38 | 0.074654 | 8300.18 | 11.6245 | -2.3506 | 1485.19
2653.02 | 0.066678 | 8295.65 | 11.8866 | -2.4039 | 1326.51
2680.99 | 0.06738 | 8291.18 | 12.1488 | -2.4565 | 1340.49
2894.38 | 0.072744 | 8286.87 | 12.4109 | -2.5071 | 1447.19
3196.69 | 0.080342 | 8282.47 | 12.6731 | -2.5589 | 1598.35
2939.07 | 0.073867 | 8277.61 | 12.9352 | -2.6161 | 1469.53
2568.21 | 0.064546 | 8273.19 | 13.1973 | -2.6681 | 1284.1
3276.19 | 0.082339 | 8268.63 | 13.4595 | -2.7217 | 1638.09
3294.73 | 0.082806 | 8264.19 | 13.7216 | -2.774 | 1647.36
2673.54 | 0.067193 | 8259.75 | 13.9838 | -2.8262 | 1336.77
3093.95 | 0.077759 | 8255.37 | 14.2459 | -2.8778 | 1546.97
3215.69 | 0.080819 | 8251.06 | 14.5081 | -2.9285 | 1607.85
3436.54 | 0.08637 | 8246.65 | 14.7702 | -2.9803 | 1718.27
2827.96 | 0.071074 | 8242.27 | 15.0324 | -3.0318 | 1413.98
3473.17 | 0.08729 | 8237.61 | 15.2945 | -3.0867 | 1736.58
3378.63 | 0.084914 | 8233.11 | 15.5566 | -3.1396 | 1689.31
2382.78 | 0.059886 | 8228.83 | 15.8188 | -3.19 | 1191.39
3089.08 | 0.077637 | 8224.37 | 16.0809 | -3.2425 | 1544.54
3516.79 | 0.088387 | 8219.99 | 16.3431 | -3.294 | 1758.39
3175.87 | 0.079818 | 8215.43 | 16.6052 | -3.3476 | 1587.94
2872.19 | 0.072186 | 8210.88 | 16.8674 | -3.4012 | 1436.1
3135.44 | 0.078802 | 8206.37 | 17.1295 | -3.4542 | 1567.72
3510.56 | 0.08823 | 8202 | 17.3916 | -3.5057 | 1755.28
3115.83 | 0.07831 | 8197.23 | 17.6538 | -3.5617 | 1557.92
3255.82 | 0.081828 | 8192.89 | 17.9159 | -3.6128 | 1627.91
3672.43 | 0.092298 | 8188.39 | 18.1781 | -3.6657 | 1836.21
3248.37 | 0.081641 | 8184.05 | 18.4402 | -3.7168 | 1624.19
3364.34 | 0.084555 | 8179.75 | 18.7024 | -3.7674 | 1682.17
3487.76 | 0.087657 | 8175.34 | 18.9645 | -3.8194 | 1743.88
3833.69 | 0.096351 | 8170.84 | 19.2267 | -3.8723 | 1916.85
3625.16 | 0.09111 | 8166.57 | 19.4888 | -3.9224 | 1812.58
3241.38 | 0.081465 | 8162.19 | 19.7509 | -3.9739 | 1620.69
3412.22 | 0.085758 | 8157.7 | 20.0131 | -4.0269 | 1706.11
3860.9 | 0.097035 | 8152.76 | 20.2752 | -4.085 | 1930.45
3451.89 | 0.086755 | 8148.24 | 20.5374 | -4.1382 | 1725.94
3726.99 | 0.09367 | 8143.8 | 20.7995 | -4.1904 | 1863.5
3939.33 | 0.099006 | 8135.06 | 21.1927 | -4.2932 | 1969.66
3884.46 | 0.097627 | 8126.3 | 21.717 | -4.3963 | 1942.23
3753.75 | 0.094342 | 8117.23 | 22.2413 | -4.5029 | 1876.87
3955.89 | 0.099422 | 8108.39 | 22.7656 | -4.6069 | 1977.95
3581.08 | 0.090002 | 8099.66 | 23.2899 | -4.7097 | 1790.54
4008.48 | 0.10074 | 8090.55 | 23.8142 | -4.8168 | 2004.24
3852.24 | 0.096817 | 8081.7 | 24.3385 | -4.921 | 1926.12
3831.41 | 0.096294 | 8072.84 | 24.8628 | -5.0252 | 1915.71
3965.47 | 0.099663 | 8063.72 | 25.387 | -5.1325 | 1982.73
3933.25 | 0.098853 | 8054.98 | 25.9113 | -5.2354 | 1966.62
4281.61 | 0.10761 | 8046.16 | 26.4356 | -5.3391 | 2140.81
3741.59 | 0.094036 | 8037.3 | 26.9599 | -5.4433 | 1870.79
4375.7 | 0.10997 | 8027.92 | 27.4842 | -5.5537 | 2187.85
3880.96 | 0.097539 | 8019.08 | 28.0085 | -5.6577 | 1940.48
4729.84 | 0.11887 | 8010.34 | 28.5328 | -5.7605 | 2364.92
4333.44 | 0.10891 | 8001.66 | 29.0571 | -5.8626 | 2166.72
4267.17 | 0.10725 | 7992.74 | 29.5813 | -5.9675 | 2133.59
4679.53 | 0.11761 | 7984.12 | 30.1056 | -6.0689 | 2339.76
4214.43 | 0.10592 | 7974.66 | 30.6299 | -6.1803 | 2107.22
5059.96 | 0.12717 | 7965.66 | 31.1542 | -6.2861 | 2529.98
4395.45 | 0.11047 | 7956.88 | 31.6785 | -6.3894 | 2197.73
4782.73 | 0.1202 | 7948.02 | 32.2028 | -6.4937 | 2391.37
4384.66 | 0.1102 | 7939.06 | 32.7271 | -6.5991 | 2192.33
4637.58 | 0.11656 | 7930.16 | 33.2514 | -6.7038 | 2318.79
5034.13 | 0.12652 | 7921.4 | 33.7756 | -6.8069 | 2517.06
4406.25 | 0.11074 | 7912.42 | 34.2999 | -6.9125 | 2203.12
5065.28 | 0.1273 | 7903.12 | 34.8242 | -7.0219 | 2532.64
5171.07 | 0.12996 | 7894.38 | 35.3485 | -7.1247 | 2585.53
4678.92 | 0.11759 | 7885.56 | 35.8728 | -7.2285 | 2339.46
5190.07 | 0.13044 | 7876.8 | 36.3971 | -7.3315 | 2595.03
4821.64 | 0.12118 | 7868.06 | 36.9214 | -7.4344 | 2410.82
5171.53 | 0.12998 | 7858.78 | 37.4457 | -7.5435 | 2585.76
4865.72 | 0.12229 | 7849.72 | 37.97 | -7.6501 | 2432.86
5352.4 | 0.13452 | 7840.9 | 38.4942 | -7.7539 | 2676.2
5448 | 0.13692 | 7832.12 | 39.0185 | -7.8572 | 2724
5318.96 | 0.13368 | 7823.06 | 39.5428 | -7.9638 | 2659.48
5525.21 | 0.13886 | 7814.12 | 40.0671 | -8.0689 | 2762.61
5135.66 | 0.12907 | 7805.52 | 40.5914 | -8.1701 | 2567.83
5607.74 | 0.14094 | 7796.58 | 41.1157 | -8.2753 | 2803.87
5024.09 | 0.12627 | 7787.48 | 41.64 | -8.3824 | 2512.05
5305.58 | 0.13334 | 7769.68 | 42.4264 | -8.5917 | 2652.79
5796.36 | 0.14568 | 7751.98 | 43.475 | -8.8 | 2898.18
6147.62 | 0.15451 | 7733.94 | 44.5236 | -9.0122 | 3073.81
6463 | 0.16243 | 7716.16 | 45.5721 | -9.2214 | 3231.5
5880.57 | 0.1478 | 7698.25 | 46.6207 | -9.4322 | 2940.28
5669.6 | 0.14249 | 7680.75 | 47.6693 | -9.6381 | 2834.8
5845.76 | 0.14692 | 7662.74 | 48.7179 | -9.8499 | 2922.88
6052.93 | 0.15213 | 7644.84 | 49.7664 | -10.0604 | 3026.46
6180.9 | 0.15534 | 7627.3 | 50.815 | -10.2668 | 3090.45
6382.29 | 0.1604 | 7609.06 | 51.8636 | -10.4814 | 3191.15
6610.28 | 0.16613 | 7591.38 | 52.9122 | -10.6894 | 3305.14
6490.36 | 0.16312 | 7573.52 | 53.9607 | -10.8995 | 3245.18
6199.45 | 0.15581 | 7555.8 | 55.0093 | -11.108 | 3099.72
6593.87 | 0.16572 | 7537.92 | 56.0579 | -11.3184 | 3296.93
6781.42 | 0.17044 | 7520.12 | 57.1065 | -11.5277 | 3390.71
6942.23 | 0.17448 | 7502.57 | 58.155 | -11.7343 | 3471.12
7258.83 | 0.18243 | 7484.25 | 59.2036 | -11.9498 | 3629.42
7354.28 | 0.18483 | 7466.73 | 60.2522 | -12.156 | 3677.14
7327.38 | 0.18416 | 7448.75 | 61.3008 | -12.3675 | 3663.69
7036.77 | 0.17685 | 7431.07 | 62.3493 | -12.5755 | 3518.39
6983.57 | 0.17552 | 7413.3 | 63.3979 | -12.7844 | 3491.79
7583.18 | 0.19059 | 7395.34 | 64.4465 | -12.9957 | 3791.59
8023.35 | 0.20165 | 7377.8 | 65.4951 | -13.2021 | 4011.68
8221.24 | 0.20662 | 7359.89 | 66.5436 | -13.4129 | 4110.62
7923.95 | 0.19915 | 7341.95 | 67.5922 | -13.6239 | 3961.97
7625.44 | 0.19165 | 7324.41 | 68.6408 | -13.8303 | 3812.72
7341.21 | 0.18451 | 7306.09 | 69.6894 | -14.0458 | 3670.61
7918.48 | 0.19901 | 7288.57 | 70.738 | -14.252 | 3959.24
8602.44 | 0.2162 | 7270.62 | 71.7865 | -14.463 | 4301.22
8819.94 | 0.22167 | 7252.91 | 72.8351 | -14.6715 | 4409.97
8599.7 | 0.21613 | 7234.69 | 73.8837 | -14.8858 | 4299.85
8405.61 | 0.21126 | 7217.27 | 74.9323 | -15.0908 | 4202.81
8288.27 | 0.20831 | 7199.63 | 75.9808 | -15.2983 | 4144.14
8424.91 | 0.21174 | 7181.35 | 77.0294 | -15.5134 | 4212.46
8556.08 | 0.21504 | 7163.84 | 78.078 | -15.7193 | 4278.04
8899.28 | 0.22366 | 7145.87 | 79.1266 | -15.9308 | 4449.64
9137 | 0.22964 | 7127.88 | 80.1751 | -16.1424 | 4568.5
9174.39 | 0.23058 | 7110.03 | 81.2237 | -16.3524 | 4587.19
9198.4 | 0.23118 | 7092.49 | 82.2723 | -16.5588 | 4599.2
8943.51 | 0.22478 | 7074.63 | 83.3209 | -16.7689 | 4471.75
8983.33 | 0.22578 | 7038.99 | 84.8937 | -17.1882 | 4491.67
9761.68 | 0.24534 | 7003.17 | 86.9909 | -17.6096 | 4880.84
9473.05 | 0.23808 | 6967.67 | 89.088 | -18.0272 | 4736.52
9845.89 | 0.24745 | 6931.89 | 91.1852 | -18.4482 | 4922.94
10455.7 | 0.26278 | 6896.27 | 93.2823 | -18.8672 | 5227.84
10048 | 0.25254 | 6860.67 | 95.3795 | -19.286 | 5024.02
10311.9 | 0.25917 | 6824.99 | 97.4766 | -19.7058 | 5155.95