## Details
Filename | omni_slowcomp_cross10
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_cross10
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_cross10
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_cross10.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 13:23
Time at start of test | 1.2935
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Stress | stretch
Pa | N | µm | s | % | Pa
583.041 | 0.014653 | 8599.97 | 0 | -1.5964e-05 | 291.521 | 1
445.792 | 0.011204 | 8599.97 | 0.000544 | -1.5964e-05 | 222.896 | 1
377.244 | 0.0094812 | 8599.99 | 0.001568 | 0.00021145 | 188.622 | 1
405.818 | 0.010199 | 8599.99 | 0.002592 | 0.00021145 | 202.909 | 1
514.949 | 0.012942 | 8599.99 | 0.003616 | 0.00021145 | 257.474 | 1
685.636 | 0.017232 | 8599.99 | 0.00464 | 0.00021145 | 342.818 | 1
870.002 | 0.021865 | 8599.99 | 0.005664 | 0.00021145 | 435.001 | 1
1010.29 | 0.025391 | 8599.99 | 0.006688 | 0.00021145 | 505.145 | 1
1097.53 | 0.027584 | 8599.99 | 0.007712 | 0.00021145 | 548.767 | 1
1112.13 | 0.027951 | 8599.99 | 0.008736 | 0.00021145 | 556.063 | 1
1053.61 | 0.02648 | 8599.99 | 0.00976 | 0.00021145 | 526.804 | 1
917.271 | 0.023054 | 8599.99 | 0.010784 | 0.00021145 | 458.636 | 1
651.285 | 0.016369 | 8599.99 | 0.011808 | 0.00021145 | 325.643 | 1
479.383 | 0.012048 | 8599.99 | 0.012832 | 0.00021145 | 239.691 | 1
396.395 | 0.0099625 | 8599.99 | 0.013856 | 0.00021145 | 198.197 | 1
428.617 | 0.010772 | 8599.99 | 0.01488 | 0.00021145 | 214.309 | 1
570.122 | 0.014329 | 8599.99 | 0.015904 | 0.00021145 | 285.061 | 1
739.289 | 0.01858 | 8599.99 | 0.016928 | 0.00021145 | 369.644 | 1
895.233 | 0.0225 | 8599.99 | 0.017952 | 0.00021145 | 447.616 | 1
994.027 | 0.024983 | 8599.99 | 0.018976 | 0.00021145 | 497.014 | 1
1047.38 | 0.026323 | 8599.93 | 0.02 | -0.00051411 | 523.688 | 1
1069.26 | 0.026874 | 8599.93 | 0.021024 | -0.00051411 | 534.632 | 1
1037.04 | 0.026064 | 8599.93 | 0.022048 | -0.00051411 | 518.521 | 1
911.344 | 0.022905 | 8599.93 | 0.023072 | -0.00051411 | 455.672 | 1
693.995 | 0.017442 | 8599.93 | 0.024096 | -0.00051411 | 346.998 | 1
466.919 | 0.011735 | 8599.93 | 0.02512 | -0.00051411 | 233.46 | 1
295.32 | 0.0074222 | 8599.93 | 0.026144 | -0.00051411 | 147.66 | 1
255.498 | 0.0064214 | 8599.93 | 0.027168 | -0.00051411 | 127.749 | 1
326.631 | 0.0082091 | 8599.93 | 0.028192 | -0.00051411 | 163.315 | 1
487.59 | 0.012254 | 8599.93 | 0.029216 | -0.00051411 | 243.795 | 1
705.699 | 0.017736 | 8599.93 | 0.03024 | -0.00051411 | 352.849 | 1
940.222 | 0.02363 | 8599.93 | 0.031264 | -0.00051411 | 470.111 | 1
1228.55 | 0.030877 | 8599.93 | 0.032288 | -0.00051411 | 614.275 | 1
1246.94 | 0.031339 | 8599.93 | 0.033312 | -0.00051411 | 623.471 | 1
1121.7 | 0.028191 | 8599.93 | 0.034336 | -0.00051411 | 560.85 | 1
940.07 | 0.023627 | 8599.93 | 0.03536 | -0.00051411 | 470.035 | 1
779.415 | 0.019589 | 8599.93 | 0.036384 | -0.00051411 | 389.707 | 1
692.019 | 0.017392 | 8599.93 | 0.037408 | -0.00051411 | 346.01 | 1
637.15 | 0.016013 | 8599.93 | 0.038432 | -0.00051411 | 318.575 | 1
570.122 | 0.014329 | 8599.93 | 0.039456 | -0.00051411 | 285.061 | 1
528.628 | 0.013286 | 8599.93 | 0.04048 | -0.00051411 | 264.314 | 1
696.579 | 0.017507 | 8599.93 | 0.042016 | -0.00051411 | 348.29 | 1
1022.45 | 0.025697 | 8599.93 | 0.044064 | -0.00051411 | 511.225 | 1
1156.51 | 0.029066 | 8599.77 | 0.046112 | -0.0023334 | 578.253 | 0.99998
892.649 | 0.022435 | 8599.77 | 0.04816 | -0.0023334 | 446.324 | 0.99998
377.244 | 0.0094812 | 8599.77 | 0.050208 | -0.0023334 | 188.622 | 0.99998
321.463 | 0.0080792 | 8599.77 | 0.052256 | -0.0023334 | 160.731 | 0.99998
778.199 | 0.019558 | 8599.77 | 0.054304 | -0.0023334 | 389.099 | 0.99998
1224.9 | 0.030785 | 8599.77 | 0.056352 | -0.0023334 | 612.452 | 0.99998
1220.5 | 0.030674 | 8599.77 | 0.0584 | -0.0023334 | 610.248 | 0.99998
837.476 | 0.021048 | 8599.77 | 0.060448 | -0.0023334 | 418.738 | 0.99998
540.787 | 0.013591 | 8599.49 | 0.062496 | -0.0056039 | 270.394 | 0.99994
271.61 | 0.0068263 | 8599.49 | 0.064544 | -0.0056039 | 135.805 | 0.99994
446.248 | 0.011215 | 8599.49 | 0.066592 | -0.0056039 | 223.124 | 0.99994
873.042 | 0.021942 | 8599.49 | 0.06864 | -0.0056039 | 436.521 | 0.99994
1129.3 | 0.028382 | 8599.49 | 0.070688 | -0.0056039 | 564.65 | 0.99994
978.828 | 0.024601 | 8599.49 | 0.072736 | -0.0056039 | 489.414 | 0.99994
552.491 | 0.013886 | 8599.49 | 0.074784 | -0.0056039 | 276.245 | 0.99994
544.435 | 0.013683 | 8599.49 | 0.076832 | -0.0056039 | 272.218 | 0.99994
692.323 | 0.0174 | 8599.49 | 0.07888 | -0.0056039 | 346.162 | 0.99994
1089.17 | 0.027374 | 8599.49 | 0.080928 | -0.0056039 | 544.587 | 0.99994
1194.05 | 0.03001 | 8599.03 | 0.082976 | -0.010965 | 597.024 | 0.99989
949.646 | 0.023867 | 8599.03 | 0.085024 | -0.010965 | 474.823 | 0.99989
687.156 | 0.01727 | 8599.03 | 0.087072 | -0.010965 | 343.578 | 0.99989
388.795 | 0.0097715 | 8599.03 | 0.08912 | -0.010965 | 194.398 | 0.99989
410.378 | 0.010314 | 8599.03 | 0.091168 | -0.010965 | 205.189 | 0.99989
776.223 | 0.019509 | 8599.03 | 0.093216 | -0.010965 | 388.111 | 0.99989
1053.3 | 0.026472 | 8599.03 | 0.095264 | -0.010965 | 526.652 | 0.99989
1100.12 | 0.027649 | 8599.03 | 0.097312 | -0.010965 | 550.059 | 0.99989
714.514 | 0.017958 | 8599.03 | 0.09936 | -0.010965 | 357.257 | 0.99989
493.974 | 0.012415 | 8599.03 | 0.10141 | -0.010965 | 246.987 | 0.99989
586.689 | 0.014745 | 8598.67 | 0.10346 | -0.015145 | 293.344 | 0.99985
944.326 | 0.023734 | 8598.67 | 0.1055 | -0.015145 | 472.163 | 0.99985
1346.65 | 0.033845 | 8598.67 | 0.10755 | -0.015145 | 673.324 | 0.99985
1150.73 | 0.028921 | 8598.67 | 0.1096 | -0.015145 | 575.365 | 0.99985
730.017 | 0.018347 | 8598.67 | 0.11165 | -0.015145 | 365.009 | 0.99985
438.041 | 0.011009 | 8598.67 | 0.1137 | -0.015145 | 219.02 | 0.99985
271.306 | 0.0068186 | 8598.67 | 0.11574 | -0.015145 | 135.653 | 0.99985
718.162 | 0.018049 | 8598.67 | 0.11779 | -0.015145 | 359.081 | 0.99985
1153.92 | 0.029001 | 8598.67 | 0.11984 | -0.015145 | 576.961 | 0.99985
1264.88 | 0.03179 | 8598.13 | 0.12189 | -0.021404 | 632.438 | 0.99979
585.017 | 0.014703 | 8598.13 | 0.12496 | -0.021404 | 292.508 | 0.99979
683.66 | 0.017182 | 8598.13 | 0.12906 | -0.021404 | 341.83 | 0.99979
1011.05 | 0.02541 | 8598.13 | 0.13315 | -0.021404 | 505.525 | 0.99979
616.175 | 0.015486 | 8598.13 | 0.13725 | -0.021404 | 308.088 | 0.99979
432.265 | 0.010864 | 8597.85 | 0.14134 | -0.024674 | 216.133 | 0.99975
1257.73 | 0.03161 | 8597.85 | 0.14544 | -0.024674 | 628.867 | 0.99975
1007.86 | 0.02533 | 8597.85 | 0.14954 | -0.024674 | 503.929 | 0.99975
230.724 | 0.0057987 | 8597.85 | 0.15363 | -0.024674 | 115.362 | 0.99975
1047.53 | 0.026327 | 8597.85 | 0.15773 | -0.024674 | 523.764 | 0.99975
869.85 | 0.021862 | 8597.35 | 0.16182 | -0.03049 | 434.925 | 0.9997
754.032 | 0.018951 | 8597.35 | 0.16592 | -0.03049 | 377.016 | 0.9997
1060.3 | 0.026648 | 8597.35 | 0.17002 | -0.03049 | 530.148 | 0.9997
830.788 | 0.02088 | 8597.35 | 0.17411 | -0.03049 | 415.394 | 0.9997
581.977 | 0.014627 | 8597.35 | 0.17821 | -0.03049 | 290.989 | 0.9997
635.782 | 0.015979 | 8597.35 | 0.1823 | -0.03049 | 317.891 | 0.9997
903.744 | 0.022714 | 8597.35 | 0.1864 | -0.03049 | 451.872 | 0.9997
582.281 | 0.014634 | 8597.03 | 0.1905 | -0.034215 | 291.141 | 0.99966
1249.37 | 0.0314 | 8597.03 | 0.19459 | -0.034215 | 624.687 | 0.99966
992.051 | 0.024933 | 8597.03 | 0.19869 | -0.034215 | 496.026 | 0.99966
282.705 | 0.0071052 | 8597.03 | 0.20278 | -0.034215 | 141.353 | 0.99966
1269.59 | 0.031908 | 8597.03 | 0.20688 | -0.034215 | 634.794 | 0.99966
801.605 | 0.020147 | 8596.69 | 0.21098 | -0.038168 | 400.803 | 0.99962
536.836 | 0.013492 | 8596.69 | 0.21507 | -0.038168 | 268.418 | 0.99962
876.842 | 0.022037 | 8596.69 | 0.21917 | -0.038168 | 438.421 | 0.99962
1017.89 | 0.025582 | 8596.69 | 0.22326 | -0.038168 | 508.945 | 0.99962
376.028 | 0.0094506 | 8596.69 | 0.22736 | -0.038168 | 188.014 | 0.99962
804.949 | 0.020231 | 8596.19 | 0.23146 | -0.043983 | 402.475 | 0.99956
1330.99 | 0.033452 | 8596.19 | 0.23555 | -0.043983 | 665.497 | 0.99956
444.576 | 0.011173 | 8595.91 | 0.23965 | -0.047254 | 222.288 | 0.99953
740.353 | 0.018607 | 8595.91 | 0.24374 | -0.047254 | 370.176 | 0.99953
961.349 | 0.024161 | 8595.91 | 0.24784 | -0.047254 | 480.675 | 0.99953
383.932 | 0.0096492 | 8595.91 | 0.25194 | -0.047254 | 191.966 | 0.99953
1020.32 | 0.025643 | 8595.91 | 0.25603 | -0.047254 | 510.161 | 0.99953
1103.61 | 0.027737 | 8595.91 | 0.26013 | -0.047254 | 551.807 | 0.99953
686.7 | 0.017259 | 8595.91 | 0.26422 | -0.047254 | 343.35 | 0.99953
659.341 | 0.016571 | 8595.91 | 0.26832 | -0.047254 | 329.671 | 0.99953
1363.22 | 0.034261 | 8595.55 | 0.27242 | -0.051434 | 681.608 | 0.99949
781.087 | 0.019631 | 8595.55 | 0.27651 | -0.051434 | 390.543 | 0.99949
665.725 | 0.016731 | 8595.55 | 0.28061 | -0.051434 | 332.862 | 0.99949
1247.25 | 0.031347 | 8595.55 | 0.2847 | -0.051434 | 623.623 | 0.99949
449.896 | 0.011307 | 8595.27 | 0.29085 | -0.054704 | 224.948 | 0.99945
729.409 | 0.018332 | 8595.27 | 0.29904 | -0.054704 | 364.705 | 0.99945
918.943 | 0.023096 | 8595.27 | 0.30723 | -0.054704 | 459.472 | 0.99945
717.402 | 0.01803 | 8594.71 | 0.31542 | -0.061202 | 358.701 | 0.99939
1143.44 | 0.028738 | 8594.71 | 0.32362 | -0.061202 | 571.718 | 0.99939
1008.31 | 0.025342 | 8594.45 | 0.33181 | -0.064191 | 504.157 | 0.99936
403.387 | 0.010138 | 8594.13 | 0.34 | -0.067916 | 201.693 | 0.99932
1191.77 | 0.029952 | 8594.13 | 0.34819 | -0.067916 | 595.884 | 0.99932
630.767 | 0.015853 | 8594.13 | 0.35638 | -0.067916 | 315.383 | 0.99932
561.914 | 0.014122 | 8593.77 | 0.36458 | -0.07214 | 280.957 | 0.99928
1238.73 | 0.031133 | 8593.77 | 0.37277 | -0.07214 | 619.367 | 0.99928
797.046 | 0.020032 | 8593.33 | 0.38096 | -0.077229 | 398.523 | 0.99923
556.746 | 0.013993 | 8593.33 | 0.38915 | -0.077229 | 278.373 | 0.99923
1172.92 | 0.029479 | 8593.01 | 0.39734 | -0.080955 | 586.461 | 0.99919
805.557 | 0.020246 | 8593.01 | 0.40554 | -0.080955 | 402.779 | 0.99919
641.71 | 0.016128 | 8593.01 | 0.41373 | -0.080955 | 320.855 | 0.99919
947.67 | 0.023817 | 8592.71 | 0.42192 | -0.084453 | 473.835 | 0.99916
639.886 | 0.016082 | 8592.71 | 0.43011 | -0.084453 | 319.943 | 0.99916
835.652 | 0.021002 | 8592.31 | 0.4383 | -0.089088 | 417.826 | 0.99911
1114.56 | 0.028012 | 8592.31 | 0.4465 | -0.089088 | 557.278 | 0.99911
689.891 | 0.017339 | 8592.31 | 0.45469 | -0.089088 | 344.946 | 0.99911
882.921 | 0.02219 | 8592.05 | 0.46288 | -0.092131 | 441.461 | 0.99908
979.284 | 0.024612 | 8592.05 | 0.47107 | -0.092131 | 489.642 | 0.99908
584.105 | 0.01468 | 8592.05 | 0.47926 | -0.092131 | 292.053 | 0.99908
990.532 | 0.024895 | 8591.55 | 0.48746 | -0.097946 | 495.266 | 0.99902
947.062 | 0.023802 | 8591.55 | 0.49565 | -0.097946 | 473.531 | 0.99902
451.872 | 0.011357 | 8591.21 | 0.50384 | -0.1019 | 225.936 | 0.99898
952.837 | 0.023947 | 8591.21 | 0.51203 | -0.1019 | 476.419 | 0.99898
960.589 | 0.024142 | 8591.21 | 0.52022 | -0.1019 | 480.295 | 0.99898
758.896 | 0.019073 | 8590.89 | 0.52842 | -0.10562 | 379.448 | 0.99894
1176.27 | 0.029563 | 8590.89 | 0.53661 | -0.10562 | 588.133 | 0.99894
762.392 | 0.019161 | 8590.89 | 0.5448 | -0.10562 | 381.196 | 0.99894
598.848 | 0.015051 | 8590.59 | 0.55299 | -0.10912 | 299.424 | 0.99891
1299.99 | 0.032672 | 8590.59 | 0.56118 | -0.10912 | 649.994 | 0.99891
588.665 | 0.014795 | 8590.17 | 0.56938 | -0.11397 | 294.332 | 0.99886
708.89 | 0.017816 | 8590.17 | 0.57757 | -0.11397 | 354.445 | 0.99886
1042.66 | 0.026205 | 8589.85 | 0.58576 | -0.1177 | 521.332 | 0.99882
673.932 | 0.016938 | 8589.85 | 0.59395 | -0.1177 | 336.966 | 0.99882
1150.58 | 0.028917 | 8589.85 | 0.60214 | -0.1177 | 575.289 | 0.99882
1263.36 | 0.031752 | 8589.49 | 0.61034 | -0.12188 | 631.679 | 0.99878
980.196 | 0.024635 | 8589.23 | 0.62262 | -0.12492 | 490.098 | 0.99875
344.262 | 0.0086522 | 8588.81 | 0.63901 | -0.12978 | 172.131 | 0.9987
1068.5 | 0.026854 | 8588.59 | 0.65539 | -0.13237 | 534.252 | 0.99868
1204.69 | 0.030277 | 8588.59 | 0.67178 | -0.13237 | 602.344 | 0.99868
534.556 | 0.013435 | 8588.17 | 0.68816 | -0.13723 | 267.278 | 0.99863
613.895 | 0.015429 | 8587.81 | 0.70454 | -0.14142 | 306.948 | 0.99859
1179.46 | 0.029643 | 8587.53 | 0.72093 | -0.14469 | 589.729 | 0.99855
999.499 | 0.02512 | 8587.13 | 0.73731 | -0.14932 | 499.75 | 0.99851
500.357 | 0.012575 | 8586.81 | 0.7537 | -0.15304 | 250.179 | 0.99847
771.055 | 0.019379 | 8586.47 | 0.77008 | -0.15699 | 385.528 | 0.99843
1300.9 | 0.032695 | 8586.47 | 0.78646 | -0.15699 | 650.45 | 0.99843
434.393 | 0.010918 | 8586.17 | 0.80285 | -0.16049 | 217.196 | 0.9984
933.079 | 0.023451 | 8585.81 | 0.81923 | -0.16467 | 466.539 | 0.99835
1221.41 | 0.030697 | 8585.45 | 0.83562 | -0.16885 | 610.704 | 0.99831
862.25 | 0.021671 | 8585.13 | 0.852 | -0.17257 | 431.125 | 0.99827
668.309 | 0.016796 | 8585.13 | 0.86838 | -0.17257 | 334.154 | 0.99827
862.858 | 0.021686 | 8584.85 | 0.88477 | -0.17584 | 431.429 | 0.99824
1079.75 | 0.027137 | 8584.51 | 0.90115 | -0.17979 | 539.875 | 0.9982
653.717 | 0.01643 | 8584.17 | 0.91754 | -0.18375 | 326.859 | 0.99816
962.109 | 0.02418 | 8583.77 | 0.93392 | -0.18843 | 481.055 | 0.99812
1171.1 | 0.029433 | 8583.77 | 0.9503 | -0.18838 | 585.549 | 0.99812
767.711 | 0.019295 | 8583.51 | 0.96669 | -0.19143 | 383.856 | 0.99809
674.54 | 0.016953 | 8583.13 | 0.98307 | -0.19583 | 337.27 | 0.99804
1369.45 | 0.034418 | 8582.81 | 0.99946 | -0.19955 | 684.724 | 0.998
1040.54 | 0.026152 | 8582.41 | 1.0158 | -0.20422 | 520.268 | 0.99796
648.702 | 0.016304 | 8582.09 | 1.0322 | -0.20795 | 324.351 | 0.99792
1258.8 | 0.031637 | 8582.09 | 1.0486 | -0.20795 | 629.399 | 0.99792
1039.47 | 0.026125 | 8581.77 | 1.065 | -0.21163 | 519.736 | 0.99788
415.85 | 0.010451 | 8581.41 | 1.0814 | -0.21586 | 207.925 | 0.99784
1144.5 | 0.028764 | 8581.09 | 1.0978 | -0.21958 | 572.25 | 0.9978
1451.83 | 0.036488 | 8580.69 | 1.1141 | -0.22422 | 725.914 | 0.99776
622.559 | 0.015647 | 8580.37 | 1.1305 | -0.22794 | 311.28 | 0.99772
650.83 | 0.016357 | 8580.37 | 1.1469 | -0.22794 | 325.415 | 0.99772
1311.54 | 0.032963 | 8580.03 | 1.1633 | -0.23189 | 655.769 | 0.99768
986.884 | 0.024803 | 8579.69 | 1.1797 | -0.23585 | 493.442 | 0.99764
426.945 | 0.01073 | 8579.41 | 1.1961 | -0.23912 | 213.473 | 0.99761
891.737 | 0.022412 | 8578.99 | 1.2125 | -0.24397 | 445.868 | 0.99756
1232.96 | 0.030988 | 8578.99 | 1.2288 | -0.24397 | 616.479 | 0.99756
801.453 | 0.020143 | 8578.67 | 1.2452 | -0.24769 | 400.727 | 0.99752
760.416 | 0.019111 | 8578.23 | 1.2616 | -0.25283 | 380.208 | 0.99747
1173.53 | 0.029494 | 8577.53 | 1.2862 | -0.26096 | 586.765 | 0.99739
1156.66 | 0.02907 | 8577.19 | 1.3189 | -0.26491 | 578.329 | 0.99735
655.997 | 0.016487 | 8576.45 | 1.3517 | -0.2735 | 327.999 | 0.99727
1327.35 | 0.03336 | 8576.13 | 1.3845 | -0.27723 | 663.673 | 0.99723
718.922 | 0.018069 | 8575.41 | 1.4172 | -0.28563 | 359.461 | 0.99714
1173.07 | 0.029483 | 8574.77 | 1.45 | -0.29308 | 586.537 | 0.99707
1321.57 | 0.033215 | 8574.41 | 1.4828 | -0.29725 | 660.785 | 0.99703
875.17 | 0.021995 | 8573.63 | 1.5155 | -0.30629 | 437.585 | 0.99694
1273.69 | 0.032011 | 8572.93 | 1.5483 | -0.31447 | 636.846 | 0.99686
700.835 | 0.017614 | 8572.62 | 1.5811 | -0.31797 | 350.417 | 0.99682
1247.85 | 0.031362 | 8571.99 | 1.6139 | -0.32537 | 623.927 | 0.99675
1075.19 | 0.027023 | 8571.27 | 1.6466 | -0.33378 | 537.596 | 0.99666
804.341 | 0.020215 | 8570.8 | 1.6794 | -0.33914 | 402.171 | 0.99661
1085.22 | 0.027275 | 8570.13 | 1.7122 | -0.34703 | 542.611 | 0.99653
737.161 | 0.018527 | 8569.49 | 1.7449 | -0.35444 | 368.58 | 0.99646
1420.52 | 0.035701 | 8569.13 | 1.7777 | -0.35866 | 710.258 | 0.99641
766.191 | 0.019256 | 8568.49 | 1.8105 | -0.36607 | 383.096 | 0.99634
1081.88 | 0.027191 | 8567.73 | 1.8432 | -0.37493 | 540.939 | 0.99625
1187.67 | 0.029849 | 8567.27 | 1.876 | -0.38029 | 593.833 | 0.9962
838.844 | 0.021082 | 8566.63 | 1.9088 | -0.38773 | 419.422 | 0.99612
1271.56 | 0.031958 | 8566.33 | 1.9415 | -0.39118 | 635.782 | 0.99609
735.489 | 0.018485 | 8565.57 | 1.9743 | -0.40004 | 367.745 | 0.996
1291.48 | 0.032458 | 8564.91 | 2.0071 | -0.40772 | 645.738 | 0.99592
1171.55 | 0.029444 | 8564.65 | 2.0398 | -0.41072 | 585.777 | 0.99589
806.469 | 0.020269 | 8563.91 | 2.0726 | -0.41935 | 403.235 | 0.99581
1219.13 | 0.03064 | 8563.21 | 2.1054 | -0.42747 | 609.564 | 0.99573
620.583 | 0.015597 | 8562.87 | 2.1381 | -0.43143 | 310.292 | 0.99569
1233.41 | 0.030999 | 8562.17 | 2.1709 | -0.43956 | 616.707 | 0.9956
997.523 | 0.02507 | 8561.51 | 2.2037 | -0.44724 | 498.762 | 0.99553
887.025 | 0.022293 | 8561.17 | 2.2365 | -0.45119 | 443.512 | 0.99549
1283.72 | 0.032264 | 8560.45 | 2.2692 | -0.45959 | 641.862 | 0.9954
575.745 | 0.01447 | 8559.71 | 2.302 | -0.46818 | 287.873 | 0.99532
1148.6 | 0.028868 | 8559.44 | 2.3348 | -0.47122 | 574.302 | 0.99529
987.796 | 0.024826 | 8558.79 | 2.3675 | -0.47885 | 493.898 | 0.99521
1047.68 | 0.026331 | 8558.33 | 2.4003 | -0.48421 | 523.84 | 0.99516
1423.4 | 0.035774 | 8557.69 | 2.4331 | -0.49166 | 711.702 | 0.99508
745.976 | 0.018748 | 8557.09 | 2.4658 | -0.49865 | 372.988 | 0.99501
1422.19 | 0.035743 | 8556.63 | 2.4986 | -0.50397 | 711.094 | 0.99496
793.094 | 0.019933 | 8555.95 | 2.5314 | -0.51187 | 396.547 | 0.99488
1065.31 | 0.026774 | 8555.63 | 2.5641 | -0.51559 | 532.656 | 0.99484
836.564 | 0.021025 | 8554.27 | 2.6133 | -0.53145 | 418.282 | 0.99469
929.583 | 0.023363 | 8553.27 | 2.6788 | -0.54303 | 464.791 | 0.99457
1060.6 | 0.026656 | 8551.95 | 2.7443 | -0.55838 | 530.3 | 0.99442
1478.27 | 0.037153 | 8550.87 | 2.8099 | -0.57096 | 739.137 | 0.99429
1396.35 | 0.035094 | 8549.91 | 2.8754 | -0.58214 | 698.175 | 0.99418
1096.62 | 0.027561 | 8548.81 | 2.941 | -0.59491 | 548.311 | 0.99405
830.028 | 0.020861 | 8547.45 | 3.0065 | -0.61071 | 415.014 | 0.99389
1181.28 | 0.029689 | 8546.41 | 3.072 | -0.62284 | 590.641 | 0.99377
1616.74 | 0.040633 | 8545.35 | 3.1376 | -0.63515 | 808.369 | 0.99365
1597.59 | 0.040152 | 8544.37 | 3.2031 | -0.64655 | 798.794 | 0.99353
1338.44 | 0.033639 | 8543.01 | 3.2686 | -0.66235 | 669.221 | 0.99338
1130.67 | 0.028417 | 8541.99 | 3.3342 | -0.67421 | 565.334 | 0.99326
980.196 | 0.024635 | 8541.05 | 3.3997 | -0.68516 | 490.098 | 0.99315
1228.7 | 0.030881 | 8539.59 | 3.4653 | -0.70214 | 614.351 | 0.99298
1538.77 | 0.038673 | 8538.59 | 3.5308 | -0.71377 | 769.383 | 0.99286
1271.56 | 0.031958 | 8537.55 | 3.5963 | -0.72586 | 635.782 | 0.99274
965.149 | 0.024257 | 8536.53 | 3.6619 | -0.73771 | 482.574 | 0.99262
747.648 | 0.018791 | 8535.14 | 3.7274 | -0.75378 | 373.824 | 0.99246
930.647 | 0.02339 | 8534.13 | 3.7929 | -0.76564 | 465.323 | 0.99234
1507 | 0.037875 | 8532.96 | 3.8585 | -0.77914 | 753.5 | 0.99221
1564 | 0.039308 | 8531.96 | 3.924 | -0.79077 | 781.999 | 0.99209
1261.69 | 0.03171 | 8530.67 | 3.9895 | -0.80584 | 630.843 | 0.99194
805.557 | 0.020246 | 8529.59 | 4.0551 | -0.81842 | 402.779 | 0.99182
892.649 | 0.022435 | 8528.71 | 4.1206 | -0.82865 | 446.324 | 0.99171
1186.6 | 0.029822 | 8527.3 | 4.1861 | -0.84494 | 593.301 | 0.99155
1674.04 | 0.042073 | 8526.27 | 4.2517 | -0.85703 | 837.02 | 0.99143
1577.37 | 0.039644 | 8525.35 | 4.3172 | -0.86771 | 788.686 | 0.99132
1308.04 | 0.032875 | 8524.23 | 4.3827 | -0.88074 | 654.021 | 0.99119
971.229 | 0.02441 | 8522.95 | 4.4483 | -0.89564 | 485.614 | 0.99104
1137.05 | 0.028577 | 8521.87 | 4.5138 | -0.90818 | 568.526 | 0.99092
1463.38 | 0.036779 | 8520.87 | 4.5794 | -0.91981 | 731.689 | 0.9908
1814.02 | 0.045591 | 8519.81 | 4.6449 | -0.93215 | 907.012 | 0.99068
1448.94 | 0.036416 | 8518.37 | 4.7104 | -0.94888 | 724.47 | 0.99051
876.69 | 0.022034 | 8517.35 | 4.776 | -0.96073 | 438.345 | 0.99039
1265.03 | 0.031794 | 8516.34 | 4.8415 | -0.97241 | 632.515 | 0.99028
1380.09 | 0.034685 | 8514.84 | 4.907 | -0.98984 | 690.043 | 0.9901
1606.25 | 0.04037 | 8513.91 | 4.9726 | -1.0008 | 803.125 | 0.98999
1504.57 | 0.037814 | 8512.84 | 5.0381 | -1.0131 | 752.284 | 0.98987
1250.74 | 0.031435 | 8511.8 | 5.1037 | -1.0252 | 625.371 | 0.98975
926.847 | 0.023294 | 8510.34 | 5.1692 | -1.0422 | 463.423 | 0.98958
1515.97 | 0.0381 | 8508.14 | 5.2675 | -1.0677 | 757.984 | 0.98932
1179.61 | 0.029647 | 8505.84 | 5.3986 | -1.0945 | 589.805 | 0.98905
939.614 | 0.023615 | 8503.66 | 5.5296 | -1.1198 | 469.807 | 0.9888
1743.96 | 0.04383 | 8501.3 | 5.6607 | -1.1473 | 871.978 | 0.98853
1156.66 | 0.02907 | 8498.91 | 5.7918 | -1.1752 | 578.329 | 0.98825
1187.36 | 0.029842 | 8496.84 | 5.9229 | -1.1991 | 593.68 | 0.98801
1757.33 | 0.044166 | 8494.41 | 6.0539 | -1.2275 | 878.665 | 0.98773
1107.72 | 0.02784 | 8492.34 | 6.185 | -1.2515 | 553.859 | 0.98748
1354.86 | 0.034051 | 8489.94 | 6.3161 | -1.2794 | 677.428 | 0.98721
1602.76 | 0.040282 | 8487.98 | 6.4471 | -1.3022 | 801.378 | 0.98698
1070.63 | 0.026908 | 8485.57 | 6.5782 | -1.3303 | 535.316 | 0.9867
1596.37 | 0.040121 | 8483.48 | 6.7093 | -1.3545 | 798.186 | 0.98645
1451.07 | 0.036469 | 8481.13 | 6.8403 | -1.3819 | 725.534 | 0.98618
1172.92 | 0.029479 | 8479.09 | 6.9714 | -1.4056 | 586.461 | 0.98594
2000.67 | 0.050282 | 8476.67 | 7.1025 | -1.4338 | 1000.33 | 0.98566
1504.26 | 0.037806 | 8474.3 | 7.2336 | -1.4612 | 752.132 | 0.98539
1021.84 | 0.025682 | 8472.17 | 7.3646 | -1.4861 | 510.921 | 0.98514
1942.46 | 0.048819 | 8469.73 | 7.4957 | -1.5145 | 971.229 | 0.98486
1319.9 | 0.033173 | 8467.85 | 7.6268 | -1.5363 | 659.949 | 0.98464
1319.44 | 0.033161 | 8465.41 | 7.7579 | -1.5647 | 659.721 | 0.98435
1649.57 | 0.041458 | 8463.37 | 7.8889 | -1.5884 | 824.784 | 0.98412
1184.17 | 0.029761 | 8460.95 | 8.02 | -1.6165 | 592.085 | 0.98383
1455.93 | 0.036591 | 8458.94 | 8.1511 | -1.6398 | 727.965 | 0.9836
2009.49 | 0.050504 | 8456.49 | 8.2821 | -1.6684 | 1004.74 | 0.98332
1269.13 | 0.031897 | 8454.05 | 8.4132 | -1.6968 | 634.566 | 0.98303
1695.93 | 0.042623 | 8451.91 | 8.5443 | -1.7217 | 847.963 | 0.98278
1879.23 | 0.04723 | 8449.37 | 8.6754 | -1.7512 | 939.614 | 0.98249
1463.83 | 0.03679 | 8447.25 | 8.8064 | -1.7759 | 731.917 | 0.98224
1736.05 | 0.043632 | 8444.85 | 8.9375 | -1.8038 | 868.026 | 0.98196
1589.53 | 0.039949 | 8442.77 | 9.0686 | -1.828 | 794.766 | 0.98172
1304.55 | 0.032787 | 8440.37 | 9.1997 | -1.8559 | 652.273 | 0.98144
2019.52 | 0.050756 | 8438.3 | 9.3307 | -1.8798 | 1009.76 | 0.9812
1587.25 | 0.039892 | 8435.84 | 9.4618 | -1.9084 | 793.626 | 0.98092
1730.28 | 0.043487 | 8433.91 | 9.5929 | -1.931 | 865.138 | 0.98069
2104.02 | 0.05288 | 8431.48 | 9.7239 | -1.9591 | 1052.01 | 0.98041
1412.92 | 0.035511 | 8429.12 | 9.855 | -1.9866 | 706.459 | 0.98013
1915.86 | 0.048151 | 8427 | 9.9861 | -2.0112 | 957.929 | 0.97989
2219.84 | 0.055791 | 8424.66 | 10.1172 | -2.0385 | 1109.92 | 0.97962
982.628 | 0.024696 | 8422.66 | 10.2482 | -2.0617 | 491.314 | 0.97938
1672.06 | 0.042023 | 8420.3 | 10.3793 | -2.0891 | 836.032 | 0.97911
1318.83 | 0.033146 | 8415.77 | 10.5759 | -2.1419 | 659.417 | 0.97858
1886.07 | 0.047402 | 8411.23 | 10.838 | -2.1947 | 943.034 | 0.97805
2082.14 | 0.05233 | 8406.91 | 11.1002 | -2.2449 | 1041.07 | 0.97755
1699.88 | 0.042723 | 8402.48 | 11.3623 | -2.2963 | 849.939 | 0.97704
1257.13 | 0.031595 | 8398.02 | 11.6245 | -2.3482 | 628.563 | 0.97652
1924.22 | 0.048361 | 8393.45 | 11.8866 | -2.4015 | 962.109 | 0.97599
2168.01 | 0.054488 | 8388.48 | 12.1488 | -2.4591 | 1084.01 | 0.97541
1846.25 | 0.046401 | 8384.03 | 12.4109 | -2.511 | 923.123 | 0.97489
1673.28 | 0.042054 | 8379.41 | 12.6731 | -2.5647 | 836.64 | 0.97435
2025.29 | 0.050901 | 8375.15 | 12.9352 | -2.6142 | 1012.65 | 0.97386
1953.86 | 0.049106 | 8370.73 | 13.1973 | -2.6656 | 976.928 | 0.97334
1592.88 | 0.040033 | 8366.19 | 13.4595 | -2.7184 | 796.438 | 0.97282
2356.64 | 0.059229 | 8361.85 | 13.7216 | -2.7689 | 1178.32 | 0.97231
2061.92 | 0.051822 | 8357.27 | 13.9838 | -2.8222 | 1030.96 | 0.97178
1751.4 | 0.044018 | 8352.85 | 14.2459 | -2.8735 | 875.702 | 0.97127
1647.59 | 0.041409 | 8348.41 | 14.5081 | -2.9252 | 823.796 | 0.97075
2148.56 | 0.053999 | 8343.69 | 14.7702 | -2.98 | 1074.28 | 0.9702
2656.36 | 0.066762 | 8339.21 | 15.0324 | -3.0321 | 1328.18 | 0.96968
1865.25 | 0.046879 | 8334.67 | 15.2945 | -3.0849 | 932.623 | 0.96915
1766.75 | 0.044403 | 8329.99 | 15.5566 | -3.1393 | 883.377 | 0.96861
2373.96 | 0.059664 | 8325.41 | 15.8188 | -3.1926 | 1186.98 | 0.96807
2153.12 | 0.054114 | 8320.95 | 16.0809 | -3.2444 | 1076.56 | 0.96756
1891.54 | 0.04754 | 8316.63 | 16.3431 | -3.2947 | 945.77 | 0.96705
2331.4 | 0.058595 | 8312.05 | 16.6052 | -3.348 | 1165.7 | 0.96652
2371.68 | 0.059607 | 8307.77 | 16.8674 | -3.3977 | 1185.84 | 0.96602
2137.16 | 0.053713 | 8303.27 | 17.1295 | -3.45 | 1068.58 | 0.9655
2012.98 | 0.050592 | 8298.53 | 17.3916 | -3.5052 | 1006.49 | 0.96495
2563.8 | 0.064435 | 8293.99 | 17.6538 | -3.5579 | 1281.9 | 0.96442
2114.51 | 0.053144 | 8289.49 | 17.9159 | -3.6103 | 1057.26 | 0.9639
1771.77 | 0.044529 | 8285.13 | 18.1781 | -3.661 | 885.885 | 0.96339
2300.09 | 0.057808 | 8280.73 | 18.4402 | -3.7121 | 1150.05 | 0.96288
2363.63 | 0.059404 | 8276.23 | 18.7024 | -3.7644 | 1181.81 | 0.96236
2136.85 | 0.053705 | 8271.71 | 18.9645 | -3.817 | 1068.43 | 0.96183
2183.82 | 0.054885 | 8266.99 | 19.2267 | -3.8718 | 1091.91 | 0.96128
2714.27 | 0.068217 | 8262.21 | 19.4888 | -3.9274 | 1357.14 | 0.96073
2232.61 | 0.056112 | 8257.71 | 19.7509 | -3.9798 | 1116.3 | 0.9602
2029.7 | 0.051012 | 8253.37 | 20.0131 | -4.0302 | 1014.85 | 0.9597
2661.38 | 0.066888 | 8248.81 | 20.2752 | -4.0832 | 1330.69 | 0.95917
2664.27 | 0.06696 | 8244.37 | 20.5374 | -4.1349 | 1332.13 | 0.95865
2176.98 | 0.054713 | 8240.09 | 20.7995 | -4.1847 | 1088.49 | 0.95815
2558.33 | 0.064298 | 8230.99 | 21.1927 | -4.2904 | 1279.16 | 0.9571
2293.25 | 0.057636 | 8222.01 | 21.717 | -4.3949 | 1146.63 | 0.95605
2507.41 | 0.063018 | 8212.87 | 22.2413 | -4.5012 | 1253.71 | 0.95499
2539.63 | 0.063828 | 8203.69 | 22.7656 | -4.6079 | 1269.82 | 0.95392
2569.73 | 0.064584 | 8194.91 | 23.2899 | -4.71 | 1284.86 | 0.9529
2666.24 | 0.06701 | 8185.91 | 23.8142 | -4.8146 | 1333.12 | 0.95185
2431.26 | 0.061104 | 8176.72 | 24.3385 | -4.9216 | 1215.63 | 0.95078
2898.64 | 0.072851 | 8167.81 | 24.8628 | -5.0251 | 1449.32 | 0.94975
2375.79 | 0.05971 | 8158.85 | 25.387 | -5.1293 | 1187.89 | 0.94871
2977.07 | 0.074822 | 8149.77 | 25.9113 | -5.2349 | 1488.53 | 0.94765
2370.77 | 0.059584 | 8140.81 | 26.4356 | -5.3391 | 1185.39 | 0.94661
3330.14 | 0.083696 | 8131.63 | 26.9599 | -5.4458 | 1665.07 | 0.94554
2561.98 | 0.06439 | 8122.77 | 27.4842 | -5.5488 | 1280.99 | 0.94451
3146.23 | 0.079074 | 8113.79 | 28.0085 | -5.6532 | 1573.12 | 0.94347
2692.69 | 0.067675 | 8104.99 | 28.5328 | -5.7556 | 1346.34 | 0.94244
3060.05 | 0.076908 | 8095.59 | 29.0571 | -5.8649 | 1530.03 | 0.94135
2932.08 | 0.073691 | 8086.45 | 29.5813 | -5.9711 | 1466.04 | 0.94029
2786.92 | 0.070043 | 8077.59 | 30.1056 | -6.0742 | 1393.46 | 0.93926
3166.6 | 0.079585 | 8068.63 | 30.6299 | -6.1784 | 1583.3 | 0.93822
2782.36 | 0.069928 | 8059.85 | 31.1542 | -6.2805 | 1391.18 | 0.9372
3586.4 | 0.090136 | 8050.51 | 31.6785 | -6.3891 | 1793.2 | 0.93611
2867.78 | 0.072075 | 8041.63 | 32.2028 | -6.4923 | 1433.89 | 0.93508
3286.83 | 0.082607 | 8032.59 | 32.7271 | -6.5974 | 1643.41 | 0.93403
2983.3 | 0.074979 | 8023.46 | 33.2514 | -6.7037 | 1491.65 | 0.93296
3288.19 | 0.082641 | 8014.7 | 33.7756 | -6.8055 | 1644.1 | 0.93195
3304.61 | 0.083054 | 8005.41 | 34.2999 | -6.9135 | 1652.3 | 0.93086
3231.5 | 0.081216 | 7996.5 | 34.8242 | -7.0172 | 1615.75 | 0.92983
3490.34 | 0.087722 | 7987.59 | 35.3485 | -7.1207 | 1745.17 | 0.92879
3388.51 | 0.085163 | 7978.73 | 35.8728 | -7.2237 | 1694.25 | 0.92776
3636.56 | 0.091397 | 7969.14 | 36.3971 | -7.3353 | 1818.28 | 0.92665
2878.58 | 0.072346 | 7960.2 | 36.9214 | -7.4393 | 1439.29 | 0.92561
3508.58 | 0.08818 | 7951.38 | 37.4457 | -7.5418 | 1754.29 | 0.92458
3272.84 | 0.082255 | 7942.5 | 37.97 | -7.6451 | 1636.42 | 0.92355
3092.12 | 0.077714 | 7933.56 | 38.4942 | -7.749 | 1546.06 | 0.92251
3707.84 | 0.093188 | 7924.38 | 39.0185 | -7.8557 | 1853.92 | 0.92144
3115.83 | 0.07831 | 7915.28 | 39.5428 | -7.9616 | 1557.92 | 0.92038
4005.14 | 0.10066 | 7906.24 | 40.0671 | -8.0667 | 2002.57 | 0.91933
3466.02 | 0.087111 | 7897.28 | 40.5914 | -8.1709 | 1733.01 | 0.91829
3585.19 | 0.090106 | 7888.05 | 41.1157 | -8.2781 | 1792.59 | 0.91722
4209.42 | 0.10579 | 7879.2 | 41.64 | -8.3811 | 2104.71 | 0.91619
4132.36 | 0.10386 | 7861.46 | 42.4264 | -8.5874 | 2066.18 | 0.91413
4224.31 | 0.10617 | 7842.92 | 43.475 | -8.803 | 2112.16 | 0.91197
3837.34 | 0.096443 | 7825.14 | 44.5236 | -9.0097 | 1918.67 | 0.9099
3476.36 | 0.08737 | 7807.42 | 45.5721 | -9.2158 | 1738.18 | 0.90784
3678.96 | 0.092463 | 7789 | 46.6207 | -9.43 | 1839.48 | 0.9057
4103.17 | 0.10312 | 7771.22 | 47.6693 | -9.6367 | 2051.59 | 0.90363
4522.37 | 0.11366 | 7752.94 | 48.7179 | -9.8492 | 2261.18 | 0.90151
4511.42 | 0.11338 | 7735.04 | 49.7664 | -10.0574 | 2255.71 | 0.89943
4243.61 | 0.10665 | 7717 | 50.815 | -10.2671 | 2121.81 | 0.89733
4207.9 | 0.10576 | 7699.02 | 51.8636 | -10.4762 | 2103.95 | 0.89524
4033.26 | 0.10137 | 7681.22 | 52.9122 | -10.6831 | 2016.63 | 0.89317
4207.29 | 0.10574 | 7662.7 | 53.9607 | -10.8985 | 2103.64 | 0.89101
4583.17 | 0.11519 | 7644.88 | 55.0093 | -11.1057 | 2291.58 | 0.88894
4833.34 | 0.12147 | 7626.76 | 56.0579 | -11.3164 | 2416.67 | 0.88684
4966.18 | 0.12481 | 7608.74 | 57.1065 | -11.5259 | 2483.09 | 0.88474
4754.76 | 0.1195 | 7590.9 | 58.155 | -11.7334 | 2377.38 | 0.88267
4501.24 | 0.11313 | 7572.68 | 59.2036 | -11.9453 | 2250.62 | 0.88055
4461.72 | 0.11213 | 7554.82 | 60.2522 | -12.1529 | 2230.86 | 0.87847
4585.29 | 0.11524 | 7536.42 | 61.3008 | -12.3669 | 2292.65 | 0.87633
4636.51 | 0.11653 | 7518.68 | 62.3493 | -12.5731 | 2318.26 | 0.87427
5068.63 | 0.12739 | 7500.64 | 63.3979 | -12.7829 | 2534.31 | 0.87217
5522.02 | 0.13878 | 7482.38 | 64.4465 | -12.9952 | 2761.01 | 0.87005
5389.33 | 0.13545 | 7464.74 | 65.4951 | -13.2004 | 2694.67 | 0.868
5296.77 | 0.13312 | 7446.54 | 66.5436 | -13.412 | 2648.38 | 0.86588
5389.18 | 0.13545 | 7428.46 | 67.5922 | -13.6222 | 2694.59 | 0.86378
5090.51 | 0.12794 | 7410.36 | 68.6408 | -13.8327 | 2545.26 | 0.86167
5049.02 | 0.1269 | 7392.52 | 69.6894 | -14.0401 | 2524.51 | 0.8596
5305.28 | 0.13334 | 7374.22 | 70.738 | -14.2529 | 2652.64 | 0.85747
5548.31 | 0.13944 | 7356.14 | 71.7865 | -14.4632 | 2774.16 | 0.85537
6160.39 | 0.15483 | 7338.2 | 72.8351 | -14.6718 | 3080.19 | 0.85328
6133.63 | 0.15415 | 7320.32 | 73.8837 | -14.8797 | 3066.82 | 0.8512
5886.04 | 0.14793 | 7302.05 | 74.9323 | -15.0922 | 2943.02 | 0.84908
5770.37 | 0.14502 | 7284.17 | 75.9808 | -15.3001 | 2885.19 | 0.847
5629.33 | 0.14148 | 7266.33 | 77.0294 | -15.5075 | 2814.66 | 0.84493
5614.89 | 0.14112 | 7247.83 | 78.078 | -15.7226 | 2807.44 | 0.84277
5840.14 | 0.14678 | 7230.07 | 79.1266 | -15.9292 | 2920.07 | 0.84071
5929.21 | 0.14902 | 7211.89 | 80.1751 | -16.1406 | 2964.6 | 0.83859
6342.47 | 0.1594 | 7193.97 | 81.2237 | -16.3489 | 3171.24 | 0.83651
6477.14 | 0.16279 | 7175.97 | 82.2723 | -16.5582 | 3238.57 | 0.83442
6461.94 | 0.16241 | 7157.93 | 83.3209 | -16.768 | 3230.97 | 0.83232
6324.23 | 0.15895 | 7121.51 | 84.8937 | -17.1915 | 3162.12 | 0.82809
6419.53 | 0.16134 | 7085.97 | 86.9909 | -17.6047 | 3209.77 | 0.82395
7093.01 | 0.17827 | 7049.78 | 89.088 | -18.0255 | 3546.5 | 0.81974
6947.55 | 0.17461 | 7013.75 | 91.1852 | -18.4445 | 3473.78 | 0.81556
6861.83 | 0.17246 | 6977.71 | 93.2823 | -18.8636 | 3430.91 | 0.81136
7563.73 | 0.1901 | 6941.25 | 95.3795 | -19.2876 | 3781.86 | 0.80712
7464.93 | 0.18761 | 6905.55 | 97.4766 | -19.7026 | 3732.47 | 0.80297