## Details
Filename | omni_slowcomp_cross2
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_cross2
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_cross2
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_cross2.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 11:20
Time at start of test | 0.55308
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Step time | Stress
Pa | N | µm | s | % | s | Pa
1724.2 | 0.043334 | 10300 | 0 | -0.00026933 | 0 | 862.098
1531.17 | 0.038482 | 10300 | 0.000544 | -0.00026933 | 0.000544 | 765.583
1397.87 | 0.035132 | 10300 | 0.001568 | -0.00026933 | 0.001568 | 698.935
1324.15 | 0.03328 | 10300 | 0.002592 | -0.00026933 | 0.002592 | 662.077
1300.6 | 0.032688 | 10300 | 0.003616 | -0.00026933 | 0.003616 | 650.298
1314.58 | 0.033039 | 10300 | 0.00464 | -0.00026933 | 0.00464 | 657.289
1359.42 | 0.034166 | 10300 | 0.005664 | -0.00026933 | 0.005664 | 679.708
1440.12 | 0.036194 | 10300 | 0.006688 | -0.00026933 | 0.006688 | 720.062
1546.37 | 0.038864 | 10300 | 0.007712 | -0.00026933 | 0.007712 | 773.183
1672.22 | 0.042027 | 10300 | 0.008736 | -0.00026933 | 0.008736 | 836.108
1765.54 | 0.044373 | 10300 | 0.00976 | -0.00026933 | 0.00976 | 882.769
1817.52 | 0.045679 | 10300 | 0.010784 | -0.00026933 | 0.010784 | 908.76
1823.14 | 0.045821 | 10300 | 0.011808 | -0.00026933 | 0.011808 | 911.572
1681.49 | 0.04226 | 10300 | 0.012832 | -0.00026933 | 0.012832 | 840.743
1465.81 | 0.03684 | 10300 | 0.013856 | -0.00026933 | 0.013856 | 732.905
1253.48 | 0.031503 | 10300 | 0.01488 | -0.00026933 | 0.01488 | 626.739
1142.83 | 0.028722 | 10300 | 0.015904 | -0.00026933 | 0.015904 | 571.414
1227.49 | 0.03085 | 10300 | 0.016928 | -0.00026933 | 0.016928 | 613.743
1421.58 | 0.035728 | 10300 | 0.017952 | -0.00026933 | 0.017952 | 710.79
1624.03 | 0.040816 | 10300 | 0.018976 | -0.00026933 | 0.018976 | 812.017
1774.05 | 0.044587 | 10300 | 0.02 | -0.00026933 | 0.02 | 887.025
1901.42 | 0.047788 | 10300 | 0.021024 | -0.00026933 | 0.021024 | 950.71
1988.66 | 0.04998 | 10300 | 0.022048 | -0.00026933 | 0.022048 | 994.331
1996.57 | 0.050179 | 10300 | 0.023072 | -0.00026933 | 0.023072 | 998.283
1886.98 | 0.047425 | 10300 | 0.024096 | -0.00026933 | 0.024096 | 943.49
1713.25 | 0.043059 | 10300 | 0.02512 | -0.00026933 | 0.02512 | 856.627
1556.85 | 0.039128 | 10300 | 0.026144 | -0.00026933 | 0.026144 | 778.427
1404.1 | 0.035289 | 10300 | 0.027168 | -0.00026933 | 0.027168 | 702.051
1263.21 | 0.031748 | 10300 | 0.028192 | -0.00026933 | 0.028192 | 631.603
1138.42 | 0.028612 | 10299.8 | 0.029216 | -0.0020144 | 0.029216 | 569.21
1094.49 | 0.027508 | 10299.8 | 0.03024 | -0.0020144 | 0.03024 | 547.247
1161.22 | 0.029185 | 10299.8 | 0.031264 | -0.0020144 | 0.031264 | 580.609
1356.22 | 0.034086 | 10299.8 | 0.032288 | -0.0020144 | 0.032288 | 678.112
1729.67 | 0.043471 | 10299.8 | 0.033312 | -0.0020144 | 0.033312 | 864.834
1870.56 | 0.047012 | 10299.8 | 0.034336 | -0.0020144 | 0.034336 | 935.282
1842.75 | 0.046313 | 10299.8 | 0.03536 | -0.0020144 | 0.03536 | 921.375
1700.03 | 0.042726 | 10299.8 | 0.036384 | -0.0020144 | 0.036384 | 850.015
1517.18 | 0.038131 | 10299.8 | 0.037408 | -0.0020144 | 0.037408 | 758.592
1401.67 | 0.035228 | 10299.8 | 0.038432 | -0.0020144 | 0.038432 | 700.835
1375.53 | 0.034571 | 10299.8 | 0.039456 | -0.0020144 | 0.039456 | 687.763
1393.01 | 0.03501 | 10299.8 | 0.04048 | -0.0020144 | 0.04048 | 696.503
1482.38 | 0.037256 | 10299.8 | 0.042016 | -0.0020144 | 0.042016 | 741.189
1614.61 | 0.04058 | 10299.8 | 0.044064 | -0.0020144 | 0.044064 | 807.305
1854 | 0.046596 | 10299.8 | 0.046112 | -0.0020144 | 0.046112 | 926.999
1967.54 | 0.04945 | 10299.8 | 0.04816 | -0.0020144 | 0.04816 | 983.768
1527.22 | 0.038383 | 10299.8 | 0.050208 | -0.0020144 | 0.050208 | 763.608
1213.96 | 0.03051 | 10299.8 | 0.052256 | -0.0020144 | 0.052256 | 606.98
1230.83 | 0.030934 | 10299.4 | 0.054304 | -0.0062913 | 0.054304 | 615.415
1273.84 | 0.032015 | 10299.4 | 0.056352 | -0.0062913 | 0.056352 | 636.922
1695.93 | 0.042623 | 10299.4 | 0.0584 | -0.0062913 | 0.0584 | 847.963
2007.51 | 0.050454 | 10299.4 | 0.060448 | -0.0062913 | 0.060448 | 1003.75
1756.57 | 0.044147 | 10299.4 | 0.062496 | -0.0062913 | 0.062496 | 878.285
1355.01 | 0.034055 | 10299.4 | 0.064544 | -0.0062913 | 0.064544 | 677.504
1270.96 | 0.031943 | 10299.4 | 0.066592 | -0.0062913 | 0.066592 | 635.478
1464.44 | 0.036805 | 10299.4 | 0.06864 | -0.0062913 | 0.06864 | 732.221
1687.72 | 0.042417 | 10299.4 | 0.070688 | -0.0062913 | 0.070688 | 843.859
1712.49 | 0.04304 | 10299.4 | 0.072736 | -0.0062913 | 0.072736 | 856.247
1749.58 | 0.043972 | 10298.9 | 0.074784 | -0.010767 | 0.074784 | 874.79
1307.13 | 0.032852 | 10298.9 | 0.076832 | -0.010767 | 0.076832 | 653.565
1053.61 | 0.02648 | 10298.9 | 0.07888 | -0.010767 | 0.07888 | 526.804
1419.91 | 0.035686 | 10298.9 | 0.080928 | -0.010767 | 0.080928 | 709.954
1896.25 | 0.047658 | 10298.9 | 0.082976 | -0.010767 | 0.082976 | 948.126
1969.97 | 0.049511 | 10298.9 | 0.085024 | -0.010767 | 0.085024 | 984.984
1731.64 | 0.043521 | 10298.9 | 0.087072 | -0.010767 | 0.087072 | 865.822
1590.9 | 0.039984 | 10298.9 | 0.08912 | -0.010767 | 0.08912 | 795.45
1360.02 | 0.034181 | 10298.9 | 0.091168 | -0.010767 | 0.091168 | 680.012
1173.99 | 0.029506 | 10298.3 | 0.093216 | -0.016988 | 0.093216 | 586.993
1425.68 | 0.035831 | 10298.3 | 0.095264 | -0.016988 | 0.095264 | 712.842
1939.27 | 0.048739 | 10298.3 | 0.097312 | -0.016988 | 0.097312 | 969.633
1865.85 | 0.046894 | 10298.3 | 0.09936 | -0.016988 | 0.09936 | 932.927
1224.75 | 0.030781 | 10298.3 | 0.10141 | -0.016988 | 0.10141 | 612.376
1126.11 | 0.028302 | 10298.3 | 0.10346 | -0.016988 | 0.10346 | 563.054
1322.18 | 0.03323 | 10298.3 | 0.1055 | -0.016988 | 0.1055 | 661.089
1353.03 | 0.034005 | 10298.3 | 0.10755 | -0.016988 | 0.10755 | 676.516
1731.64 | 0.043521 | 10298.3 | 0.1096 | -0.016988 | 0.1096 | 865.822
2009.33 | 0.0505 | 10298.3 | 0.11165 | -0.016988 | 0.11165 | 1004.67
1860.38 | 0.046756 | 10297.7 | 0.1137 | -0.022413 | 0.1137 | 930.191
1385.1 | 0.034811 | 10297.7 | 0.11574 | -0.022413 | 0.11574 | 692.551
1091.76 | 0.027439 | 10297.7 | 0.11779 | -0.022413 | 0.11779 | 545.879
1450.61 | 0.036458 | 10297.7 | 0.11984 | -0.022413 | 0.11984 | 725.306
1620.69 | 0.040732 | 10297.7 | 0.12189 | -0.022413 | 0.12189 | 810.345
1752.77 | 0.044052 | 10297.7 | 0.12496 | -0.022413 | 0.12496 | 876.386
1589.23 | 0.039942 | 10297.7 | 0.12906 | -0.022413 | 0.12906 | 794.614
1549.71 | 0.038948 | 10297.3 | 0.13315 | -0.026509 | 0.13315 | 774.855
1672.06 | 0.042023 | 10297.3 | 0.13725 | -0.026509 | 0.13725 | 836.032
1309.26 | 0.032905 | 10297.3 | 0.14134 | -0.026509 | 0.14134 | 654.629
1482.99 | 0.037271 | 10297.3 | 0.14544 | -0.026509 | 0.14544 | 741.493
1882.12 | 0.047303 | 10297.3 | 0.14954 | -0.026509 | 0.14954 | 941.058
1376.74 | 0.034601 | 10296.8 | 0.15363 | -0.030759 | 0.15363 | 688.372
1548.8 | 0.038926 | 10296.8 | 0.15773 | -0.030759 | 0.15773 | 774.399
1578.59 | 0.039674 | 10296.8 | 0.16182 | -0.030759 | 0.16182 | 789.294
1228.7 | 0.030881 | 10296.8 | 0.16592 | -0.030759 | 0.16592 | 614.351
1428.27 | 0.035896 | 10296.8 | 0.17002 | -0.030759 | 0.17002 | 714.134
1995.2 | 0.050145 | 10296.4 | 0.17411 | -0.035045 | 0.17411 | 997.599
1442.4 | 0.036252 | 10296.4 | 0.17821 | -0.035045 | 0.17821 | 721.202
1545.3 | 0.038838 | 10296.4 | 0.1823 | -0.035045 | 0.1823 | 772.651
1765.39 | 0.044369 | 10296.4 | 0.1864 | -0.035045 | 0.1864 | 882.693
1493.47 | 0.037535 | 10296.4 | 0.1905 | -0.035045 | 0.1905 | 746.736
1341.18 | 0.033708 | 10295.9 | 0.19459 | -0.039521 | 0.19459 | 670.588
1938.05 | 0.048709 | 10295.9 | 0.19869 | -0.039521 | 0.19869 | 969.025
1667.5 | 0.041909 | 10295.9 | 0.20278 | -0.039521 | 0.20278 | 833.752
1221.26 | 0.030693 | 10295.9 | 0.20688 | -0.039521 | 0.20688 | 610.628
1710.67 | 0.042994 | 10295.9 | 0.21098 | -0.039521 | 0.21098 | 855.335
1534.66 | 0.03857 | 10295.5 | 0.21507 | -0.043571 | 0.21507 | 767.331
1365.19 | 0.034311 | 10295.5 | 0.21917 | -0.043571 | 0.21917 | 682.596
1889.26 | 0.047482 | 10295.5 | 0.22326 | -0.043571 | 0.22326 | 944.63
1418.39 | 0.035648 | 10295.5 | 0.22736 | -0.043571 | 0.22736 | 709.194
1469.46 | 0.036931 | 10295.5 | 0.23146 | -0.043571 | 0.23146 | 734.729
1643.64 | 0.041309 | 10295 | 0.23555 | -0.048427 | 0.23555 | 821.82
1691.67 | 0.042516 | 10295 | 0.23965 | -0.048427 | 0.23965 | 845.835
1486.33 | 0.037355 | 10295 | 0.24374 | -0.048427 | 0.24374 | 743.165
1774.51 | 0.044598 | 10294.6 | 0.24784 | -0.052107 | 0.24784 | 887.253
1726.78 | 0.043399 | 10294.6 | 0.25194 | -0.052107 | 0.25194 | 863.39
1187.82 | 0.029853 | 10294.6 | 0.25603 | -0.052107 | 0.25603 | 593.909
1898.99 | 0.047727 | 10294.6 | 0.26013 | -0.052107 | 0.26013 | 949.494
1745.48 | 0.043869 | 10294.6 | 0.26422 | -0.052107 | 0.26422 | 872.738
1251.35 | 0.03145 | 10294.6 | 0.26832 | -0.052107 | 0.26832 | 625.675
1668.87 | 0.041943 | 10294.6 | 0.27242 | -0.052107 | 0.27242 | 834.436
1754.44 | 0.044094 | 10294.2 | 0.27651 | -0.056773 | 0.27651 | 877.221
1250.59 | 0.031431 | 10294.2 | 0.28061 | -0.056773 | 0.28061 | 625.295
1544.09 | 0.038807 | 10294.2 | 0.2847 | -0.056773 | 0.2847 | 772.043
1333.88 | 0.033524 | 10293.8 | 0.29085 | -0.060263 | 0.29085 | 666.941
1729.67 | 0.043471 | 10293.8 | 0.29904 | -0.060263 | 0.29904 | 864.834
1707.78 | 0.042921 | 10293.8 | 0.30723 | -0.060263 | 0.30723 | 853.891
1358.2 | 0.034135 | 10293.4 | 0.31542 | -0.064169 | 0.31542 | 679.1
1640.3 | 0.041225 | 10293.4 | 0.32362 | -0.064169 | 0.32362 | 820.148
1504.11 | 0.037803 | 10292.9 | 0.33181 | -0.068645 | 0.33181 | 752.056
1387.08 | 0.034861 | 10292.9 | 0.34 | -0.068645 | 0.34 | 693.539
1928.17 | 0.04846 | 10292.9 | 0.34819 | -0.068645 | 0.34819 | 964.085
1229.77 | 0.030907 | 10292.6 | 0.35638 | -0.071719 | 0.35638 | 614.883
1706.11 | 0.042879 | 10292.6 | 0.36458 | -0.071719 | 0.36458 | 853.055
1998.54 | 0.050229 | 10292.1 | 0.37277 | -0.076575 | 0.37277 | 999.271
1391.94 | 0.034983 | 10292.1 | 0.38096 | -0.076575 | 0.38096 | 695.971
1639.99 | 0.041217 | 10292.1 | 0.38915 | -0.076575 | 0.38915 | 819.997
1714.01 | 0.043078 | 10291.7 | 0.39734 | -0.080101 | 0.39734 | 857.007
1383.43 | 0.034769 | 10291.7 | 0.40554 | -0.080101 | 0.40554 | 691.715
1817.82 | 0.045687 | 10291.3 | 0.41373 | -0.084531 | 0.41373 | 908.912
1758.24 | 0.044189 | 10291.3 | 0.42192 | -0.084531 | 0.42192 | 879.121
1239.04 | 0.03114 | 10291.3 | 0.43011 | -0.084531 | 0.43011 | 619.519
1939.87 | 0.048754 | 10290.9 | 0.4383 | -0.088438 | 0.4383 | 969.937
1438 | 0.036141 | 10290.9 | 0.4465 | -0.088438 | 0.4465 | 718.998
1306.83 | 0.032844 | 10290.5 | 0.45469 | -0.091928 | 0.45469 | 653.413
1991.85 | 0.050061 | 10290.1 | 0.46288 | -0.095988 | 0.46288 | 995.927
1379.33 | 0.034666 | 10290.1 | 0.47107 | -0.095988 | 0.47107 | 689.663
1602.76 | 0.040282 | 10290.1 | 0.47926 | -0.095988 | 0.47926 | 801.378
1740 | 0.043731 | 10290.1 | 0.48746 | -0.095988 | 0.48746 | 870.002
1238.58 | 0.031129 | 10289.7 | 0.49565 | -0.10008 | 0.49565 | 619.291
1599.26 | 0.040194 | 10289.7 | 0.50384 | -0.10008 | 0.50384 | 799.63
1819.95 | 0.04574 | 10289.3 | 0.51203 | -0.10395 | 0.51203 | 909.976
1284.48 | 0.032283 | 10289.3 | 0.52022 | -0.10395 | 0.52022 | 642.242
1871.93 | 0.047047 | 10289.3 | 0.52842 | -0.10395 | 0.52842 | 935.966
1808.55 | 0.045454 | 10288.9 | 0.53661 | -0.10824 | 0.53661 | 904.276
1251.96 | 0.031465 | 10288.9 | 0.5448 | -0.10824 | 0.5448 | 625.979
2002.19 | 0.05032 | 10288.4 | 0.55299 | -0.1131 | 0.55299 | 1001.09
1438.76 | 0.03616 | 10288.4 | 0.56118 | -0.1131 | 0.56118 | 719.378
1592.12 | 0.040014 | 10288 | 0.56938 | -0.11677 | 0.56938 | 796.058
1859.62 | 0.046737 | 10288 | 0.57757 | -0.11677 | 0.57757 | 929.811
1589.23 | 0.039942 | 10288 | 0.58576 | -0.11677 | 0.58576 | 794.614
1547.13 | 0.038884 | 10287.6 | 0.59395 | -0.12067 | 0.59395 | 773.563
1973.01 | 0.049587 | 10287.6 | 0.60214 | -0.12067 | 0.60214 | 986.504
1489.98 | 0.037447 | 10287.2 | 0.61034 | -0.12473 | 0.61034 | 744.989
1778.61 | 0.044701 | 10287.2 | 0.62262 | -0.12473 | 0.62262 | 889.305
1551.69 | 0.038998 | 10286.8 | 0.63901 | -0.12822 | 0.63901 | 775.843
1266.55 | 0.031832 | 10286.4 | 0.65539 | -0.13171 | 0.65539 | 633.274
1400.45 | 0.035197 | 10285.9 | 0.67178 | -0.13657 | 0.67178 | 700.227
1662.94 | 0.041794 | 10285.5 | 0.68816 | -0.14066 | 0.68816 | 831.472
1362.61 | 0.034246 | 10285.2 | 0.70454 | -0.14415 | 0.70454 | 681.304
1645.62 | 0.041359 | 10285.2 | 0.72093 | -0.14415 | 0.72093 | 822.808
1801.71 | 0.045282 | 10284.7 | 0.73731 | -0.14844 | 0.73731 | 900.856
1503.81 | 0.037795 | 10284.3 | 0.7537 | -0.1525 | 0.7537 | 751.904
1506.39 | 0.03786 | 10283.9 | 0.77008 | -0.15598 | 0.77008 | 753.196
1934.71 | 0.048625 | 10283.6 | 0.78646 | -0.15951 | 0.78646 | 967.353
1728.6 | 0.043445 | 10283.1 | 0.80285 | -0.16436 | 0.80285 | 864.302
1507.15 | 0.037879 | 10283.1 | 0.81923 | -0.16436 | 0.81923 | 753.576
1883.33 | 0.047333 | 10282.8 | 0.83562 | -0.16747 | 0.83562 | 941.666
1931.06 | 0.048533 | 10282.3 | 0.852 | -0.17153 | 0.852 | 965.529
1503.2 | 0.03778 | 10281.9 | 0.86838 | -0.1754 | 0.86838 | 751.6
1574.18 | 0.039564 | 10281.5 | 0.88477 | -0.17931 | 0.88477 | 787.09
2017.84 | 0.050714 | 10281.2 | 0.90115 | -0.1828 | 0.90115 | 1008.92
1686.65 | 0.04239 | 10281.2 | 0.91754 | -0.1828 | 0.91754 | 843.327
1165.02 | 0.02928 | 10280.2 | 0.93392 | -0.19194 | 0.93392 | 582.509
1764.32 | 0.044342 | 10280.2 | 0.9503 | -0.19194 | 0.9503 | 882.161
1731.49 | 0.043517 | 10279.9 | 0.96669 | -0.19523 | 0.96669 | 865.746
1311.39 | 0.032959 | 10279.5 | 0.98307 | -0.1991 | 0.98307 | 655.693
1735.44 | 0.043617 | 10279.5 | 0.99946 | -0.1991 | 0.99946 | 867.722
2205.25 | 0.055424 | 10279.1 | 1.0158 | -0.2032 | 1.0158 | 1102.63
1513.54 | 0.038039 | 10278.7 | 1.0322 | -0.20688 | 1.0322 | 756.768
1339.2 | 0.033658 | 10278.2 | 1.0486 | -0.21192 | 1.0486 | 669.601
1957.35 | 0.049194 | 10277.8 | 1.065 | -0.21522 | 1.065 | 978.676
2100.68 | 0.052796 | 10277.3 | 1.0814 | -0.22008 | 1.0814 | 1050.34
1637.26 | 0.041149 | 10277.3 | 1.0978 | -0.22008 | 1.0978 | 818.629
1776.48 | 0.044648 | 10277 | 1.1141 | -0.22338 | 1.1141 | 888.241
1976.81 | 0.049683 | 10276.6 | 1.1305 | -0.22706 | 1.1305 | 988.404
1605.34 | 0.040347 | 10276.2 | 1.1469 | -0.23153 | 1.1469 | 802.669
1643.03 | 0.041294 | 10275.7 | 1.1633 | -0.23581 | 1.1633 | 821.516
2018.91 | 0.050741 | 10275.3 | 1.1797 | -0.23949 | 1.1797 | 1009.45
1789.4 | 0.044973 | 10275.3 | 1.1961 | -0.23949 | 1.1961 | 894.701
1546.97 | 0.03888 | 10275 | 1.2125 | -0.24298 | 1.2125 | 773.487
1882.57 | 0.047314 | 10274.5 | 1.2288 | -0.24784 | 1.2288 | 941.286
1814.18 | 0.045595 | 10274.2 | 1.2452 | -0.25076 | 1.2452 | 907.088
1521.9 | 0.038249 | 10273.6 | 1.2616 | -0.25618 | 1.2616 | 760.948
1845.03 | 0.046371 | 10273.3 | 1.2862 | -0.25929 | 1.2862 | 922.515
1504.87 | 0.037822 | 10272.4 | 1.3189 | -0.26787 | 1.3189 | 752.436
1677.08 | 0.04215 | 10271.7 | 1.3517 | -0.27522 | 1.3517 | 838.54
2031.98 | 0.051069 | 10271.2 | 1.3845 | -0.2795 | 1.3845 | 1015.99
1301.51 | 0.03271 | 10270.3 | 1.4172 | -0.28804 | 1.4172 | 650.754
1962.98 | 0.049335 | 10269.6 | 1.45 | -0.29502 | 1.45 | 981.488
1267.61 | 0.031859 | 10269.1 | 1.4828 | -0.30007 | 1.4828 | 633.806
1916.77 | 0.048174 | 10268.3 | 1.5155 | -0.30745 | 1.5155 | 958.385
1639.69 | 0.04121 | 10267.5 | 1.5483 | -0.31523 | 1.5483 | 819.845
1527.37 | 0.038387 | 10267.2 | 1.5811 | -0.31891 | 1.5811 | 763.683
1955.07 | 0.049136 | 10266.3 | 1.6139 | -0.32763 | 1.6139 | 977.536
1634.83 | 0.041088 | 10265.5 | 1.6466 | -0.33503 | 1.6466 | 817.413
2038.67 | 0.051237 | 10265.1 | 1.6794 | -0.33871 | 1.6794 | 1019.33
1465.81 | 0.03684 | 10264.3 | 1.7122 | -0.34667 | 1.7122 | 732.905
1597.44 | 0.040148 | 10263.9 | 1.7449 | -0.35016 | 1.7449 | 798.718
1968.45 | 0.049473 | 10263.1 | 1.7777 | -0.35812 | 1.7777 | 984.224
1443.16 | 0.036271 | 10262.2 | 1.8105 | -0.36707 | 1.8105 | 721.582
1759.76 | 0.044228 | 10261.8 | 1.8432 | -0.37095 | 1.8432 | 879.881
1781.95 | 0.044785 | 10261 | 1.876 | -0.37909 | 1.876 | 890.977
1664.01 | 0.041821 | 10260.2 | 1.9088 | -0.38649 | 1.9088 | 832.004
1766.15 | 0.044388 | 10259.7 | 1.9415 | -0.39112 | 1.9415 | 883.073
1424.47 | 0.035801 | 10258.9 | 1.9743 | -0.39889 | 1.9743 | 712.234
2137.61 | 0.053724 | 10258.5 | 2.0071 | -0.40299 | 2.0071 | 1068.81
1425.53 | 0.035827 | 10257.7 | 2.0398 | -0.41114 | 2.0398 | 712.766
2097.18 | 0.052708 | 10256.8 | 2.0726 | -0.4191 | 2.0726 | 1048.59
1792.14 | 0.045041 | 10256.3 | 2.1054 | -0.42396 | 2.1054 | 896.068
1877.86 | 0.047196 | 10255.6 | 2.1381 | -0.43132 | 2.1381 | 938.93
2109.19 | 0.05301 | 10254.7 | 2.1709 | -0.44027 | 2.1709 | 1054.6
1401.67 | 0.035228 | 10254.2 | 2.2037 | -0.44512 | 2.2037 | 700.835
1975.14 | 0.049641 | 10253.4 | 2.2365 | -0.4521 | 2.2365 | 987.568
1697.29 | 0.042658 | 10252.6 | 2.2692 | -0.46044 | 2.2692 | 848.647
2028.48 | 0.050981 | 10252.2 | 2.302 | -0.46454 | 2.302 | 1014.24
1956.44 | 0.049171 | 10251.3 | 2.3348 | -0.47288 | 2.3348 | 978.22
1475.08 | 0.037073 | 10250.9 | 2.3675 | -0.47675 | 2.3675 | 737.541
1929.23 | 0.048487 | 10250 | 2.4003 | -0.4857 | 2.4003 | 964.617
1604.58 | 0.040328 | 10249.2 | 2.4331 | -0.49306 | 2.4331 | 802.289
1832.26 | 0.04605 | 10248.7 | 2.4658 | -0.49852 | 2.4658 | 916.131
2048.09 | 0.051474 | 10247.9 | 2.4986 | -0.50588 | 2.4986 | 1024.05
1412.46 | 0.035499 | 10247 | 2.5314 | -0.51464 | 2.5314 | 706.231
2244.16 | 0.056402 | 10246.6 | 2.5641 | -0.51832 | 2.5641 | 1122.08
2030.92 | 0.051042 | 10244.9 | 2.6133 | -0.53462 | 2.6133 | 1015.46
2014.5 | 0.05063 | 10243.6 | 2.6788 | -0.54744 | 2.6788 | 1007.25
1587.71 | 0.039904 | 10242.5 | 2.7443 | -0.55852 | 2.7443 | 793.854
1914.19 | 0.048109 | 10241.2 | 2.8099 | -0.57133 | 2.8099 | 957.093
1856.28 | 0.046653 | 10239.6 | 2.8754 | -0.58628 | 2.8754 | 928.139
2487.5 | 0.062518 | 10238.3 | 2.941 | -0.59872 | 2.941 | 1243.75
1835.76 | 0.046138 | 10237.1 | 3.0065 | -0.61093 | 3.0065 | 917.879
1631.94 | 0.041015 | 10235.5 | 3.072 | -0.62629 | 3.072 | 815.969
1666.14 | 0.041875 | 10234.3 | 3.1376 | -0.63794 | 3.1376 | 833.068
1929.69 | 0.048498 | 10233.1 | 3.2031 | -0.64976 | 3.2031 | 964.845
2035.78 | 0.051165 | 10231.8 | 3.2686 | -0.66182 | 3.2686 | 1017.89
1946.41 | 0.048919 | 10230.3 | 3.3342 | -0.67677 | 3.3342 | 973.204
1753.23 | 0.044063 | 10229.1 | 3.3997 | -0.6886 | 3.3997 | 876.614
1555.18 | 0.039086 | 10227.8 | 3.4653 | -0.70123 | 3.4653 | 777.591
1475.54 | 0.037084 | 10226.6 | 3.5308 | -0.7125 | 3.5308 | 737.769
2149.93 | 0.054033 | 10225 | 3.5963 | -0.72823 | 3.5963 | 1074.96
2050.52 | 0.051535 | 10223.8 | 3.6619 | -0.74025 | 3.6619 | 1025.26
2060.4 | 0.051784 | 10222.6 | 3.7274 | -0.75171 | 3.7274 | 1030.2
1676.32 | 0.042131 | 10221 | 3.7929 | -0.76665 | 3.7929 | 838.16
1713.71 | 0.04307 | 10219.8 | 3.8585 | -0.77909 | 3.8585 | 856.855
1725.26 | 0.043361 | 10218.6 | 3.924 | -0.79054 | 3.924 | 862.63
2421.23 | 0.060852 | 10217.3 | 3.9895 | -0.80336 | 3.9895 | 1210.62
2321.98 | 0.058358 | 10215.5 | 4.0551 | -0.82024 | 4.0551 | 1160.99
1833.48 | 0.04608 | 10214.4 | 4.1206 | -0.83112 | 4.1206 | 916.739
1651.54 | 0.041508 | 10213.1 | 4.1861 | -0.84356 | 4.1861 | 825.772
1667.81 | 0.041917 | 10211.5 | 4.2517 | -0.85926 | 4.2517 | 833.904
1935.62 | 0.048647 | 10210.2 | 4.3172 | -0.8717 | 4.3172 | 967.809
2258.9 | 0.056772 | 10209 | 4.3827 | -0.88372 | 4.3827 | 1129.45
2033.04 | 0.051096 | 10207.7 | 4.4483 | -0.89636 | 4.4483 | 1016.52
1737.72 | 0.043674 | 10206.1 | 4.5138 | -0.9119 | 4.5138 | 868.862
1596.07 | 0.040114 | 10204.9 | 4.5794 | -0.92297 | 4.5794 | 798.034
1665.07 | 0.041848 | 10203.7 | 4.6449 | -0.93481 | 4.6449 | 832.536
1991.09 | 0.050042 | 10202 | 4.7104 | -0.95168 | 4.7104 | 995.547
2257.69 | 0.056742 | 10200.8 | 4.776 | -0.96314 | 4.776 | 1128.84
2199.93 | 0.05529 | 10199.6 | 4.8415 | -0.97501 | 4.8415 | 1099.97
2026.36 | 0.050928 | 10198.3 | 4.907 | -0.98703 | 4.907 | 1013.18
1913.27 | 0.048086 | 10196.7 | 4.9726 | -1.0033 | 4.9726 | 956.637
1824.36 | 0.045851 | 10195.4 | 5.0381 | -1.016 | 5.0381 | 912.18
2335.81 | 0.058705 | 10194.1 | 5.1037 | -1.0284 | 5.1037 | 1167.91
2241.88 | 0.056345 | 10192.8 | 5.1692 | -1.0408 | 5.1692 | 1120.94
1794.57 | 0.045102 | 10189.8 | 5.2675 | -1.0699 | 5.2675 | 897.284
1897.77 | 0.047696 | 10186.8 | 5.3986 | -1.0991 | 5.3986 | 948.886
2218.32 | 0.055753 | 10184.4 | 5.5296 | -1.1224 | 5.5296 | 1109.16
1833.33 | 0.046076 | 10181.6 | 5.6607 | -1.1498 | 5.6607 | 916.663
2329.43 | 0.058545 | 10179 | 5.7918 | -1.1744 | 5.7918 | 1164.71
1949.6 | 0.048999 | 10176.2 | 5.9229 | -1.2024 | 5.9229 | 974.8
1835 | 0.046118 | 10173.8 | 6.0539 | -1.2253 | 6.0539 | 917.499
2394.48 | 0.06018 | 10170.9 | 6.185 | -1.2534 | 6.185 | 1197.24
2014.65 | 0.050634 | 10168.5 | 6.3161 | -1.2767 | 6.3161 | 1007.33
1831.05 | 0.046019 | 10165.7 | 6.4471 | -1.3043 | 6.4471 | 915.523
2540.7 | 0.063855 | 10162.8 | 6.5782 | -1.3317 | 6.5782 | 1270.35
2013.13 | 0.050596 | 10160.5 | 6.7093 | -1.3548 | 6.7093 | 1006.57
2236.87 | 0.056219 | 10157.4 | 6.8403 | -1.3841 | 6.8403 | 1118.43
2314.38 | 0.058167 | 10155 | 6.9714 | -1.4078 | 6.9714 | 1157.19
1647.14 | 0.041397 | 10152.1 | 7.1025 | -1.4358 | 7.1025 | 823.568
2250.54 | 0.056562 | 10149.6 | 7.2336 | -1.4603 | 7.2336 | 1125.27
2239.75 | 0.056291 | 10146.8 | 7.3646 | -1.487 | 7.3646 | 1119.88
2019.52 | 0.050756 | 10144.4 | 7.4957 | -1.5111 | 7.4957 | 1009.76
2399.19 | 0.060298 | 10141.7 | 7.6268 | -1.5373 | 7.6268 | 1199.6
2191.12 | 0.055069 | 10139 | 7.7579 | -1.5633 | 7.7579 | 1095.56
1980.61 | 0.049778 | 10136 | 7.8889 | -1.5923 | 7.8889 | 990.303
2697.1 | 0.067785 | 10133.1 | 8.02 | -1.6202 | 8.02 | 1348.55
2237.63 | 0.056238 | 10130.6 | 8.1511 | -1.6445 | 8.1511 | 1118.81
1966.17 | 0.049415 | 10127.7 | 8.2821 | -1.6732 | 8.2821 | 983.084
2327.3 | 0.058491 | 10125 | 8.4132 | -1.6987 | 8.4132 | 1163.65
1809.92 | 0.045488 | 10122.2 | 8.5443 | -1.7263 | 8.5443 | 904.96
2507.87 | 0.06303 | 10119.7 | 8.6754 | -1.7503 | 8.6754 | 1253.93
2217.56 | 0.055733 | 10116.9 | 8.8064 | -1.7777 | 8.8064 | 1108.78
1958.42 | 0.04922 | 10114.3 | 8.9375 | -1.8026 | 8.9375 | 979.208
2610.92 | 0.065619 | 10111.5 | 9.0686 | -1.8299 | 9.0686 | 1305.46
2286.41 | 0.057464 | 10108.7 | 9.1997 | -1.8573 | 9.1997 | 1143.21
2158.74 | 0.054255 | 10106.2 | 9.3307 | -1.8816 | 9.3307 | 1079.37
2351.01 | 0.059087 | 10103.4 | 9.4618 | -1.9084 | 9.4618 | 1175.51
2010.7 | 0.050534 | 10101.1 | 9.5929 | -1.9307 | 9.5929 | 1005.35
2034.41 | 0.05113 | 10098.1 | 9.7239 | -1.9598 | 9.7239 | 1017.21
2430.5 | 0.061085 | 10095.6 | 9.855 | -1.9843 | 9.855 | 1215.25
2100.83 | 0.0528 | 10092.8 | 9.9861 | -2.0115 | 9.9861 | 1050.42
2121.81 | 0.053327 | 10090.2 | 10.1172 | -2.0368 | 10.1172 | 1060.9
2910.04 | 0.073137 | 10087.5 | 10.2482 | -2.0633 | 10.2482 | 1455.02
2207.68 | 0.055485 | 10084.6 | 10.3793 | -2.0915 | 10.3793 | 1103.84
2752.27 | 0.069172 | 10079.2 | 10.5759 | -2.1435 | 10.5759 | 1376.14
2173.18 | 0.054618 | 10073.7 | 10.838 | -2.1971 | 10.838 | 1086.59
2022.86 | 0.05084 | 10068.3 | 11.1002 | -2.2499 | 11.1002 | 1011.43
2773.85 | 0.069714 | 10062.9 | 11.3623 | -2.302 | 11.3623 | 1386.93
2601.8 | 0.06539 | 10057.5 | 11.6245 | -2.3546 | 11.6245 | 1300.9
1997.17 | 0.050195 | 10052.2 | 11.8866 | -2.4056 | 11.8866 | 998.587
2386.73 | 0.059985 | 10047 | 12.1488 | -2.4567 | 12.1488 | 1193.36
2850.76 | 0.071647 | 10041.7 | 12.4109 | -2.5078 | 12.4109 | 1425.38
2575.96 | 0.064741 | 10035.9 | 12.6731 | -2.5637 | 12.6731 | 1287.98
1983.34 | 0.049847 | 10030.7 | 12.9352 | -2.6148 | 12.9352 | 991.671
2555.74 | 0.064233 | 10025.3 | 13.1973 | -2.6674 | 13.1973 | 1277.87
2758.05 | 0.069317 | 10019.9 | 13.4595 | -2.719 | 13.4595 | 1379.02
2648.61 | 0.066567 | 10014.5 | 13.7216 | -2.772 | 13.7216 | 1324.31
2387.34 | 0.06 | 10009 | 13.9838 | -2.8254 | 13.9838 | 1193.67
2981.63 | 0.074936 | 10003.4 | 14.2459 | -2.8792 | 14.2459 | 1490.81
2795.89 | 0.070268 | 9998.04 | 14.5081 | -2.9316 | 14.5081 | 1397.95
2430.05 | 0.061074 | 9992.8 | 14.7702 | -2.9825 | 14.7702 | 1215.02
2676.88 | 0.067277 | 9987.5 | 15.0324 | -3.034 | 15.0324 | 1338.44
2948.8 | 0.074111 | 9982.3 | 15.2945 | -3.0845 | 15.2945 | 1474.4
2210.11 | 0.055546 | 9976.62 | 15.5566 | -3.1396 | 15.5566 | 1105.06
2465.01 | 0.061952 | 9971.34 | 15.8188 | -3.1908 | 15.8188 | 1232.5
2730.69 | 0.06863 | 9965.94 | 16.0809 | -3.2433 | 16.0809 | 1365.34
2729.47 | 0.068599 | 9960.66 | 16.3431 | -3.2945 | 16.3431 | 1364.74
2624.29 | 0.065956 | 9955.12 | 16.6052 | -3.3483 | 16.6052 | 1312.15
2633.56 | 0.066189 | 9949.68 | 16.8674 | -3.4011 | 16.8674 | 1316.78
3050.63 | 0.076671 | 9944.16 | 17.1295 | -3.4547 | 17.1295 | 1525.32
2995.46 | 0.075284 | 9938.84 | 17.3916 | -3.5064 | 17.3916 | 1497.73
2742.85 | 0.068935 | 9933.2 | 17.6538 | -3.5611 | 17.6538 | 1371.42
2985.58 | 0.075036 | 9927.84 | 17.9159 | -3.6132 | 17.9159 | 1492.79
3176.94 | 0.079845 | 9922.59 | 18.1781 | -3.6642 | 18.1781 | 1588.47
2652.26 | 0.066658 | 9917.27 | 18.4402 | -3.7159 | 18.4402 | 1326.13
2640.71 | 0.066368 | 9911.93 | 18.7024 | -3.7677 | 18.7024 | 1320.35
3108.69 | 0.07813 | 9906.64 | 18.9645 | -3.819 | 18.9645 | 1554.35
2694.82 | 0.067728 | 9901.3 | 19.2267 | -3.8708 | 19.2267 | 1347.41
2727.34 | 0.068546 | 9895.91 | 19.4888 | -3.9232 | 19.4888 | 1363.67
3188.33 | 0.080132 | 9890.35 | 19.7509 | -3.9772 | 19.7509 | 1594.17
3123.13 | 0.078493 | 9884.83 | 20.0131 | -4.0308 | 20.0131 | 1561.57
2569.88 | 0.064588 | 9879.17 | 20.2752 | -4.0857 | 20.2752 | 1284.94
2836.02 | 0.071277 | 9873.81 | 20.5374 | -4.1378 | 20.5374 | 1418.01
3261.59 | 0.081973 | 9868.49 | 20.7995 | -4.1894 | 20.7995 | 1630.8
2697.71 | 0.067801 | 9857.91 | 21.1927 | -4.2922 | 21.1927 | 1348.85
3276.49 | 0.082347 | 9847.17 | 21.717 | -4.3964 | 21.717 | 1638.25
2694.36 | 0.067717 | 9836.59 | 22.2413 | -4.4991 | 22.2413 | 1347.18
3320.72 | 0.083459 | 9825.11 | 22.7656 | -4.6106 | 22.7656 | 1660.36
3016.74 | 0.075819 | 9814.45 | 23.2899 | -4.7141 | 23.2899 | 1508.37
2993.79 | 0.075242 | 9803.81 | 23.8142 | -4.8174 | 23.8142 | 1496.89
3446.57 | 0.086622 | 9793.17 | 24.3385 | -4.9207 | 24.3385 | 1723.28
2809.27 | 0.070605 | 9782.67 | 24.8628 | -5.0226 | 24.8628 | 1404.63
3697.05 | 0.092917 | 9771.31 | 25.387 | -5.1329 | 25.387 | 1848.53
3016.28 | 0.075807 | 9760.37 | 25.9113 | -5.2391 | 25.9113 | 1508.14
3362.97 | 0.084521 | 9749.73 | 26.4356 | -5.3424 | 26.4356 | 1681.49
3642.64 | 0.09155 | 9739.31 | 26.9599 | -5.4436 | 26.9599 | 1821.32
2927.52 | 0.073577 | 9728.13 | 27.4842 | -5.5521 | 27.4842 | 1463.76
3667.26 | 0.092168 | 9717.45 | 28.0085 | -5.6558 | 28.0085 | 1833.63
3285 | 0.082561 | 9706.5 | 28.5328 | -5.7622 | 28.5328 | 1642.5
3470.74 | 0.087229 | 9695.73 | 29.0571 | -5.8666 | 29.0571 | 1735.37
3790.83 | 0.095274 | 9684.86 | 29.5813 | -5.9723 | 29.5813 | 1895.42
3130.43 | 0.078676 | 9674.18 | 30.1056 | -6.076 | 30.1056 | 1565.21
4012.44 | 0.10084 | 9663.6 | 30.6299 | -6.1787 | 30.6299 | 2006.22
3416.02 | 0.085854 | 9652.68 | 31.1542 | -6.2847 | 31.1542 | 1708.01
3954.53 | 0.099388 | 9641.82 | 31.6785 | -6.3901 | 31.6785 | 1977.26
3391.4 | 0.085235 | 9631.18 | 32.2028 | -6.4934 | 32.2028 | 1695.7
3594.15 | 0.090331 | 9620.22 | 32.7271 | -6.5998 | 32.7271 | 1797.08
3828.98 | 0.096233 | 9609.5 | 33.2514 | -6.7039 | 33.2514 | 1914.49
3322.09 | 0.083493 | 9598.82 | 33.7756 | -6.8076 | 33.7756 | 1661.04
4296.51 | 0.10798 | 9587.86 | 34.2999 | -6.9139 | 34.2999 | 2148.25
3463.14 | 0.087038 | 9576.72 | 34.8242 | -7.0221 | 34.8242 | 1731.57
3613.46 | 0.090816 | 9566.18 | 35.3485 | -7.1244 | 35.3485 | 1806.73
3755.11 | 0.094376 | 9555.54 | 35.8728 | -7.2277 | 35.8728 | 1877.56
3603.88 | 0.090575 | 9544.82 | 36.3971 | -7.3318 | 36.3971 | 1801.94
4157.44 | 0.10449 | 9534 | 36.9214 | -7.4368 | 36.9214 | 2078.72
3507.52 | 0.088153 | 9522.75 | 37.4457 | -7.5461 | 37.4457 | 1753.76
3593.85 | 0.090323 | 9512.07 | 37.97 | -7.6498 | 37.97 | 1796.92
4170.81 | 0.10482 | 9501.57 | 38.4942 | -7.7518 | 38.4942 | 2085.41
3392.16 | 0.085254 | 9490.79 | 39.0185 | -7.8564 | 39.0185 | 1696.08
4298.64 | 0.10804 | 9479.79 | 39.5428 | -7.9633 | 39.5428 | 2149.32
4001.19 | 0.10056 | 9468.81 | 40.0671 | -8.0698 | 40.0671 | 2000.59
4031.89 | 0.10133 | 9458.03 | 40.5914 | -8.1745 | 40.5914 | 2015.95
4114.42 | 0.10341 | 9447.45 | 41.1157 | -8.2772 | 41.1157 | 2057.21
3946.62 | 0.099189 | 9436.87 | 41.64 | -8.3799 | 41.64 | 1973.31
3747.21 | 0.094178 | 9415.01 | 42.4264 | -8.5921 | 42.4264 | 1873.6
4257.29 | 0.107 | 9393.43 | 43.475 | -8.8016 | 43.475 | 2128.65
4241.03 | 0.10659 | 9371.75 | 44.5236 | -9.0121 | 44.5236 | 2120.52
4406.85 | 0.11076 | 9350.29 | 45.5721 | -9.2204 | 45.5721 | 2203.43
4407.01 | 0.11076 | 9328.37 | 46.6207 | -9.4333 | 46.6207 | 2203.5
4680.9 | 0.11764 | 9307.15 | 47.6693 | -9.6393 | 47.6693 | 2340.45
4147.1 | 0.10423 | 9285.43 | 48.7179 | -9.8502 | 48.7179 | 2073.55
4370.83 | 0.10985 | 9263.71 | 49.7664 | -10.061 | 49.7664 | 2185.42
4489.08 | 0.11282 | 9242.52 | 50.815 | -10.2668 | 50.815 | 2244.54
4479.51 | 0.11258 | 9220.37 | 51.8636 | -10.4818 | 51.8636 | 2239.75
4852.95 | 0.12197 | 9199.2 | 52.9122 | -10.6874 | 52.9122 | 2426.48
5034.58 | 0.12653 | 9177.32 | 53.9607 | -10.8998 | 53.9607 | 2517.29
4981.23 | 0.12519 | 9155.6 | 55.0093 | -11.1107 | 55.0093 | 2490.62
4755.37 | 0.11952 | 9134.44 | 56.0579 | -11.3161 | 56.0579 | 2377.69
4670.86 | 0.11739 | 9112.56 | 57.1065 | -11.5286 | 57.1065 | 2335.43
5167.12 | 0.12986 | 9091.04 | 58.155 | -11.7375 | 58.155 | 2583.56
5514.12 | 0.13859 | 9069.3 | 59.2036 | -11.9485 | 59.2036 | 2757.06
5741.95 | 0.14431 | 9047.66 | 60.2522 | -12.1586 | 60.2522 | 2870.98
5236.73 | 0.13161 | 9025.94 | 61.3008 | -12.3695 | 61.3008 | 2618.37
5186.12 | 0.13034 | 9004.7 | 62.3493 | -12.5757 | 62.3493 | 2593.06
5240.83 | 0.13172 | 8982.95 | 63.3979 | -12.7869 | 63.3979 | 2620.42
5656.08 | 0.14215 | 8961.35 | 64.4465 | -12.9966 | 64.4465 | 2828.04
5982.1 | 0.15035 | 8940.09 | 65.4951 | -13.2031 | 65.4951 | 2991.05
5796.21 | 0.14567 | 8917.85 | 66.5436 | -13.419 | 66.5436 | 2898.11
5666.11 | 0.14241 | 8896.75 | 67.5922 | -13.6238 | 67.5922 | 2833.05
5073.04 | 0.1275 | 8874.81 | 68.6408 | -13.8368 | 68.6408 | 2536.52
5719 | 0.14373 | 8853.23 | 69.6894 | -14.0463 | 69.6894 | 2859.5
6166.92 | 0.15499 | 8831.99 | 70.738 | -14.2525 | 70.738 | 3083.46
6376.21 | 0.16025 | 8810.03 | 71.7865 | -14.4657 | 71.7865 | 3188.11
6055.66 | 0.15219 | 8788.63 | 72.8351 | -14.6735 | 72.8351 | 3027.83
5479.61 | 0.13772 | 8766.99 | 73.8837 | -14.8836 | 73.8837 | 2739.81
6179.69 | 0.15531 | 8745.27 | 74.9323 | -15.0944 | 74.9323 | 3089.84
6461.79 | 0.1624 | 8723.7 | 75.9808 | -15.3039 | 75.9808 | 3230.89
6597.82 | 0.16582 | 8702.39 | 77.0294 | -15.5107 | 77.0294 | 3298.91
6628.06 | 0.16658 | 8680.46 | 78.078 | -15.7237 | 78.078 | 3314.03
6305.84 | 0.15848 | 8659.07 | 79.1266 | -15.9313 | 79.1266 | 3152.92
6219.66 | 0.15632 | 8637.56 | 80.1751 | -16.1402 | 80.1751 | 3109.83
6151.87 | 0.15461 | 8615.5 | 81.2237 | -16.3544 | 81.2237 | 3075.94
6573.65 | 0.16521 | 8594.32 | 82.2723 | -16.56 | 82.2723 | 3286.83
6854.08 | 0.17226 | 8572.78 | 83.3209 | -16.7691 | 83.3209 | 3427.04
6834.01 | 0.17176 | 8529.61 | 84.8937 | -17.1883 | 84.8937 | 3417.01
6574.87 | 0.16524 | 8486.19 | 86.9909 | -17.6098 | 86.9909 | 3287.43
6990.57 | 0.17569 | 8442.79 | 89.088 | -18.0312 | 89.088 | 3495.28
7599.14 | 0.19099 | 8399.97 | 91.1852 | -18.4469 | 91.1852 | 3799.57
7084.04 | 0.17804 | 8356.65 | 93.2823 | -18.8675 | 93.2823 | 3542.02
7472.23 | 0.1878 | 8313.11 | 95.3795 | -19.2902 | 95.3795 | 3736.11
8121.23 | 0.20411 | 8269.95 | 97.4766 | -19.7092 | 97.4766 | 4060.62