## Details
Filename | omni_slowcomp_cross3
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_cross3
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_cross3
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_cross3.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 11:49
Time at start of test | 0.68324
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Step time
Pa | N | µm | s | % | s
1085.53 | 0.027282 | 9500.13 | 0 | -4.8177e-05 | 0
1096.01 | 0.027546 | 9500.13 | 0.000544 | -4.8177e-05 | 0.000544
1168.51 | 0.029368 | 9500.13 | 0.001568 | -4.8177e-05 | 0.001568
1287.37 | 0.032355 | 9500.13 | 0.002592 | -4.8177e-05 | 0.002592
1414.89 | 0.03556 | 9500.13 | 0.003616 | -4.8177e-05 | 0.003616
1520.22 | 0.038207 | 9500.13 | 0.00464 | -4.8177e-05 | 0.00464
1576.46 | 0.039621 | 9500.13 | 0.005664 | -4.8177e-05 | 0.005664
1545.61 | 0.038845 | 9500.13 | 0.006688 | -4.8177e-05 | 0.006688
1431.16 | 0.035969 | 9500.13 | 0.007712 | -4.8177e-05 | 0.007712
1266.4 | 0.031828 | 9500.13 | 0.008736 | -4.8177e-05 | 0.008736
1105.74 | 0.02779 | 9500.13 | 0.00976 | -4.8177e-05 | 0.00976
963.781 | 0.024223 | 9500.13 | 0.010784 | -4.8177e-05 | 0.010784
861.946 | 0.021663 | 9500.13 | 0.011808 | -4.8177e-05 | 0.011808
901.92 | 0.022668 | 9500.13 | 0.012832 | -4.8177e-05 | 0.012832
1032.63 | 0.025953 | 9500.13 | 0.013856 | -4.8177e-05 | 0.013856
1182.8 | 0.029727 | 9500.13 | 0.01488 | -4.8177e-05 | 0.01488
1334.03 | 0.033528 | 9500.13 | 0.015904 | -4.8177e-05 | 0.015904
1446.96 | 0.036366 | 9500.13 | 0.016928 | -4.8177e-05 | 0.016928
1521.44 | 0.038238 | 9500.13 | 0.017952 | -4.8177e-05 | 0.017952
1589.08 | 0.039938 | 9500.13 | 0.018976 | -4.8177e-05 | 0.018976
1616.28 | 0.040622 | 9500.13 | 0.02 | -4.8177e-05 | 0.02
1565.67 | 0.03935 | 9500.13 | 0.021024 | -4.8177e-05 | 0.021024
1458.51 | 0.036657 | 9500.13 | 0.022048 | -4.8177e-05 | 0.022048
1373.7 | 0.034525 | 9500.13 | 0.023072 | -4.8177e-05 | 0.023072
1301.51 | 0.03271 | 9500.13 | 0.024096 | -4.8177e-05 | 0.024096
1220.8 | 0.030682 | 9500.13 | 0.02512 | -4.8177e-05 | 0.02512
1161.22 | 0.029185 | 9500.13 | 0.026144 | -4.8177e-05 | 0.026144
1162.13 | 0.029208 | 9500.13 | 0.027168 | -4.8177e-05 | 0.027168
1238.58 | 0.031129 | 9500.11 | 0.028192 | -0.00025405 | 0.028192
1379.48 | 0.03467 | 9500.11 | 0.029216 | -0.00025405 | 0.029216
1516.12 | 0.038104 | 9500.11 | 0.03024 | -0.00025405 | 0.03024
1570.99 | 0.039483 | 9500.11 | 0.031264 | -0.00025405 | 0.031264
1526.91 | 0.038375 | 9500.11 | 0.032288 | -0.00025405 | 0.032288
1394.22 | 0.035041 | 9500.11 | 0.033312 | -0.00025405 | 0.033312
1319.75 | 0.033169 | 9500.11 | 0.034336 | -0.00025405 | 0.034336
1252.72 | 0.031484 | 9500.11 | 0.03536 | -0.00025405 | 0.03536
1232.05 | 0.030965 | 9500.11 | 0.036384 | -0.00025405 | 0.036384
1240.86 | 0.031186 | 9500.11 | 0.037408 | -0.00025405 | 0.037408
1211.38 | 0.030445 | 9500.11 | 0.038432 | -0.00025405 | 0.038432
1160.91 | 0.029177 | 9500.11 | 0.039456 | -0.00025405 | 0.039456
1197.85 | 0.030105 | 9500.11 | 0.04048 | -0.00025405 | 0.04048
1563.85 | 0.039304 | 9500.11 | 0.042016 | -0.00025405 | 0.042016
1789.4 | 0.044973 | 9500.11 | 0.044064 | -0.00025405 | 0.044064
1472.35 | 0.037004 | 9500.11 | 0.046112 | -0.00025405 | 0.046112
1181.89 | 0.029704 | 9500.11 | 0.04816 | -0.00025405 | 0.04816
1209.1 | 0.030388 | 9500.11 | 0.050208 | -0.00025405 | 0.050208
1113.8 | 0.027993 | 9500.11 | 0.052256 | -0.00025405 | 0.052256
1301.2 | 0.032703 | 9500.11 | 0.054304 | -0.00025405 | 0.054304
1673.58 | 0.042062 | 9499.95 | 0.056352 | -0.0019402 | 0.056352
1645.01 | 0.041344 | 9499.95 | 0.0584 | -0.0019402 | 0.0584
1104.68 | 0.027764 | 9499.95 | 0.060448 | -0.0019402 | 0.060448
831.092 | 0.020888 | 9499.95 | 0.062496 | -0.0019402 | 0.062496
1125.35 | 0.028283 | 9499.95 | 0.064544 | -0.0019402 | 0.064544
1461.71 | 0.036737 | 9499.95 | 0.066592 | -0.0019402 | 0.066592
1655.34 | 0.041603 | 9499.95 | 0.06864 | -0.0019402 | 0.06864
1839.56 | 0.046233 | 9499.95 | 0.070688 | -0.0019402 | 0.070688
1396.5 | 0.035098 | 9499.95 | 0.072736 | -0.0019402 | 0.072736
715.578 | 0.017984 | 9499.55 | 0.074784 | -0.006136 | 0.074784
1020.63 | 0.025651 | 9499.55 | 0.076832 | -0.006136 | 0.076832
1558.68 | 0.039174 | 9499.55 | 0.07888 | -0.006136 | 0.07888
1620.23 | 0.040721 | 9499.55 | 0.080928 | -0.006136 | 0.080928
1296.95 | 0.032596 | 9499.55 | 0.082976 | -0.006136 | 0.082976
1250.13 | 0.031419 | 9499.55 | 0.085024 | -0.006136 | 0.085024
1226.57 | 0.030827 | 9499.55 | 0.087072 | -0.006136 | 0.087072
1221.56 | 0.030701 | 9499.55 | 0.08912 | -0.006136 | 0.08912
1569.62 | 0.039449 | 9499.55 | 0.091168 | -0.006136 | 0.091168
1799.28 | 0.045221 | 9499.55 | 0.093216 | -0.006136 | 0.093216
1452.28 | 0.0365 | 9499.55 | 0.095264 | -0.006136 | 0.095264
1075.65 | 0.027034 | 9499.55 | 0.097312 | -0.006136 | 0.097312
1117.29 | 0.028081 | 9499.09 | 0.09936 | -0.010989 | 0.09936
1230.37 | 0.030923 | 9499.09 | 0.10141 | -0.010989 | 0.10141
1205.75 | 0.030304 | 9499.09 | 0.10346 | -0.010989 | 0.10346
1319.9 | 0.033173 | 9498.61 | 0.1055 | -0.016047 | 0.1055
1692.89 | 0.042547 | 9498.61 | 0.10755 | -0.016047 | 0.10755
1612.79 | 0.040534 | 9498.61 | 0.1096 | -0.016047 | 0.1096
1175.66 | 0.029548 | 9498.61 | 0.11165 | -0.016047 | 0.11165
1136.14 | 0.028554 | 9498.61 | 0.1137 | -0.016047 | 0.1137
1422.19 | 0.035743 | 9498.61 | 0.11574 | -0.016047 | 0.11574
1273.84 | 0.032015 | 9498.61 | 0.11779 | -0.016047 | 0.11779
1329.93 | 0.033425 | 9498.61 | 0.11984 | -0.016047 | 0.11984
1442.4 | 0.036252 | 9498.61 | 0.12189 | -0.016047 | 0.12189
1088.26 | 0.027351 | 9498.12 | 0.12496 | -0.021106 | 0.12496
1409.27 | 0.035419 | 9498.12 | 0.12906 | -0.021106 | 0.12906
1552.14 | 0.03901 | 9498.12 | 0.13315 | -0.021106 | 0.13315
1217.15 | 0.03059 | 9498.12 | 0.13725 | -0.021106 | 0.13725
1275.36 | 0.032053 | 9498.12 | 0.14134 | -0.021106 | 0.14134
1572.96 | 0.039533 | 9498.12 | 0.14544 | -0.021106 | 0.14544
983.388 | 0.024715 | 9498.12 | 0.14954 | -0.021106 | 0.14954
1670.39 | 0.041981 | 9498.12 | 0.15363 | -0.021106 | 0.15363
1457.3 | 0.036626 | 9497.62 | 0.15773 | -0.02637 | 0.15773
1157.57 | 0.029093 | 9497.62 | 0.16182 | -0.02637 | 0.16182
1199.98 | 0.030159 | 9497.62 | 0.16592 | -0.02637 | 0.16592
1553.05 | 0.039032 | 9497.62 | 0.17002 | -0.02637 | 0.17002
1258.19 | 0.031622 | 9497.62 | 0.17411 | -0.02637 | 0.17411
1477.82 | 0.037142 | 9497.27 | 0.17821 | -0.030154 | 0.17821
1392.85 | 0.035006 | 9497.27 | 0.1823 | -0.030154 | 0.1823
1167.91 | 0.029353 | 9496.8 | 0.1864 | -0.035007 | 0.1864
1399.24 | 0.035167 | 9496.8 | 0.1905 | -0.035007 | 0.1905
1604.58 | 0.040328 | 9496.8 | 0.19459 | -0.035007 | 0.19459
1309.87 | 0.03292 | 9496.8 | 0.19869 | -0.035007 | 0.19869
1280.53 | 0.032183 | 9496.8 | 0.20278 | -0.035007 | 0.20278
1543.17 | 0.038784 | 9496.8 | 0.20688 | -0.035007 | 0.20688
1152.1 | 0.028955 | 9496.8 | 0.21098 | -0.035007 | 0.21098
1209.55 | 0.030399 | 9496.8 | 0.21507 | -0.035007 | 0.21507
1490.43 | 0.037459 | 9496.33 | 0.21917 | -0.040016 | 0.21917
1313.97 | 0.033024 | 9496.33 | 0.22326 | -0.040016 | 0.22326
1224.9 | 0.030785 | 9496.33 | 0.22736 | -0.040016 | 0.22736
1622.06 | 0.040767 | 9496.33 | 0.23146 | -0.040016 | 0.23146
1233.72 | 0.031007 | 9495.87 | 0.23555 | -0.044869 | 0.23555
1119.72 | 0.028142 | 9495.87 | 0.23965 | -0.044869 | 0.23965
1948.69 | 0.048976 | 9495.87 | 0.24374 | -0.044869 | 0.24374
1239.04 | 0.03114 | 9495.87 | 0.24784 | -0.044869 | 0.24784
950.71 | 0.023894 | 9495.49 | 0.25194 | -0.048859 | 0.25194
1522.2 | 0.038257 | 9495.49 | 0.25603 | -0.048859 | 0.25603
1724.8 | 0.043349 | 9495.49 | 0.26013 | -0.048859 | 0.26013
1050.57 | 0.026404 | 9495.49 | 0.26422 | -0.048859 | 0.26422
1492.1 | 0.037501 | 9495.49 | 0.26832 | -0.048859 | 0.26832
1641.51 | 0.041256 | 9495.49 | 0.27242 | -0.048859 | 0.27242
839.907 | 0.021109 | 9495.13 | 0.27651 | -0.052682 | 0.27651
1473.87 | 0.037042 | 9495.13 | 0.28061 | -0.052682 | 0.28061
1519.92 | 0.0382 | 9495.13 | 0.2847 | -0.052682 | 0.2847
1319.14 | 0.033154 | 9495.13 | 0.29085 | -0.052682 | 0.29085
1214.87 | 0.030533 | 9494.63 | 0.29904 | -0.057946 | 0.29904
1636.04 | 0.041118 | 9494.63 | 0.30723 | -0.057946 | 0.30723
1388.45 | 0.034896 | 9494.33 | 0.31542 | -0.061074 | 0.31542
1182.8 | 0.029727 | 9494.33 | 0.32362 | -0.061074 | 0.32362
1966.32 | 0.049419 | 9494.33 | 0.33181 | -0.061074 | 0.33181
1103.31 | 0.027729 | 9493.81 | 0.34 | -0.066544 | 0.34
1106.2 | 0.027802 | 9493.45 | 0.34819 | -0.070367 | 0.34819
1681.94 | 0.042272 | 9493.45 | 0.35638 | -0.070367 | 0.35638
833.068 | 0.020937 | 9493.45 | 0.36458 | -0.070367 | 0.36458
1638.93 | 0.041191 | 9493.15 | 0.37277 | -0.073484 | 0.37277
1525.39 | 0.038337 | 9493.15 | 0.38096 | -0.073484 | 0.38096
1248.61 | 0.031381 | 9493.15 | 0.38915 | -0.073484 | 0.38915
1602 | 0.040262 | 9492.77 | 0.39734 | -0.077523 | 0.39734
1509.43 | 0.037936 | 9492.77 | 0.40554 | -0.077523 | 0.40554
1131.58 | 0.02844 | 9492.31 | 0.41373 | -0.082327 | 0.41373
1674.19 | 0.042077 | 9492.31 | 0.42192 | -0.082327 | 0.42192
1328.41 | 0.033387 | 9492.31 | 0.43011 | -0.082327 | 0.43011
1175.2 | 0.029536 | 9491.99 | 0.4383 | -0.085699 | 0.4383
1705.2 | 0.042856 | 9491.99 | 0.4465 | -0.085699 | 0.4465
1590.6 | 0.039976 | 9491.49 | 0.45469 | -0.090964 | 0.45469
1279.01 | 0.032145 | 9491.49 | 0.46288 | -0.090964 | 0.46288
1770.55 | 0.044499 | 9491.15 | 0.47107 | -0.094542 | 0.47107
1284.64 | 0.032286 | 9491.15 | 0.47926 | -0.094542 | 0.47926
1061.66 | 0.026683 | 9491.15 | 0.48746 | -0.094542 | 0.48746
1698.97 | 0.0427 | 9490.71 | 0.49565 | -0.099189 | 0.49565
1317.92 | 0.033123 | 9490.71 | 0.50384 | -0.099189 | 0.50384
1547.28 | 0.038887 | 9490.37 | 0.51203 | -0.10277 | 0.51203
1815.54 | 0.04563 | 9490.37 | 0.52022 | -0.10277 | 0.52022
1240.56 | 0.031179 | 9490.01 | 0.52842 | -0.10655 | 0.52842
1511.86 | 0.037997 | 9490.01 | 0.53661 | -0.10655 | 0.53661
1574.64 | 0.039575 | 9490.01 | 0.5448 | -0.10655 | 0.5448
1067.9 | 0.026839 | 9489.67 | 0.55299 | -0.11013 | 0.55299
1493.47 | 0.037535 | 9489.67 | 0.56118 | -0.11013 | 0.56118
1834.69 | 0.046111 | 9489.19 | 0.56938 | -0.11519 | 0.56938
1322.79 | 0.033245 | 9489.19 | 0.57757 | -0.11519 | 0.57757
1772.68 | 0.044552 | 9489.19 | 0.58576 | -0.11519 | 0.58576
1463.68 | 0.036786 | 9488.81 | 0.59395 | -0.11917 | 0.59395
1157.57 | 0.029093 | 9488.81 | 0.60214 | -0.11917 | 0.60214
1595.46 | 0.040098 | 9488.45 | 0.61034 | -0.12295 | 0.61034
983.844 | 0.024727 | 9488.45 | 0.62262 | -0.12295 | 0.62262
1399.54 | 0.035174 | 9488.13 | 0.63901 | -0.12632 | 0.63901
1877.4 | 0.047184 | 9487.73 | 0.65539 | -0.13056 | 0.65539
1428.72 | 0.035908 | 9487.35 | 0.67178 | -0.13455 | 0.67178
1086.44 | 0.027305 | 9487.01 | 0.68816 | -0.13813 | 0.68816
1582.08 | 0.039762 | 9487.01 | 0.70454 | -0.13813 | 0.70454
1784.99 | 0.044862 | 9486.59 | 0.72093 | -0.14257 | 0.72093
998.435 | 0.025093 | 9485.87 | 0.73731 | -0.15014 | 0.73731
1391.64 | 0.034976 | 9485.87 | 0.7537 | -0.15014 | 0.7537
1887.13 | 0.047429 | 9485.49 | 0.77008 | -0.15413 | 0.77008
1546.97 | 0.03888 | 9485.13 | 0.78646 | -0.1579 | 0.78646
1334.03 | 0.033528 | 9484.73 | 0.80285 | -0.16214 | 0.80285
1640.6 | 0.041233 | 9484.33 | 0.81923 | -0.16633 | 0.81923
1600.02 | 0.040213 | 9483.99 | 0.83562 | -0.16991 | 0.83562
1141.16 | 0.02868 | 9483.99 | 0.852 | -0.16991 | 0.852
1369.6 | 0.034422 | 9483.59 | 0.86838 | -0.17414 | 0.86838
1973.92 | 0.04961 | 9483.31 | 0.88477 | -0.17707 | 0.88477
1576.16 | 0.039613 | 9483.31 | 0.90115 | -0.17707 | 0.90115
1137.2 | 0.028581 | 9482.51 | 0.91754 | -0.1855 | 0.91754
1593.33 | 0.040045 | 9482.51 | 0.93392 | -0.1855 | 0.93392
1726.32 | 0.043387 | 9482.09 | 0.9503 | -0.1899 | 0.9503
1375.83 | 0.034578 | 9481.73 | 0.96669 | -0.19372 | 0.96669
1650.18 | 0.041474 | 9481.33 | 0.98307 | -0.19791 | 0.98307
1789.1 | 0.044965 | 9481.33 | 0.99946 | -0.19791 | 0.99946
1327.8 | 0.033371 | 9480.95 | 1.0158 | -0.2019 | 1.0158
1601.54 | 0.040251 | 9480.65 | 1.0322 | -0.20506 | 1.0322
1822.99 | 0.045817 | 9480.27 | 1.0486 | -0.20905 | 1.0486
1496.66 | 0.037615 | 9479.87 | 1.065 | -0.21329 | 1.065
1301.2 | 0.032703 | 9479.51 | 1.0814 | -0.21707 | 1.0814
1607.77 | 0.040408 | 9479.51 | 1.0978 | -0.21707 | 1.0978
1449.55 | 0.036431 | 9479.05 | 1.1141 | -0.22193 | 1.1141
1187.36 | 0.029842 | 9478.69 | 1.1305 | -0.22571 | 1.1305
1754.44 | 0.044094 | 9478.27 | 1.1469 | -0.23011 | 1.1469
1972.25 | 0.049568 | 9477.91 | 1.1633 | -0.23389 | 1.1633
1434.8 | 0.036061 | 9477.91 | 1.1797 | -0.23389 | 1.1797
1394.68 | 0.035052 | 9477.21 | 1.1961 | -0.24125 | 1.1961
1951.88 | 0.049056 | 9477.21 | 1.2125 | -0.24125 | 1.2125
1300.9 | 0.032695 | 9476.85 | 1.2288 | -0.24507 | 1.2288
1230.83 | 0.030934 | 9476.31 | 1.2452 | -0.25075 | 1.2452
1940.48 | 0.04877 | 9475.95 | 1.2616 | -0.25453 | 1.2616
896.6 | 0.022534 | 9475.63 | 1.2862 | -0.2579 | 1.2862
2215.13 | 0.055672 | 9474.77 | 1.3189 | -0.26695 | 1.3189
1228.7 | 0.030881 | 9474.05 | 1.3517 | -0.27451 | 1.3517
1569.01 | 0.039434 | 9473.71 | 1.3845 | -0.27809 | 1.3845
1818.74 | 0.04571 | 9472.85 | 1.4172 | -0.28714 | 1.4172
1337.23 | 0.033608 | 9472.23 | 1.45 | -0.29368 | 1.45
1728.3 | 0.043437 | 9471.65 | 1.4828 | -0.2998 | 1.4828
1366.1 | 0.034334 | 9471.05 | 1.5155 | -0.3061 | 1.5155
1797.15 | 0.045167 | 9470.15 | 1.5483 | -0.3156 | 1.5483
1708.24 | 0.042933 | 9469.81 | 1.5811 | -0.31916 | 1.5811
1470.83 | 0.036966 | 9468.91 | 1.6139 | -0.32862 | 1.6139
1961 | 0.049285 | 9468.59 | 1.6466 | -0.332 | 1.6466
1311.39 | 0.032959 | 9467.87 | 1.6794 | -0.33957 | 1.6794
1942.15 | 0.048812 | 9467.41 | 1.7122 | -0.34442 | 1.7122
1638.17 | 0.041172 | 9466.65 | 1.7449 | -0.35244 | 1.7449
1711.43 | 0.043013 | 9465.97 | 1.7777 | -0.35958 | 1.7777
1999.91 | 0.050263 | 9465.13 | 1.8105 | -0.36843 | 1.8105
1363.52 | 0.034269 | 9464.77 | 1.8432 | -0.37221 | 1.8432
2007.51 | 0.050454 | 9464.01 | 1.876 | -0.38019 | 1.876
1232.05 | 0.030965 | 9463.27 | 1.9088 | -0.388 | 1.9088
1759.61 | 0.044224 | 9462.81 | 1.9415 | -0.39286 | 1.9415
1467.94 | 0.036893 | 9462.15 | 1.9743 | -0.3998 | 1.9743
1658.23 | 0.041676 | 9461.41 | 2.0071 | -0.40757 | 2.0071
1970.73 | 0.04953 | 9460.87 | 2.0398 | -0.41325 | 2.0398
1587.25 | 0.039892 | 9460.15 | 2.0726 | -0.42081 | 2.0726
1728.91 | 0.043452 | 9459.81 | 2.1054 | -0.42443 | 2.1054
1939.42 | 0.048743 | 9458.99 | 2.1381 | -0.43302 | 2.1381
1413.37 | 0.035522 | 9458.59 | 2.1709 | -0.43725 | 2.1709
2157.37 | 0.054221 | 9457.85 | 2.2037 | -0.44503 | 2.2037
1589.68 | 0.039953 | 9457.13 | 2.2365 | -0.45264 | 2.2365
2089.43 | 0.052513 | 9456.41 | 2.2692 | -0.4602 | 2.2692
1943.82 | 0.048854 | 9455.97 | 2.302 | -0.46481 | 2.302
1852.33 | 0.046554 | 9455.27 | 2.3348 | -0.47221 | 2.3348
2021.04 | 0.050794 | 9454.87 | 2.3675 | -0.4764 | 2.3675
1735.9 | 0.043628 | 9454.05 | 2.4003 | -0.48503 | 2.4003
2239.3 | 0.05628 | 9453.45 | 2.4331 | -0.49137 | 2.4331
1759.61 | 0.044224 | 9453.05 | 2.4658 | -0.49556 | 2.4658
1850.05 | 0.046497 | 9452.23 | 2.4986 | -0.5042 | 2.4986
1849.59 | 0.046485 | 9451.41 | 2.5314 | -0.51284 | 2.5314
1580.11 | 0.039712 | 9451.23 | 2.5641 | -0.51473 | 2.5641
1849.59 | 0.046485 | 9450.01 | 2.6133 | -0.52755 | 2.6133
2029.24 | 0.051 | 9448.49 | 2.6788 | -0.54355 | 2.6788
2215.59 | 0.055684 | 9447.33 | 2.7443 | -0.55576 | 2.7443
2310.58 | 0.058071 | 9446.23 | 2.8099 | -0.56735 | 2.8099
1766.15 | 0.044388 | 9444.63 | 2.8754 | -0.58418 | 2.8754
1719.64 | 0.043219 | 9443.59 | 2.941 | -0.59515 | 2.941
1732.86 | 0.043551 | 9442.45 | 3.0065 | -0.60711 | 3.0065
2026.05 | 0.05092 | 9440.95 | 3.072 | -0.62291 | 3.072
2426.4 | 0.060982 | 9439.85 | 3.1376 | -0.6345 | 3.1376
1826.94 | 0.045916 | 9438.69 | 3.2031 | -0.64671 | 3.2031
1736.05 | 0.043632 | 9437.51 | 3.2686 | -0.65913 | 3.2686
1635.89 | 0.041114 | 9436.05 | 3.3342 | -0.67451 | 3.3342
2035.17 | 0.05115 | 9434.93 | 3.3997 | -0.68627 | 3.3997
2069.83 | 0.05202 | 9433.73 | 3.4653 | -0.69893 | 3.4653
2180.63 | 0.054805 | 9432.23 | 3.5308 | -0.71473 | 3.5308
2250.24 | 0.056555 | 9431.07 | 3.5963 | -0.72689 | 3.5963
1908.56 | 0.047967 | 9429.91 | 3.6619 | -0.73911 | 3.6619
1783.17 | 0.044816 | 9428.81 | 3.7274 | -0.7507 | 3.7274
2041.4 | 0.051306 | 9427.31 | 3.7929 | -0.76649 | 3.7929
2244.92 | 0.056421 | 9426.27 | 3.8585 | -0.77743 | 3.8585
2327.91 | 0.058507 | 9425.07 | 3.924 | -0.79009 | 3.924
2172.42 | 0.054599 | 9423.69 | 3.9895 | -0.8046 | 3.9895
2018.15 | 0.050722 | 9422.51 | 4.0551 | -0.81702 | 4.0551
1929.39 | 0.048491 | 9421.47 | 4.1206 | -0.82796 | 4.1206
2046.12 | 0.051424 | 9420.23 | 4.1861 | -0.84104 | 4.1861
2559.24 | 0.064321 | 9418.77 | 4.2517 | -0.85637 | 4.2517
2503.31 | 0.062915 | 9417.55 | 4.3172 | -0.86925 | 4.3172
1808.25 | 0.045446 | 9416.35 | 4.3827 | -0.88187 | 4.3827
1551.08 | 0.038983 | 9415.13 | 4.4483 | -0.89469 | 4.4483
1853.85 | 0.046592 | 9413.73 | 4.5138 | -0.90942 | 4.5138
2273.5 | 0.057139 | 9412.51 | 4.5794 | -0.92229 | 4.5794
2772.03 | 0.069669 | 9411.41 | 4.6449 | -0.93384 | 4.6449
1978.02 | 0.049713 | 9410.19 | 4.7104 | -0.94671 | 4.7104
1921.18 | 0.048285 | 9408.59 | 4.776 | -0.96352 | 4.776
2022.1 | 0.050821 | 9407.38 | 4.8415 | -0.97635 | 4.8415
2300.85 | 0.057827 | 9406.17 | 4.907 | -0.98902 | 4.907
2518.51 | 0.063297 | 9404.73 | 4.9726 | -1.0042 | 4.9726
2554.53 | 0.064202 | 9403.55 | 5.0381 | -1.0166 | 5.0381
2169.38 | 0.054523 | 9402.45 | 5.1037 | -1.0282 | 5.1037
1812.05 | 0.045542 | 9401.41 | 5.1692 | -1.0391 | 5.1692
2745.73 | 0.069008 | 9398.55 | 5.2675 | -1.0692 | 5.2675
2537.05 | 0.063763 | 9395.95 | 5.3986 | -1.0966 | 5.3986
2085.94 | 0.052425 | 9393.73 | 5.5296 | -1.1199 | 5.5296
2637.67 | 0.066292 | 9391.13 | 5.6607 | -1.1473 | 5.6607
2358.31 | 0.059271 | 9388.83 | 5.7918 | -1.1715 | 5.7918
1824.36 | 0.045851 | 9386.27 | 5.9229 | -1.1985 | 5.9229
2603.77 | 0.06544 | 9383.95 | 6.0539 | -1.2229 | 6.0539
2558.33 | 0.064298 | 9381.33 | 6.185 | -1.2505 | 6.185
2043.53 | 0.05136 | 9379.03 | 6.3161 | -1.2747 | 6.3161
2856.54 | 0.071793 | 9376.31 | 6.4471 | -1.3033 | 6.4471
2332.62 | 0.058625 | 9374.13 | 6.5782 | -1.3263 | 6.5782
2458.32 | 0.061784 | 9371.5 | 6.7093 | -1.354 | 6.7093
2886.17 | 0.072538 | 9368.77 | 6.8403 | -1.3827 | 6.8403
2281.86 | 0.057349 | 9366.56 | 6.9714 | -1.406 | 6.9714
2294.32 | 0.057662 | 9364 | 7.1025 | -1.433 | 7.1025
2642.68 | 0.066418 | 9361.77 | 7.2336 | -1.4564 | 7.2336
2372.44 | 0.059626 | 9359.05 | 7.3646 | -1.485 | 7.3646
2897.27 | 0.072816 | 9356.73 | 7.4957 | -1.5094 | 7.4957
2984.82 | 0.075017 | 9353.95 | 7.6268 | -1.5387 | 7.6268
2306.17 | 0.05796 | 9351.68 | 7.7579 | -1.5627 | 7.7579
3093.49 | 0.077748 | 9348.98 | 7.8889 | -1.5911 | 7.8889
2853.8 | 0.071724 | 9346.52 | 8.02 | -1.617 | 8.02
2440.08 | 0.061326 | 9343.87 | 8.1511 | -1.6448 | 8.1511
2505.13 | 0.062961 | 9341.23 | 8.2821 | -1.6726 | 8.2821
2474.43 | 0.062189 | 9339.06 | 8.4132 | -1.6955 | 8.4132
2477.92 | 0.062277 | 9336.37 | 8.5443 | -1.7237 | 8.5443
3504.17 | 0.088069 | 9334.1 | 8.6754 | -1.7477 | 8.6754
2633.72 | 0.066193 | 9331.48 | 8.8064 | -1.7753 | 8.8064
2741.02 | 0.068889 | 9329.2 | 8.9375 | -1.7993 | 8.9375
3594 | 0.090327 | 9326.5 | 9.0686 | -1.8277 | 9.0686
2698.62 | 0.067824 | 9324.24 | 9.1997 | -1.8515 | 9.1997
2923.72 | 0.073481 | 9321.66 | 9.3307 | -1.8786 | 9.3307
3375.89 | 0.084845 | 9319.06 | 9.4618 | -1.906 | 9.4618
2453.15 | 0.061654 | 9316.74 | 9.5929 | -1.9304 | 9.5929
2972.51 | 0.074707 | 9314.14 | 9.7239 | -1.9578 | 9.7239
3006.25 | 0.075555 | 9311.82 | 9.855 | -1.9822 | 9.855
2695.88 | 0.067755 | 9309.24 | 9.9861 | -2.0094 | 9.9861
3166.3 | 0.079578 | 9306.96 | 10.1172 | -2.0334 | 10.1172
3282.57 | 0.0825 | 9304.28 | 10.2482 | -2.0616 | 10.2482
2863.38 | 0.071965 | 9301.8 | 10.3793 | -2.0877 | 10.3793
3283.94 | 0.082534 | 9296.7 | 10.5759 | -2.1414 | 10.5759
3316.92 | 0.083363 | 9291.68 | 10.838 | -2.1942 | 10.838
2836.32 | 0.071285 | 9286.64 | 11.1002 | -2.2473 | 11.1002
3220.86 | 0.080949 | 9281.62 | 11.3623 | -2.3001 | 11.3623
3699.79 | 0.092986 | 9276.68 | 11.6245 | -2.3521 | 11.6245
3657.38 | 0.09192 | 9271.82 | 11.8866 | -2.4032 | 11.8866
3157.94 | 0.079368 | 9266.88 | 12.1488 | -2.4552 | 12.1488
3680.03 | 0.092489 | 9262.06 | 12.4109 | -2.506 | 12.4109
3764.69 | 0.094617 | 9257.14 | 12.6731 | -2.5577 | 12.6731
3369.21 | 0.084677 | 9251.78 | 12.9352 | -2.6142 | 12.9352
3529.4 | 0.088704 | 9246.92 | 13.1973 | -2.6653 | 13.1973
3743.71 | 0.09409 | 9242 | 13.4595 | -2.7171 | 13.4595
3478.94 | 0.087435 | 9237.06 | 13.7216 | -2.7691 | 13.7216
3326.65 | 0.083608 | 9232.06 | 13.9838 | -2.8217 | 13.9838
3996.93 | 0.10045 | 9227 | 14.2459 | -2.875 | 14.2459
4063.96 | 0.10214 | 9222.1 | 14.5081 | -2.9266 | 14.5081
3663.16 | 0.092065 | 9217.12 | 14.7702 | -2.979 | 14.7702
3683.68 | 0.092581 | 9212.18 | 15.0324 | -3.031 | 15.0324
3983.1 | 0.10011 | 9206.88 | 15.2945 | -3.0868 | 15.2945
3777.61 | 0.094942 | 9202.06 | 15.5566 | -3.1376 | 15.5566
3882.48 | 0.097577 | 9197.06 | 15.8188 | -3.1902 | 15.8188
4357.46 | 0.10952 | 9192.14 | 16.0809 | -3.242 | 16.0809
4325.39 | 0.10871 | 9187.28 | 16.3431 | -3.2931 | 16.3431
3732.77 | 0.093815 | 9182.42 | 16.6052 | -3.3443 | 16.6052
4079.92 | 0.10254 | 9177.42 | 16.8674 | -3.3969 | 16.8674
4786.68 | 0.1203 | 9172.38 | 17.1295 | -3.4499 | 17.1295
4091.78 | 0.10284 | 9167.34 | 17.3916 | -3.503 | 17.3916
4014.87 | 0.1009 | 9162.32 | 17.6538 | -3.5558 | 17.6538
4559.61 | 0.1146 | 9156.96 | 17.9159 | -3.6123 | 17.9159
4560.67 | 0.11462 | 9152.1 | 18.1781 | -3.6634 | 18.1781
4321.59 | 0.10861 | 9147.18 | 18.4402 | -3.7152 | 18.4402
4660.98 | 0.11714 | 9142.34 | 18.7024 | -3.7662 | 18.7024
4881.98 | 0.1227 | 9137.42 | 18.9645 | -3.8179 | 18.9645
4350.01 | 0.10933 | 9132.52 | 19.2267 | -3.8695 | 19.2267
4552.46 | 0.11442 | 9127.6 | 19.4888 | -3.9213 | 19.4888
4933.2 | 0.12398 | 9122.66 | 19.7509 | -3.9733 | 19.7509
4946.43 | 0.12432 | 9117.74 | 20.0131 | -4.0251 | 20.0131
4118.22 | 0.1035 | 9112.42 | 20.2752 | -4.0811 | 20.2752
4816.17 | 0.12104 | 9107.2 | 20.5374 | -4.136 | 20.5374
5194.02 | 0.13054 | 9102.32 | 20.7995 | -4.1874 | 20.7995
4858.88 | 0.12212 | 9092.56 | 21.1927 | -4.2901 | 21.1927
4849.91 | 0.12189 | 9082.64 | 21.717 | -4.3946 | 21.717
5635.71 | 0.14164 | 9072.5 | 22.2413 | -4.5013 | 22.2413
5121.06 | 0.12871 | 9062.78 | 22.7656 | -4.6036 | 22.7656
5732.83 | 0.14408 | 9052.78 | 23.2899 | -4.7089 | 23.2899
5276.1 | 0.1326 | 9042.7 | 23.8142 | -4.8149 | 23.8142
5406.2 | 0.13587 | 9032.78 | 24.3385 | -4.9193 | 24.3385
5952.46 | 0.1496 | 9023.09 | 24.8628 | -5.0214 | 24.8628
5350.57 | 0.13448 | 9012.86 | 25.387 | -5.1291 | 25.387
6098.68 | 0.15328 | 9003.14 | 25.9113 | -5.2313 | 25.9113
5613.97 | 0.14109 | 8993.09 | 26.4356 | -5.3372 | 26.4356
6219.36 | 0.15631 | 8983.05 | 26.9599 | -5.4429 | 26.9599
6121.48 | 0.15385 | 8973.21 | 27.4842 | -5.5465 | 27.4842
5926.32 | 0.14894 | 8963.07 | 28.0085 | -5.6532 | 28.0085
6258.57 | 0.15729 | 8953.23 | 28.5328 | -5.7568 | 28.5328
5892.73 | 0.1481 | 8943.46 | 29.0571 | -5.8596 | 29.0571
6665.61 | 0.16753 | 8933.15 | 29.5813 | -5.9681 | 29.5813
6314.66 | 0.15871 | 8922.89 | 30.1056 | -6.0762 | 30.1056
6961.69 | 0.17497 | 8913.15 | 30.6299 | -6.1787 | 30.6299
6298.39 | 0.1583 | 8903.43 | 31.1542 | -6.281 | 31.1542
7091.64 | 0.17823 | 8893.51 | 31.6785 | -6.3854 | 31.6785
6318.15 | 0.15879 | 8883.43 | 32.2028 | -6.4915 | 32.2028
7175.08 | 0.18033 | 8873.33 | 32.7271 | -6.5978 | 32.7271
7227.98 | 0.18166 | 8863.35 | 33.2514 | -6.7029 | 33.2514
7059.42 | 0.17742 | 8853.43 | 33.7756 | -6.8073 | 33.7756
7677.11 | 0.19295 | 8843.77 | 34.2999 | -6.909 | 34.2999
7033.88 | 0.17678 | 8833.97 | 34.8242 | -7.0121 | 34.8242
7846.89 | 0.19721 | 8823.83 | 35.3485 | -7.1189 | 35.3485
7264.61 | 0.18258 | 8813.69 | 35.8728 | -7.2256 | 35.8728
8006.78 | 0.20123 | 8803.65 | 36.3971 | -7.3312 | 36.3971
7645.95 | 0.19216 | 8793.51 | 36.9214 | -7.438 | 36.9214
7720.13 | 0.19403 | 8783.69 | 37.4457 | -7.5414 | 37.4457
8050.86 | 0.20234 | 8773.83 | 37.97 | -7.6451 | 37.97
7370.55 | 0.18524 | 8764.09 | 38.4942 | -7.7476 | 38.4942
8229.15 | 0.20682 | 8754.11 | 39.0185 | -7.8527 | 39.0185
7911.03 | 0.19883 | 8743.61 | 39.5428 | -7.9632 | 39.5428
8225.65 | 0.20673 | 8733.79 | 40.0671 | -8.0666 | 40.0671
8387.52 | 0.2108 | 8724.07 | 40.5914 | -8.1689 | 40.5914
8074.57 | 0.20294 | 8714.25 | 41.1157 | -8.2723 | 41.1157
8916.15 | 0.22409 | 8704.47 | 41.64 | -8.3752 | 41.64
8761.58 | 0.2202 | 8683.93 | 42.4264 | -8.5914 | 42.4264
8559.12 | 0.21511 | 8664.34 | 43.475 | -8.7977 | 43.475
8738.63 | 0.21963 | 8644.45 | 44.5236 | -9.007 | 44.5236
9231.84 | 0.23202 | 8624.3 | 45.5721 | -9.2192 | 45.5721
9688.57 | 0.2435 | 8604.71 | 46.6207 | -9.4253 | 46.6207
9546.01 | 0.23992 | 8584.75 | 47.6693 | -9.6354 | 47.6693
9607.56 | 0.24146 | 8564.64 | 48.7179 | -9.8472 | 48.7179
9733.87 | 0.24464 | 8544.66 | 49.7664 | -10.0574 | 49.7664
10017.5 | 0.25177 | 8525.12 | 50.815 | -10.2631 | 50.815
10456.9 | 0.26281 | 8504.64 | 51.8636 | -10.4787 | 51.8636
10489.4 | 0.26363 | 8485.06 | 52.9122 | -10.6848 | 52.9122
10666.5 | 0.26808 | 8465.09 | 53.9607 | -10.895 | 53.9607
10311.7 | 0.25916 | 8444.98 | 55.0093 | -11.1066 | 55.0093
10844.2 | 0.27254 | 8425.45 | 56.0579 | -11.3123 | 56.0579
10895.2 | 0.27383 | 8405.45 | 57.1065 | -11.5228 | 57.1065
10998.4 | 0.27642 | 8385.45 | 58.155 | -11.7333 | 58.155
11584.1 | 0.29114 | 8365.31 | 59.2036 | -11.9453 | 59.2036
11803.1 | 0.29664 | 8345.71 | 60.2522 | -12.1517 | 60.2522
11749.7 | 0.2953 | 8325.49 | 61.3008 | -12.3645 | 61.3008
11552 | 0.29033 | 8305.81 | 62.3493 | -12.5716 | 62.3493
11327.2 | 0.28468 | 8286.13 | 63.3979 | -12.7788 | 63.3979
11717.1 | 0.29448 | 8265.63 | 64.4465 | -12.9946 | 64.4465
12184.7 | 0.30624 | 8246.17 | 65.4951 | -13.1994 | 65.4951
12724.5 | 0.3198 | 8226.09 | 66.5436 | -13.4108 | 66.5436
12523.1 | 0.31474 | 8205.99 | 67.5922 | -13.6224 | 67.5922
12074.1 | 0.30345 | 8186.03 | 68.6408 | -13.8324 | 68.6408
12535.5 | 0.31505 | 8166.49 | 69.6894 | -14.0381 | 69.6894
12669.6 | 0.31842 | 8146.35 | 70.738 | -14.2501 | 70.738
13342.3 | 0.33533 | 8126.45 | 71.7865 | -14.4596 | 71.7865
13194 | 0.3316 | 8106.77 | 72.8351 | -14.6667 | 72.8351
13094.3 | 0.3291 | 8086.41 | 73.8837 | -14.8811 | 73.8837
13079.2 | 0.32872 | 8066.81 | 74.9323 | -15.0874 | 74.9323
13472 | 0.33859 | 8046.71 | 75.9808 | -15.2989 | 75.9808
13863.6 | 0.34843 | 8026.77 | 77.0294 | -15.5088 | 77.0294
13728.2 | 0.34503 | 8007.05 | 78.078 | -15.7164 | 78.078
13982 | 0.35141 | 7987.17 | 79.1266 | -15.9257 | 79.1266
13610.3 | 0.34206 | 7967.17 | 80.1751 | -16.1362 | 80.1751
13745.7 | 0.34547 | 7947.15 | 81.2237 | -16.3469 | 81.2237
14302.4 | 0.35946 | 7927.41 | 82.2723 | -16.5547 | 82.2723
14702.5 | 0.36951 | 7907.18 | 83.3209 | -16.7677 | 83.3209
14588.6 | 0.36665 | 7867.88 | 84.8937 | -17.1814 | 84.8937
14820.6 | 0.37248 | 7827.68 | 86.9909 | -17.6045 | 86.9909
15131.3 | 0.38029 | 7787.82 | 89.088 | -18.0241 | 89.088
15792.4 | 0.39691 | 7748.14 | 91.1852 | -18.4417 | 91.1852
15391.3 | 0.38683 | 7708.12 | 93.2823 | -18.863 | 93.2823
15771.1 | 0.39637 | 7668.18 | 95.3795 | -19.2834 | 95.3795
16315.9 | 0.41006 | 7628.5 | 97.4766 | -19.7011 | 97.4766