## Details
Filename | omni_slowcomp_inplane_3
Instrument name | 5343-1369
Operator
rundate | 2025-07-17
Sample name | omni_slowcomp_inplane_3
Geometry name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Procedure name | Axial
proceduresegments | Axial
[File Parameters]
Name | omni_slowcomp_inplane_3
Instrument type | Discovery HR20
Instrument serial number | 5343-1369
Instrument name | 5343-1369
Instrument location | Unknown
Company name | Stanford
Trios version | 5.1.1.46572
File name | C:\Users\kuhl\Desktop\Summer2025\OmniSlowCompression\omni_slowcomp_inplane_3.tri
Instrument firmware version | 11.29
Run date | 2025-07-17 14:23
Time at start of test | 1.597
[Geometry Parameters]
Geometry Type | Parallel plate
Name | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Diameter | 8.0 mm
Gap | 1000.0 µm
Loading gap | 45000.0 µm
Trim gap offset | 50.0 µm
Material | Steel
Material | Stainless steel
Environmental System | Peltier plate
Serial number | 500731893704
Notes
[Geometry Extended Parameters]
Expansion coefficient | 0.0 µm/°C
Expansion coefficient enabled | no
Compliance | 1.03 mrad/N.m
Geometry Inertia | 1.35597 µN.m.s²
Friction | 0.287423 µN.m/(rad/s)
Friction correction enabled | yes
Stress constant | 9947180 Pa/N.m
Strain constant | 4.0 1/rad
Normal Stress Constant | 39788.7 Pa/N
Fluid Density Constant | 1.3404e-13
[Instrument Options]
ETC camera available | no
Friction | 0.287423 µN.m/(rad/s)
Friction calibration date | 2025-07-17 10:26
Friction correction enabled | yes
Rotational mapping date | 2025-06-26 14:00
Rotational mapping geometry | 8.0mm parallel plate, Peltier plate Sandblasted - 93704
Rotational mapping number of iterations | 1
Rotational mapping type | standard
Smart swap enabled | no
[Temperature Options]
Current temperature system compensation | 0.00000 µm/°C
Current temperature system offset | 0.000 °C
Current temperature system span | 1
Gap temperature compensation calibration date | 1/1/0001 12:00:00 AM
Gap temperature compensation enabled | no
Purge gas only (no active cooling) | no
Temperature control enabled | yes
Temperature system control | Peltier plate
Upper temperature system fitted | no
Temperature wait duration | 00:00:10 hh:mm:ss
Temperature wait tolerance | 0.200000 °C
[Inertia Options]
Instrument inertia | 21.1450 µN.m.s²
Instrument inertia calibration date | 2025-07-17 10:23
[Gap Options]
Axial force for sample compression | 1.00000 N
Closure distance | 1000.00 µm
Closure profile | none
Closure velocity | 100.000 µm/s
Gap velocity (coarse) | 32000.0 µm/s
Gap velocity (fine) | 3000.00 µm/s
Gap velocity (other) | 32000.0 µm/s
Gap zero mode | standard (DHR) or deceleration (AR)
Gap handling at start of test | Flag mismatches between geometry and instrument gap
Gap tolerance | 4.00000 µm
Gap wait duration | 00:00:02 hh:mm:ss
Override wait for gap | no
[Axial Force Control]
Axial force action outside range | Return to initial value
Control axial force active | no
Control axial force max gap change up | 1000.00 µm
Control axial force min gap change down | 1000.00 µm
Control axial force sensitivity | 0.100000 N
Control axial force set initial value | no
Control axial force type | Compression
Controlled axial force | 1.00000 N
[Flow Options]
Flow collect all points | yes
Flow collect negative shear rate data | yes
Flow inertia correction | yes
Flow non-steady state minimum velocity | 1.00000e-6 rad/s
Flow torque limit | 0.0100000 µN.m
Flow velocity limit | 1.00000e-6 rad/s
Flow velocity tolerance | 5%
Flow zero strain at start of step | yes
[Oscillation Options]
Oscillation displacement limit | 1.00000e-5 rad
Oscillation displacement tolerance | 5%
Oscillation raw phase limit | 170.000 °
Oscillation torque limit | 0.100000 µN.m
Oscillation torque tolerance | 1%
Oscillation velocity tolerance | 5%
[Conditioning Options]
Zero axial force before run | no
Zero speed after preshear | Leave as is
Zero velocity threshold | 0.100000 rad/s
[Experiment all steps options]
Maximum axial force limit | 50.0000 N
Minimum axial force limit | 0.100000 N
Temperature tolerance (results) | 1.00000 °C

## Axial - 1
Axial - 1
Normal stress | Axial force | Gap | Time | Strain | Stress
Pa | N | µm | s | % | Pa
1365.8 | 0.034326 | 11100.8 | 0 | -0.00013625 | 682.9
1254.85 | 0.031538 | 11100.8 | 0.000544 | -0.00013625 | 627.423
1136.6 | 0.028566 | 11100.7 | 0.001568 | -0.00069836 | 568.298
1089.33 | 0.027378 | 11100.7 | 0.002592 | -0.00069836 | 544.663
1212.14 | 0.030464 | 11100.7 | 0.003616 | -0.00069836 | 606.068
1386.17 | 0.034838 | 11100.7 | 0.00464 | -0.00069836 | 693.083
1536.64 | 0.03862 | 11100.7 | 0.005664 | -0.00069836 | 768.319
1628.29 | 0.040923 | 11100.7 | 0.006688 | -0.00069836 | 814.145
1713.25 | 0.043059 | 11100.7 | 0.007712 | -0.00069836 | 856.627
1812.96 | 0.045565 | 11100.7 | 0.008736 | -0.00069836 | 906.48
1866.92 | 0.046921 | 11100.7 | 0.00976 | -0.00069836 | 933.458
1839.86 | 0.046241 | 11100.7 | 0.010784 | -0.00069836 | 919.931
1703.07 | 0.042803 | 11100.7 | 0.011808 | -0.00069836 | 851.535
1503.81 | 0.037795 | 11100.7 | 0.012832 | -0.00069836 | 751.904
1317.31 | 0.033108 | 11100.7 | 0.013856 | -0.00069836 | 658.657
1220.34 | 0.030671 | 11100.7 | 0.01488 | -0.00069836 | 610.172
1182.5 | 0.029719 | 11100.7 | 0.015904 | -0.00069836 | 591.249
1162.89 | 0.029227 | 11100.7 | 0.016928 | -0.00069836 | 581.445
1188.42 | 0.029868 | 11100.7 | 0.017952 | -0.00069836 | 594.212
1299.38 | 0.032657 | 11100.7 | 0.018976 | -0.00069836 | 649.69
1484.81 | 0.037317 | 11100.7 | 0.02 | -0.00069836 | 742.405
1651.85 | 0.041515 | 11100.7 | 0.021024 | -0.00069836 | 825.924
1725.87 | 0.043376 | 11100.6 | 0.022048 | -0.0019316 | 862.934
1733.77 | 0.043574 | 11100.6 | 0.023072 | -0.0019316 | 866.886
1691.82 | 0.04252 | 11100.6 | 0.024096 | -0.0019316 | 845.911
1540.44 | 0.038715 | 11100.6 | 0.02512 | -0.0019316 | 770.219
1276.43 | 0.03208 | 11100.6 | 0.026144 | -0.0019316 | 638.214
971.381 | 0.024414 | 11100.6 | 0.027168 | -0.0019316 | 485.69
810.877 | 0.02038 | 11100.6 | 0.028192 | -0.0019316 | 405.439
882.161 | 0.022171 | 11100.6 | 0.029216 | -0.0019316 | 441.081
1141.16 | 0.02868 | 11100.6 | 0.03024 | -0.0019316 | 570.578
1437.84 | 0.036137 | 11100.6 | 0.031264 | -0.0019316 | 718.922
1654.89 | 0.041592 | 11100.6 | 0.032288 | -0.0019316 | 827.444
1822.08 | 0.045794 | 11100.6 | 0.033312 | -0.0019316 | 911.04
1915.86 | 0.048151 | 11100.6 | 0.034336 | -0.0019316 | 957.929
1891.08 | 0.047528 | 11100.6 | 0.03536 | -0.0019316 | 945.542
1689.85 | 0.042471 | 11100.6 | 0.036384 | -0.0019316 | 844.923
1389.05 | 0.034911 | 11100.1 | 0.037408 | -0.0059083 | 694.527
1086.44 | 0.027305 | 11100.1 | 0.038432 | -0.0059083 | 543.219
920.463 | 0.023134 | 11100.1 | 0.039456 | -0.0059083 | 460.232
895.537 | 0.022507 | 11100.1 | 0.04048 | -0.0059083 | 447.768
1103.01 | 0.027722 | 11100.1 | 0.042016 | -0.0059083 | 551.503
1639.39 | 0.041202 | 11100.1 | 0.044064 | -0.0059083 | 819.693
1730.28 | 0.043487 | 11100.1 | 0.046112 | -0.0059083 | 865.138
1482.83 | 0.037268 | 11100.1 | 0.04816 | -0.0059083 | 741.417
1239.65 | 0.031156 | 11100.1 | 0.050208 | -0.0059083 | 619.823
1244.36 | 0.031274 | 11100.1 | 0.052256 | -0.0059083 | 622.179
1534.66 | 0.03857 | 11100.1 | 0.054304 | -0.0059083 | 767.331
1515.36 | 0.038085 | 11100.1 | 0.056352 | -0.0059083 | 757.68
1538.16 | 0.038658 | 11100.1 | 0.0584 | -0.0059083 | 769.079
1739.55 | 0.04372 | 11100.1 | 0.060448 | -0.0059083 | 869.774
1633.15 | 0.041046 | 11099.5 | 0.062496 | -0.011672 | 816.577
1353.94 | 0.034028 | 11099.5 | 0.064544 | -0.011672 | 676.972
724.85 | 0.018218 | 11099.5 | 0.066592 | -0.011672 | 362.425
1070.18 | 0.026896 | 11099.5 | 0.06864 | -0.011672 | 535.088
1757.94 | 0.044182 | 11099.5 | 0.070688 | -0.011672 | 878.969
1971.94 | 0.04956 | 11099.5 | 0.072736 | -0.011672 | 985.972
1788.79 | 0.044957 | 11099.5 | 0.074784 | -0.011672 | 894.397
1090.54 | 0.027408 | 11099.5 | 0.076832 | -0.011672 | 545.271
858.906 | 0.021587 | 11099.5 | 0.07888 | -0.011672 | 429.453
1253.48 | 0.031503 | 11098.9 | 0.080928 | -0.017092 | 626.739
1830.13 | 0.045996 | 11098.9 | 0.082976 | -0.017092 | 915.068
2002.65 | 0.050332 | 11098.9 | 0.085024 | -0.017092 | 1001.32
1172.77 | 0.029475 | 11098.9 | 0.087072 | -0.017092 | 586.385
949.798 | 0.023871 | 11098.9 | 0.08912 | -0.017092 | 474.899
1148.15 | 0.028856 | 11098.9 | 0.091168 | -0.017092 | 574.074
1558.37 | 0.039166 | 11098.9 | 0.093216 | -0.017092 | 779.187
1864.79 | 0.046867 | 11098.9 | 0.095264 | -0.017092 | 932.395
1654.28 | 0.041577 | 11098.9 | 0.097312 | -0.017092 | 827.14
1559.89 | 0.039204 | 11098.9 | 0.09936 | -0.017092 | 779.947
1428.12 | 0.035893 | 11098.3 | 0.10141 | -0.02283 | 714.058
1212.29 | 0.030468 | 11098.3 | 0.10346 | -0.02283 | 606.144
1290.56 | 0.032435 | 11098.3 | 0.1055 | -0.02283 | 645.282
1208.79 | 0.03038 | 11098.3 | 0.10755 | -0.02283 | 604.396
1564.91 | 0.03933 | 11098.3 | 0.1096 | -0.02283 | 782.454
1789.86 | 0.044984 | 11098.3 | 0.11165 | -0.02283 | 894.929
1219.89 | 0.030659 | 11098.3 | 0.1137 | -0.02283 | 609.944
930.343 | 0.023382 | 11098.3 | 0.11574 | -0.02283 | 465.171
1186.3 | 0.029815 | 11098.3 | 0.11779 | -0.02283 | 593.149
1526.61 | 0.038368 | 11098.3 | 0.11984 | -0.02283 | 763.304
2096.27 | 0.052685 | 11097.6 | 0.12189 | -0.028779 | 1048.14
1385.1 | 0.034811 | 11097.6 | 0.12496 | -0.028779 | 692.551
1066.98 | 0.026816 | 11097.6 | 0.12906 | -0.028779 | 533.492
1899.6 | 0.047742 | 11097.6 | 0.13315 | -0.028779 | 949.798
1388.29 | 0.034892 | 11097.6 | 0.13725 | -0.028779 | 694.147
1339.66 | 0.033669 | 11097 | 0.14134 | -0.034198 | 669.828
1450.31 | 0.03645 | 11097 | 0.14544 | -0.034198 | 725.154
1709.61 | 0.042967 | 11097 | 0.14954 | -0.034198 | 854.803
777.287 | 0.019535 | 11097 | 0.15363 | -0.034198 | 388.643
1616.43 | 0.040625 | 11097 | 0.15773 | -0.034198 | 808.217
2009.64 | 0.050508 | 11096.4 | 0.16182 | -0.03997 | 1004.82
850.395 | 0.021373 | 11096.4 | 0.16592 | -0.03997 | 425.197
1664.31 | 0.041829 | 11096.4 | 0.17002 | -0.03997 | 832.156
1594.55 | 0.040075 | 11096.4 | 0.17411 | -0.03997 | 797.274
1160.61 | 0.029169 | 11096.4 | 0.17821 | -0.03997 | 580.305
1512.78 | 0.03802 | 11095.8 | 0.1823 | -0.044996 | 756.388
1707.93 | 0.042925 | 11095.8 | 0.1864 | -0.044996 | 853.967
1396.35 | 0.035094 | 11095.8 | 0.1905 | -0.044996 | 698.175
1183.71 | 0.02975 | 11095.8 | 0.19459 | -0.044996 | 591.857
1666.59 | 0.041886 | 11095.8 | 0.19869 | -0.044996 | 833.296
1372.64 | 0.034498 | 11095.1 | 0.20278 | -0.050944 | 686.32
1188.88 | 0.02988 | 11095.1 | 0.20688 | -0.050944 | 594.44
2136.25 | 0.05369 | 11095.1 | 0.21098 | -0.050944 | 1068.12
939.31 | 0.023607 | 11095.1 | 0.21507 | -0.050944 | 469.655
1309.87 | 0.03292 | 11095.1 | 0.21917 | -0.050944 | 654.933
1897.47 | 0.047689 | 11094.6 | 0.22326 | -0.055978 | 948.734
1183.56 | 0.029746 | 11094.6 | 0.22736 | -0.055978 | 591.781
1520.98 | 0.038226 | 11094.6 | 0.23146 | -0.055978 | 760.492
1592.27 | 0.040018 | 11094.6 | 0.23555 | -0.055978 | 796.134
1515.06 | 0.038078 | 11094 | 0.23965 | -0.061222 | 757.528
1126.72 | 0.028317 | 11094 | 0.24374 | -0.061222 | 563.358
1868.29 | 0.046955 | 11094 | 0.24784 | -0.061222 | 934.143
1697.75 | 0.042669 | 11094 | 0.25194 | -0.061222 | 848.875
1011.66 | 0.025426 | 11094 | 0.25603 | -0.061222 | 505.829
2067.55 | 0.051963 | 11093.5 | 0.26013 | -0.066079 | 1033.77
1049.96 | 0.026388 | 11093.5 | 0.26422 | -0.066079 | 524.98
1003.91 | 0.025231 | 11093.5 | 0.26832 | -0.066079 | 501.953
2082.14 | 0.05233 | 11093.5 | 0.27242 | -0.066079 | 1041.07
1359.26 | 0.034162 | 11093.5 | 0.27651 | -0.066079 | 679.632
1243.45 | 0.031251 | 11092.8 | 0.28061 | -0.071851 | 621.723
1836.82 | 0.046164 | 11092.8 | 0.2847 | -0.071851 | 918.411
1502.14 | 0.037753 | 11092.8 | 0.29085 | -0.071851 | 751.068
1654.43 | 0.04158 | 11092.3 | 0.29904 | -0.076709 | 827.216
1404.25 | 0.035293 | 11092.3 | 0.30723 | -0.076709 | 702.127
1011.66 | 0.025426 | 11091.7 | 0.31542 | -0.08212 | 505.829
1833.48 | 0.04608 | 11091.7 | 0.32362 | -0.08212 | 916.739
1594.85 | 0.040083 | 11091.7 | 0.33181 | -0.08212 | 797.426
1292.39 | 0.032481 | 11091 | 0.34 | -0.088069 | 646.194
1697.75 | 0.042669 | 11091 | 0.34819 | -0.088069 | 848.875
1240.71 | 0.031182 | 11091 | 0.35638 | -0.088069 | 620.355
1480.71 | 0.037214 | 11090.4 | 0.36458 | -0.093279 | 740.353
2003.1 | 0.050343 | 11090.4 | 0.37277 | -0.093279 | 1001.55
1318.07 | 0.033127 | 11090.4 | 0.38096 | -0.093279 | 659.037
1073.98 | 0.026992 | 11089.8 | 0.38915 | -0.099227 | 536.988
1909.32 | 0.047987 | 11089.8 | 0.39734 | -0.099227 | 954.661
1513.84 | 0.038047 | 11089.8 | 0.40554 | -0.099227 | 756.92
1512.93 | 0.038024 | 11088.6 | 0.41373 | -0.10968 | 756.464
1811.59 | 0.04553 | 11088.6 | 0.42192 | -0.10968 | 905.796
1358.05 | 0.034132 | 11088.6 | 0.43011 | -0.10968 | 679.024
1467.94 | 0.036893 | 11088.6 | 0.4383 | -0.10968 | 733.969
1563.39 | 0.039292 | 11088.1 | 0.4465 | -0.11475 | 781.695
1002.23 | 0.025189 | 11087.5 | 0.45469 | -0.12013 | 501.117
1747 | 0.043907 | 11087.5 | 0.46288 | -0.12013 | 873.498
1775.27 | 0.044617 | 11087.5 | 0.47107 | -0.12013 | 887.633
1107.41 | 0.027832 | 11087.5 | 0.47926 | -0.12013 | 553.707
2050.83 | 0.051543 | 11086.8 | 0.48746 | -0.12607 | 1025.41
1657.62 | 0.041661 | 11086.8 | 0.49565 | -0.12607 | 828.812
1349.08 | 0.033906 | 11086.3 | 0.50384 | -0.1304 | 674.54
2170.29 | 0.054545 | 11086.3 | 0.51203 | -0.1304 | 1085.15
1408.05 | 0.035388 | 11085.7 | 0.52022 | -0.13617 | 704.027
1294.21 | 0.032527 | 11085.7 | 0.52842 | -0.13617 | 647.106
1917.99 | 0.048204 | 11085.7 | 0.53661 | -0.13617 | 958.993
1205.14 | 0.030289 | 11085.1 | 0.5448 | -0.14159 | 602.572
1215.18 | 0.030541 | 11085.1 | 0.55299 | -0.14159 | 607.588
2019.82 | 0.050764 | 11084.6 | 0.56118 | -0.14571 | 1009.91
1121.24 | 0.02818 | 11084.6 | 0.56938 | -0.14571 | 560.622
1450.46 | 0.036454 | 11084.6 | 0.57757 | -0.14571 | 725.23
1967.84 | 0.049457 | 11083.9 | 0.58576 | -0.15187 | 983.92
1202.1 | 0.030212 | 11083.9 | 0.59395 | -0.15187 | 601.052
2024.68 | 0.050886 | 11083.9 | 0.60214 | -0.15187 | 1012.34
1792.44 | 0.045049 | 11083.5 | 0.61034 | -0.15616 | 896.221
1983.95 | 0.049862 | 11082.9 | 0.62262 | -0.1614 | 991.975
967.429 | 0.024314 | 11082.3 | 0.63901 | -0.16644 | 483.714
1262.9 | 0.03174 | 11081.7 | 0.65539 | -0.17168 | 631.451
2075.45 | 0.052162 | 11081.2 | 0.67178 | -0.17671 | 1037.72
1802.17 | 0.045293 | 11081.2 | 0.68816 | -0.17671 | 901.084
1064.4 | 0.026751 | 11080.7 | 0.70454 | -0.18122 | 532.2
1773.59 | 0.044575 | 11080 | 0.72093 | -0.18734 | 886.797
1874.67 | 0.047116 | 11079.6 | 0.73731 | -0.19057 | 937.334
1550.47 | 0.038968 | 11078.9 | 0.7537 | -0.19691 | 775.235
1503.35 | 0.037783 | 11078.4 | 0.77008 | -0.20159 | 751.676
1689.85 | 0.042471 | 11078.4 | 0.78646 | -0.20159 | 844.923
1667.05 | 0.041897 | 11077.9 | 0.80285 | -0.20662 | 833.524
1443.47 | 0.036278 | 11077.3 | 0.81923 | -0.21187 | 721.734
1835.76 | 0.046138 | 11076.8 | 0.83562 | -0.21599 | 917.879
1759 | 0.044209 | 11076.2 | 0.852 | -0.2214 | 879.501
1500.62 | 0.037715 | 11076.2 | 0.86838 | -0.2214 | 750.308
1765.54 | 0.044373 | 11075.7 | 0.88477 | -0.2259 | 882.769
2106.76 | 0.052949 | 11075.1 | 0.90115 | -0.23115 | 1053.38
1386.01 | 0.034834 | 11074.5 | 0.91754 | -0.23689 | 693.007
1715.08 | 0.043105 | 11074 | 0.93392 | -0.24139 | 857.539
2076.21 | 0.052181 | 11073.5 | 0.9503 | -0.2461 | 1038.1
1630.87 | 0.040988 | 11073.5 | 0.96669 | -0.2461 | 815.437
1313.51 | 0.033012 | 11073 | 0.98307 | -0.2504 | 656.757
2171.51 | 0.054576 | 11072.4 | 0.99946 | -0.25616 | 1085.75
1851.57 | 0.046535 | 11071.8 | 1.0158 | -0.26106 | 925.783
1273.24 | 0.032 | 11071.3 | 1.0322 | -0.26591 | 636.618
1917.23 | 0.048185 | 11070.7 | 1.0486 | -0.27095 | 958.613
2106.91 | 0.052952 | 11070.7 | 1.065 | -0.27095 | 1053.46
1506.7 | 0.037867 | 11070.3 | 1.0814 | -0.27492 | 753.348
1058.93 | 0.026614 | 11069.6 | 1.0978 | -0.2807 | 529.464
2061.77 | 0.051818 | 11069.2 | 1.1141 | -0.28502 | 1030.89
1815.39 | 0.045626 | 11068.5 | 1.1305 | -0.29058 | 907.696
1296.04 | 0.032573 | 11068.5 | 1.1469 | -0.29058 | 648.018
1818.28 | 0.045698 | 11068 | 1.1633 | -0.29508 | 909.14
1787.43 | 0.044923 | 11067.5 | 1.1797 | -0.30033 | 893.713
1417.78 | 0.035633 | 11067 | 1.1961 | -0.30483 | 708.89
1518.7 | 0.038169 | 11066.5 | 1.2125 | -0.30934 | 759.352
2173.94 | 0.054637 | 11066 | 1.2288 | -0.31384 | 1086.97
1740.76 | 0.04375 | 11066 | 1.2452 | -0.31384 | 870.382
1502.29 | 0.037757 | 11065.4 | 1.2616 | -0.31923 | 751.144
2062.68 | 0.051841 | 11064.3 | 1.2862 | -0.32897 | 1031.34
1751.56 | 0.044021 | 11063.8 | 1.3189 | -0.33348 | 875.778
1647.74 | 0.041412 | 11062.7 | 1.3517 | -0.34284 | 823.872
2068.31 | 0.051982 | 11061.6 | 1.3845 | -0.35276 | 1034.15
1555.33 | 0.03909 | 11061.1 | 1.4172 | -0.3578 | 777.667
1959.02 | 0.049236 | 11060 | 1.45 | -0.36715 | 979.512
1416.41 | 0.035598 | 11059.5 | 1.4828 | -0.37239 | 708.206
1410.03 | 0.035438 | 11058.3 | 1.5155 | -0.38303 | 705.015
2064.81 | 0.051894 | 11057.2 | 1.5483 | -0.39256 | 1032.41
1586.49 | 0.039873 | 11056.1 | 1.5811 | -0.40266 | 793.246
2404.51 | 0.060432 | 11055.5 | 1.6139 | -0.40808 | 1202.26
1693.95 | 0.042574 | 11054.4 | 1.6466 | -0.41832 | 846.975
2037 | 0.051195 | 11053.4 | 1.6794 | -0.42716 | 1018.5
2040.49 | 0.051283 | 11052.7 | 1.7122 | -0.43292 | 1020.25
1737.27 | 0.043662 | 11051.6 | 1.7449 | -0.44284 | 868.634
2135.18 | 0.053663 | 11051 | 1.7777 | -0.44841 | 1067.59
1647.29 | 0.041401 | 11050 | 1.8105 | -0.45724 | 823.644
2003.41 | 0.050351 | 11048.8 | 1.8432 | -0.46826 | 1001.7
1756.42 | 0.044144 | 11048.4 | 1.876 | -0.47219 | 878.209
1457.3 | 0.036626 | 11047.2 | 1.9088 | -0.48247 | 728.649
2141.11 | 0.053812 | 11046.2 | 1.9415 | -0.49201 | 1070.56
1356.53 | 0.034093 | 11045.7 | 1.9743 | -0.49672 | 678.264
2001.13 | 0.050294 | 11044.6 | 2.0071 | -0.50625 | 1000.56
1709 | 0.042952 | 11043.5 | 2.0398 | -0.51653 | 854.499
1642.42 | 0.041279 | 11042.9 | 2.0726 | -0.52139 | 821.212
2295.69 | 0.057697 | 11041.8 | 2.1054 | -0.53131 | 1147.84
1257.28 | 0.031599 | 11041.2 | 2.1381 | -0.53669 | 628.639
2029.24 | 0.051 | 11040.1 | 2.1709 | -0.54644 | 1014.62
2008.73 | 0.050485 | 11039 | 2.2037 | -0.55668 | 1004.36
1830.89 | 0.046015 | 11038.4 | 2.2365 | -0.5621 | 915.447
2256.17 | 0.056704 | 11037.3 | 2.2692 | -0.5722 | 1128.08
1855.67 | 0.046638 | 11036.2 | 2.302 | -0.58226 | 927.835
2493.12 | 0.062659 | 11035.5 | 2.3348 | -0.58821 | 1246.56
1938.35 | 0.048716 | 11034.4 | 2.3675 | -0.59796 | 969.177
2138.07 | 0.053736 | 11033.8 | 2.4003 | -0.60334 | 1069.04
2153.57 | 0.054125 | 11032.7 | 2.4331 | -0.61362 | 1076.79
1596.37 | 0.040121 | 11031.6 | 2.4658 | -0.62372 | 798.186
2561.98 | 0.06439 | 11031 | 2.4986 | -0.6284 | 1280.99
1822.69 | 0.045809 | 11029.8 | 2.5314 | -0.63977 | 911.344
1999.91 | 0.050263 | 11028.6 | 2.5641 | -0.65039 | 999.955
1668.87 | 0.041943 | 11026.9 | 2.6133 | -0.66587 | 834.436
1703.83 | 0.042822 | 11025.2 | 2.6788 | -0.68083 | 851.915
1670.09 | 0.041974 | 11023 | 2.7443 | -0.70064 | 835.044
2161.63 | 0.054328 | 11021.3 | 2.8099 | -0.71577 | 1080.81
2071.8 | 0.05207 | 11019.6 | 2.8754 | -0.73108 | 1035.9
1654.58 | 0.041584 | 11018 | 2.941 | -0.7455 | 827.292
1497.58 | 0.037638 | 11015.9 | 3.0065 | -0.76514 | 748.788
1675.71 | 0.042115 | 11014.2 | 3.072 | -0.78027 | 837.856
2036.24 | 0.051176 | 11012.5 | 3.1376 | -0.79523 | 1018.12
2409.68 | 0.060562 | 11010.4 | 3.2031 | -0.81451 | 1204.84
2273.19 | 0.057132 | 11008.7 | 3.2686 | -0.82947 | 1136.6
1980.3 | 0.04977 | 11007.1 | 3.3342 | -0.84407 | 990.152
1655.04 | 0.041596 | 11005.5 | 3.3997 | -0.85846 | 827.52
1831.05 | 0.046019 | 11003.4 | 3.4653 | -0.87775 | 915.523
2164.06 | 0.054389 | 11001.7 | 3.5308 | -0.89252 | 1082.03
2498.14 | 0.062785 | 11000.1 | 3.5963 | -0.90674 | 1249.07
1843.97 | 0.046344 | 10997.9 | 3.6619 | -0.92729 | 921.983
1772.83 | 0.044556 | 10996.2 | 3.7274 | -0.94242 | 886.417
1752.92 | 0.044056 | 10994.6 | 3.7929 | -0.95702 | 876.462
2086.24 | 0.052433 | 10992.9 | 3.8585 | -0.97198 | 1043.12
2259.51 | 0.056788 | 10990.7 | 3.924 | -0.99196 | 1129.76
2504.68 | 0.062949 | 10989 | 3.9895 | -1.0074 | 1252.34
1942.61 | 0.048823 | 10987.3 | 4.0551 | -1.0222 | 971.305
1629.96 | 0.040965 | 10985.8 | 4.1206 | -1.0361 | 814.981
1802.02 | 0.04529 | 10983.6 | 4.1861 | -1.0554 | 901.008
2130.62 | 0.053548 | 10982 | 4.2517 | -1.0705 | 1065.31
2671.71 | 0.067147 | 10980.2 | 4.3172 | -1.0866 | 1335.86
2604.53 | 0.065459 | 10978 | 4.3827 | -1.1065 | 1302.27
2102.66 | 0.052845 | 10976.1 | 4.4483 | -1.1229 | 1051.33
1883.94 | 0.047349 | 10974.4 | 4.5138 | -1.1384 | 941.97
2355.12 | 0.059191 | 10972.8 | 4.5794 | -1.1534 | 1177.56
2607.27 | 0.065528 | 10970.4 | 4.6449 | -1.1745 | 1303.63
2540.85 | 0.063858 | 10968.8 | 4.7104 | -1.1892 | 1270.42
2433.24 | 0.061154 | 10967 | 4.776 | -1.2051 | 1216.62
2191.57 | 0.05508 | 10964.7 | 4.8415 | -1.2258 | 1095.79
1857.65 | 0.046688 | 10963.1 | 4.907 | -1.2408 | 928.823
2288.85 | 0.057525 | 10961.3 | 4.9726 | -1.2563 | 1144.42
2621.56 | 0.065887 | 10959.7 | 5.0381 | -1.2708 | 1310.78
2740.72 | 0.068882 | 10958 | 5.1037 | -1.2864 | 1370.36
2364.39 | 0.059423 | 10955.8 | 5.1692 | -1.306 | 1182.19
1924.83 | 0.048376 | 10952.6 | 5.2675 | -1.3346 | 962.413
2512.43 | 0.063144 | 10948.8 | 5.3986 | -1.3691 | 1256.21
2116.03 | 0.053182 | 10945.1 | 5.5296 | -1.4029 | 1058.02
2024.38 | 0.050878 | 10941.8 | 5.6607 | -1.4321 | 1012.19
2803.19 | 0.070452 | 10937.9 | 5.7918 | -1.4678 | 1401.59
2114.06 | 0.053132 | 10934.6 | 5.9229 | -1.4973 | 1057.03
2355.88 | 0.05921 | 10930.7 | 6.0539 | -1.5325 | 1177.94
2820.21 | 0.07088 | 10927.4 | 6.185 | -1.5624 | 1410.11
2276.08 | 0.057204 | 10923.6 | 6.3161 | -1.5966 | 1138.04
2699.38 | 0.067843 | 10920.2 | 6.4471 | -1.6265 | 1349.69
2825.53 | 0.071013 | 10916.2 | 6.5782 | -1.6631 | 1412.77
2130.02 | 0.053533 | 10912.8 | 6.7093 | -1.6933 | 1065.01
2808.2 | 0.070578 | 10908.7 | 6.8403 | -1.7303 | 1404.1
2580.22 | 0.064848 | 10904.7 | 6.9714 | -1.7661 | 1290.11
2108.28 | 0.052987 | 10901.4 | 7.1025 | -1.7966 | 1054.14
3077.38 | 0.077343 | 10897.6 | 7.2336 | -1.8308 | 1538.69
2478.23 | 0.062285 | 10894.4 | 7.3646 | -1.8597 | 1239.11
2435.21 | 0.061204 | 10890.5 | 7.4957 | -1.894 | 1217.61
2910.49 | 0.073149 | 10887.2 | 7.6268 | -1.9238 | 1455.25
2368.03 | 0.059515 | 10883.5 | 7.7579 | -1.9578 | 1184.02
2380.8 | 0.059836 | 10880.2 | 7.8889 | -1.987 | 1190.4
2656.97 | 0.066777 | 10876.3 | 8.02 | -2.0225 | 1328.49
2248.87 | 0.05652 | 10872.4 | 8.1511 | -2.0576 | 1124.44
2686.91 | 0.06753 | 10869.1 | 8.2821 | -2.087 | 1343.46
2531.43 | 0.063622 | 10865.3 | 8.4132 | -2.1216 | 1265.71
2296.6 | 0.05772 | 10862.1 | 8.5443 | -2.1503 | 1148.3
3298.07 | 0.08289 | 10858.1 | 8.6754 | -2.1866 | 1649.04
2613.65 | 0.065688 | 10854.5 | 8.8064 | -2.2183 | 1306.83
2768.69 | 0.069585 | 10850.6 | 8.9375 | -2.2538 | 1384.34
3144.11 | 0.07902 | 10846.5 | 9.0686 | -2.2911 | 1572.05
2622.47 | 0.06591 | 10843.2 | 9.1997 | -2.3203 | 1311.23
3000.78 | 0.075418 | 10839.2 | 9.3307 | -2.3564 | 1500.39
2864.44 | 0.071991 | 10836 | 9.4618 | -2.3857 | 1432.22
2227.75 | 0.055989 | 10832.2 | 9.5929 | -2.4194 | 1113.87
2827.51 | 0.071063 | 10828.8 | 9.7239 | -2.4501 | 1413.75
3104.74 | 0.078031 | 10825 | 9.855 | -2.4841 | 1552.37
2575.81 | 0.064737 | 10821.9 | 9.9861 | -2.5128 | 1287.9
3271.63 | 0.082225 | 10818 | 10.1172 | -2.5472 | 1635.81
2792.4 | 0.070181 | 10814.6 | 10.2482 | -2.5785 | 1396.2
2896.51 | 0.072797 | 10810.7 | 10.3793 | -2.6131 | 1448.26
2800.6 | 0.070387 | 10803.7 | 10.5759 | -2.6763 | 1400.3
3209.16 | 0.080655 | 10796.4 | 10.838 | -2.7421 | 1604.58
3105.2 | 0.078042 | 10788.9 | 11.1002 | -2.8097 | 1552.6
2999.86 | 0.075395 | 10781.5 | 11.3623 | -2.876 | 1499.93
2936.94 | 0.073813 | 10773.9 | 11.6245 | -2.9448 | 1468.47
3261.14 | 0.081961 | 10766.9 | 11.8866 | -3.0082 | 1630.57
3003.36 | 0.075483 | 10759.8 | 12.1488 | -3.0718 | 1501.68
2716.4 | 0.068271 | 10752.6 | 12.4109 | -3.137 | 1358.2
3325.58 | 0.083581 | 10745.5 | 12.6731 | -3.201 | 1662.79
3921.09 | 0.098548 | 10738.2 | 12.9352 | -3.2664 | 1960.54
3433.5 | 0.086293 | 10730.6 | 13.1973 | -3.3345 | 1716.75
3034.98 | 0.076277 | 10723.3 | 13.4595 | -3.4008 | 1517.49
3414.35 | 0.085812 | 10716 | 13.7216 | -3.466 | 1707.17
3500.68 | 0.087982 | 10708.4 | 13.9838 | -3.5352 | 1750.34
3454.78 | 0.086828 | 10701.5 | 14.2459 | -3.5974 | 1727.39
3418.15 | 0.085907 | 10694.2 | 14.5081 | -3.6629 | 1709.07
3772.59 | 0.094816 | 10687 | 14.7702 | -3.7276 | 1886.3
3263.57 | 0.082022 | 10679.9 | 15.0324 | -3.7916 | 1631.79
3112.95 | 0.078237 | 10672.4 | 15.2945 | -3.8588 | 1556.47
4079.77 | 0.10254 | 10665 | 15.5566 | -3.9258 | 2039.88
3714.53 | 0.093356 | 10657.9 | 15.8188 | -3.9901 | 1857.27
3374.37 | 0.084807 | 10650.8 | 16.0809 | -4.0535 | 1687.19
3634.74 | 0.091351 | 10643.7 | 16.3431 | -4.1178 | 1817.37
4218.23 | 0.10602 | 10636.6 | 16.6052 | -4.182 | 2109.12
4035.23 | 0.10142 | 10628.8 | 16.8674 | -4.252 | 2017.62
3528.34 | 0.088677 | 10621.7 | 17.1295 | -4.3157 | 1764.17
3841.9 | 0.096558 | 10614.2 | 17.3916 | -4.383 | 1920.95
4096.18 | 0.10295 | 10606.8 | 17.6538 | -4.4499 | 2048.09
3447.33 | 0.086641 | 10599.5 | 17.9159 | -4.5158 | 1723.66
3968.66 | 0.099743 | 10592.5 | 18.1781 | -4.5792 | 1984.33
4282.98 | 0.10764 | 10585.3 | 18.4402 | -4.6443 | 2141.49
3544.76 | 0.089089 | 10578.2 | 18.7024 | -4.7074 | 1772.38
3593.85 | 0.090323 | 10571 | 18.9645 | -4.7726 | 1796.92
4246.05 | 0.10672 | 10563.4 | 19.2267 | -4.8412 | 2123.02
4215.65 | 0.10595 | 10556 | 19.4888 | -4.9073 | 2107.82
3587.01 | 0.090151 | 10548.5 | 19.7509 | -4.9749 | 1793.51
3977.02 | 0.099953 | 10541.2 | 20.0131 | -5.0412 | 1988.51
4524.19 | 0.11371 | 10534.2 | 20.2752 | -5.1044 | 2262.1
3819.86 | 0.096004 | 10527 | 20.5374 | -5.1689 | 1909.93
3668.33 | 0.092195 | 10520 | 20.7995 | -5.2316 | 1834.16
4397.89 | 0.11053 | 10505.6 | 21.1927 | -5.3613 | 2198.94
4375.24 | 0.10996 | 10490.4 | 21.717 | -5.499 | 2187.62
4385.27 | 0.11021 | 10475.8 | 22.2413 | -5.63 | 2192.64
4319.46 | 0.10856 | 10461.7 | 22.7656 | -5.757 | 2159.73
4337.24 | 0.10901 | 10447.3 | 23.2899 | -5.8867 | 2168.62
4831.82 | 0.12144 | 10432.1 | 23.8142 | -6.0235 | 2415.91
4278.73 | 0.10754 | 10417.5 | 24.3385 | -6.1553 | 2139.36
5033.21 | 0.1265 | 10403.4 | 24.8628 | -6.2823 | 2516.61
4197.41 | 0.10549 | 10389.1 | 25.387 | -6.4112 | 2098.7
5222.6 | 0.13126 | 10374.6 | 25.9113 | -6.5423 | 2611.3
4527.38 | 0.11379 | 10359.2 | 26.4356 | -6.6803 | 2263.69
4923.02 | 0.12373 | 10345.1 | 26.9599 | -6.8079 | 2461.51
5199.95 | 0.13069 | 10330.7 | 27.4842 | -6.9376 | 2599.97
5187.94 | 0.13039 | 10316.3 | 28.0085 | -7.0672 | 2593.97
5325.04 | 0.13383 | 10301 | 28.5328 | -7.2052 | 2662.52
4843.22 | 0.12172 | 10286.8 | 29.0571 | -7.3332 | 2421.61
5678.57 | 0.14272 | 10272.4 | 29.5813 | -7.4623 | 2839.29
4910.25 | 0.12341 | 10258.1 | 30.1056 | -7.5909 | 2455.13
5552.42 | 0.13955 | 10243.3 | 30.6299 | -7.7246 | 2776.21
5443.59 | 0.13681 | 10228.9 | 31.1542 | -7.8539 | 2721.8
5390.85 | 0.13549 | 10214.2 | 31.6785 | -7.9869 | 2695.43
6006.72 | 0.15096 | 10199.9 | 32.2028 | -8.1159 | 3003.36
5396.63 | 0.13563 | 10185 | 32.7271 | -8.2498 | 2698.31
5939.84 | 0.14929 | 10170.7 | 33.2514 | -8.3788 | 2969.92
5401.49 | 0.13575 | 10156 | 33.7756 | -8.5114 | 2700.74
6229.69 | 0.15657 | 10141.7 | 34.2999 | -8.6402 | 3114.85
5467.15 | 0.1374 | 10126.6 | 34.8242 | -8.7755 | 2733.58
6336.09 | 0.15924 | 10112.3 | 35.3485 | -8.9049 | 3168.04
5925.86 | 0.14893 | 10098.1 | 35.8728 | -9.0326 | 2962.93
6073.45 | 0.15264 | 10083.3 | 36.3971 | -9.1661 | 3036.72
6266.93 | 0.15751 | 10068.5 | 36.9214 | -9.2992 | 3133.47
5725.69 | 0.1439 | 10054.1 | 37.4457 | -9.4295 | 2862.84
6634.9 | 0.16675 | 10039.9 | 37.97 | -9.5572 | 3317.45
6226.96 | 0.1565 | 10025.1 | 38.4942 | -9.6906 | 3113.48
6988.13 | 0.17563 | 10010.3 | 39.0185 | -9.8233 | 3494.07
6479.72 | 0.16285 | 9995.65 | 39.5428 | -9.9556 | 3239.86
6768.81 | 0.17012 | 9981.59 | 40.0671 | -10.0823 | 3384.4
6742.21 | 0.16945 | 9967.15 | 40.5914 | -10.2123 | 3371.11
6828.24 | 0.17161 | 9952.65 | 41.1157 | -10.3429 | 3414.12
6700.72 | 0.16841 | 9937.51 | 41.64 | -10.4793 | 3350.36
7271.9 | 0.18276 | 9908.87 | 42.4264 | -10.7373 | 3635.95
7416.75 | 0.1864 | 9879.09 | 43.475 | -11.0056 | 3708.38
7423.89 | 0.18658 | 9850.53 | 44.5236 | -11.2629 | 3711.95
7338.78 | 0.18444 | 9820.89 | 45.5721 | -11.5299 | 3669.39
7042.09 | 0.17699 | 9792.29 | 46.6207 | -11.7875 | 3521.05
7202.59 | 0.18102 | 9762.55 | 47.6693 | -12.0554 | 3601.3
7646.71 | 0.19218 | 9734.06 | 48.7179 | -12.3121 | 3823.36
8341.32 | 0.20964 | 9704.87 | 49.7664 | -12.575 | 4170.66
8342.23 | 0.20966 | 9675.83 | 50.815 | -12.8366 | 4171.12
8487.08 | 0.2133 | 9646.61 | 51.8636 | -13.0998 | 4243.54
8751.09 | 0.21994 | 9617.51 | 52.9122 | -13.362 | 4375.54
8529.79 | 0.21438 | 9588.51 | 53.9607 | -13.6232 | 4264.89
8620.53 | 0.21666 | 9559.87 | 55.0093 | -13.8812 | 4310.26
8497.87 | 0.21357 | 9530.25 | 56.0579 | -14.1481 | 4248.93
8454.25 | 0.21248 | 9501.57 | 57.1065 | -14.4064 | 4227.12
8437.22 | 0.21205 | 9472.11 | 58.155 | -14.6718 | 4218.61
8978.01 | 0.22564 | 9443.19 | 59.2036 | -14.9323 | 4489.01
9043.22 | 0.22728 | 9414.33 | 60.2522 | -15.1923 | 4521.61
9682.8 | 0.24335 | 9384.91 | 61.3008 | -15.4573 | 4841.4
10066.6 | 0.253 | 9356.02 | 62.3493 | -15.7176 | 5033.29
10011.6 | 0.25162 | 9326.65 | 63.3979 | -15.9822 | 5005.78
9755.15 | 0.24517 | 9297.97 | 64.4465 | -16.2405 | 4877.57
10574.8 | 0.26577 | 9268.2 | 65.4951 | -16.5088 | 5287.42
10196.2 | 0.25626 | 9239.61 | 66.5436 | -16.7662 | 5098.11
9905.47 | 0.24895 | 9210.02 | 67.5922 | -17.0329 | 4952.73
9801.5 | 0.24634 | 9181.47 | 68.6408 | -17.29 | 4900.75
10284.7 | 0.25848 | 9152.23 | 69.6894 | -17.5534 | 5142.34
10702.7 | 0.26899 | 9123.07 | 70.738 | -17.8161 | 5351.33
10950.7 | 0.27522 | 9094.01 | 71.7865 | -18.0779 | 5475.36
11275.1 | 0.28337 | 9064.87 | 72.8351 | -18.3404 | 5637.53
11309.3 | 0.28423 | 9035.55 | 73.8837 | -18.6045 | 5654.63
11616.6 | 0.29196 | 9007.09 | 74.9323 | -18.8609 | 5808.3
11452.1 | 0.28782 | 8977.37 | 75.9808 | -19.1286 | 5726.07
11305.5 | 0.28414 | 8948.87 | 77.0294 | -19.3853 | 5652.73
11380.5 | 0.28602 | 8919.05 | 78.078 | -19.654 | 5690.27
11454.7 | 0.28789 | 8890.51 | 79.1266 | -19.9111 | 5727.36
12171.7 | 0.30591 | 8860.73 | 80.1751 | -20.1793 | 6085.83
12621.1 | 0.3172 | 8832.29 | 81.2237 | -20.4355 | 6310.55
12588.6 | 0.31639 | 8802.41 | 82.2723 | -20.7047 | 6294.29
12574.9 | 0.31604 | 8773.98 | 83.3209 | -20.9609 | 6287.45
12490.2 | 0.31391 | 8715.75 | 84.8937 | -21.4854 | 6245.12
12444 | 0.31275 | 8657.42 | 86.9909 | -22.0109 | 6222.02
13397.6 | 0.33672 | 8599.16 | 89.088 | -22.5357 | 6698.82
13758.3 | 0.34578 | 8541.42 | 91.1852 | -23.0558 | 6879.16
13906.7 | 0.34951 | 8483.06 | 93.2823 | -23.5816 | 6953.33
14037.4 | 0.3528 | 8424.76 | 95.3795 | -24.1067 | 7018.68
13775 | 0.3462 | 8366.44 | 97.4766 | -24.6321 | 6887.51